## NSPI IR-17 c) (hidden)
Comparison of Coincident Peak Demand Savings Ratios from 2014 DSM Potential Study (Base Scenario) to Filed 2016-2018 DSM Resource Plan
Efficiency Measure Name from DSM Potential Study | Building Type | Demand-to-Energy Ratio from DSM Potential Study (W/kWh) | Demand-to-Energy Ratio from filed 2016-2018 DSM Resource Plan model (W/kWh) | Difference (W/kWh)
Refrigerator Retirement | RES-SF | 0.15949 | 0.13838 | -0.021107
Freezer Retirement | RES-SF | 0.15949 | 0.13838 | -0.021107
Room A/C Retirement | RES-SF | 0 | 0.273* | 0.273*
13 W CFL | RES-SF | 0.1006 | 0.25068 | 0.15008
23 W CFL | RES-SF | 0.1006 | 0.25068 | 0.15008
14 W Dimmable CFL | RES-SF | 0.1006 | 0.25068 | 0.15008
8 W LED | RES-SF | 0.1006 | 0.11416 | 0.013552
8 W LED | RES-SF | 0.1006 | 0.11416 | 0.013552
12 W LED | RES-SF | 0.1006 | 0.11416 | 0.013552
12 W LED | RES-SF | 0.1006 | 0.11416 | 0.013552
5W Chandelier LED bulb | RES-SF | 0.1006 | 0.11416 | 0.013552
1W LED Nightlight | RES-SF | 0.27473 | 0.25068 | -0.02404
Low Flow Faucet Aerator, 1.5 GPM | RES-SF | 0.27473 | 0.16214 | -0.11258
Low Flow (1.25 GPM) showerhead | RES-SF | 0.27473 | 0.16214 | -0.11258
DHW Pipe Insulation | RES-SF | 0.27473 | 0.16214 | -0.11258
DHW Tank Wrap | RES-SF | 0.27473 | 0.16214 | -0.11258
Energuide 83 New Home | RES-NC | 0.26525 | 0.28268 | 0.017427
Energuide 84 New Home | RES-NC | 0.26525 | 0.283 | 0.017748
Energuide 85 New Home | RES-NC | 0.26525 | 0.28268 | 0.017427
Energuide 86 New Home | RES-NC | 0.26525 | 0.28268 | 0.017427
Energuide 87 New Home | RES-NC | 0.26525 | 0.28268 | 0.017427
Energuide 88 New Home | RES-NC | 0.26525 | 0.28268 | 0.017427
Energy Star® Regular CFL | RES-SF | 0.1006 | 0.25068 | 0.15008
Energy Star® Specialty CFL | RES-SF | 0.1006 | 0.25068 | 0.15008
Energy Star® LED Lamps | RES-SF | 0.1006 | 0.25068 | 0.15008
Hardwired Dimmer Switch | RES-SF | 0.1006 | 0 | -0.1006
Indoor Motion Sensor | RES-SF | 0.1006 | 0 | -0.1006
Outdoor Motion Sensor | RES-SF | 0.1006 | 0 | -0.1006
Power bar with integrated timer | RES-SF | 0.14902 | -5.6864e-10 | -0.14902
Smartstrip | RES-SF | 0.1229 | -5.6864e-10 | -0.1229
Heavy Duty Outdoor Timer | RES-SF | 0.029789 | -5.6864e-10 | -0.029789
CEE Tier 3 Refrigerator | RES-SF | 0.034781 | 0.13838 | 0.1036
CEE Tier 3 Clothes Washer | RES-SF | 0.016868 | 0.13838 | 0.12151
DHW Tank Wrap | RES-SF | 0.27473 | 0.16214 | -0.11258
Programmable Electronic Thermostat (Baseboard) | RES-SF | 0.1006 | -0.39932 | -0.49992
Outdoor Clothes line | RES-SF | 0 | N/A | N/A
Energy Star Ventilating Fan | LI | 0.21368 | N/A | N/A
EnergyStar Dehumidifier | LI | 0.21368 | 0.335 | 0.12132
EnergyStar Dehumidifier | LI | 0.21368 | 0.335 | 0.12132
EnergyStar Refrigerator | LI | 0.21368 | 0.138 | -0.075675
EnergyStar Freezer | LI | 0.21368 | 0.138 | -0.075675
Certified Wood Stove | RES-SF | 0.43536 | 0.15597 | -0.27939
Certified Wood Boiler or Furnace | RES-SF | 0.3255 | 0.15597 | -0.16953
Certified Pellet Stove | RES-SF | 0.47625 | 0.15597 | -0.32029
Certified Pellet Boiler or Furnace Supplemented by Baseboard Heat (Whole Home) | RES-SF | 0.40087 | 0.15597 | -0.2449
Advanced Automatic Pellet Combo Boiler | RES-SF | 0.26175 | 0.15597 | -0.10579
Ground Source Heat Pump | RES-SF | 0.44979 | 0.28268 | -0.16712
Energy Star Air Source Heat Pump | RES-SF | 0.47625 | 0.283 | -0.19325
Solar DHW | RES-SF | 0.17778 | 0.24352 | 0.065738
Solar Space and Water Heat (Supplement Electricity) | RES-SF | 0.48474 | 0 | -0.48474
Solar Space Heating (Displacing Electricity) | RES-SF | 0.52917 | 1.2647 | 0.73558
Residential Solar PV | RES-SF | 0.029833 | N/A | N/A
Solar DHW | RES-NC | 0.17778 | 0.24352 | 0.065738
Solar Space and Water Heat (Supplement Electricity) | RES-NC | 0.48474 | 0 | -0.48474
Solar Space Heating (Displacing Electricity) | RES-NC | 0.52917 | 0 | -0.52917
Residential Solar PV | RES-NC | 0.029833 | N/A | N/A
Energy Star Windows (Replace Single Pane) | RES-SF | 0.52917 | 0.283 | -0.24617
Energy Star Windows (300 ft2) (Replace Double Pane) | RES-SF | 0.52917 | 0.283 | -0.24617
Energy Star Door | RES-SF | 0.52917 | 0.283 | -0.24617
Home Energy Report | RES-SF | 0.235 | 0.28268 | 0.047679
DHW Tank Wrap | MURB | 0.27473 | 0.16214 | -0.11258
Low Flow Faucet Aerator, 1.5 GPM | MURB | 0.27473 | 0.16214 | -0.11258
DHW Pipe Insulation | MURB | 0.27473 | 0.16214 | -0.11258
Low Flow (1.25 GPM) showerhead | MURB | 0.27473 | 0.16214 | -0.11258
Unidentified Residential Future ET | RES-SF | 0.1229 | -5.6864e-10 | -0.1229
Under Counter Commercial Dishwasher (Low Temp) | COM | 0.34247 | 0.11416 | -0.22831
Multi-Tank Conveyor Commercial Dish Washer (Low Temp) | COM | 0.34247 | 0.11416 | -0.22831
Under Counter Dishwasher with Booster (High Temp) | COM | 0.34247 | 0.11416 | -0.22831
Single Tank Door Dishwasher with Booster (High Temp) | COM | 0.34247 | 0.11416 | -0.22831
Single Tank Conveyor Dishwasher with Booster (High Temp) | COM | 0.34247 | 0.11416 | -0.22831
Multi Tank Conveyor Dishwasher with Booster (High Temp) | COM | 0.34247 | 0.11416 | -0.22831
Standard Capacity Commercial Electric Fryers | COM | 0.19178 | 0.11416 | -0.077625
Comparison of Coincident Peak Demand Savings Ratios from 2014 DSM Potential Study (Base Scenario) to Filed 2016-2018 DSM Resource Plan
Efficiency Measure Name from DSM Potential Study | Building Type | Demand-to-Energy Ratio from DSM Potential Study (W/kWh) | Demand-to-Energy Ratio from filed 2016-2018 DSM Resource Plan model (W/kWh) | Difference (W/kWh)
Full Size Commercial Hot Food Holding Cabinet | COM | 0.15221 | 0.11416 | -0.038052
Three Quarter Size Commercial Hot Food Holding Cabinet | COM | 0.15575 | 0.11416 | -0.041591
Half Size Commercial Hot Food Holding Cabinet | COM | 0.15575 | 0.11416 | -0.041591
Commercial Electric Griddle | COM | 0.19178 | 0.11416 | -0.077625
Solid Door Commercial Refrigerator | COM | 0.11779 | 0.10132 | -0.01647
Glass Door Commercial Refrigerator | COM | 0.11779 | 0.10132 | -0.01647
Solid Door Commercial Freezer | COM | 0.11779 | 0.10132 | -0.01647
Glass Door Commercial Freezer | COM | 0.11779 | 0.101 | -0.016788
EStar Ice Making Head | COM | 0.19692 | 0.101 | -0.095918
Energy Star Remote Condensing Head/Split System Ice Maker | COM | 0.19692 | 0.101 | -0.095918
Energy Star Self Contained Ice Maker | COM | 0.19692 | 0.101 | -0.095918
Energy Star Commercial Electric Convection Oven | COM | 0.19165 | 0.114 | -0.077654
Variable Speed Drive for Kitchen exhaust fans (Demand Controlled Ventilation) | COM | 0.14 | 0.11416 | -0.025845
Variable Speed Drive for Kitchen exhaust fans (Demand Controlled Ventilation) | COM | 0.14 | 0.11416 | -0.025845
Energy Star, CEE Tier 2 or CEE Tier 3 Commercial Clothes Washer | COM | 0.22831 | 0.114 | -0.11431
Night Covers for 3' Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Night Covers for 3' Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Night Covers for 3' Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Night Covers for 3' Refrigerated Display Cases-BES | COM | 0.085616 | 0.10125 | 0.015634
Night Covers for 3' Refrigerated Display Cases-BES | COM | 0.085616 | 0.10125 | 0.015634
Night Covers for 3' Refrigerated Display Cases-BES | COM | 0.085616 | 0.10125 | 0.015634
Zero Energy Doors for Reach-In Coolers and Freezers | COM | 0.066752 | 0.10125 | 0.034499
Zero Energy Doors for Reach-In Coolers and Freezers | COM | 0.066752 | 0.10125 | 0.034499
Zero Energy Doors for Reach-In Coolers and Freezers | COM | 0.066752 | 0.10125 | 0.034499
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers | COM | 0.11416 | 0.68444 | 0.57028
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers | COM | 0.11416 | 0.68444 | 0.57028
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers | COM | 0.11416 | 0.68444 | 0.57028
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers-BES | COM | 0.11416 | 0.68444 | 0.57028
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers-BES | COM | 0.11416 | 0.68444 | 0.57028
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers-BES | COM | 0.11416 | 0.68444 | 0.57028
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers | COM | 0.052397 | 0.68444 | 0.63204
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers | COM | 0.052397 | 0.68444 | 0.63204
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers | COM | 0.052397 | 0.68444 | 0.63204
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers-BES | COM | 0.052397 | 0.68444 | 0.63204
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers-BES | COM | 0.052397 | 0.68444 | 0.63204
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers-BES | COM | 0.052397 | 0.68444 | 0.63204
Intelligent (Electronic) Defrost Control For Freezer Display Cases | COM | 1.4168 | 0.68444 | -0.7324
Intelligent (Electronic) Defrost Control For Freezer Display Cases | COM | 1.4168 | 0.68444 | -0.7324
Intelligent (Electronic) Defrost Control For Freezer Display Cases | COM | 1.4168 | 0.68444 | -0.7324
Intelligent (Electronic) Defrost Control For Walk-In Freezers | COM | 1.4168 | 0.68444 | -0.7324
Intelligent (Electronic) Defrost Control For Walk-In Freezers | COM | 1.4168 | 0.68444 | -0.7324
Intelligent (Electronic) Defrost Control For Walk-In Freezers | COM | 1.4168 | 0.68444 | -0.7324
Outside Air Economizer For Walk-In Cooler | COM | 0.33327 | 0.10125 | -0.23202
Outside Air Economizer For Walk-In Cooler | COM | 0.33327 | 0.10125 | -0.23202
Outside Air Economizer For Walk-In Cooler | COM | 0.33327 | 0.10125 | -0.23202
Outside Air Economizer For Walk-In Cooler-BES | COM | 0.33327 | 0.10125 | -0.23202
Outside Air Economizer For Walk-In Cooler-BES | COM | 0.33327 | 0.10125 | -0.23202
Outside Air Economizer For Walk-In Cooler-BES | COM | 0.33327 | 0.10125 | -0.23202
Refrigerated Vending Machine Controller | COM | 0 | 0.68444 | 0.68444
Refrigerated Vending Machine Controller | COM | 0 | 0.68444 | 0.68444
Refrigerated Vending Machine Controller | COM | 0 | 0.68444 | 0.68444
Strip Curtains for 3' Open Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Strip Curtains for 3' Open Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Strip Curtains for 3' Open Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Open Drip-Proof (ODP) and Totally Enclosed Fan Cooled (TEFC) Motors | IND | 0.11416 | 0.11416 | 5.2736e-16
Open Drip-Proof (ODP) and Totally Enclosed Fan Cooled (TEFC) Motors | COM | 0.11416 | 0.11416 | 5.2736e-16
Open Drip-Proof (ODP) and Totally Enclosed Fan Cooled (TEFC) Motors | COM | 0.11416 | 0.11416 | 5.2736e-16
Open Drip-Proof (ODP) and Totally Enclosed Fan Cooled (TEFC) Motors | COM | 0.11416 | 0.11416 | 5.2736e-16
Open Drip-Proof (ODP) and Totally Enclosed Fan Cooled (TEFC) Motors | COM | 0.11416 | 0.11416 | 5.2736e-16
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications | IND | 0.11416 | 0.11416 | 5.2736e-16
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications | COM | 0.11416 | 0.10125 | -0.012905
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications | COM | 0.11416 | 0.10125 | -0.012905
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications | COM | 0.11416 | 0.10125 | -0.012905
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications-BES | IND | 0.11416 | 0.101 | -0.013155
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications-BES | COM | 0.11416 | 0.10125 | -0.012905
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications-BES | COM | 0.11416 | 0.10125 | -0.012905
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications-BES | COM | 0.11416 | 0.10125 | -0.012905
Variable Frequency Drives | COM | 0.14 | 0.11416 | -0.025845
Variable Frequency Drives | COM | 0.14 | 0.11416 | -0.025845
Variable Frequency Drives | COM | 0.14 | 0.11416 | -0.025845
Variable Frequency Drives | COM | 0.14 | 0.11416 | -0.025845
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline) | IND | 0.23 | 0.18038 | -0.049625
Comparison of Coincident Peak Demand Savings Ratios from 2014 DSM Potential Study (Base Scenario) to Filed 2016-2018 DSM Resource Plan
Efficiency Measure Name from DSM Potential Study | Building Type | Demand-to-Energy Ratio from DSM Potential Study (W/kWh) | Demand-to-Energy Ratio from filed 2016-2018 DSM Resource Plan model (W/kWh) | Difference (W/kWh)
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline)-BES | IND | 0.23 | 0.18 | -0.05
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life | IND | 0.23 | 0.18 | -0.05
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life-BES | IND | 0.15519 | 0.18 | 0.024809
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-Retrofit (dual baseline) | IND | 0.23 | 0.18038 | -0.049625
Relamp/Reballast-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline)-BES | IND | 0.23 | 0.18 | -0.05
Relamp/Reballast-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-End of life replacement | IND | 0.23 | 0.18 | -0.05
Relamp/Reballast-End of life replacement | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement-BES | IND | 0.23 | 0.18 | -0.05
Relamp/Reballast-End of life replacement-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
T8 Dimmable Stairwell Lighting | IND | 0.23 | 0.18038 | -0.049625
T8 Dimmable Stairwell Lighting | COM | 0.23 | 0.073955 | -0.15605
T8 Dimmable Stairwell Lighting | COM | 0.23 | 0.073955 | -0.15605
T8 Dimmable Stairwell Lighting | COM | 0.23 | 0.073955 | -0.15605
T8 Dimmable Stairwell Lighting | COM | 0.23 | 0.073955 | -0.15605
LED Lamps-Retrofit (dual baseline) | IND | 0.23 | 0.18038 | -0.049625
LED Lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline)-BES | IND | 0.23 | 0.18 | -0.05
LED Lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Comparison of Coincident Peak Demand Savings Ratios from 2014 DSM Potential Study (Base Scenario) to Filed 2016-2018 DSM Resource Plan
Efficiency Measure Name from DSM Potential Study | Building Type | Demand-to-Energy Ratio from DSM Potential Study (W/kWh) | Demand-to-Energy Ratio from filed 2016-2018 DSM Resource Plan model (W/kWh) | Difference (W/kWh)
LED Lamps-End of Life | IND | 0.23 | 0.18038 | -0.049625
LED Lamps-End of Life | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life-BES | IND | 0.23 | 0.18 | -0.05
LED Lamps-End of Life-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life-BES | COM | 0.23 | 0.11429 | -0.11571
LED Refrigeration Strip Lighting-End of Life replacement | COM | 0.21349 | 0.12123 | -0.092259
LED Refrigeration Strip Lighting-End of Life replacement | COM | 0.21349 | 0.12123 | -0.092259
LED Refrigeration Strip Lighting-End of Life replacement | COM | 0.21349 | 0.12123 | -0.092259
LED Exterior Fixtures-End of Life replacement | IND | 0.21031 | 0.22925 | 0.018947
LED Exterior Fixtures-End of Life replacement | COM | 0.21031 | 0.22756 | 0.017258
LED Exterior Fixtures-End of Life replacement | COM | 0.21031 | 0.22756 | 0.017258
LED Exterior Fixtures-End of Life replacement | COM | 0.21031 | 0.22756 | 0.017258
LED Exterior Fixtures-End of Life replacement | COM | 0.21031 | 0.22756 | 0.017258
LED Exit Sign-End of Life replacement | IND | 0.087719 | 0.11416 | 0.026436
LED Exit Sign-End of Life replacement | COM | 0.087719 | 0.11416 | 0.026436
LED Exit Sign-End of Life replacement | COM | 0.087719 | 0.11416 | 0.026436
LED Exit Sign-End of Life replacement | COM | 0.087719 | 0.11416 | 0.026436
LED Exit Sign-End of Life replacement | COM | 0.087719 | 0.11416 | 0.026436
Induction Lamp | IND | 0.23 | N/A | N/A
Induction Lamp | COM | 0.23 | N/A | N/A
Induction Lamp | COM | 0.23 | N/A | N/A
Induction Lamp | COM | 0.23 | N/A | N/A
Induction Lamp | COM | 0.23 | N/A | N/A
Photoluminescent Exit Sign | IND | 0.23 | 0.11416 | -0.11584
Photoluminescent Exit Sign | COM | 0.23 | 0.11416 | -0.11584
Photoluminescent Exit Sign | COM | 0.23 | 0.11416 | -0.11584
Photoluminescent Exit Sign | COM | 0.23 | 0.11416 | -0.11584
Photoluminescent Exit Sign | COM | 0.23 | 0.11416 | -0.11584
Lighting Controls - Occupancy Sensors | IND | 0.2892 | 0 | -0.2892
Lighting Controls - Occupancy Sensors | COM | 0.2892 | 0.073955 | -0.21524
Lighting Controls - Occupancy Sensors | COM | 0.2892 | 0.073955 | -0.21524
Lighting Controls - Occupancy Sensors | COM | 0.2892 | 0.073955 | -0.21524
Lighting Controls - Occupancy Sensors | COM | 0.2892 | 0.073955 | -0.21524
Cycling Refrigerated Air Dryers (≤ 300 CFM capacity) | IND | 0.24038 | 0.11416 | -0.12623
Cycling Refrigerated Air Dryers (≤ 300 CFM capacity) | COM | 0.24038 | 0.11416 | -0.12623
Cycling Refrigerated Air Dryers (≤ 300 CFM capacity) | COM | 0.24038 | 0.11416 | -0.12623
Variable Speed Drive Screw Compressors (10 - 40 hp) | IND | 0.24038 | 0.11416 | -0.12623
Variable Speed Drive Screw Compressors (10 - 40 hp) | COM | 0.24038 | 0.11416 | -0.12623
Variable Speed Drive Screw Compressors (10 - 40 hp) | COM | 0.24038 | 0.11416 | -0.12623
Air-Entraining Air Nozzles (up to 14CFM at 100 psi) | COM | 0.24038 | 0.1685 | -0.071889
No-Loss Drains (Timed drains are not eligible) | COM | 0.24038 | 0.11416 | -0.12623
Air Tanks for Load / No-Load Screw Compressors (10 – 40 hp) | IND | 0.24038 | 0.1685 | -0.071889
Air Tanks for Load / No-Load Screw Compressors (10 – 40 hp) | COM | 0.24038 | 0.1685 | -0.071889
Air Tanks for Load / No-Load Screw Compressors (10 – 40 hp) | COM | 0.24038 | 0.1685 | -0.071889
High-Efficiency Air Source Heat Pumps | COM | 0.16786 | 0.13626 | -0.031608
High-Efficiency Air Source Heat Pumps | COM | 0.16786 | 0.13626 | -0.031608
High-Efficiency Air Source Heat Pumps | COM | 0.16786 | 0.13626 | -0.031608
High-Efficiency Air Source Heat Pumps | COM | 0.16786 | 0.13626 | -0.031608
Ground/Water Source Heat Pumps | COM | 0.23324 | 0.13626 | -0.096989
Ground/Water Source Heat Pumps | COM | 0.23324 | 0.13626 | -0.096989
Ground/Water Source Heat Pumps | COM | 0.23324 | 0.13626 | -0.096989
Ground/Water Source Heat Pumps | COM | 0.23324 | 0.13626 | -0.096989
Integrated Dual Enthalpy Economizer Controls | COM | 0.02125 | 0.68181 | 0.66056
Integrated Dual Enthalpy Economizer Controls | COM | 0.02125 | 0.68181 | 0.66056
Integrated Dual Enthalpy Economizer Controls | COM | 0.02125 | 0.68181 | 0.66056
Integrated Dual Enthalpy Economizer Controls | COM | 0.02125 | 0.68181 | 0.66056
HVAC Hotel Occupancy Sensor | COM | 0.12041 | 0.68181 | 0.5614
Faucet Aerator | IND | 0.22831 | 0.114 | -0.11431
Faucet Aerator | COM | 0.22831 | 0.11416 | -0.11416
Faucet Aerator | COM | 0.22831 | 0.11416 | -0.11416
Faucet Aerator | COM | 0.22831 | 0.11416 | -0.11416
Faucet Aerator | COM | 0.22831 | 0.11416 | -0.11416
DHW Tank Wrap | COM | 0.27473 | 0.11416 | -0.16057
DHW Tank Wrap | COM | 0.27473 | 0.11416 | -0.16057
DHW Pipe Insulation | COM | 0.27473 | 0.11416 | -0.16057
DHW Pipe Insulation | COM | 0.27473 | 0.11416 | -0.16057
Low Flow Showerheads | COM | 0.27473 | 0.11416 | -0.16057
Comparison of Coincident Peak Demand Savings Ratios from 2014 DSM Potential Study (Base Scenario) to Filed 2016-2018 DSM Resource Plan
Efficiency Measure Name from DSM Potential Study | Building Type | Demand-to-Energy Ratio from DSM Potential Study (W/kWh) | Demand-to-Energy Ratio from filed 2016-2018 DSM Resource Plan model (W/kWh) | Difference (W/kWh)
Lower Wattage High Intensity Discharge (HID) Lighting | IND | 0.23416 | N/A | N/A
Lower Wattage High Intensity Discharge (HID) Lighting | COM | 0.23416 | N/A | N/A
Lower Wattage High Intensity Discharge (HID) Lighting | COM | 0.23416 | N/A | N/A
Lower Wattage High Intensity Discharge (HID) Lighting | COM | 0.23416 | N/A | N/A
Halogen Lights with Infrared Coating | IND | 0.23 | N/A | N/A
Halogen Lights with Infrared Coating | COM | 0.23 | N/A | N/A
Halogen Lights with Infrared Coating | COM | 0.23 | N/A | N/A
Halogen Lights with Infrared Coating | COM | 0.23 | N/A | N/A
Halogen Lights with Infrared Coating | COM | 0.23 | N/A | N/A
Custom Efficiency | IND | 0.13 | 0.11416 | -0.015845
Custom Efficiency | COM | 0.13 | 0.13148 | 0.0014755
Unidentified Industrial Future ET | IND | 0.13 | 0.11416 | -0.015845
Unidentified Commercial Future ET | COM | 0.13 | 0.11416 | -0.015845
Whole Building 20% Over Baseline | COM | 0.0425 | 0.13148 | 0.088976
Whole Building 40% Over Baseline | COM | 0.0425 | 0.13148 | 0.088976
* Correct number is 0.000. ENS will attribute zero demand savings for this measure during implementation.

## NSPI IR-17 c) FINAL
Comparison of Coincident Peak Demand Savings Ratios from 2014 DSM Potential Study (Base Scenario) to Filed 2016-2018 DSM Resource Plan
Efficiency Measure Name from DSM Potential Study | Building Type | Demand-to-Energy Ratio from DSM Potential Study (W/kWh) | Demand-to-Energy Ratio from filed 2016-2018 DSM Resource Plan model (W/kWh) | Difference (W/kWh)
Refrigerator Retirement | RES-SF | 0.15949 | 0.13838 | -0.021107
Freezer Retirement | RES-SF | 0.15949 | 0.13838 | -0.021107
Room A/C Retirement | RES-SF | 0 | 0.273* | 0.273*
13 W CFL | RES-SF | 0.1006 | 0.25068 | 0.15008
23 W CFL | RES-SF | 0.1006 | 0.25068 | 0.15008
14 W Dimmable CFL | RES-SF | 0.1006 | 0.25068 | 0.15008
8 W LED | RES-SF | 0.1006 | 0.11416 | 0.013552
8 W LED | RES-SF | 0.1006 | 0.11416 | 0.013552
12 W LED | RES-SF | 0.1006 | 0.11416 | 0.013552
12 W LED | RES-SF | 0.1006 | 0.11416 | 0.013552
5W Chandelier LED bulb | RES-SF | 0.1006 | 0.11416 | 0.013552
1W LED Nightlight | RES-SF | 0.27473 | 0.25068 | -0.02404
Low Flow Faucet Aerator, 1.5 GPM | RES-SF | 0.27473 | 0.16214 | -0.11258
Low Flow (1.25 GPM) showerhead | RES-SF | 0.27473 | 0.16214 | -0.11258
DHW Pipe Insulation | RES-SF | 0.27473 | 0.16214 | -0.11258
DHW Tank Wrap | RES-SF | 0.27473 | 0.16214 | -0.11258
Energuide 83 New Home | RES-NC | 0.26525 | 0.28268 | 0.017427
Energuide 84 New Home | RES-NC | 0.26525 | 0.283 | 0.017748
Energuide 85 New Home | RES-NC | 0.26525 | 0.28268 | 0.017427
Energuide 86 New Home | RES-NC | 0.26525 | 0.28268 | 0.017427
Energuide 87 New Home | RES-NC | 0.26525 | 0.28268 | 0.017427
Energuide 88 New Home | RES-NC | 0.26525 | 0.28268 | 0.017427
Energy Star® Regular CFL | RES-SF | 0.1006 | 0.25068 | 0.15008
Energy Star® Specialty CFL | RES-SF | 0.1006 | 0.25068 | 0.15008
Energy Star® LED Lamps | RES-SF | 0.1006 | 0.25068 | 0.15008
Hardwired Dimmer Switch | RES-SF | 0.1006 | 0 | -0.1006
Indoor Motion Sensor | RES-SF | 0.1006 | 0 | -0.1006
Outdoor Motion Sensor | RES-SF | 0.1006 | 0 | -0.1006
Power bar with integrated timer | RES-SF | 0.14902 | -5.6864e-10 | -0.14902
Smartstrip | RES-SF | 0.1229 | -5.6864e-10 | -0.1229
Heavy Duty Outdoor Timer | RES-SF | 0.029789 | -5.6864e-10 | -0.029789
CEE Tier 3 Refrigerator | RES-SF | 0.034781 | 0.13838 | 0.1036
CEE Tier 3 Clothes Washer | RES-SF | 0.016868 | 0.13838 | 0.12151
DHW Tank Wrap | RES-SF | 0.27473 | 0.16214 | -0.11258
Programmable Electronic Thermostat (Baseboard) | RES-SF | 0.1006 | -0.39932 | -0.49992
Outdoor Clothes line | RES-SF | 0 | N/A | N/A
Energy Star Ventilating Fan | LI | 0.21368 | N/A | N/A
EnergyStar Dehumidifier | LI | 0.21368 | 0.335 | 0.12132
EnergyStar Dehumidifier | LI | 0.21368 | 0.335 | 0.12132
EnergyStar Refrigerator | LI | 0.21368 | 0.138 | -0.075675
EnergyStar Freezer | LI | 0.21368 | 0.138 | -0.075675
Certified Wood Stove | RES-SF | 0.43536 | 0.15597 | -0.27939
Certified Wood Boiler or Furnace | RES-SF | 0.3255 | 0.15597 | -0.16953
Certified Pellet Stove | RES-SF | 0.47625 | 0.15597 | -0.32029
Certified Pellet Boiler or Furnace Supplemented by Baseboard Heat (Whole Home) | RES-SF | 0.40087 | 0.15597 | -0.2449
Advanced Automatic Pellet Combo Boiler | RES-SF | 0.26175 | 0.15597 | -0.10579
Ground Source Heat Pump | RES-SF | 0.44979 | 0.28268 | -0.16712
Energy Star Air Source Heat Pump | RES-SF | 0.47625 | 0.283 | -0.19325
Solar DHW | RES-SF | 0.17778 | 0.24352 | 0.065738
Solar Space and Water Heat (Supplement Electricity) | RES-SF | 0.48474 | 0 | -0.48474
Solar Space Heating (Displacing Electricity) | RES-SF | 0.52917 | 1.2647 | 0.73558
Residential Solar PV | RES-SF | 0.029833 | N/A | N/A
Solar DHW | RES-NC | 0.17778 | 0.24352 | 0.065738
Solar Space and Water Heat (Supplement Electricity) | RES-NC | 0.48474 | 0 | -0.48474
Solar Space Heating (Displacing Electricity) | RES-NC | 0.52917 | 0 | -0.52917
Residential Solar PV | RES-NC | 0.029833 | N/A | N/A
Energy Star Windows (Replace Single Pane) | RES-SF | 0.52917 | 0.283 | -0.24617
Energy Star Windows (300 ft2) (Replace Double Pane) | RES-SF | 0.52917 | 0.283 | -0.24617
Energy Star Door | RES-SF | 0.52917 | 0.283 | -0.24617
Home Energy Report | RES-SF | 0.235 | 0.28268 | 0.047679
DHW Tank Wrap | MURB | 0.27473 | 0.16214 | -0.11258
Low Flow Faucet Aerator, 1.5 GPM | MURB | 0.27473 | 0.16214 | -0.11258
DHW Pipe Insulation | MURB | 0.27473 | 0.16214 | -0.11258
Low Flow (1.25 GPM) showerhead | MURB | 0.27473 | 0.16214 | -0.11258
Unidentified Residential Future ET | RES-SF | 0.1229 | -5.6864e-10 | -0.1229
Under Counter Commercial Dishwasher (Low Temp) | COM | 0.34247 | 0.11416 | -0.22831
Multi-Tank Conveyor Commercial Dish Washer (Low Temp) | COM | 0.34247 | 0.11416 | -0.22831
Under Counter Dishwasher with Booster (High Temp) | COM | 0.34247 | 0.11416 | -0.22831
Single Tank Door Dishwasher with Booster (High Temp) | COM | 0.34247 | 0.11416 | -0.22831
Single Tank Conveyor Dishwasher with Booster (High Temp) | COM | 0.34247 | 0.11416 | -0.22831
Multi Tank Conveyor Dishwasher with Booster (High Temp) | COM | 0.34247 | 0.11416 | -0.22831
Standard Capacity Commercial Electric Fryers | COM | 0.19178 | 0.11416 | -0.077625
Comparison of Coincident Peak Demand Savings Ratios from 2014 DSM Potential Study (Base Scenario) to Filed 2016-2018 DSM Resource Plan
Efficiency Measure Name from DSM Potential Study | Building Type | Demand-to-Energy Ratio from DSM Potential Study (W/kWh) | Demand-to-Energy Ratio from filed 2016-2018 DSM Resource Plan model (W/kWh) | Difference (W/kWh)
Full Size Commercial Hot Food Holding Cabinet | COM | 0.15221 | 0.11416 | -0.038052
Three Quarter Size Commercial Hot Food Holding Cabinet | COM | 0.15575 | 0.11416 | -0.041591
Half Size Commercial Hot Food Holding Cabinet | COM | 0.15575 | 0.11416 | -0.041591
Commercial Electric Griddle | COM | 0.19178 | 0.11416 | -0.077625
Solid Door Commercial Refrigerator | COM | 0.11779 | 0.10132 | -0.01647
Glass Door Commercial Refrigerator | COM | 0.11779 | 0.10132 | -0.01647
Solid Door Commercial Freezer | COM | 0.11779 | 0.10132 | -0.01647
Glass Door Commercial Freezer | COM | 0.11779 | 0.101 | -0.016788
EStar Ice Making Head | COM | 0.19692 | 0.101 | -0.095918
Energy Star Remote Condensing Head/Split System Ice Maker | COM | 0.19692 | 0.101 | -0.095918
Energy Star Self Contained Ice Maker | COM | 0.19692 | 0.101 | -0.095918
Energy Star Commercial Electric Convection Oven | COM | 0.19165 | 0.114 | -0.077654
Variable Speed Drive for Kitchen exhaust fans (Demand Controlled Ventilation) | COM | 0.14 | 0.11416 | -0.025845
Variable Speed Drive for Kitchen exhaust fans (Demand Controlled Ventilation) | COM | 0.14 | 0.11416 | -0.025845
Energy Star, CEE Tier 2 or CEE Tier 3 Commercial Clothes Washer | COM | 0.22831 | 0.114 | -0.11431
Night Covers for 3' Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Night Covers for 3' Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Night Covers for 3' Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Night Covers for 3' Refrigerated Display Cases-BES | COM | 0.085616 | 0.10125 | 0.015634
Night Covers for 3' Refrigerated Display Cases-BES | COM | 0.085616 | 0.10125 | 0.015634
Night Covers for 3' Refrigerated Display Cases-BES | COM | 0.085616 | 0.10125 | 0.015634
Zero Energy Doors for Reach-In Coolers and Freezers | COM | 0.066752 | 0.10125 | 0.034499
Zero Energy Doors for Reach-In Coolers and Freezers | COM | 0.066752 | 0.10125 | 0.034499
Zero Energy Doors for Reach-In Coolers and Freezers | COM | 0.066752 | 0.10125 | 0.034499
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers | COM | 0.11416 | 0.68444 | 0.57028
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers | COM | 0.11416 | 0.68444 | 0.57028
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers | COM | 0.11416 | 0.68444 | 0.57028
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers-BES | COM | 0.11416 | 0.68444 | 0.57028
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers-BES | COM | 0.11416 | 0.68444 | 0.57028
Humidity-Based Door Heater Controls for Reach-In Coolers and Freezers-BES | COM | 0.11416 | 0.68444 | 0.57028
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers | COM | 0.052397 | 0.68444 | 0.63204
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers | COM | 0.052397 | 0.68444 | 0.63204
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers | COM | 0.052397 | 0.68444 | 0.63204
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers-BES | COM | 0.052397 | 0.68444 | 0.63204
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers-BES | COM | 0.052397 | 0.68444 | 0.63204
Evaporator Fan Motor Controls for Walk-In Freezers and Coolers-BES | COM | 0.052397 | 0.68444 | 0.63204
Intelligent (Electronic) Defrost Control For Freezer Display Cases | COM | 1.4168 | 0.68444 | -0.7324
Intelligent (Electronic) Defrost Control For Freezer Display Cases | COM | 1.4168 | 0.68444 | -0.7324
Intelligent (Electronic) Defrost Control For Freezer Display Cases | COM | 1.4168 | 0.68444 | -0.7324
Intelligent (Electronic) Defrost Control For Walk-In Freezers | COM | 1.4168 | 0.68444 | -0.7324
Intelligent (Electronic) Defrost Control For Walk-In Freezers | COM | 1.4168 | 0.68444 | -0.7324
Intelligent (Electronic) Defrost Control For Walk-In Freezers | COM | 1.4168 | 0.68444 | -0.7324
Outside Air Economizer For Walk-In Cooler | COM | 0.33327 | 0.10125 | -0.23202
Outside Air Economizer For Walk-In Cooler | COM | 0.33327 | 0.10125 | -0.23202
Outside Air Economizer For Walk-In Cooler | COM | 0.33327 | 0.10125 | -0.23202
Outside Air Economizer For Walk-In Cooler-BES | COM | 0.33327 | 0.10125 | -0.23202
Outside Air Economizer For Walk-In Cooler-BES | COM | 0.33327 | 0.10125 | -0.23202
Outside Air Economizer For Walk-In Cooler-BES | COM | 0.33327 | 0.10125 | -0.23202
Refrigerated Vending Machine Controller | COM | 0 | 0.68444 | 0.68444
Refrigerated Vending Machine Controller | COM | 0 | 0.68444 | 0.68444
Refrigerated Vending Machine Controller | COM | 0 | 0.68444 | 0.68444
Strip Curtains for 3' Open Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Strip Curtains for 3' Open Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Strip Curtains for 3' Open Refrigerated Display Cases | COM | 0.085616 | 0.10125 | 0.015634
Open Drip-Proof (ODP) and Totally Enclosed Fan Cooled (TEFC) Motors | IND | 0.11416 | 0.11416 | 5.2736e-16
Open Drip-Proof (ODP) and Totally Enclosed Fan Cooled (TEFC) Motors | COM | 0.11416 | 0.11416 | 5.2736e-16
Open Drip-Proof (ODP) and Totally Enclosed Fan Cooled (TEFC) Motors | COM | 0.11416 | 0.11416 | 5.2736e-16
Open Drip-Proof (ODP) and Totally Enclosed Fan Cooled (TEFC) Motors | COM | 0.11416 | 0.11416 | 5.2736e-16
Open Drip-Proof (ODP) and Totally Enclosed Fan Cooled (TEFC) Motors | COM | 0.11416 | 0.11416 | 5.2736e-16
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications | IND | 0.11416 | 0.11416 | 5.2736e-16
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications | COM | 0.11416 | 0.10125 | -0.012905
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications | COM | 0.11416 | 0.10125 | -0.012905
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications | COM | 0.11416 | 0.10125 | -0.012905
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications-BES | IND | 0.11416 | 0.101 | -0.013155
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications-BES | COM | 0.11416 | 0.10125 | -0.012905
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications-BES | COM | 0.11416 | 0.10125 | -0.012905
Electronically Commutated (Brushless) DC Motors for Refrigeration Applications-BES | COM | 0.11416 | 0.10125 | -0.012905
Variable Frequency Drives | COM | 0.14 | 0.11416 | -0.025845
Variable Frequency Drives | COM | 0.14 | 0.11416 | -0.025845
Variable Frequency Drives | COM | 0.14 | 0.11416 | -0.025845
Variable Frequency Drives | COM | 0.14 | 0.11416 | -0.025845
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline) | IND | 0.23 | 0.18038 | -0.049625
Comparison of Coincident Peak Demand Savings Ratios from 2014 DSM Potential Study (Base Scenario) to Filed 2016-2018 DSM Resource Plan
Efficiency Measure Name from DSM Potential Study | Building Type | Demand-to-Energy Ratio from DSM Potential Study (W/kWh) | Demand-to-Energy Ratio from filed 2016-2018 DSM Resource Plan model (W/kWh) | Difference (W/kWh)
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline)-BES | IND | 0.23 | 0.18 | -0.05
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life | IND | 0.23 | 0.18 | -0.05
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life-BES | IND | 0.15519 | 0.18 | 0.024809
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Fluorescent T5 and HPT8 Fixtures (4 FT) lamps-End of Life-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-Retrofit (dual baseline) | IND | 0.23 | 0.18038 | -0.049625
Relamp/Reballast-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline)-BES | IND | 0.23 | 0.18 | -0.05
Relamp/Reballast-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Relamp/Reballast-End of life replacement | IND | 0.23 | 0.18 | -0.05
Relamp/Reballast-End of life replacement | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement-BES | IND | 0.23 | 0.18 | -0.05
Relamp/Reballast-End of life replacement-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
Relamp/Reballast-End of life replacement-BES | COM | 0.23 | varies by building type 0.114 to 0.135 | -0.095 to -0.116
T8 Dimmable Stairwell Lighting | IND | 0.23 | 0.18038 | -0.049625
T8 Dimmable Stairwell Lighting | COM | 0.23 | 0.073955 | -0.15605
T8 Dimmable Stairwell Lighting | COM | 0.23 | 0.073955 | -0.15605
T8 Dimmable Stairwell Lighting | COM | 0.23 | 0.073955 | -0.15605
T8 Dimmable Stairwell Lighting | COM | 0.23 | 0.073955 | -0.15605
LED Lamps-Retrofit (dual baseline) | IND | 0.23 | 0.18038 | -0.049625
LED Lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline) | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline)-BES | IND | 0.23 | 0.18 | -0.05
LED Lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-Retrofit (dual baseline)-BES | COM | 0.23 | 0.11429 | -0.11571
Comparison of Coincident Peak Demand Savings Ratios from 2014 DSM Potential Study (Base Scenario) to Filed 2016-2018 DSM Resource Plan
Efficiency Measure Name from DSM Potential Study | Building Type | Demand-to-Energy Ratio from DSM Potential Study (W/kWh) | Demand-to-Energy Ratio from filed 2016-2018 DSM Resource Plan model (W/kWh) | Difference (W/kWh)
LED Lamps-End of Life | IND | 0.23 | 0.18038 | -0.049625
LED Lamps-End of Life | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life-BES | IND | 0.23 | 0.18 | -0.05
LED Lamps-End of Life-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life-BES | COM | 0.23 | 0.11429 | -0.11571
LED Lamps-End of Life-BES | COM | 0.23 | 0.11429 | -0.11571
LED Refrigeration Strip Lighting-End of Life replacement | COM | 0.21349 | 0.12123 | -0.092259
LED Refrigeration Strip Lighting-End of Life replacement | COM | 0.21349 | 0.12123 | -0.092259
LED Refrigeration Strip Lighting-End of Life replacement | COM | 0.21349 | 0.12123 | -0.092259
LED Exterior Fixtures-End of Life replacement | IND | 0.21031 | 0.22925 | 0.018947
LED Exterior Fixtures-End of Life replacement | COM | 0.21031 | 0.22756 | 0.017258
LED Exterior Fixtures-End of Life replacement | COM | 0.21031 | 0.22756 | 0.017258
LED Exterior Fixtures-End of Life replacement | COM | 0.21031 | 0.22756 | 0.017258
LED Exterior Fixtures-End of Life replacement | COM | 0.21031 | 0.22756 | 0.017258
LED Exit Sign-End of Life replacement | IND | 0.087719 | 0.11416 | 0.026436
LED Exit Sign-End of Life replacement | COM | 0.087719 | 0.11416 | 0.026436
LED Exit Sign-End of Life replacement | COM | 0.087719 | 0.11416 | 0.026436
LED Exit Sign-End of Life replacement | COM | 0.087719 | 0.11416 | 0.026436
LED Exit Sign-End of Life replacement | COM | 0.087719 | 0.11416 | 0.026436
Induction Lamp | IND | 0.23 | N/A | N/A
Induction Lamp | COM | 0.23 | N/A | N/A
Induction Lamp | COM | 0.23 | N/A | N/A
Induction Lamp | COM | 0.23 | N/A | N/A
Induction Lamp | COM | 0.23 | N/A | N/A
Photoluminescent Exit Sign | IND | 0.23 | 0.11416 | -0.11584
Photoluminescent Exit Sign | COM | 0.23 | 0.11416 | -0.11584
Photoluminescent Exit Sign | COM | 0.23 | 0.11416 | -0.11584
Photoluminescent Exit Sign | COM | 0.23 | 0.11416 | -0.11584
Photoluminescent Exit Sign | COM | 0.23 | 0.11416 | -0.11584
Lighting Controls - Occupancy Sensors | IND | 0.2892 | 0 | -0.2892
Lighting Controls - Occupancy Sensors | COM | 0.2892 | 0.073955 | -0.21524
Lighting Controls - Occupancy Sensors | COM | 0.2892 | 0.073955 | -0.21524
Lighting Controls - Occupancy Sensors | COM | 0.2892 | 0.073955 | -0.21524
Lighting Controls - Occupancy Sensors | COM | 0.2892 | 0.073955 | -0.21524
Cycling Refrigerated Air Dryers (≤ 300 CFM capacity) | IND | 0.24038 | 0.11416 | -0.12623
Cycling Refrigerated Air Dryers (≤ 300 CFM capacity) | COM | 0.24038 | 0.11416 | -0.12623
Cycling Refrigerated Air Dryers (≤ 300 CFM capacity) | COM | 0.24038 | 0.11416 | -0.12623
Variable Speed Drive Screw Compressors (10 - 40 hp) | IND | 0.24038 | 0.11416 | -0.12623
Variable Speed Drive Screw Compressors (10 - 40 hp) | COM | 0.24038 | 0.11416 | -0.12623
Variable Speed Drive Screw Compressors (10 - 40 hp) | COM | 0.24038 | 0.11416 | -0.12623
Air-Entraining Air Nozzles (up to 14CFM at 100 psi) | COM | 0.24038 | 0.1685 | -0.071889
No-Loss Drains (Timed drains are not eligible) | COM | 0.24038 | 0.11416 | -0.12623
Air Tanks for Load / No-Load Screw Compressors (10 – 40 hp) | IND | 0.24038 | 0.1685 | -0.071889
Air Tanks for Load / No-Load Screw Compressors (10 – 40 hp) | COM | 0.24038 | 0.1685 | -0.071889
Air Tanks for Load / No-Load Screw Compressors (10 – 40 hp) | COM | 0.24038 | 0.1685 | -0.071889
High-Efficiency Air Source Heat Pumps | COM | 0.16786 | 0.13626 | -0.031608
High-Efficiency Air Source Heat Pumps | COM | 0.16786 | 0.13626 | -0.031608
High-Efficiency Air Source Heat Pumps | COM | 0.16786 | 0.13626 | -0.031608
High-Efficiency Air Source Heat Pumps | COM | 0.16786 | 0.13626 | -0.031608
Ground/Water Source Heat Pumps | COM | 0.23324 | 0.13626 | -0.096989
Ground/Water Source Heat Pumps | COM | 0.23324 | 0.13626 | -0.096989
Ground/Water Source Heat Pumps | COM | 0.23324 | 0.13626 | -0.096989
Ground/Water Source Heat Pumps | COM | 0.23324 | 0.13626 | -0.096989
Integrated Dual Enthalpy Economizer Controls | COM | 0.02125 | 0.68181 | 0.66056
Integrated Dual Enthalpy Economizer Controls | COM | 0.02125 | 0.68181 | 0.66056
Integrated Dual Enthalpy Economizer Controls | COM | 0.02125 | 0.68181 | 0.66056
Integrated Dual Enthalpy Economizer Controls | COM | 0.02125 | 0.68181 | 0.66056
HVAC Hotel Occupancy Sensor | COM | 0.12041 | 0.68181 | 0.5614
Faucet Aerator | IND | 0.22831 | 0.114 | -0.11431
Faucet Aerator | COM | 0.22831 | 0.11416 | -0.11416
Faucet Aerator | COM | 0.22831 | 0.11416 | -0.11416
Faucet Aerator | COM | 0.22831 | 0.11416 | -0.11416
Faucet Aerator | COM | 0.22831 | 0.11416 | -0.11416
DHW Tank Wrap | COM | 0.27473 | 0.11416 | -0.16057
DHW Tank Wrap | COM | 0.27473 | 0.11416 | -0.16057
DHW Pipe Insulation | COM | 0.27473 | 0.11416 | -0.16057
DHW Pipe Insulation | COM | 0.27473 | 0.11416 | -0.16057
Low Flow Showerheads | COM | 0.27473 | 0.11416 | -0.16057
Comparison of Coincident Peak Demand Savings Ratios from 2014 DSM Potential Study (Base Scenario) to Filed 2016-2018 DSM Resource Plan
Efficiency Measure Name from DSM Potential Study | Building Type | Demand-to-Energy Ratio from DSM Potential Study (W/kWh) | Demand-to-Energy Ratio from filed 2016-2018 DSM Resource Plan model (W/kWh) | Difference (W/kWh)
Lower Wattage High Intensity Discharge (HID) Lighting | IND | 0.23416 | N/A | N/A
Lower Wattage High Intensity Discharge (HID) Lighting | COM | 0.23416 | N/A | N/A
Lower Wattage High Intensity Discharge (HID) Lighting | COM | 0.23416 | N/A | N/A
Lower Wattage High Intensity Discharge (HID) Lighting | COM | 0.23416 | N/A | N/A
Halogen Lights with Infrared Coating | IND | 0.23 | N/A | N/A
Halogen Lights with Infrared Coating | COM | 0.23 | N/A | N/A
Halogen Lights with Infrared Coating | COM | 0.23 | N/A | N/A
Halogen Lights with Infrared Coating | COM | 0.23 | N/A | N/A
Halogen Lights with Infrared Coating | COM | 0.23 | N/A | N/A
Custom Efficiency | IND | 0.13 | 0.11416 | -0.015845
Custom Efficiency | COM | 0.13 | 0.13148 | 0.0014755
Unidentified Industrial Future ET | IND | 0.13 | 0.11416 | -0.015845
Unidentified Commercial Future ET | COM | 0.13 | 0.11416 | -0.015845
Whole Building 20% Over Baseline | COM | 0.0425 | 0.13148 | 0.088976
Whole Building 40% Over Baseline | COM | 0.0425 | 0.13148 | 0.088976
* Correct number is 0.000. ENS will attribute zero demand savings for this measure during implementation.