## Measure Tables
[16 empty] | TRC Test Analysis | [7 empty] | VEIC Recommended NEBs | [19 empty] | Program and Portfolio Analysis
[17 empty] | 6.81% |  |  |  |  | 1.26 | this amount is the number of cubic meters per unit for water savings and the same number of cubic meters per unit for wastewater savings |  | 2.729 | refer to 2012 C&I Study Table 4-7 and Table 4-17 for percentage of NEIs from each category | [13 empty] | Plan Year 2016 | [10 empty] | Plan Year 2017 | [10 empty] | Plan Year 2018
[26 empty] | Annual |  |  | One Time | Annual | [8 empty] | Existing Homes
| Existing Residential | [24 empty] | Thermal Comfort | Noise Reduction | Health Impacts | Property Value | Equipment Maintenance | Lighting Quality | Durability | Water Savings | Total Check |  |  |  |  | Measure Name | For Plan Year 2016 | [10 empty] | For Plan Year 2017 | [10 empty] | For Plan Year 2018
[44 empty] | A |  |  | B |  | C = A - B | D = A / B |  |  |  |  | A |  |  | B |  | C = A - B | D = A / B |  |  |  |  | A |  |  | B |  | C = A - B | D = A / B
| Measure Name | Technology Type | Target Market | Measure Life | Annual Energy Savings per Unit (kWh) | Peak Demand Savings per Unit (Watts) | On-Time Incremental Measure Cost ($) | Incentive as a Percent of Incremental Measure Cost (%) | Program Administrative Cost ($) | DSM Administrator Cost (Incentive + Administrative) ($) | DSM Customer Cost (Incremental Measure Cost - Incentive) ($) | Total DSM Cost ($) | Present Value Avoided Cost ($) | Net-To-Gross Ratio | Total Resource Benefit-Cost Ratio (TRC) | TRC Calculation | PV One-Time NEB | PV Annual NEB | TRC With NEBs | TRC % Change | [7 empty] | removed | [11 empty] | Peak Demand Savings (kW) | First Year Energy Savings (MWh) | Cumulative Peak Demand Savings (kW) | Cumulative Energy Savings (MWh) | Total Avoided Cost Benefits ($) | Total NEB ($) | Total Benefits Including NEBs | TRC Costs ($) | Quanitiy of Installed Measures | Total Net Resource Benefits ($) | TRC (Ratio) | Peak Demand Savings (kW) | First Year Energy Savings (MWh) | Cumulative Peak Demand Savings (kW) | Cumulative Energy Savings (MWh) | Total Avoided Cost Benefits ($) | Total NEB ($) | Total Benefits Including NEBs | TRC Costs ($) | Quanitiy of Installed Measures | Total Net Resource Benefits ($) | TRC (Ratio) | Peak Demand Savings (kW) | First Year Energy Savings (MWh) | Cumulative Peak Demand Savings (kW) | Cumulative Energy Savings (MWh) | Total Avoided Cost Benefits ($) | Total NEB ($) | Total Benefits Including NEBs | TRC Costs ($) | Quanitiy of Installed Measures | Total Net Resource Benefits ($) | TRC (Ratio)
#REF! | 10.5 W LED | RES-Lighting | RES-SF | 25 | 44.2783 | 11.0999 | 13 | 100% | 1.6383 | 14.6383 | 0 | 14.6383 | 72.9181 | 0.9072 | 4.9249 | 4.9249 | 3.78 | 0 | 5.1802 | 5.184% | $3.00 ea | 3.78 |  | 3.78 | 0 | 0 | 0 | 0 | 0 | 0 | 3.78 | 0 | 0 | 3.78 | MA TRM p.412 | one time per unit from MA TRM | $3.00 ea |  | 10.5 W LED | 1085.576 | 4330.4397 | 1085.576 | 4330.4397 | 7131426.4081 | 369685.7896 | 7501112.1977 | 1448022.413 | 107804.7547 | 5683403.9951 | 4.9249 | 1098.7085 | 4382.8264 | 2184.2845 | 8713.2661 | 7621148.7559 | 385285.1454 | 8006433.9013 | 1503807.5722 | 112353.7116 | 6117341.1837 | 5.0679 | 989.3246 | 3946.4859 | 3173.6091 | 12659.752 | 7255889.8589 | 357912.9228 | 7613802.7817 | 1391874.2262 | 104371.6473 | 5864015.6328 | 5.213
#REF! | DHW Pipe Insulation | RES-Water Heat | RES-SF | 15 | 120.6908 | 19.5692 | 14 | 100% | 4.4656 | 18.4656 | 0 | 18.4656 | 118.7611 | 0.9072 | 6.2762 | 6.2762 | 0 | 64.5792 | 9.6891 | 54.38% | $5.00 one time + $5.56 per year | $6.25 one time plus $6.95/year |  |  | 7.0056 | 7.0056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0056 | MA TRM p.98 | page 98 MA TRM indicates value to RES SF and p. 414 Appendix C indicates value to LI | $5.00 one time + $6.61 per year | Adjusted-prorated for property value | DHW Pipe Insulation | 154.4791 | 952.7343 | 154.4791 | 952.7343 | 937501.1079 | 509788.9561 | 1447290.0639 | 149373.2062 | 8701.5069 | 788127.9016 | 6.2762 | 155.2476 | 957.4743 | 309.7267 | 1910.2085 | 999984.4114 | 512325.2327 | 1512309.6441 | 150116.3604 | 8744.7982 | 849868.0511 | 6.6614 | 142.6486 | 879.771 | 452.3753 | 2789.9795 | 979088.6859 | 470747.7623 | 1449836.4481 | 137933.7503 | 8035.119 | 841154.9356 | 7.0983
#REF! | DHW Tank Wrap | RES-Water Heat | RES-SF | 7 | 287.9315 | 46.686 | 33 | 100% | 10.6535 | 43.6535 | 0 | 43.6535 | 137.5905 | 0.9072 | 3.0751 | 3.0751 | 0 | 38.0066 | 3.9245 | 27.62% | $5.00 one time + $5.56 per year | $6.25 one time plus $6.95/year |  |  | 7.0056 | 7.0056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0056 | MA TRM p.98 | No Tank Wrap measure in MA-use pipe wrap as a proxy? |  | Adjusted-prorated for property value | DHW Tank Wrap | 150.2867 | 926.8779 | 150.2867 | 926.8779 | 442916.2854 | 122346.6914 | 565262.9768 | 144032.5816 | 3548.3813 | 298883.7038 | 3.0751 | 151.6 | 934.9776 | 301.8866 | 1861.8555 | 491963.8892 | 123415.8337 | 615379.7229 | 145291.2288 | 3579.3893 | 346672.6604 | 3.3861 | 139.7198 | 861.7081 | 441.6065 | 2723.5637 | 499215.5189 | 113744.3609 | 612959.8798 | 133905.4924 | 3298.8907 | 365310.0265 | 3.7281
[39 empty] | Total |  |  |  |  | 8511843.8014 | 1001821.437 | 9513665.2384 | 1741428.2008 |  | 6770415.6005 | 4.8879 |  |  |  |  | 9113097.0565 | 1021026.2118 | 10134123.2684 | 1799215.1614 |  | 7313881.8951 | 5.065 |  |  |  |  | 8734194.0637 | 942405.046 | 9676599.1097 | 1663713.4688 |  | 7070480.5949 | 5.2498
[45 empty] | 5.4631 |  |  |  |  | 4.8879 | [5 empty] | 5.6325 |  |  |  |  | 5.065 | [5 empty] | 5.8163 |  |  |  |  | 5.2498
[45 empty] | NEW TRC RATIO |  |  |  |  | EXISTING TRC RATIO | [5 empty] | NEW TRC RATIO |  |  |  |  | EXISTING TRC RATIO | [5 empty] | NEW TRC RATIO |  |  |  |  | EXISTING TRC RATIO
[45 empty] | TRC Without NEBs | 4.8879 | [9 empty] | TRC Without NEBs | 5.065 | [9 empty] | TRC Without NEBs | 5.2498
[45 empty] | TRC With NEBs | 5.4631 | [9 empty] | TRC With NEBs | 5.6325 | [9 empty] | TRC With NEBs | 5.8163
Note on R2: WACC as applied in 2016-2018 DSM Resource Plan
Note on Z2: Ingrid Malmgren: from E1 https://www.halifax.ca/home-property/halifax-water/accounts-billing/rates-charges-water-wastewater-stormwater Combined water and wastewater volumetric charge.
Note on V7: Ingrid Malmgren: p.409 multi-family p.410 res HES p.412 res lighting
Note on Y7: Ingrid Malmgren: p.409 multi-family p.410 res HES p.412 res lighting
Note on AN7: Ingrid Malmgren: p.409 multi-family p.410 res HES p.412 res lighting
Note on V8: Ingrid Malmgren: MA TRM LI $5.00 one time property value inc. plus $5.56 thermal comfort - NO HEALTH
Note on W8: Ingrid Malmgren: HARDCODED-NEED TO UPDATE MANUALLY
Note on Y8: Ingrid Malmgren: MA TRM LI $5.00 USD one time property value inc. (prorated)
Note on Z8: Ingrid Malmgren: MA TRM LI $5.00 one time property value inc. plus $5.56 thermal comfort - NO HEALTH
Note on AN8: Ingrid Malmgren: only for low income measures thermal comfort, property value increase, and health benefits-should these be transferable?
Note on V9: Ingrid Malmgren: MA TRM LI $5.00 one time property value inc. plus $5.56 thermal comfort - NO HEALTH
Note on W9: Ingrid Malmgren: HARDCODED-NEED TO UPDATE MANUALLY
Note on Y9: Ingrid Malmgren: MA TRM LI $5.00 USD one time property value inc. (prorated)
Note on Z9: Ingrid Malmgren: MA TRM LI $5.00 one time property value inc. plus $5.56 thermal comfort - NO HEALTH