## Objective
Objective | Variable | Definition
arg max Σ (x) ¦ c | x | PV TRC Benefits
| c | Constraints (see Constraints tab)

## Constraints
Constraint | Tolerance (t) | Subscripts | Notes | Reason for Applying Constraint
Portfolio Spending <= (43M * (1 + t) ) | 0% |  |  | Constrain model to desired expenditure level for ENS Preferred Plan.
Portfolio Acquisition Cost ($/kWh) <= (0.3 * (1 + t) ) | 1% |  |  | Mitigate risk profile and prevent unachievable concentrations of savings for particular measures.
Sector Spending_s <= (21.5M * (1 + t)) | 5% | s: Sectors |  | Ensure equal opportunities for participation among both sectors.
Program CE_p >= 1.0 * (1 - t) | 0% | p: Programs |  | Mitigate risk profile and prevent unachievable concentrations of savings for particular measures.
Component Spending_c1 <= [1.5M, 2M, 400k, 400k, 400k, 400k,1.5M] * (1 + t) | 25% | c1: Select Program Components [First Nations Home Retrofits, New Home Construction, ETS Green Heat, ETS Home Energy Assessment, ETS Business Energy Rebates, ETS Small Business Energy Solutions, Affordable Multifamily Renter] |  | Allow for energy efficiency opportunities for under-served populations. Allow for a controlled introduction of Demand Reduction measures, building off of 2019 Pilot Activities.
Component Spending_c1 >= [1.5M, 2M, 400k, 400k, 400k, 400k,1.5M] * (1 - t) | 25% | c1: Select Program Components [First Nations Home Retrofits, New Home Construction, ETS Green Heat, ETS Home Energy Assessment, ETS Business Energy Rebates, ETS Small Business Energy Solutions, Affordable Multifamily Renter] |  | Allow for energy efficiency opportunities for under-served populations. Allow for a controlled introduction of Demand Reduction measures, building off of 2019 Pilot Activities.
Component Savings_c2 <= [c2] * (1 + t) | 25% | c2: Select Program Components [Appliance Retirement, Efficient Products Installation, Green Heat, Home Energy Assessment, New Home Construction, Business Energy Rebates, Small Business Energy Solutions, Custom Retrofit, EMIS, SEM] | Constraint not applied to all components. See c2 | Ensure program component savings goals are within a feasible range based on preliminary internal reviews.
Component Savings_c2 >= [c2] * (1 - t) | 25% | c2: Select Program Components [Appliance Retirement, Efficient Products Installation, Green Heat, Home Energy Assessment, New Home Construction, Business Energy Rebates, Small Business Energy Solutions, Custom Retrofit, EMIS, SEM] | Constraint not applied to all components. See c2 | Ensure program component savings goals are within a feasible range based on preliminary internal reviews.
kWh Savings_eu <= [eu] * (1 + t) | 25% | eu: End Uses | End use savings caps determined by achievable potential. See eu | Mitigate risk profile and prevent unachievable concentrations of savings for particular end uses. Ensure diversity in end-uses that replace lighting end-use, given declining lighting activity.
Pct Lighting <= [Ltg_s] * (1 + t) | 0% | s: Sectors | kWh savings percentage cap from lighting end use | Prevent the selection of large quantities of lighting measures, allow for declining inefficient lighting penetration to address potentially upcoming regulatory changes to Canada’s Energy Efficiency Regulations (Amendment 17)
kWh Savings_cm <= [cm1] * (1 + t) | 33% | cm1: Common Measure Names | Common measure savings caps determined by historical achievements (2017), when available. | Allowing for measure uptake within a specified range of historical provides a reasonable range of measure uptake that has a higher probability of achieving in-market success, and serves as a starting point for further modification. Measures for which ENS does not have experience pose higher levels of risk.
Participation Proportion_c4_cm3 <= [c4_cm3] * (1 + t) | 10% | c4_cm3: Common Measure Name within Program Component | Constraint not applied to all components/measures. See c4_cm3 | Ensure measure uptake in model is coordinated with expectations regarding the relative level of measure uptake from preliminary designs of services with no history.
Participation Proportion_c4_cm3 >= [c4_cm3] * (1 - t) | 10% | c4_cm3: Common Measure Name within Program Component | Constraint not applied to all components/measures. See c4_cm3 | Ensure measure uptake in model is coordinated with expectations regarding the relative level of measure uptake from preliminary designs of services with no history.

## c2
| 2020 | 2021 | 2022
Appliance Retirement | 2200000 | 1800000 | 1600000
Efficient Products Installation | 13000000 | 12000000 | 11000000
Green Heat | 8500000 | 8500000 | 8500000
Home Energy Assessment | 8500000 | 9000000 | 9500000
New Home Construction | 5000000 | 5000000 | 5000000
Business Energy Rebates | 47000000 | 48000000 | 49000000
Small Business Energy Solutions | 12000000 | 12000000 | 12000000
EMIS | 1000000 | 1000000 | 1000000
SEM | 1000000 | 1000000 | 1000000

## eu
| 2020 | 2021 | 2022 | Total
BNI Cooking and Laundry | 899119.2 | 920111.95 | 944706.94 | 2763938.09
BNI Domestic Hot Water (DHW) | 746987.38 | 784507.12 | 826093.11 | 2357587.61
BNI Energy Management | 25000000 | 25000000 | 25000000 | 75000000
BNI HVAC | 9053940.19 | 9148314.67 | 9284875.72 | 27487130.58
BNI Lighting | 70250000 | 63225000 | 63225000 | 196700000
BNI Other | 40195524.98 | 39102042.63 | 38267398.99 | 117564966.6
BNI Process | 497005.31 | 519236.09 | 544120.74 | 1560362.14
BNI Refrigeration | 599174.27 | 603514.79 | 609975.9 | 1812664.96
Res Domestic Hot Water (DHW) | 2180126.42 | 2193615.75 | 2210475.08 | 6584217.25
Res Heating, Ventilation and Air-Conditioning | 19203663.32 | 18608745.85 | 18155863.16 | 55968272.33
Res Lighting | 63225000 | 56200000 | 49175000 | 168600000
Res Other | 22747707.75 | 22465859.09 | 22136739.15 | 67350305.99
Res Refrigeration | 7442300.25 | 7180801.22 | 6608091.11 | 21231192.58

## Lgt
| 2020 | 2021 | 2022
BNI | 55% | 50% | 45%
Residential | 45% | 40% | 35%

## cm1
Common Measure Name | Annual energy savings (kWh/year)
1/2 Size Hot Food Holding Cabinet | 200000
11W Replacing 60W | 481.5429
11W Replacing 60W - MURB | 200000
18W Replacing 100W | 107177.6898
18W Replacing 100W - MURB | 3492.0049
18W Replacing 75W | 8915.9141
18W Replacing 75W - MURB | 280.0811
5W Chandelier E12 | 803304.5936
5W Chandelier E12 - MURB | 42666.1532
7W G25 | 108158.151
7W G25 - MURB | 9100.1661
7W GU10 Replacing 35W | 41014.0108
7W GU10 Replacing 35W - MURB | 2043.8876
7W GU10 Replacing 50W | 397933.5569
7W GU10 Replacing 50W - MURB | 36968.4111
9.5W Replacing 100W | 62923.6522
9.5W Replacing 100W - MURB | 296.4601
9.5W Replacing 40W | 37791.6992
9.5W Replacing 40W - MURB | 1698.5033
9.5W Replacing 60W | 1022262.332
9.5W Replacing 60W - MURB | 18114.3661
9W Replacing 100W | 208221.4404
9W Replacing 100W - MURB | 78399.7693
9W Replacing 40W | 146028.7016
9W Replacing 40W - MURB | 10078.8238
9W Replacing 60W | 8644532.734
9W Replacing 60W - MURB | 976917.8619
Advanced Lighting Design (Performance Lighting) | 200000
Air Conditioner retirement | 26660
Air-Entraining Air Nozzle | 200000
ASHP and AWHP - Electrical | 275848
Case Lighting for Sign Retrofits | 111793.5
CEE Tier 2 Commercial Washing Machine | 200000
CEE Tier 3 Commercial Washing Machine | 200000
Circulation Fan (Agriculture) | 200000
Clothes Dryer replacement | 200000
Clothes Dryers | 200000
Clothes Washer replacement | 200000
Clothes Washers | 200000
Clothes-line | 220500
Cold Climate Air-Source Heat Pump (24kBTU/hr) | 1531537.731
Cold Climate Air-Source Heat Pump (48kBTU/hr) | 1038937.876
Custom Energy Efficiency | 22421000
Cycling Refrigerated Air Dryer - 50 CFM | 200000
Dairy Scroll Compressor | 47248
Daylighting Controls - Ceiling Mounted | 1860
Daylighting Controls - Switch-Mounted | 78
Dehumidifier | 106421.7
Dehumidifier replacement (Low income only) | 81840
Dimmer Switch | 149938.64
Dishwasher replacement | 200000
Door Heater Controls | 122590.95
Double Heat Pad (Agriculture) | 200000
Downlight Luminaire (1200 lumen) | 2774617.65
Downlight Luminaire (3000 lumen) | 1766149.875
Downlight Luminaire (800 lumen) | 14985515.16
Drain Water Heat Recovery | 200000
Dual Enthalpy Economizer Controls | 12885
EC Motor for Refrigeration Applications | 197308.488
ECM Circulator Pump | 1000
Efficient clothes washer | 281436
Efficient refrigerator | 29498
Electric Combination Oven | 200000
Electric Combination Oven with Gas | 18282
Electric Convection Oven | 5811
Electric Convection Oven with Gas | 60295
Electric Fryer Replacement with Gas | 200000
Electric Griddle Replacement with Gas | 200000
Electric Steam Cooker | 200000
Electric Steam Cooker Replacement with Gas | 200000
Electric to Natural Gas - Water Heater | 2000000
Energy Management Information Systems | 1402000
Energy Star Dryer | 200000
ENERGY STAR Pool Pump | 200000
ENERGY STAR Uninterruptible Power Supplies (UPS) | 200000
ENERGY STAR Washing Machine | 1564.286
Evaporator Fan Motor Controls | 58249.62
Faucet Aerators | 717066
Faucet Aerators - MURB | 114760
Flood Luminaire (10000 lumen) | 4636517.644
Flood Luminaire (48000 lumen) | 633185.064
Four Pin Replacement Lamps for CFLs | 4013.1
Freezer replacement | 200000
Freezer replacement (Low income only) | 283997
Freezer retirement | 1433443
Fridge replacement | 200000
Fuel Pump Canopy Luminaire (4000 lumen) | 28226.6667
Glass Door Refrigerator | 3096
Ground Source Heat Pump (60kBTU/hr) | 1063307.751
GSHP | 69264
Heat Pump Clothes Dryer | 200000
Heat Pump Dryer (ventless) | 200000
Heat Pump Water Heater | 22841.904
Heat Reclaimer Unit (Agriculture) | 22868
Heavy duty timer | 299754
High Bay Luminaire (15 000 lumen) | 149901.633
High Bay Luminaire (35 000 lumen) | 1179838.023
High Efficiency Circulator Pump 1.5kW | 17906
High Efficiency Circulator Pump 100W | 844
High Efficiency Circulator Pump 300W | 11925
High Volume Low Speed Fan (Agriculture) | 67563.6
Holiday Lights Exchange | 26398.7536
Holiday Lights Exchange - MURB | 200000
Hot Water Tank Wrap | 488589.192
Hot Water Tank Wrap - MURB | 39055.64
HVAC Hotel Occupancy Sensor | 200000
Hybrid Heat Pump Dryer | 200000
Ice-Making Head | 200000
Indoor motion sensor | 13332.38
Large Commercial/Industrial ETS System | 200000
LED - ENERGY STAR Fixture with Motion Sensor | 221458.35
LED - ENERGY STAR Fixture without Motion Sensor | 1454223.182
LED - Other | 3224177.947
LED - R, BR and Decorative | 2039860.531
LED - Recessed downlight | 504995.3338
LED Nightlights | 200145.7815
LED Nightlights - MURB | 26786.181
LED Replacement Lamps for HID (10000 lumen) | 24333.3333
LED Replacement Lamps for HID (4000 lumen) | 10463.3333
LED Troffer (1x4) | 339967.5435
LED Troffer (2x2) | 675565.856
LED Troffer (4x2) | 1883633.7
LED Wall Sconce (1200 lumen) | 14453.775
Linear Ambient Luminaire (10000 lumen) | 45618.8605
Linear Ambient Luminaire (2000 lumen) | 28945.9566
Linear Ambient Luminaire (4000 lumen) | 768400
Linear Ambient Luminaire (8000 lumen) | 780456.3411
Linear Replacement Lamp (2 foot) | 25440.4199
Linear Replacement Lamp (4 foot) | 8706883.892
Low-bay Luminaire (10,000 lumen) | 49629.18
Low-bay Luminaire (5000 lumen) | 274477.665
Low-flow showerhead - 0.5 gpm Reduction | 208388
Low-flow showerhead - 0.5 gpm Reduction - MURB | 14490
Low-flow showerhead - 1.0 gpm Reduction | 1150736
Low-flow showerhead - 1.0 gpm Reduction - MURB | 169330
Low-flow showerhead -0.75 gpm Reduction | 433650
Low-flow showerhead -0.75 gpm Reduction - MURB | 54560
Low/Zero Energy Livestock Waterer | 2800
Luminaire Level Lighting Control (LLLC) - High Impact Application | 200000
Luminaire Level Lighting Control (LLLC) - Low Impact Application | 200000
Medium Commercial ETS System | 200000
Milk Pre-cooler | 44958
Mini freezer retirement | 10137
Mini fridge retirement | 16511
Motion sensor with dimmer switch | 791.136
MSHP - Fully Electrical | 2964110
MSHP - Mainly Electrical | 368280
Multi-Tank Conveyor Dishwasher - High Temp | 200000
Multi-Tank Conveyor Dishwasher - Low Temp | 200000
Natural Barn Ventilation - Year-Round | 46970
Networked/ Connected - Indoor LED Lamp | 200000
Networked/Connected - High Impact Application | 200000
Networked/Connected - Low Impact Application | 200000
No-Loss Drain | 200000
Occupancy Sensor (Ceiling Mounted) | 1334265.24
Occupancy Sensor (Wall Mounted) | 1664713.98
Occupancy Sensor (Exterior) | 21563.998
Open to Closed Cooler Conversion | 200000
Outdoor motion sensor | 191595
Outside Air Economizer | 514135.845
Packaged Terminal Heat Pump (12kBTU/hr) | 2756271.07
Parking Garage Luminaire (4000 lumen) | 27010
Pellet Boiler/Furnace | 200000
Pellet Stove | 170000
Pipe Insulation | 259087.1374
Pipe Insulation - MURB | 17068.2031
Pole/Arm-Mounted Area Luminaire (20000 lumen) | 216445
Pole/Arm-Mounted Area Luminaire (4000 lumen) | 17739
Pole/Arm-Mounted Area Luminaire (60000 lumen) | 291270
Pole/Arm-Mounted Decorative Luminaire (1500 lumen) | 200000
Pole/Arm-Mounted Decorative Luminaire (5000 lumen) | 8541
Pot, Pan and Utensil Dishwasher - High Temp | 200000
Power bar with timer | 32488.5
Premium High Bay Luminaire (15 000 lumen) | 116093.25
Premium High Bay Luminaire (35 000 lumen) | 248009.58
Premium High Bay Luminaire (60 000 lumen) | 200000
Programmable thermostat | 584766
Programmable thermostats | 200000
Range / Stove replacement | 200000
Refrigerated Case Luminaire | 111.033
Refrigerator replacement (Low income only) | 41595
Refrigerator retirement | 2896607
Remote Condensing Unit | 200000
Residential DHW Timer | 200000
Residential ETS System (Central) | 200000
Residential ETS System (Room) | 200000
Room air purifier | 63840
Server Virtualization and Decommissioning | 200000
Single -Tank Conveyor Dishwasher - High Temp | 200000
Single -Tank Conveyor Dishwasher - Low Temp | 200000
Single Heat Pad (Agriculture) | 200000
Single-Tank Door type Dishwasher - High Temp | 11863.2391
Single-Tank Door type Dishwasher - Low Temp | 16152.5529
Small Commercial ETS System | 200000
Smart power bar | 4842
Smart Power Controllers | 2514087
Smart Power Controllers - MURB | 176319
Solar air heating | 200000
Solar Domestic Hot Water | 47651
Solid Door Freezer | 3708
Solid Door Refrigerator | 5224
Standard Capacity Electric Fryer | 200000
Strategic Energy Management | 2269000
Strip-Curtains for Display Cases | 1738
Track/Mono-point Direction Luminaire | 133091.9174
Unconverted D | 1171179
Under-Counter Dishwasher - HighTemp | 6341.3531
Under-Counter Dishwasher - Low Temp | 200000
Ventilation Fan (Agriculture) | 200000
VFD - 10 hp - Institutional - Make-up Air Fan | 78658.96
VFD - 10 hp - Retail - Supply Fan | 26497.11
VFD - 20 hp - Institutional - Chilled Water Pump | 107627.494
VFD - 20 hp - Retail - Exhaust Fan | 137117.516
VFD - 30 hp - Institutional - Make-up Air Fan | 196423.118
VFD - 30 hp - Retail - Supply Fan | 74983.642
VFD - 40 hp - Warehousing - Exhaust Fan | 288767.72
VFD - 5 hp - Institutional - Chilled Water Pump | 7260
VFD - 5 hp - Retail - Exhaust Fan | 35745.664
VFD Milk Transfer Pump | 200000
VFD Milk Vacuum Pump | 17854.82
Wall Mounted Area Luminaire (1000 lumen) | 278699.4
Wall Mounted Area Luminaire (10000 lumen) | 156300.3
Wall wash luminaire (1500 lumen) | 200000
Wall Wash Luminaire (1000 lumen) | 316.5498
Whole home - tier 1 (45% better than code target) | 1758759.377
Whole home - tier 2 (60% better than code target) | 405603.999
Whole home - tier 3 (70% better than code target) | 71077.4331
Whole Home | 7538000
Whole Home - tier 0 (22% better than code on average) | 508858.5619
Whole Home First Nations Retrofit | 2000000
Wood Boiler/Furnace | 27608
Wood Stove | 511000
Zero-Energy Doors for Reach-In Coolers | 200000

## c4_cm3
Common Measure Name | ETS Green Heat | ETS Home Energy Assessment | First Nations Home Retrofits | ETS Business Energy Rebates | ETS Small Business Energy Solutions | Affordable MultiFamily Renter
Residential ETS System (Room) | 0.66667 | 0.66667 | 0 | 0 | 0 | 0
Residential ETS System (Central) | 0.33333 | 0.33333 | 0 | 0 | 0 | 0
Whole Home First Nations Retrofit | 0 | 0 | 0.375 | 0 | 0 | 0
Refrigerator replacement (Low income only) | 0 | 0 | 0.25 | 0 | 0 | 0
Freezer replacement (Low income only) | 0 | 0 | 0.125 | 0 | 0 | 0
Dehumidifier replacement (Low income only) | 0 | 0 | 0.125 | 0 | 0 | 0
Drain Water Heat Recovery | 0 | 0 | 0.125 | 0 | 0 | 0
Small Commercial ETS Sytem | 0 | 0 | 0 | 0.7 | 0.90909 | 0
Medium Commercial ETS System | 0 | 0 | 0 | 0.2 | 0.090909 | 0
Large Commercial/Industrial ETS System | 0 | 0 | 0 | 0.1 | 0 | 0
Custom Energy Efficiency | 0 | 0 | 0 | 0 | 0 | 1