## Res IMC Summary
Affordable Multi-Family Housing
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Per Unit One-Time Incremental Measure Cost ($) | Source
Cold Climate Air-Source Ductless Heat Pump (24kBTU/hr) (Multi-Family) | Res HVAC | ROB/NEW | 18 | N/A | 6884.08 | Navigant (2018) "Ductless Mini-Split Heat Pump Cost Study (RES 28)." p.14-16. http://ma-eeac.org/wordpress/wp-content/uploads/RES28_Assembled_Report_2018-10-05.pdf
Cold Climate Air-Source Ductless Heat Pump (48kBTU/hr) (Multi-Family) | Res HVAC | ROB/NEW | 18 | N/A | 13768.16 | Navigant (2018) "Ductless Mini-Split Heat Pump Cost Study (RES 28)." p.14-16. http://ma-eeac.org/wordpress/wp-content/uploads/RES28_Assembled_Report_2018-10-05.pdf
Comprehensive Path | Res Other | ROB/NEW | 18.1 | N/A | 47616.075 | Incremental costs for this measure were assumed to be established as the per particpant incentive divided by 0.8. This is intended to reflect future program conditions which bound incentives at 80% of customer costs.
Heat Pump Water Heater (Electric Resistance) | Res HVAC | RET | 10 | 3.3333 | 2806.3 | Navigant (2018) "Water Heating, Boiler, and Furnace Cost Study (RES 19)." p.23 http://ma-eeac.org/wordpress/wp-content/uploads/RES19_Assembled_Report_2018-09-27.pdf
Heat Pump Water Heater (Heat Pump) | Res HVAC | RET | 10 | 3.3333 | 2806.3 | Navigant (2018) "Water Heating, Boiler, and Furnace Cost Study (RES 19)." p.23 http://ma-eeac.org/wordpress/wp-content/uploads/RES19_Assembled_Report_2018-09-27.pdf
Affordable Single-Family Homes
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Per Unit One-Time Incremental Measure Cost ($) | Source
Affordable Single-Family Homes | Res HVAC | RET | 20 | 6.6667 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Clothes Dryer replacement (Low Income Only) | Res Other | RET | 5 | 1.6667 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Freezer replacement (Low income only) | Res Refrigeration | RET | 4 | 1.3333 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Refrigerator replacement (Low income only) | Res Refrigeration | RET | 5 | 1.6667 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Appliance Retirement
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Per Unit One-Time Incremental Measure Cost ($) | Source
Air Conditioner retirement - Bulk | Res HVAC | RET | 3 | 1 | 40.5999 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $10
Air Conditioner retirement - Drop Off | Res HVAC | RET | 3 | 1 | 38.8714 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $10
Air Conditioner retirement | Res HVAC | RET | 3 | 1 | 49.2543 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $10
Freezer retirement - Bulk | Res Refrigeration | RET | 4 | 1.3333 | 133.8141 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $50
Freezer retirement - Drop Off | Res Refrigeration | RET | 4 | 1.3333 | 72.863 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $50
Freezer retirement | Res Refrigeration | RET | 4 | 1.3333 | 168.5141 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $50
Mini freezer retirement - Bulk | Res Refrigeration | RET | 4 | 1.3333 | 75.8285 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $10
Mini freezer retirement - Drop Off | Res Refrigeration | RET | 4 | 1.3333 | 61.1571 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $10
Mini freezer retirement | Res Refrigeration | RET | 4 | 1.3333 | 93.1856 | Etablished as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $10
Mini fridge retirement - Bulk | Res Refrigeration | RET | 4 | 1.3333 | 75.8285 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $10
Mini fridge retirement - Drop Off | Res Refrigeration | RET | 4 | 1.3333 | 61.1571 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $10
Mini fridge retirement | Res Refrigeration | RET | 4 | 1.3333 | 93.1856 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $10
Refrigerator retirement - Bulk | Res Refrigeration | RET | 4 | 1.3333 | 133.8141 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $50
Refrigerator retirement - Drop Off | Res Refrigeration | RET | 4 | 1.3333 | 72.863 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $50
Refrigerator retirement | Res Refrigeration | RET | 4 | 1.3333 | 168.5141 | Established as the Appliance Retirement Incentive (which represents the direct costs of appliance retirement as well the customer cash incentive) less the cash incentive for this measure, which was modelled as $50
Efficient Products Installation
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Per Unit One-Time Incremental Measure Cost ($) | Source
18W Replacing 100W | Res Lighting | RET | 9.3 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
5W Chandelier E12 - MURB | Res Lighting | RET | 4 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
5W Chandelier E12 | Res Lighting | RET | 4 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
7W G25 - MURB | Res Lighting | RET | 4 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
7W G25 | Res Lighting | RET | 4 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
7W GU10 Replacing 35W | Res Lighting | RET | 4.8 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
7W GU10 Replacing 50W - MURB | Res Lighting | RET | 5.5 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
7W GU10 Replacing 50W | Res Lighting | RET | 5.5 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
9.5W Replacing 100W - MURB | Res Lighting | RET | 9.3 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
9.5W Replacing 100W | Res Lighting | RET | 9.3 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
9.5W Replacing 40W - MURB | Res Lighting | RET | 5 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
9.5W Replacing 40W | Res Lighting | RET | 5 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
9.5W Replacing 60W - MURB | Res Lighting | RET | 6.7 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
9.5W Replacing 60W | Res Lighting | RET | 6.7 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
9W Replacing 100W | Res Lighting | RET | 9.3 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
9W Replacing 40W - MURB | Res Lighting | RET | 5 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
9W Replacing 40W | Res Lighting | RET | 5 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
9W Replacing 60W - MURB | Res Lighting | RET | 6.7 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
9W Replacing 60W | Res Lighting | RET | 6.7 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Air Sealing Measures - Elect Res - MURB | Res HVAC | ROB/NEW | 15 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Air Sealing Measures - Elect Res | Res HVAC | ROB/NEW | 15 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Air Sealing Measures - HP - MURB | Res HVAC | ROB/NEW | 15 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Air Sealing Measures - HP | Res HVAC | ROB/NEW | 15 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Dimmer Switch | Res Lighting | ROB/NEW | 10 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Faucet Aerators - MURB | Res Domestic Hot Water (DHW) | ROB/NEW | 10 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Faucet Aerators | Res Domestic Hot Water (DHW) | ROB/NEW | 10 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Hot Water Tank Wrap - MURB | Res Domestic Hot Water (DHW) | ROB/NEW | 7 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Hot Water Tank Wrap | Res Domestic Hot Water (DHW) | ROB/NEW | 7 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Indoor motion sensor | Res Lighting | ROB/NEW | 10 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
LED - ENERGY STAR Fixture with Motion Sensor | Res Lighting | RET | 9.7 | 1 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
LED Nightlights - MURB | Res Lighting | RET | 23 | 7.6667 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
LED Nightlights | Res Lighting | RET | 23 | 7.6667 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Low-flow showerhead - 1.0 gpm Reduction - MURB | Res Domestic Hot Water (DHW) | ROB/NEW | 10 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Low-flow showerhead - 1.0 gpm Reduction | Res Domestic Hot Water (DHW) | ROB/NEW | 10 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Motion sensor with dimmer switch | Res Lighting | ROB/NEW | 10 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Outdoor motion sensor | Res Lighting | ROB/NEW | 10 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
PAR20 7 W Replacing 50 W - MURB | Res Lighting | ROB/NEW | 5.5 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
PAR20 7 W Replacing 50 W | Res Lighting | ROB/NEW | 5.5 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
PAR38 15 W Replacing 150 W | Res Lighting | ROB/NEW | 6.8 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Pipe Insulation - MURB | Res Domestic Hot Water (DHW) | ROB/NEW | 15 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Pipe Insulation | Res Domestic Hot Water (DHW) | ROB/NEW | 15 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Smart thermostats for central air source heat pump | Res HVAC | ROB/NEW | 11 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Smart thermostats for electric baseboards | Res HVAC | ROB/NEW | 11 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Smart thermostats for mini-split heat pumps | Res HVAC | ROB/NEW | 11 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Thermostatic Shower Valves -2.5gpm - MURB | Res Other | ROB/NEW | 10 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Thermostatic Shower Valves -2.5gpm | Res Other | ROB/NEW | 10 | N/A | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Green Heat
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Per Unit One-Time Incremental Measure Cost ($) | Source
ASHP and AWHP - Electrical | Res HVAC | RET | 18 | 6 | 11752 | 2020-2022 Plan Assumptions
GSHP | Res HVAC | RET | 25 | 8.3333 | 20592 | 2020-2022 Plan Assumptions
MSHP - Fully Electrical | Res HVAC | RET | 18 | 6 | 5856 | 2020-2022 Plan Assumptions
MSHP - Mainly Electrical | Res HVAC | RET | 18 | 6 | 5856 | 2020-2022 Plan Assumptions
Pellet Boiler/Furnace (Electric Resistance) | Res HVAC | RET | 18 | 6 | 7980 | https://www.nyserda.ny.gov/All-Programs/Programs/Renewable-Heat-NY/Residential-Wood-Pellet-Stove/Residential-Pellet-Stove-Program-FAQ https://www.efficiencymaine.com/docs/EM-Quick-Guide-to-Home-Heating.pdf Option B on p. 47 of: https://fyi.extension.wisc.edu/energy/files/2018/07/energy_efficient_wood_heating.pdf
Pellet Boiler/Furnace (Heat Pump) | Res HVAC | RET | 18 | 6 | 7980 | https://www.nyserda.ny.gov/All-Programs/Programs/Renewable-Heat-NY/Residential-Wood-Pellet-Stove/Residential-Pellet-Stove-Program-FAQ https://www.efficiencymaine.com/docs/EM-Quick-Guide-to-Home-Heating.pdf Option B on p. 47 of: https://fyi.extension.wisc.edu/energy/files/2018/07/energy_efficient_wood_heating.pdf
Pellet Stove (Electric Resistance) | Res HVAC | RET | 18 | 6 | 4384 | 2020-2022 Plan Assumptions
Pellet Stove (Heat Pump) | Res HVAC | RET | 18 | 6 | 4384 | 2020-2022 Plan Assumptions
Residential DHW Timer | Res HVAC | ROB/NEW | 15 | N/A | 200 | 2020-2022 Plan Assumptions
Residential ETS System (Central) | Res HVAC | RET | 18 | 6 | 5000 | 2020-2022 Plan Assumptions
Residential ETS System (Room) | Res HVAC | RET | 18 | 6 | 2000 | 2020-2022 Plan Assumptions
Solar Domestic Hot Water | Res Domestic Hot Water (DHW) | RET | 20 | 6.6667 | 3787 | https://www.angieslist.com/articles/how-much-does-solar-water-heater-cost.htm
Three Element Hot Water Heater | Res Heating, Ventilation and Air-Conditioning | ROB/NEW | 10 | N/A | 300 | Assumes $750 dollar cost for three-element hot water heater, and $450 for standard tank. Based on web-pricing review.
Wood Boiler/Furnace (Electric Resistance) | Res HVAC | RET | 18 | 6 | 17533.8333 | https://www.pickhvac.com/outdoor-wood-furnace/ https://www.efficiencymaine.com/docs/EM-Quick-Guide-to-Home-Heating.pdf Option C on p. 48 of: https://fyi.extension.wisc.edu/energy/files/2018/07/energy_efficient_wood_heating.pdf
Wood Boiler/Furnace (Heat Pump) | Res HVAC | RET | 18 | 6 | 17533.8333 | https://www.pickhvac.com/outdoor-wood-furnace/ https://www.efficiencymaine.com/docs/EM-Quick-Guide-to-Home-Heating.pdf Option C on p. 48 of: https://fyi.extension.wisc.edu/energy/files/2018/07/energy_efficient_wood_heating.pdf
Wood Stove (Electric Resistance) | Res HVAC | RET | 18 | 6 | 3545 | 2020-2022 Plan Assumptions
Wood Stove (Heat Pump) | Res HVAC | RET | 18 | 6 | 3545 | 2020-2022 Plan Assumptions
Home Energy Assessment
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Per Unit One-Time Incremental Measure Cost ($) | Source
Heat Pump Water Heater | Res Domestic Hot Water (DHW) | RET | 10 | 3.3333 | 2070.5656 | 2021 Illinois TRM page 200; Volume 3 Residential
Residential ETS System (Central) | Res HVAC | RET | 20 | 6.6667 | 5000 | 2020-2022 Plan Assumptions
Residential ETS System (Room) | Res HVAC | RET | 20 | 6.6667 | 2000 | 2020-2022 Plan Assumptions
Whole Home - Adjusted Incentive and Savings | Res HVAC | RET | 20 | 6.6667 | 6057.268 | 2020-2022 Plan Assumptions, adjusted to include audit cost
Instant Savings
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Per Unit One-Time Incremental Measure Cost ($) | Source
Clothes-line | Res Other | ROB/NEW | 10 | N/A | 61.4161 | 2020-2022 Plan Assumptions
Dehumidifier | Res HVAC | ROB/NEW | 12 | N/A | 229.7557 | 2020-2022 Plan Assumptions
Dimmer Switch | Res Lighting | ROB/NEW | 10 | N/A | 14.0906 | 2020-2022 Plan Assumptions
ECM Pool Pump | Res HVAC | ROB/NEW | 10 | N/A | 313.7612 | 2020-2022 Plan Assumptions
Efficient clothes washer | Res Other | ROB/NEW | 14 | N/A | 269.7689 | 2020-2022 Plan Assumptions
Energy Star Dryer | Res Other | ROB/NEW | 12 | N/A | 127.3333 | 2020-2022 Plan Assumptions
ENERGYSTAR Bathroom Exhaust Fans | Res HVAC | ROB/NEW | 19 | N/A | 31.5 | From 2019 Illinois Statewide technical reference manual v 7.0 - High Efficiency Bathroom Exhaust Fan
ENERGYSTAR Dishwasher | Res Other | ROB/NEW | 10 | N/A | 50 | Internal Estimate for New Meaure.
ENERGYSTAR Range Hoods | Res HVAC | ROB/NEW | 19 | N/A | 61.4161 | Internal Estimate for New Meaure.
Heat Pump Dryer (ventless) | Res Other | ROB/NEW | 12 | N/A | 1095 | 2020-2022 Plan Assumptions
Heavy duty timer | Res Other | ROB/NEW | 10 | N/A | 24.2842 | 2020-2022 Plan Assumptions
Heat Pump Hot Water Heater | Res Domestic Hot Water (DHW) | ROB/NEW | 10 | N/A | 1618.785 | 2021 Illinois TRM page 200; Volume 3 Residential
Indoor motion sensor | Res Lighting | ROB/NEW | 10 | N/A | 25.7038 | 2020-2022 Plan Assumptions
LED - ENERGY STAR Fixture with Motion Sensor | Res Lighting | RET | 9.7 | 1 | 46.6691 | 2020-2022 Plan Assumptions
LED - ENERGY STAR Fixture without Motion Sensor | Res Lighting | RET | 8.5 | 1 | 36.8852 | 2020-2022 Plan Assumptions
LED - Other | Res Lighting | RET | 5.5 | 1 | 5.252 | 2020-2022 Plan Assumptions
LED - R, BR and Decorative | Res Lighting | RET | 5.1 | 1 | 4.7473 | 2020-2022 Plan Assumptions
LED - Recessed downlight | Res Lighting | RET | 6 | 1 | 17.1571 | 2020-2022 Plan Assumptions
Motion sensor with dimmer switch | Res Lighting | ROB/NEW | 10 | N/A | 25.7038 | 2020-2022 Plan Assumptions
Networked/ Connected - Indoor LED Lamp | Res Lighting | ROB/NEW | 4 | N/A | 65.2611 | 2020-2022 Plan Assumptions
Outdoor motion sensor | Res Lighting | ROB/NEW | 10 | N/A | 41.988 | 2020-2022 Plan Assumptions
Power bar with timer | Res Other | ROB/NEW | 4 | N/A | 25.8 | 2020-2022 Plan Assumptions
Programmable thermostat | Res HVAC | ROB/NEW | 10 | N/A | 14.8904 | 2020-2022 Plan Assumptions
Room air purifier | Res Other | ROB/NEW | 9 | N/A | 211.4564 | 2020-2022 Plan Assumptions
Room Air-Conditioner | Res HVAC | ROB/NEW | 18 | N/A | 43 | From EVT TRM - Room A/C - Most Efficient - 2018 Edition
Smart power bar | Res Other | ROB/NEW | 4 | N/A | 25.8 | 2020-2022 Plan Assumptions
Smart thermostats for electric baseboards | Res HVAC | ROB/NEW | 10 | N/A | 151 | Estimated as $105 retail price + quoted install cost of $70 per home divided by avg of 2.5 installed thermostats per home.
Smart thermostats for mini-split heat pumps | Res HVAC | ROB/NEW | 10 | N/A | 166 | Estimated as high volume retail price per thermostat ($120+tax) + quoted install cost of $70 per home divided by avg of 2.5 installed thermostats per home.
MHEEP
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Per Unit One-Time Incremental Measure Cost ($) | Source
Clothes Dryer replacement (Low Income Only) | Res Other | RET | 5 | 1.6667 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Drain Water Heat Recovery | Res Domestic Hot Water (DHW) | RET | 20 | 6.6667 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Freezer replacement (Low income only) | Res Refrigeration | RET | 4 | 1.3333 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Refrigerator replacement (Low income only) | Res Refrigeration | RET | 5 | 1.6667 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Whole Home First Nations Retrofit | Res HVAC | RET | 20 | 6.6667 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Dehumidifier replacement (Low income only) | Res Other | RET | 5 | 1.6667 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
Clothes Washer replacement (Low income only) | Res Other | RET | 11 | 3.6667 | 0 | Direct installation measures have no cost to customers. Administrative costs based on E1 actuals.
New Home Construction
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Per Unit One-Time Incremental Measure Cost ($) | Source
Whole Home - tier 0 - Attached/Semi-Attached | Res HVAC | ROB/NEW | 30 | N/A | 1490 | 2020-2022 DSM Plan Assumptions - an assumed heat pump cost of $5,608 was removed from this measure, on ther basis that heat pumps are no longer a focus of the program.
Whole Home - tier 0 - Detached | Res HVAC | ROB/NEW | 30 | N/A | 1490 | 2020-2022 DSM Plan Assumptions for detached - an assumed heat pump cost of $5,608 was removed from this measure, on ther basis that heat pumps are no longer a focus of the program.
Whole home - tier 1 - Attached/Semi-Attached | Res HVAC | ROB/NEW | 30 | N/A | 3175 | 2020-2022 DSM Plan Assumptions - an assumed heat pump cost of $5,608 was removed from this measure, on ther basis that heat pumps are no longer a focus of the program.
Whole home - tier 1 - Detached | Res HVAC | ROB/NEW | 30 | N/A | 3175 | 2020-2022 DSM Plan Assumptions for detached - an assumed heat pump cost of $5,608 was removed from this measure, on ther basis that heat pumps are no longer a focus of the program.
Whole home - tier 2 - Attached/Semi-Attached | Res HVAC | ROB/NEW | 30 | N/A | 4805 | 2020-2022 DSM Plan Assumptions - an assumed heat pump cost of $8,900 was removed from this measure, on ther basis that heat pumps are no longer a focus of the program.
Whole home - tier 2 - Detached | Res HVAC | ROB/NEW | 30 | N/A | 4805 | 2020-2022 DSM Plan Assumptions for detached - an assumed heat pump cost of $8,900 was removed from this measure, on ther basis that heat pumps are no longer a focus of the program.
Whole home - tier 3 - Attached/Semi-Attached | Res HVAC | ROB/NEW | 36 | N/A | 10920 | 2020-2022 DSM Plan Assumptions - an assumed heat pump cost of $8,900 was removed from this measure, on ther basis that heat pumps are no longer a focus of the program.
Whole home - tier 3 - Detached | Res HVAC | ROB/NEW | 36 | N/A | 10920 | 2020-2022 DSM Plan Assumptions for detached - an assumed heat pump cost of $8,900 was removed from this measure, on ther basis that heat pumps are no longer a focus of the program.
Residential Behaviour
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Per Unit One-Time Incremental Measure Cost ($) | Source
Home Energy Report | Res Other | ROB/NEW | 1 | N/A | 11.51 | The incremental cost value represents the expected incentive cost for the Residential Behaviour measure - namely the expected cost of production for one year of reports for one home. This is an incremental expenditure to produce behavioural savings. The expected per home incentive cost was developed from a historical review of Home Energy Report costs from the 2013-2015 program years.