## 2023
Affordable Multi-Family Housing | [27 empty] | Affordable Multi-Family Housing Total
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Annual Energy Savings per Unit at Meter (kWh) Pre-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Pre-RUL | Source/Assumptions | Gross Annual Energy Savings per Unit at Meter (kWh) Post-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Post-RUL | Source/Assumptions | Non-Electric Impacts - Source/Assumptions | Gross Per Unit One-Time Incremental Measure Cost ($) | Per Unit Incentive ($) | Per Unit Program Administrative Cost (inclusive of DI costs) ($) | Per Unit Direct Installation Cost ($) | Per Unit DSM Administrator Cost (Incentive + Administrative) ($) | Per Unit Present Value Avoided Cost Benefits ($) | Per Unit Present Value Non-Energy Benefits ($) | Total Per Unit Present Value Benefits ($) | Net-To-Gross Ratio | Net Total Resource Benefit-Cost Ratio (TRC) | Net Program Administrator Benefit-Cost Ratio (PAC) | Net First-Year Unit Cost / kWh at Generator ($/kWh) | Net Lifetime Unit Cost / kWh at Generator ($/kWh) | Net Unit Cost / Watt at Generator ($/W) | Measure Name | Participation (Units) | Total Peak Demand Savings (kW) | Total First Year Energy Savings (MWh) | Total Cumulative Peak Demand Savings (kW) | Total Cumulative First Year Energy Savings (MWh) | Total Lifetime Energy Savings (MWh) | Total Avoided Cost Benefits ($) | TRC Costs ($) | Total TRC Net Resource Benefits ($) | TRC Ratio | PAC Costs ($) | PAC Ratio
Cold Climate Air-Source Ductless Heat Pump (24kBTU/hr) (Multi-Family) | Res HVAC | ROB/NEW | 18 | N/A | 3578.14 | Based on BER MSHP measure characterization with adjustment historical AMFH results | 1296.6025 | Based on BER MSHP measure characterization with adjustment historical AMFH results | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL demand savings. | There are no non-electric impacts modelled for this measure. | 6884.08 | 1789.07 | 1015.7876 | 0 | 2804.8576 | 8434.5835 | 0 | 8434.5835 | 100% | 1.0677 | 3.0071 | 0.71608 | 0.039782 | 1.8866 | Cold Climate Air-Source Ductless Heat Pump (24kBTU/hr) (Multi-Family) | 65 | 96.6345 | 254.6043 | 96.6345 | 254.6043 | 4582.8781 | 548247.9275 | 513491.394 | 34756.5334 | 1.0677 | 182315.744 | 3.0071
Cold Climate Air-Source Ductless Heat Pump (48kBTU/hr) (Multi-Family) | Res HVAC | ROB/NEW | 18 | N/A | 6972.26 | Based on BER MSHP measure characterization with adjustment historical AMFH results | 2127.5515 | Based on BER MSHP measure characterization with adjustment historical AMFH results | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL demand savings. | There are no non-electric impacts modelled for this measure. | 13768.16 | 3486.13 | 1939.5006 | 0 | 5425.6306 | 15645.5761 | 0 | 15645.5761 | 100% | 0.99605 | 2.8836 | 0.71086 | 0.039492 | 2.224 | Cold Climate Air-Source Ductless Heat Pump (48kBTU/hr) (Multi-Family) | 65 | 158.5643 | 496.1146 | 158.5643 | 496.1146 | 8930.0636 | 1016962.4483 | 1020997.9413 | -4035.4929 | 0.99605 | 352665.9913 | 2.8836
Comprehensive Path | Res Other | ROB/NEW | 18.1 | N/A | 38092.86 | The per home savings amount for this measure was based on a historical review of comprehensive path projects within AMFR - this is "Custom" measure in the sense it is attempting to represent a variety of energy saving measures and projects. | 10208 | The demand to energy ratio from the 2020 evluation (0.267 MW/GWh) was used to produce the per home demand savings amount for this "Custom measure" | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL demand savings. | There are no non-electric impacts modelled for this measure. | 47616.075 | 19046.43 | 10468.9999 | 0 | 29515.4299 | 82952.6027 | 0 | 82952.6027 | 100% | 1.4281 | 2.8105 | 0.70781 | 0.039105 | 2.5216 | Comprehensive Path | 27 | 316.0213 | 1125.9069 | 316.0213 | 1125.9069 | 20378.9141 | 2239720.2728 | 1568297.021 | 671423.2518 | 1.4281 | 796916.606 | 2.8105
Affordable Single-Family Homes | [27 empty] | Affordable Single-Family Homes Total
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Annual Energy Savings per Unit at Meter (kWh) Pre-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Pre-RUL | Source/Assumptions | Gross Annual Energy Savings per Unit at Meter (kWh) Post-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Post-RUL | Source/Assumptions | Non-Electric Impacts - Source/Assumptions | Gross Per Unit One-Time Incremental Measure Cost ($) | Per Unit Incentive ($) | Per Unit Program Administrative Cost (inclusive of DI costs) ($) | Per Unit Direct Installation Cost ($) | Per Unit DSM Administrator Cost (Incentive + Administrative) ($) | Per Unit Present Value Avoided Cost Benefits ($) | Per Unit Present Value Non-Energy Benefits ($) | Total Per Unit Present Value Benefits ($) | Net-To-Gross Ratio | Net Total Resource Benefit-Cost Ratio (TRC) | Net Program Administrator Benefit-Cost Ratio (PAC) | Net First-Year Unit Cost / kWh at Generator ($/kWh) | Net Lifetime Unit Cost / kWh at Generator ($/kWh) | Net Unit Cost / Watt at Generator ($/W) | Measure Name | Participation (Units) | Total Peak Demand Savings (kW) | Total First Year Energy Savings (MWh) | Total Cumulative Peak Demand Savings (kW) | Total Cumulative First Year Energy Savings (MWh) | Total Lifetime Energy Savings (MWh) | Total Avoided Cost Benefits ($) | TRC Costs ($) | Total TRC Net Resource Benefits ($) | TRC Ratio | PAC Costs ($) | PAC Ratio
Affordable Single-Family Homes | Res HVAC | RET | 20 | 6.6667 | 5015 | Estimate for a new program based on recent achieved savings for similar programs in Nova Scotia (HomeWarming, MHEEP, Home Energy Assessment). | 1419.245 | This demand savings value is based on the whole home demand-to-energy ratio of 0.283 MW/GWh, which was produced by Navigant as part of the 2016-2018 DSM Resource Plan process. | 5015 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 1419.245 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 0 | 0 | 15912.2531 | 11500 | 15912.2531 | 11764.3549 | 0 | 11764.3549 | 100% | 0.73933 | 0.73933 | 2.8985 | 0.14492 | 9.7778 | Affordable Single-Family Homes | 492.8924 | 802.087 | 2705.9402 | 802.087 | 2705.9402 | 54118.8044 | 5798561.3943 | 7843028.9941 | -2044467.5998 | 0.73933 | 7843028.9941 | 0.73933
Clothes Dryer replacement (Low Income Only) | Res Other | RET | 5 | 1.6667 | 252 | Please refer to Table 9, Page 10 of the 2020 Evaluation of Residential Efficient Product Rebates for the source of this deemed value. | 34.8 | Please refer to Table 9, Page 11 of the 2020 Evaluation of Residential Efficient Product Rebates for the source of this deemed value. | 252 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 34.8 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 0 | 0 | 983.9954 | 772.84 | 983.9954 | 175.5503 | 0 | 175.5503 | 100% | 0.17841 | 0.17841 | 3.567 | 0.7134 | 24.6593 | Clothes Dryer replacement (Low Income Only) | 123.5563 | 4.9301 | 34.0848 | 4.9301 | 34.0848 | 170.4239 | 21690.35 | 121578.8185 | -99888.4685 | 0.17841 | 121578.8185 | 0.17841
Appliance Retirement | [27 empty] | Appliance Retirement Total
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Annual Energy Savings per Unit at Meter (kWh) Pre-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Pre-RUL | Source/Assumptions | Gross Annual Energy Savings per Unit at Meter (kWh) Post-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Post-RUL | Source/Assumptions | Non-Electric Impacts - Source/Assumptions | Gross Per Unit One-Time Incremental Measure Cost ($) | Per Unit Incentive ($) | Per Unit Program Administrative Cost (inclusive of DI costs) ($) | Per Unit Direct Installation Cost ($) | Per Unit DSM Administrator Cost (Incentive + Administrative) ($) | Per Unit Present Value Avoided Cost Benefits ($) | Per Unit Present Value Non-Energy Benefits ($) | Total Per Unit Present Value Benefits ($) | Net-To-Gross Ratio | Net Total Resource Benefit-Cost Ratio (TRC) | Net Program Administrator Benefit-Cost Ratio (PAC) | Net First-Year Unit Cost / kWh at Generator ($/kWh) | Net Lifetime Unit Cost / kWh at Generator ($/kWh) | Net Unit Cost / Watt at Generator ($/W) | Measure Name | Participation (Units) | Total Peak Demand Savings (kW) | Total First Year Energy Savings (MWh) | Total Cumulative Peak Demand Savings (kW) | Total Cumulative First Year Energy Savings (MWh) | Total Lifetime Energy Savings (MWh) | Total Avoided Cost Benefits ($) | TRC Costs ($) | Total TRC Net Resource Benefits ($) | TRC Ratio | PAC Costs ($) | PAC Ratio
Freezer retirement - Bulk | Res Refrigeration | RET | 4 | 1.3333 | 896 | Please refer to Table 9, Page 10 of the 2020 Evaluation of Residential Efficient Product Rebates for the source of this deemed value. | 124 | Please refer to Table 10, Page 11 of the 2020 Residential Evaluation of Efficient Product Rebates for the source of this deemed value. | 896 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 124 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 133.8141 | 183.8141 | 168.9975 | 0 | 352.8116 | 248.7247 | 0 | 248.7247 | 48% | 1.0664 | 0.70498 | 0.74938 | 0.18735 | 5.1695 | Freezer retirement - Bulk | 205.1336 | 13.9995 | 96.5787 | 13.9995 | 96.5787 | 386.3146 | 51021.8014 | 47842.9579 | 3178.8434 | 1.0664 | 72373.5174 | 0.70498
Freezer retirement - Drop Off | Res Refrigeration | RET | 4 | 1.3333 | 896 | Please refer to Table 9, Page 10 of the 2020 Evaluation of Residential Efficient Product Rebates for the source of this deemed value. | 124 | Please refer to Table 10, Page 11 of the 2020 Residential Evaluation of Efficient Product Rebates for the source of this deemed value. | 896 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 124 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 72.863 | 99.7285 | 153.8621 | 0 | 253.5906 | 248.7247 | 0 | 248.7247 | 48% | 1.3171 | 0.98081 | 0.53863 | 0.13466 | 3.7157 | Freezer retirement - Drop Off | 136.7557 | 9.333 | 64.3858 | 9.333 | 64.3858 | 257.5431 | 34014.5342 | 25824.4545 | 8190.0797 | 1.3171 | 34679.9651 | 0.98081
Freezer retirement | Res Refrigeration | RET | 4 | 1.3333 | 896 | Please refer to Table 9, Page 10 of the 2020 Evaluation of Residential Efficient Product Rebates for the source of this deemed value. | 124 | Please refer to Table 10, Page 11 of the 2020 Residential Evaluation of Efficient Product Rebates for the source of this deemed value. | 896 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 124 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 168.5141 | 218.5141 | 175.2435 | 0 | 393.7576 | 248.7247 | 0 | 248.7247 | 48% | 0.97109 | 0.63167 | 0.83635 | 0.20909 | 5.7694 | Freezer retirement | 341.8893 | 23.3325 | 160.9644 | 23.3325 | 160.9644 | 643.8577 | 85036.3356 | 87568.2049 | -2531.8693 | 0.97109 | 134621.5156 | 0.63167
Refrigerator retirement - Bulk | Res Refrigeration | RET | 4 | 1.3333 | 670 | Please refer to Table 9, Page 10 of the 2020 Evaluation of Residential Efficient Product Rebates for the source of this deemed value. | 92.5 | Please refer to Table 10, Page 11 of the 2020 Residential Evaluation of Efficient Product Rebates for the source of this deemed value. | 670 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 92.5 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 133.8141 | 183.8141 | 153.7451 | 0 | 337.5592 | 220.812 | 0 | 220.812 | 57% | 0.95997 | 0.65414 | 0.80744 | 0.20186 | 5.5834 | Refrigerator retirement - Bulk | 310 | 18.7409 | 129.6004 | 18.7409 | 129.6004 | 518.4018 | 68451.7182 | 71305.939 | -2854.2208 | 0.95997 | 104643.3588 | 0.65414
Refrigerator retirement - Drop Off | Res Refrigeration | RET | 4 | 1.3333 | 670 | Please refer to Table 9, Page 10 of the 2020 Evaluation of Residential Efficient Product Rebates for the source of this deemed value. | 92.5 | Please refer to Table 10, Page 11 of the 2020 Residential Evaluation of Efficient Product Rebates for the source of this deemed value. | 670 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 92.5 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 72.863 | 99.7285 | 138.6097 | 0 | 238.3382 | 220.812 | 0 | 220.812 | 57% | 1.2258 | 0.92647 | 0.5701 | 0.14253 | 3.9422 | Refrigerator retirement - Drop Off | 200 | 12.0909 | 83.6132 | 12.0909 | 83.6132 | 334.4527 | 44162.3988 | 36028.3265 | 8134.0723 | 1.2258 | 47667.6356 | 0.92647
Refrigerator retirement | Res Refrigeration | RET | 4 | 1.3333 | 670 | Please refer to Table 9, Page 10 of the 2020 Evaluation of Residential Efficient Product Rebates for the source of this deemed value. | 92.5 | Please refer to Table 10, Page 11 of the 2020 Residential Evaluation of Efficient Product Rebates for the source of this deemed value. | 670 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 92.5 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 168.5141 | 218.5141 | 159.9911 | 0 | 378.5052 | 220.812 | 0 | 220.812 | 57% | 0.8624 | 0.58338 | 0.90538 | 0.22634 | 6.2607 | Refrigerator retirement | 1651 | 99.8104 | 690.2269 | 99.8104 | 690.2269 | 2760.9074 | 364560.6023 | 422728.862 | -58168.2596 | 0.8624 | 624912.0537 | 0.58338
Efficient Products Installation | [27 empty] | Efficient Products Installation Total
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Annual Energy Savings per Unit at Meter (kWh) Pre-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Pre-RUL | Source/Assumptions | Gross Annual Energy Savings per Unit at Meter (kWh) Post-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Post-RUL | Source/Assumptions | Non-Electric Impacts - Source/Assumptions | Gross Per Unit One-Time Incremental Measure Cost ($) | Per Unit Incentive ($) | Per Unit Program Administrative Cost (inclusive of DI costs) ($) | Per Unit Direct Installation Cost ($) | Per Unit DSM Administrator Cost (Incentive + Administrative) ($) | Per Unit Present Value Avoided Cost Benefits ($) | Per Unit Present Value Non-Energy Benefits ($) | Total Per Unit Present Value Benefits ($) | Net-To-Gross Ratio | Net Total Resource Benefit-Cost Ratio (TRC) | Net Program Administrator Benefit-Cost Ratio (PAC) | Net First-Year Unit Cost / kWh at Generator ($/kWh) | Net Lifetime Unit Cost / kWh at Generator ($/kWh) | Net Unit Cost / Watt at Generator ($/W) | Measure Name | Participation (Units) | Total Peak Demand Savings (kW) | Total First Year Energy Savings (MWh) | Total Cumulative Peak Demand Savings (kW) | Total Cumulative First Year Energy Savings (MWh) | Total Lifetime Energy Savings (MWh) | Total Avoided Cost Benefits ($) | TRC Costs ($) | Total TRC Net Resource Benefits ($) | TRC Ratio | PAC Costs ($) | PAC Ratio
9W Replacing 60W | Res Lighting | RET | 6.7 | 1 | 38.8042 | Please refer to Table 44 of the 2020 Evaluation Report of the Existing Residential Program for the source of this deemed value. Unitary ES * Installation Rate * (1 - IE) * Adj Ratio = 50.3 * 0.98 * (1-0.18) * 0.96 Note: representative average category IE value was calculated from the 2020 evaluation tracking sheet and applied to multiple measures. | 6.3073 | Average of recent tracked demand savings for this measure | 2.0539 | Calculated as 5.3% of pre-RUL value (based on a sample of second baseline data for high impact measures). | 0.33385 | Calculated as 5.3% of pre-RUL value (based on a sample of second baseline data for high impact measures). | There are no non-electric impacts modelled for this measure. | 0 | 0 | 7.7589 | 6.87 | 7.7589 | 6.3966 | 0 | 6.3966 | 86% | 0.82441 | 0.82441 | 0.21239 | 0.16316 | 1.2475 | 9W Replacing 60W | 128375 | 798.4203 | 4689.7876 | 798.4203 | 4689.7876 | 6104.7291 | 821158.3304 | 996053.866 | -174895.5356 | 0.82441 | 996053.866 | 0.82441
Dimmer Switch | Res Lighting | ROB/NEW | 10 | N/A | 13.668 | Please refer to 2020 Econoler Evaluation Report - Residential Efficient Products - Table 28. - Adjusted for interactive effects as applicable. | 1.6115 | Please refer to 2020 Econoler Evaluation Report - Residential Efficient Products - Table 28. - Adjusted for interactive effects as applicable. | N/A | N/A | N/A | N/A | There are no non-electric impacts modelled for this measure. | 0 | 0 | 57.1376 | 53.082 | 57.1376 | 16.4364 | 0 | 16.4364 | 100% | 0.28766 | 0.28766 | 3.8188 | 0.38188 | 30.9213 | Dimmer Switch | 1307.9 | 2.4167 | 19.5693 | 2.4167 | 19.5693 | 195.6927 | 21497.1649 | 74730.325 | -53233.1601 | 0.28766 | 74730.325 | 0.28766
Faucet Aerators | Res Domestic Hot Water (DHW) | ROB/NEW | 10 | N/A | 95.79 | Please refer to Table 44 of the 2020 Evaluation Report of the Existing Residential Program for the source of this deemed value. Unitary ES * Installation Rate * (1 - IE) * Adj Ratio =103 * 0.93 * (1-0) * 1 | 15.531 | Please refer to Table 44 of the 2020 Evaluation Report of the Existing Residential Program for the source of this deemed value. Unitary Peak DS * Installation Rate * (1 - IE) * Adj Ratio =16.7 * 0.93 * (1-0) * 1 | N/A | N/A | N/A | N/A | Water savings: 3.12 m3 Please refer to Table 34 & 35 of "2020-2022 DSM Measure Assessment" report for calculation and Table 44 of 2020 Evaluation Report of the Existing Residential Program for installation rates. | 0 | 0 | 33.8948 | 22.34 | 33.8948 | 122.408 | 0 | 122.408 | 102% | 3.6114 | 3.6114 | 0.3169 | 0.03169 | 1.866 | Faucet Aerators | 6672 | 121.1902 | 713.6274 | 121.1902 | 713.6274 | 7136.2737 | 816706.4334 | 226146.2908 | 590560.1426 | 3.6114 | 226146.2908 | 3.6114
Indoor motion sensor | Res Lighting | ROB/NEW | 10 | N/A | 36.8232 | Please refer to 2020 Econoler Evaluation Report - Residential Efficient Products - Table 28. - Adjusted for interactive effects as applicable. | 0 | Please refer to 2020 Econoler Evaluation Report - Residential Efficient Products - Table 28. - Adjusted for interactive effects as applicable. | N/A | N/A | N/A | N/A | There are no non-electric impacts modelled for this measure. | 0 | 0 | 53.2193 | 47.48 | 53.2193 | 39.4656 | 0 | 39.4656 | 100% | 0.74157 | 0.74157 | 1.3202 | 0.13202 | N/A | Indoor motion sensor | 1307.9 | 0 | 52.7219 | 0 | 52.7219 | 527.2192 | 51617.1002 | 69605.4765 | -17988.3763 | 0.74157 | 69605.4765 | 0.74157
LED - ENERGY STAR Fixture with Motion Sensor | Res Lighting | RET | 9.7 | 1 | 137 | Please refer to 2020 Econoler Evaluation Report - Residential Efficient Products - Table 28. - Adjusted for interactive effects as applicable. | 22.2 | Please refer to 2020 Econoler Evaluation Report - Residential Efficient Products - Table 28. - Adjusted for interactive effects as applicable. | 27.4 | Calculated as 5.3% of pre-RUL value (based on a sample of second baseline data for high impact measures). | 8.805 | Calculated as 5.3% of pre-RUL value (based on a sample of second baseline data for high impact measures). | There are no non-electric impacts modelled for this measure. | 0 | 0 | 91.3003 | 82.46 | 91.3003 | 55.3217 | 0 | 55.3217 | 102% | 0.60593 | 0.60593 | 0.59684 | 0.21783 | 3.5163 | LED - ENERGY STAR Fixture with Motion Sensor | 523.16 | 13.5831 | 80.0296 | 13.5831 | 80.0296 | 219.281 | 28942.0803 | 47764.6758 | -18822.5955 | 0.60593 | 47764.6758 | 0.60593
LED Nightlights | Res Lighting | RET | 23 | 7.6667 | 22.4526 | Please refer to Table 44 of the 2020 Evaluation Report of the Existing Residential Program for the source of this deemed value. Unitary ES * Installation Rate * (1 - IE) * Adj Ratio =23.9 * 0.97 * (1-0.21) * 1 | 3.6358 | Average of recent tracked demand savings for this measure | 22.4526 | Calculated as 5.3% of pre-RUL value (based on a sample of second baseline data for high impact measures). | 3.6358 | Calculated as 5.3% of pre-RUL value (based on a sample of second baseline data for high impact measures). | There are no non-electric impacts modelled for this measure. | 0 | 0 | 7.7738 | 3.87 | 7.7738 | 43.5121 | 0 | 43.5121 | 86% | 5.5973 | 5.5973 | 0.36777 | 0.01599 | 2.1682 | LED Nightlights | 9022 | 32.3453 | 190.7053 | 32.3453 | 190.7053 | 4386.2227 | 392565.7208 | 70135.2785 | 322430.4423 | 5.5973 | 70135.2785 | 5.5973
Low-flow showerhead - 1.0 gpm Reduction | Res Domestic Hot Water (DHW) | ROB/NEW | 10 | N/A | 355.11 | Please refer to Table 44 of the 2020 Evaluation Report of the Existing Residential Program for the source of this deemed value. Unitary ES * Installation Rate * (1 - IE) * Adj Ratio =399 * 0.89 * (1-0)*1 | 57.494 | Please refer to Table 44 of the 2020 Evaluation Report of the Existing Residential Program for the source of this deemed value. Unitary Peak DS * Installation Rate * (1 - IE) * Adj Ratio =64.6 * 0.89 * (1-0) * 1 | N/A | N/A | N/A | N/A | Water savings: 10.72 m3 Please refer to Table 31 & 32 of "2020-2022 DSM Measure Assessment" report for calculation and Table 44 of 2020 Evaluation Report of the Existing Residential Program for installation rates. | 0 | 0 | 89.0346 | 50.12 | 89.0346 | 426.9763 | 0 | 426.9763 | 96% | 4.7956 | 4.7956 | 0.23858 | 0.023858 | 1.4068 | Low-flow showerhead - 1.0 gpm Reduction | 2219 | 140.431 | 828.1072 | 140.431 | 828.1072 | 8281.0719 | 947460.4265 | 197567.7745 | 749892.652 | 4.7956 | 197567.7745 | 4.7956
Smart thermostats for central air source heat pump | Res HVAC | ROB/NEW | 11 | N/A | 831 | Characterized by Guidehouse - 48kbtu/hr air source heat pump Capacity * FLHheat * % Save / HSPF + Capacity * FLHcool * %Save / SEER = 48 * 1384 * 0.086 / 7.4 + 48 * 213 * 0.084 / 14.5 | 0 | No demand savings | N/A | N/A | N/A | N/A | There are no non-electric impacts modelled for this measure. | 0 | 0 | 198.9187 | 109.56 | 198.9187 | 983.6987 | 0 | 983.6987 | 102% | 4.9452 | 4.9452 | 0.21438 | 0.019489 | N/A | Smart thermostats for central air source heat pump | 50 | 0 | 46.3945 | 0 | 46.3945 | 510.3393 | 49184.9355 | 9945.9373 | 39238.9982 | 4.9452 | 9945.9373 | 4.9452
Smart thermostats for electric baseboards | Res HVAC | ROB/NEW | 11 | N/A | 418.6073 | Characterized by Guidehouse - 12kbtu/hr electric baseboard Heat Capacity * FLHheat * % Save / HSPF = 12 * 1384 * 0.086 / 3.412 | 0 | No demand savings | N/A | N/A | N/A | N/A | There are no non-electric impacts modelled for this measure. | 0 | 0 | 162.521 | 114.54 | 162.521 | 495.5276 | 0 | 495.5276 | 102% | 3.049 | 3.049 | 0.34771 | 0.03161 | N/A | Smart thermostats for electric baseboards | 2450 | 0 | 1145.1652 | 0 | 1145.1652 | 12596.8171 | 1214042.6047 | 398176.4983 | 815866.1064 | 3.049 | 398176.4983 | 3.049
Smart thermostats for mini-split heat pumps | Res HVAC | ROB/NEW | 11 | N/A | 207.8191 | Characterized by Guidehouse - 12kbtu/h heat pump Capacity * FLHheat * % Save / HSPF + Capacity * FLHcool * %Save / SEER = 12 * 1384 * 0.086 / 7.4 + 12 * 213 * 0.084 / 14.5 | 0 | No demand savings | N/A | N/A | N/A | N/A | There are no non-electric impacts modelled for this measure. | 0 | 0 | 123.8142 | 97.94 | 123.8142 | 246.0064 | 0 | 246.0064 | 102% | 1.9869 | 1.9869 | 0.53357 | 0.048507 | N/A | Smart thermostats for mini-split heat pumps | 262.5 | 0 | 60.913 | 0 | 60.913 | 670.043 | 64576.6886 | 32501.2165 | 32075.4721 | 1.9869 | 32501.2165 | 1.9869
Thermostatic Shower Valves -2.5gpm - MURB | Res Other | ROB/NEW | 10 | N/A | 124.41 | Please refer to Table 45 of the 2020 Evaluation Report of the Existing Residential Program for the source of this deemed value. Unitary ES * Installation Rate * (1 - IE) * Adj Ratio =143 * 0.87 * (1-0)*1 | 20.184 | Please refer to Table 45 of the 2020 Evaluation Report of the Existing Residential Program for the source of this deemed value. Unitary Peak DS * Installation Rate * (1 - IE) * Adj Ratio =23.2 * 0.87 * (1-0) * 1 | N/A | N/A | N/A | N/A | Water savings: 3.75 m3 Please refer to Table 37 & 38 of "2020-2022 DSM Measure Assessment" report for calculation and Table 44 of 2020 Evaluation Report of the Existing Residential Program for installation rates. | 0 | 0 | 60.8067 | 45 | 60.8067 | 158.9838 | 0 | 158.9838 | 102% | 2.6146 | 2.6146 | 0.43773 | 0.043773 | 2.5758 | Thermostatic Shower Valves -2.5gpm - MURB | 832.3 | 19.6471 | 115.6193 | 19.6471 | 115.6193 | 1156.1934 | 132322.2014 | 50609.3911 | 81712.8103 | 2.6146 | 50609.3911 | 2.6146
Thermostatic Shower Valves -2.5gpm | Res Other | ROB/NEW | 10 | N/A | 108.75 | Please refer to Table 44 of the 2020 Evaluation Report of the Existing Residential Program for the source of this deemed value. Unitary ES * Installation Rate * (1 - IE) * Adj Ratio =125 * 0.87 * (1-0)*1 | 17.661 | Please refer to Table 44 of the 2020 Evaluation Report of the Existing Residential Program for the source of this deemed value. Unitary Peak DS * Installation Rate * (1 - IE) * Adj Ratio =20.3 * 0.87 * (1-0) * 1 | N/A | N/A | N/A | N/A | Water savings: 3.29 m3 Please refer to Table 37 & 38 of "2020-2022 DSM Measure Assessment" report for calculation and Table 44 of 2020 Evaluation Report of the Existing Residential Program for installation rates. | 0 | 0 | 59.102 | 45 | 59.102 | 138.9922 | 0 | 138.9922 | 102% | 2.3517 | 2.3517 | 0.48672 | 0.048672 | 2.8612 | Thermostatic Shower Valves -2.5gpm | 832.3 | 17.1912 | 101.0659 | 17.1912 | 101.0659 | 1010.6585 | 115683.2377 | 49190.5738 | 66492.6639 | 2.3517 | 49190.5738 | 2.3517
Green Heat | [27 empty] | Green Heat Total
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Annual Energy Savings per Unit at Meter (kWh) Pre-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Pre-RUL | Source/Assumptions | Gross Annual Energy Savings per Unit at Meter (kWh) Post-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Post-RUL | Source/Assumptions | Non-Electric Impacts - Source/Assumptions | Gross Per Unit One-Time Incremental Measure Cost ($) | Per Unit Incentive ($) | Per Unit Program Administrative Cost (inclusive of DI costs) ($) | Per Unit Direct Installation Cost ($) | Per Unit DSM Administrator Cost (Incentive + Administrative) ($) | Per Unit Present Value Avoided Cost Benefits ($) | Per Unit Present Value Non-Energy Benefits ($) | Total Per Unit Present Value Benefits ($) | Net-To-Gross Ratio | Net Total Resource Benefit-Cost Ratio (TRC) | Net Program Administrator Benefit-Cost Ratio (PAC) | Net First-Year Unit Cost / kWh at Generator ($/kWh) | Net Lifetime Unit Cost / kWh at Generator ($/kWh) | Net Unit Cost / Watt at Generator ($/W) | Measure Name | Participation (Units) | Total Peak Demand Savings (kW) | Total First Year Energy Savings (MWh) | Total Cumulative Peak Demand Savings (kW) | Total Cumulative First Year Energy Savings (MWh) | Total Lifetime Energy Savings (MWh) | Total Avoided Cost Benefits ($) | TRC Costs ($) | Total TRC Net Resource Benefits ($) | TRC Ratio | PAC Costs ($) | PAC Ratio
ASHP and AWHP - Electrical | Res HVAC | RET | 18 | 6 | 4165.6889 | Average of 2021 tracked savings for the measure across various baselines | 1327 | Average of 2021 tracked savings for the measure across various baselines | 4165.6889 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 1327 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 11752 | 1061.0526 | 137.9368 | 0 | 1198.9895 | 6337.0495 | 0 | 6337.0495 | 67% | 0.79097 | 5.2853 | 0.39243 | 0.021802 | 1.1761 | ASHP and AWHP - Electrical | 13 | 13.2526 | 39.7192 | 13.2526 | 39.7192 | 714.945 | 82381.6433 | 104153.0989 | -21771.4556 | 0.79097 | 15586.8632 | 5.2853
GSHP | Res HVAC | RET | 25 | 8.3333 | 9973 | Please refer to table 32, page 56 of the 2019 Existing Residential Evaluation Report for the source of this deemed value. The 2020 evluation did not feature this measure. | 7490 | Please refer to table 32, page 56 of the 2019 Existing Residential Evaluation Report for the source of this deemed value. The 2020 evluation did not feature this measure. | 9973 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 7490 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 20592 | 1900 | 1261.1173 | 0 | 3161.1173 | 25671.3465 | 0 | 25671.3465 | 67% | 1.7049 | 8.121 | 0.43216 | 0.017287 | 0.54935 | GSHP | 2 | 11.508 | 14.6294 | 11.508 | 14.6294 | 365.7343 | 51342.693 | 30115.5145 | 21227.1785 | 1.7049 | 6322.2345 | 8.121
MSHP - Fully Electrical | Res HVAC | RET | 18 | 6 | 2519.2 | Please refer to table 28, page 41, of the 2020 Existing Residential evaluation report for the source of this deemed value. Please note that this deemed value is then derated by 20% to account for expected future evlauation risk associated with ductless heat pumps, given increasing market penetration. | 1912 | Please refer to table 28, page 41, of the 2020 Existing Residential evaluation report for the source of this deemed value. Please note that this deemed value is then derated by 20% to account for expected future evlauation risk associated with ductless heat pumps, given increasing market penetration. | 2519.2 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 1912 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 5856 | 480 | 149.9626 | 0 | 629.9626 | 2216.557 | 0 | 2216.557 | 28% | 1.2385 | 3.5186 | 0.81584 | 0.045324 | 1.0262 | MSHP - Fully Electrical | 2460 | 1510.0557 | 1899.5508 | 1510.0557 | 1899.5508 | 34191.9137 | 5452730.2142 | 4402520.6858 | 1050209.5284 | 1.2385 | 1549707.8858 | 3.5186
MSHP - Mainly Electrical | Res HVAC | RET | 18 | 6 | 857.6 | Please refer to table 28, page 41, of the 2020 Existing Residential evaluation report for the source of this deemed value. Please note that this deemed value is then derated by 20% to account for expected future evaluation risk associated with ductless heat pumps, given increasing market penetration. | 2057.6 | Please refer to table 28, page 41, of the 2020 Existing Residential evaluation report for the source of this deemed value. Please note that this deemed value is then derated by 20% to account for expected future evaluation risk associated with ductless heat pumps, given increasing market penetration. | 857.6 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 2057.6 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 5856 | 480 | 62.4 | 0 | 542.4 | 1534.2999 | 0 | 1534.2999 | 28% | 0.90143 | 2.8287 | 2.0634 | 0.11463 | 0.82105 | MSHP - Mainly Electrical | 589 | 389.0865 | 154.8293 | 389.0865 | 154.8293 | 2786.9278 | 903702.6443 | 1002525.12 | -98822.4757 | 0.90143 | 319473.6 | 2.8287
Pellet Stove (Electric Resistance) | Res HVAC | RET | 18 | 6 | 8260.8961 | Average of 2021 tracked savings for the measure across various baselines | 4000 | Average of 2021 tracked savings for the measure across various baselines | 8260.8961 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 4000 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | A negative wood impact of 2.71 cord was adopted for this measure, which was obtained from the 2019 DSM Potential Study. | 4384 | 600 | 453.8794 | 0 | 1053.8794 | 9515.0039 | 0 | 9515.0039 | 58% | 3.1753 | 9.0286 | 0.20093 | 0.011163 | 0.39616 | Pellet Stove (Electric Resistance) | 70 | 186.2078 | 367.154 | 186.2078 | 367.154 | 6608.7727 | 666050.2701 | 209761.956 | 456288.3142 | 3.1753 | 73771.556 | 9.0286
Wood Stove (Electric Resistance) | Res HVAC | RET | 18 | 6 | 9473.4371 | Average of 2021 tracked savings for the measure | 4000 | Average of 2021 tracked savings for the measure across various baselines | 9473.4371 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 4000 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | A negative wood impact of 1.01 cord was adopted for this measure, which was obtained from the 2019 DSM Potential Study. | 3545 | 600 | 572.2929 | 0 | 1172.2929 | 12512.5216 | 0 | 12512.5216 | 58% | 4.7605 | 10.6735 | 0.1949 | 0.010828 | 0.44067 | Wood Stove (Electric Resistance) | 146 | 388.3764 | 878.18 | 388.3764 | 878.18 | 15807.2401 | 1826828.1483 | 383745.3617 | 1443082.7867 | 4.7605 | 171154.7617 | 10.6735
Home Energy Assessment | [27 empty] | Home Energy Assessment Total
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Annual Energy Savings per Unit at Meter (kWh) Pre-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Pre-RUL | Source/Assumptions | Gross Annual Energy Savings per Unit at Meter (kWh) Post-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Post-RUL | Source/Assumptions | Non-Electric Impacts - Source/Assumptions | Gross Per Unit One-Time Incremental Measure Cost ($) | Per Unit Incentive ($) | Per Unit Program Administrative Cost (inclusive of DI costs) ($) | Per Unit Direct Installation Cost ($) | Per Unit DSM Administrator Cost (Incentive + Administrative) ($) | Per Unit Present Value Avoided Cost Benefits ($) | Per Unit Present Value Non-Energy Benefits ($) | Total Per Unit Present Value Benefits ($) | Net-To-Gross Ratio | Net Total Resource Benefit-Cost Ratio (TRC) | Net Program Administrator Benefit-Cost Ratio (PAC) | Net First-Year Unit Cost / kWh at Generator ($/kWh) | Net Lifetime Unit Cost / kWh at Generator ($/kWh) | Net Unit Cost / Watt at Generator ($/W) | Measure Name | Participation (Units) | Total Peak Demand Savings (kW) | Total First Year Energy Savings (MWh) | Total Cumulative Peak Demand Savings (kW) | Total Cumulative First Year Energy Savings (MWh) | Total Lifetime Energy Savings (MWh) | Total Avoided Cost Benefits ($) | TRC Costs ($) | Total TRC Net Resource Benefits ($) | TRC Ratio | PAC Costs ($) | PAC Ratio
Residential ETS System (Room) | Res HVAC | RET | 20 | 6.6667 | 0 | There are no energy savings assumed for a Residential ETS system. | 2500 | This is an assumed value which is intended to represent the nominal heating load offset from a room-sized ETS system (2500 W of electric baseboard). This characterization has been maintained from the 2020-2022 DSM Rersource Plan. | 0 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 2500 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 2000 | 582 | 127.4048 | 0 | 709.4048 | 4798.5022 | 0 | 4798.5022 | 89% | 2.5157 | 6.7641 | N/A | N/A | 0.27805 | Residential ETS System (Room) | 84 | 214.2995 | 0 | 214.2995 | 0 | 0 | 403074.1875 | 160222.0035 | 242852.184 | 2.5157 | 59590.0035 | 6.7641
Whole Home - Adjusted Incentive and Savings | Res HVAC | RET | 20 | 6.6667 | 4817.6081 | The energy savings value per participant represents a historical view of 2021 year-to-date Home Energy Assessment projects. | 2182.3765 | A demand-to-energy ratio of 0.453 MW/GWh was assumed, which is reflective of the ‘at meter’ energy-to-demand ratio for space heating measures as found within the 2020 Existing Residential Program Evaluation Report. | 4817.6081 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 2182.3765 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 6057.268 | 1737.15 | 351.2435 | 0 | 2088.3935 | 11630.1393 | 0 | 11630.1393 | 89% | 2.0254 | 5.5689 | 0.44494 | 0.022247 | 0.93769 | Whole Home - Adjusted Incentive and Savings | 1827.113 | 4069.0875 | 8575.9454 | 4069.0875 | 8575.9454 | 171518.9085 | 21249579.0694 | 10491670.3321 | 10757908.7373 | 2.0254 | 3815730.9289 | 5.5689
Instant Savings | [27 empty] | Instant Savings Total
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Annual Energy Savings per Unit at Meter (kWh) Pre-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Pre-RUL | Source/Assumptions | Gross Annual Energy Savings per Unit at Meter (kWh) Post-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Post-RUL | Source/Assumptions | Non-Electric Impacts - Source/Assumptions | Gross Per Unit One-Time Incremental Measure Cost ($) | Per Unit Incentive ($) | Per Unit Program Administrative Cost (inclusive of DI costs) ($) | Per Unit Direct Installation Cost ($) | Per Unit DSM Administrator Cost (Incentive + Administrative) ($) | Per Unit Present Value Avoided Cost Benefits ($) | Per Unit Present Value Non-Energy Benefits ($) | Total Per Unit Present Value Benefits ($) | Net-To-Gross Ratio | Net Total Resource Benefit-Cost Ratio (TRC) | Net Program Administrator Benefit-Cost Ratio (PAC) | Net First-Year Unit Cost / kWh at Generator ($/kWh) | Net Lifetime Unit Cost / kWh at Generator ($/kWh) | Net Unit Cost / Watt at Generator ($/W) | Measure Name | Participation (Units) | Total Peak Demand Savings (kW) | Total First Year Energy Savings (MWh) | Total Cumulative Peak Demand Savings (kW) | Total Cumulative First Year Energy Savings (MWh) | Total Lifetime Energy Savings (MWh) | Total Avoided Cost Benefits ($) | TRC Costs ($) | Total TRC Net Resource Benefits ($) | TRC Ratio | PAC Costs ($) | PAC Ratio
Dehumidifier | Res HVAC | ROB/NEW | 12 | N/A | 45.2 | This is a deemed value and can be found in table 24, page 40 of the 2020 evaluation report for residential efficient product rebates. | 15.1 | This is a deemed value and can be found in table 25, page 42 of the 2020 evaluation report for residential efficient product rebates. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | There are no non-electric impacts modelled for this measure. | 229.7557 | 30 | 15.3 | 0 | 45.3 | 76.684 | 0 | 76.684 | 100% | 0.31292 | 1.6928 | 0.91552 | 0.076293 | 2.6163 | Dehumidifier | 9400 | 162.7484 | 465.1161 | 162.7484 | 465.1161 | 5581.3936 | 720829.7481 | 2303523.3258 | -1582693.5777 | 0.31292 | 425820 | 1.6928
Dimmer Switch | Res Lighting | ROB/NEW | 10 | N/A | 13.668 | The deemed value of 17 kiWh can be found in table 24, page 40 of the 2020 evaluation report for residential efficient product rebates. That value is then modified by the interactive effects value of -19.6% as found in table 26, page 43 | 1.6115 | The deemed value of 2.75 W can be found in table 25, page 42 of the 2020 evaluation report for residential efficient product rebates. That value is then modified by the interactive effects value of -41.4% as found in table 26, page 43. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | There are no non-electric impacts modelled for this measure. | 14.0906 | 2.98 | 2.2443 | 0 | 5.2243 | 16.4364 | 0 | 16.4364 | 100% | 1.0062 | 3.1462 | 0.34916 | 0.034916 | 2.8272 | Dimmer Switch | 11691.8693 | 21.6036 | 174.938 | 21.6036 | 174.938 | 1749.3795 | 192172.2173 | 190984.4171 | 1187.8002 | 1.0062 | 61081.2741 | 3.1462
Efficient clothes washer | Res Other | ROB/NEW | 14 | N/A | 165 | This is a deemed value and can be found in table 24, page 40 of the 2020 evaluation report for residential efficient product rebates. | 22.8 | This is a deemed value and can be found in table 25, page 42 of the 2020 evaluation report for residential efficient product rebates. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | There are no non-electric impacts modelled for this measure. | 269.7689 | 75 | 38.25 | 0 | 113.25 | 266.4062 | 0 | 266.4062 | 100% | 0.8649 | 2.3524 | 0.62699 | 0.044785 | 4.3318 | Efficient clothes washer | 3683 | 96.2828 | 665.2437 | 96.2828 | 665.2437 | 9313.412 | 981173.9064 | 1134433.7724 | -153259.866 | 0.8649 | 417099.75 | 2.3524
Energy Star Dryer | Res Other | ROB/NEW | 12 | N/A | 151 | This is a deemed value and can be found in table 24, page 40 of the 2020 evaluation report for residential efficient product rebates. | 20.8 | This is a deemed value and can be found in table 25, page 42 of the 2020 evaluation report for residential efficient product rebates. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | There are no non-electric impacts modelled for this measure. | 127.3333 | 75 | 47.7814 | 0 | 122.7814 | 216.2493 | 0 | 216.2493 | 100% | 1.2349 | 1.7613 | 0.74279 | 0.061899 | 5.148 | Energy Star Dryer | 4200 | 100.167 | 694.2587 | 100.167 | 694.2587 | 8331.1049 | 908247.059 | 735481.9822 | 172765.0768 | 1.2349 | 515681.9822 | 1.7613
Heavy duty timer | Res Other | ROB/NEW | 10 | N/A | 122 | This is a deemed value and can be found in table 24, page 40 of the 2020 evaluation report for residential efficient product rebates. | 0 | This is a deemed value and can be found in table 25, page 42 of the 2020 evaluation report for residential efficient product rebates. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | There are no non-electric impacts modelled for this measure. | 24.2842 | 10 | 10.8632 | 0 | 20.8632 | 130.7547 | 0 | 130.7547 | 100% | 3.7202 | 6.2673 | 0.15622 | 0.015622 | N/A | Heavy duty timer | 7971.7291 | 0 | 1064.6515 | 0 | 1064.6515 | 10646.5152 | 1042341.1841 | 280185.1501 | 762156.034 | 3.7202 | 166315.4364 | 6.2673
Heat Pump Hot Water Heater | Res Domestic Hot Water (DHW) | ROB/NEW | 10 | N/A | 1041 | This is a deemed value and can be found in Table 29, page 38 of the 2020 measure assessment summary evaluation report. | 169 | This is a deemed value and can be found in Table 29, page 38 of the 2020 measure assessment summary evaluation report. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | There are no non-electric impacts modelled for this measure. | 1618.785 | 400 | 204 | 0 | 604 | 1303.1681 | 0 | 1303.1681 | 100% | 0.71493 | 2.1576 | 0.53002 | 0.053002 | 3.1169 | Heat Pump Hot Water Heater | 100 | 19.3775 | 113.9583 | 19.3775 | 113.9583 | 1139.5827 | 130316.8138 | 182278.5 | -51961.6862 | 0.71493 | 60400 | 2.1576
Outdoor motion sensor | Res Lighting | ROB/NEW | 10 | N/A | 159 | This is a deemed value and can be found in table 24, page 40 of the 2020 evaluation report for residential efficient product rebates. | 0 | This is a deemed value and can be found in table 25, page 42 of the 2020 evaluation report for residential efficient product rebates. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | There are no non-electric impacts modelled for this measure. | 41.988 | 5 | 10.061 | 0 | 15.061 | 170.4098 | 0 | 170.4098 | 100% | 3.274 | 11.3146 | 0.08653 | 0.008653 | N/A | Outdoor motion sensor | 3500 | 0 | 609.2006 | 0 | 609.2006 | 6092.0055 | 596434.4292 | 182171.5113 | 414262.9178 | 3.274 | 52713.4996 | 11.3146
Programmable thermostat | Res HVAC | ROB/NEW | 10 | N/A | 221 | This is a deemed value and can be found in table 24, page 40 of the 2020 evaluation report for residential efficient product rebates. | 0 | This is a deemed value and can be found in table 25, page 42 of the 2020 evaluation report for residential efficient product rebates. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | There are no non-electric impacts modelled for this measure. | 14.8904 | 17.5 | 19.3648 | 0 | 36.8648 | 236.859 | 0 | 236.859 | 100% | 6.9145 | 6.4251 | 0.15238 | 0.015238 | N/A | Programmable thermostat | 6000 | 0 | 1451.5722 | 0 | 1451.5722 | 14515.722 | 1421153.7342 | 205531.5897 | 1215622.1445 | 6.9145 | 221188.9047 | 6.4251
Room air purifier | Res Other | ROB/NEW | 9 | N/A | 435 | This is a deemed value and can be found in table 24, page 40 of the 2020 evaluation report for residential efficient product rebates. | 74.4 | This is a deemed value and can be found in table 25, page 42 of the 2020 evaluation report for residential efficient product rebates. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | There are no non-electric impacts modelled for this measure. | 211.4564 | 60 | 52.6994 | 0 | 112.6994 | 501.3913 | 0 | 501.3913 | 100% | 1.8981 | 4.4489 | 0.23667 | 0.026297 | 1.321 | Room air purifier | 2766 | 235.9593 | 1317.154 | 235.9593 | 1317.154 | 11854.3859 | 1386848.2063 | 730654.9058 | 656193.3006 | 1.8981 | 311726.451 | 4.4489
Smart thermostats for electric baseboards | Res HVAC | ROB/NEW | 10 | N/A | 348 | This is a deemed value and can be found in table 24, page 40 of the 2020 evaluation report for residential efficient product rebates. | 0 | This is a deemed value and can be found in table 25, page 42 of the 2020 evaluation report for residential efficient product rebates. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | There are no non-electric impacts modelled for this measure. | 151 | 30 | 31.7392 | 0 | 61.7392 | 372.9725 | 0 | 372.9725 | 100% | 2.041 | 6.0411 | 0.16207 | 0.016207 | N/A | Smart thermostats for electric baseboards | 150 | 0 | 57.1433 | 0 | 57.1433 | 571.4334 | 55945.871 | 27410.8754 | 28534.9956 | 2.041 | 9260.8754 | 6.0411
MHEEP | [27 empty] | MHEEP Total
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Annual Energy Savings per Unit at Meter (kWh) Pre-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Pre-RUL | Source/Assumptions | Gross Annual Energy Savings per Unit at Meter (kWh) Post-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Post-RUL | Source/Assumptions | Non-Electric Impacts - Source/Assumptions | Gross Per Unit One-Time Incremental Measure Cost ($) | Per Unit Incentive ($) | Per Unit Program Administrative Cost (inclusive of DI costs) ($) | Per Unit Direct Installation Cost ($) | Per Unit DSM Administrator Cost (Incentive + Administrative) ($) | Per Unit Present Value Avoided Cost Benefits ($) | Per Unit Present Value Non-Energy Benefits ($) | Total Per Unit Present Value Benefits ($) | Net-To-Gross Ratio | Net Total Resource Benefit-Cost Ratio (TRC) | Net Program Administrator Benefit-Cost Ratio (PAC) | Net First-Year Unit Cost / kWh at Generator ($/kWh) | Net Lifetime Unit Cost / kWh at Generator ($/kWh) | Net Unit Cost / Watt at Generator ($/W) | Measure Name | Participation (Units) | Total Peak Demand Savings (kW) | Total First Year Energy Savings (MWh) | Total Cumulative Peak Demand Savings (kW) | Total Cumulative First Year Energy Savings (MWh) | Total Lifetime Energy Savings (MWh) | Total Avoided Cost Benefits ($) | TRC Costs ($) | Total TRC Net Resource Benefits ($) | TRC Ratio | PAC Costs ($) | PAC Ratio
Refrigerator replacement (Low income only) | Res Refrigeration | RET | 5 | 1.6667 | 678 | Please refer to Table 9, Page 10 of the 2020 Evaluation of Residential Efficient Product Rebates for the source of this deemed value. | 97.29 | Please refer to Table 10, Page 11 of the 2020 Evaluation of Residential Efficient Product Rebates for the source of this deemed value. | 678 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 97.29 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 0 | 0 | 1138.9864 | 870.11 | 1138.9864 | 474.1519 | 0 | 474.1519 | 100% | 0.41629 | 0.41629 | 1.5346 | 0.30692 | 10.2098 | Refrigerator replacement (Low income only) | 5.778 | 0.64455 | 4.2885 | 0.64455 | 4.2885 | 21.4423 | 2739.6495 | 6581.0634 | -3841.4139 | 0.41629 | 6581.0634 | 0.41629
Whole Home First Nations Retrofit | Res HVAC | RET | 20 | 6.6667 | 3667 | This value is a reflection of the anticipated whole-home energy savings from the First Nations Home Retrofit evaluation from 2020, as found in Figure 26 of the 2020 Existing Residential evaluation report. | 1037.761 | This value converts the energy savings amount into a per home demand savings value using the evaluated demand-to-energy ratio of 0.283 MW/GWh, as found on page 108 of the 2020 Existing Residential evaluation report. | 3667 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | 1037.761 | This measure is an early retirement measure, but does not have differing pre and post-RUL savings. The value is the same as the pre-RUL period. | There are no non-electric impacts modelled for this measure. | 0 | 0 | 9299.5769 | 6103.3548 | 9299.5769 | 8602.1714 | 0 | 8602.1714 | 100% | 0.92501 | 0.92501 | 2.3167 | 0.11583 | 7.8151 | Whole Home First Nations Retrofit | 118.0463 | 140.4629 | 473.8689 | 140.4629 | 473.8689 | 9477.3784 | 1015454.0714 | 1097780.183 | -82326.1116 | 0.92501 | 1097780.183 | 0.92501
Residential Behaviour | [27 empty] | Residential Behaviour Total
Measure Name | Technology Type | Decision Type | Measure Life | Remaining Useful Life | Gross Annual Energy Savings per Unit at Meter (kWh) Pre-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Pre-RUL | Source/Assumptions | Gross Annual Energy Savings per Unit at Meter (kWh) Post-RUL | Source/Assumptions | Gross Peak Demand Savings per Unit at Meter (Watts) Post-RUL | Source/Assumptions | Non-Electric Impacts - Source/Assumptions | Gross Per Unit One-Time Incremental Measure Cost ($) | Per Unit Incentive ($) | Per Unit Program Administrative Cost (inclusive of DI costs) ($) | Per Unit Direct Installation Cost ($) | Per Unit DSM Administrator Cost (Incentive + Administrative) ($) | Per Unit Present Value Avoided Cost Benefits ($) | Per Unit Present Value Non-Energy Benefits ($) | Total Per Unit Present Value Benefits ($) | Net-To-Gross Ratio | Net Total Resource Benefit-Cost Ratio (TRC) | Net Program Administrator Benefit-Cost Ratio (PAC) | Net First-Year Unit Cost / kWh at Generator ($/kWh) | Net Lifetime Unit Cost / kWh at Generator ($/kWh) | Net Unit Cost / Watt at Generator ($/W) | Measure Name | Participation (Units) | Total Peak Demand Savings (kW) | Total First Year Energy Savings (MWh) | Total Cumulative Peak Demand Savings (kW) | Total Cumulative First Year Energy Savings (MWh) | Total Lifetime Energy Savings (MWh) | Total Avoided Cost Benefits ($) | TRC Costs ($) | Total TRC Net Resource Benefits ($) | TRC Ratio | PAC Costs ($) | PAC Ratio
Home Energy Report | Res Other | ROB/NEW | 1 | N/A | 207 | Guidehouse has provided the characterization for this measure, which relies on an assumed per home energy savings value of 2% of whole home energy consumption. | 0 | Guidehouse has not characterized demand savings associated with this measure. EfficiencyOne has assumed that no demand savings will be produced from this program component. ENS's historical HER program component did produce limited demand savings, but the anlysis was highly dependant on the nature of tips offered. This is a conservative assumption until such time as customer tips and techniques have had detailed design performed. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | N/A | This measure is modelled as replace-on-burnout and does not possess post-RUL energy savings. | There are no non-electric impacts modelled for this measure. | 11.51 | 11.5057 | 18.5226 | 0 | 30.0283 | 28.4474 | 0 | 28.4474 | 100% | 0.94722 | 0.94735 | 0.13252 | 0.13252 | N/A | Home Energy Report | 38195.3107 | 0 | 8655.1682 | 0 | 8655.1682 | 8655.1682 | 1086557.2509 | 1147104.5697 | -60547.3188 | 0.94722 | 1146939.8934 | 0.94735