## IG IR-12 Attachment 2
2023-2025 DSM Plan as Approved
Measures with a simple payback period of <=3.0 years
Simple Payback Before Incentives
Program Component | Measure | 2023 | 2024 | 2025
Affordable Single-Family Homes | Affordable Single-Family Homes | 0 | 0 | 0
Affordable Single-Family Homes | Clothes Dryer replacement (Low Income Only) | 0 | 0 | 0
Affordable Single-Family Homes | Freezer replacement (Low income only) | 0 | 0 | 0
Affordable Single-Family Homes | Refrigerator replacement (Low income only) | 0 | 0 | 0
Appliance Retirement | Air Conditioner retirement - Bulk | 0.96942 | 0.98881 | 1.0086
Appliance Retirement | Air Conditioner retirement - Drop Off | 0.92814 | 0.94671 | 0.96564
Appliance Retirement | Air Conditioner retirement | 1.1761 | 1.1996 | 1.2236
Appliance Retirement | Freezer retirement - Bulk | 0.91646 | 0.93479 | 0.95348
Appliance Retirement | Freezer retirement - Drop Off | 0.49902 | 0.509 | 0.51918
Appliance Retirement | Freezer retirement | 1.1541 | 1.1772 | 1.2007
Appliance Retirement | Mini freezer retirement - Bulk | 1.7493 | 1.7843 | 1.82
Appliance Retirement | Mini freezer retirement - Drop Off | 1.4109 | 1.4391 | 1.4679
Appliance Retirement | Mini freezer retirement | 2.1497 | 2.1927 | 2.2366
Appliance Retirement | Mini fridge retirement - Bulk | 2.7372 | 2.7919 | 2.8478
Appliance Retirement | Mini fridge retirement - Drop Off | 2.2076 | 2.2517 | 2.2968
Appliance Retirement | Refrigerator retirement - Bulk | 1.2256 | 1.2501 | 1.2751
Appliance Retirement | Refrigerator retirement - Drop Off | 0.66735 | 0.68069 | 0.69431
Appliance Retirement | Refrigerator retirement | 1.5434 | 1.5743 | 1.6058
Business Energy Rebates | 1/2 Size Hot Food Holding Cabinet | 1.7028 | 1.7369 | 1.7716
Business Energy Rebates | Air-Entraining Air Nozzle | 0.020203 | 0.020607 | 0.021019
Business Energy Rebates | Case Lighting for Sign Retrofits | 1.5726 | 1.604 | 1.6361
Business Energy Rebates | Dairy Scroll Compressor | 0.26631 | 0.27164 | 0.27707
Business Energy Rebates | Daylighting Controls - Ceiling Mounted | 2.0925 | 2.1343 | 2.177
Business Energy Rebates | Door Heater Controls | 1.9985 | 2.0385 | 2.0793
Business Energy Rebates | Double Heat Pad (Agriculture) | 1.4744 | 1.5039 | 1.534
Business Energy Rebates | Dual Enthalpy Economizer Controls | 2.4094 | 2.4576 | 2.5068
Business Energy Rebates | EC Motor for Refrigeration Applications - Large | 1.3199 | 1.3463 | 1.3732
Business Energy Rebates | Electric Combination Oven | 2.0301 | 2.0707 | 2.1121
Business Energy Rebates | Electric Fryer Replacement with Gas | 0.67842 | 0.69198 | 0.70582
Business Energy Rebates | Electric Griddle Replacement with Gas | 1.6231 | 1.6556 | 1.6887
Business Energy Rebates | Electric Steam Cooker | 1.9316 | 1.9703 | 2.0097
Business Energy Rebates | Electric to Natural Gas - Water Heater (60 gal) | 1.0571 | 1.0782 | 1.0998
Business Energy Rebates | Electric to Natural Gas - Water Heater (80 gal) | 0.75772 | 0.77288 | 0.78833
Business Energy Rebates | ENERGY STAR Electric Griddle | 0 | 0 | 0
Business Energy Rebates | ENERGY STAR Pool Pump | 1.1522 | 1.1752 | 1.1987
Business Energy Rebates | ENERGY STAR Washing Machine | 1.0215 | 1.0419 | 1.0628
Business Energy Rebates | Flood Luminaire (10000 lumen) | 1.9645 | 2.0038 | 2.0438
Business Energy Rebates | Flood Luminaire (25000 lumen) | 1.4096 | 1.4378 | 1.4665
Business Energy Rebates | Flood Luminaire (60000 lumen) | 2.4243 | 2.4728 | 2.5222
Business Energy Rebates | Full-Size Hot Food Holding Cabinet | 1.4777 | 1.5073 | 1.5374
Business Energy Rebates | Glass Door Freezer (compact - 12 cu ft) | 0 | 0 | 0
Business Energy Rebates | Glass Door Freezer (full size - 38 cu ft) | 0 | 0 | 0
Business Energy Rebates | Glass Door Refrigerator (compact - 12 cu ft) | 0 | 0 | 0
Business Energy Rebates | Glass Door Refrigerator (full size - 38 cu ft) | 0 | 0 | 0
Business Energy Rebates | Ground Source Heat Pump (60kBTU/hr) (closed loop) | 2.9086 | 2.5299 | 2.5805
Business Energy Rebates | Heat Pump Clothes Dryer | 2.0909 | 2.1327 | 2.1753
Business Energy Rebates | Heat Pump Water Heater (40 gal) | 1.261 | 1.2862 | 1.3119
Business Energy Rebates | Heat Pump Water Heater (60 gal) | 0.90496 | 0.92306 | 0.94152
Business Energy Rebates | Heat Reclaimer Unit (Agriculture) | 2.8963 | 2.9542 | 3.0133
Business Energy Rebates | High Efficiency Circulator Pump 100W | 1.7939 | 1.8298 | 1.8664
Business Energy Rebates | High Volume Low Speed Fan (Agriculture) (18 foot) | 2.483 | 2.5327 | 2.5833
Business Energy Rebates | High Volume Low Speed Fan (Agriculture) (24 foot) | 1.6885 | 1.7222 | 1.7567
Business Energy Rebates | HVAC Hotel Occupancy Sensor | 2.0497 | 2.0907 | 2.1325
Business Energy Rebates | Ice-Maker with Remote Condensing Unit (1500 lbs per day) | 2.6242 | 2.6767 | 2.7302
Business Energy Rebates | Ice-Maker with Remote Condensing Unit (2500 lbs per day) | 2.209 | 2.2532 | 2.2983
Business Energy Rebates | Ice-Making Head (1200lbs per day) | 1.6935 | 1.7274 | 1.7619
Business Energy Rebates | Ice-Making Head (400 lbs per day) | 2.5262 | 2.5767 | 2.6282
Business Energy Rebates | Ice-Making Head (600 lbs per day) | 2.1315 | 2.1741 | 2.2176
Business Energy Rebates | Ice-Making Head (900 lbs per day) | 2.7738 | 2.8293 | 2.8859
Business Energy Rebates | Large Capacity Commercial Heat Pump (100 kBTU/hr) | 1.1426 | 1.1655 | 1.1888
Business Energy Rebates | Linear Ambient Luminaire (10000 lumen) | 2.8547 | 2.9118 | 2.97
Business Energy Rebates | Linear Ambient Luminaire (2000 lumen) | 1.5403 | 1.5711 | 1.6025
Business Energy Rebates | Linear Replacement Lamp (2 foot) | 2.087 | 2.1288 | 2.1714
Business Energy Rebates | Linear Replacement Lamp (4 foot) | 1.0694 | 1.0907 | 1.1126
Business Energy Rebates | Low-bay Luminaire (10,000 lumen) | 2.1781 | 2.2217 | 2.2661
Business Energy Rebates | Multi-Tank Conveyor Dishwasher - High Temp | 0.27365 | 0.27912 | 0.2847
Business Energy Rebates | Multi-Tank Conveyor Dishwasher - Low Temp | 0.3987 | 0.40667 | 0.41481
Business Energy Rebates | Natural Barn Ventiliation - Year-Round | 0.58833 | 0.60009 | 0.61209
Business Energy Rebates | No-Loss Drain | 0.28562 | 0.29134 | 0.29716
Business Energy Rebates | Outside Air Economizer | 1.2156 | 1.24 | 1.2648
Business Energy Rebates | Packaged Terminal Heat Pump (12kBTU/hr) | 0.28234 | 0.28799 | 0.29375
Business Energy Rebates | Pole/Arm-Mounted Area Luminaire (1300 lumen) | 1.6284 | 1.6609 | 1.6941
Business Energy Rebates | Pole/Arm-Mounted Area Luminaire (20000 lumen) | 2.4693 | 2.5187 | 2.5691
Business Energy Rebates | Pole/Arm-Mounted Area Luminaire (30000 lumen) | 1.9609 | 2.0001 | 2.0401
Business Energy Rebates | Pole/Arm-Mounted Area Luminaire (5000 lumen) | 1.0404 | 1.0612 | 1.0824
Business Energy Rebates | Pole/Arm-Mounted Decorative Luminaire (10000 lumen) | 2.1081 | 2.1503 | 2.1933
Business Energy Rebates | Pole/Arm-Mounted Decorative Luminaire (1300 lumen) | 0.66262 | 0.67587 | 0.68939
Business Energy Rebates | Server Virtualization and Decommissioning | 0.30423 | 0.31032 | 0.31652
Business Energy Rebates | Single -Tank Conveyor Dishwasher - High Temp | 1.7206 | 1.7551 | 1.7902
Business Energy Rebates | Single -Tank Conveyor Dishwasher - Low Temp | 0 | 0 | 0
Business Energy Rebates | Single Heat Pad (Agriculture) | 1.0137 | 1.034 | 1.0547
Business Energy Rebates | Single-Tank Door type Dishwasher - High Temp | 1.2533 | 1.2784 | 1.304
Business Energy Rebates | Single-Tank Door type Dishwasher - Low Temp | 0.0067016 | 0.0068356 | 0.0069723
Business Energy Rebates | Smart thermostats for central air source heat pump | 2.1828 | 2.2264 | 2.271
Business Energy Rebates | Solid Door Freezer | 0 | 0 | 0
Business Energy Rebates | Solid Door Refrigerator | 0 | 0 | 0
Business Energy Rebates | Standard Capacity Electric Fryer | 1.7056 | 1.7397 | 1.7745
Business Energy Rebates | Strip-Curtains for Display Cases | 0.064054 | 0.065335 | 0.066642
Business Energy Rebates | Track/Mono-point Direction Luminaire | 0.53873 | 0.5495 | 0.56049
Business Energy Rebates | Under-Counter Dishwasher - HighTemp | 0.29263 | 0.29848 | 0.30445
Business Energy Rebates | Under-Counter Dishwasher - Low Temp | 0.15223 | 0.15528 | 0.15838
Business Energy Rebates | VFD - 1.5 hp - Institutional - Condensor Pump | 2.8793 | 2.9369 | 2.9956
Business Energy Rebates | VFD - 1.5 hp - Retail - Make-Up Air Fan | 2.0523 | 2.0934 | 2.1352
Business Energy Rebates | VFD - 10 hp - Institutional - Make-up Air Fan | 0.53412 | 0.5448 | 0.55569
Business Energy Rebates | VFD - 10 hp - Retail - Supply Fan | 1.6158 | 1.6481 | 1.6811
Business Energy Rebates | VFD - 15 hp - Institutional - Chilled Water Pump | 2.897 | 2.9549 | 3.014
Business Energy Rebates | VFD - 15 hp - Retail - Exhaust Fan | 0.69801 | 0.71197 | 0.72621
Business Energy Rebates | VFD - 25 hp - Institutional - Exhaust Fan | 0.4608 | 0.47002 | 0.47942
Business Energy Rebates | VFD - 25 hp - Institutional - Hot Water Circulating Loop Pump | 0.64639 | 0.65932 | 0.6725
Business Energy Rebates | VFD - 30 hp - Institutional - Make-up Air Fan | 0.40896 | 0.41713 | 0.42548
Business Energy Rebates | VFD - 30 hp - Retail - Supply Fan | 1.0714 | 1.0928 | 1.1147
Business Energy Rebates | VFD - 40 hp - Warehousing - Exhaust Fan | 0.32334 | 0.32981 | 0.33641
Business Energy Rebates | VFD - 5 hp - Institutional - Chilled Water Pump | 1.1217 | 1.1441 | 1.167
Business Energy Rebates | VFD - 5 hp - Retail - Exhaust Fan | 1.0374 | 1.0581 | 1.0793
Business Energy Rebates | VFD - 7.5 hp - Institutional - Chilled Water Pump | 0.93003 | 0.94863 | 0.9676
Business Energy Rebates | VFD - 7.5 hp - Warehousing - Exhaust Fan | 0.68193 | 0.69557 | 0.70948
Business Energy Rebates | Wall Mounted Area Luminaire (1000 lumen) (full and no-cutoff) | 1.1446 | 1.1675 | 1.1909
Business Energy Rebates | Wall Mounted Area Luminaire (10000 lumen) (full and no-cutoff) | 2.2601 | 2.3053 | 2.3514
Business Energy Rebates | Wall Mounted Area Luminaire (20000 lumen) (full and no-cutoff) | 2.9564 | 3.0155 | 3.0758
Business Energy Rebates | Wall Mounted Area Luminaire (4000 lumen) (full and no-cutoff) | 2.8163 | 2.8727 | 2.9301
Business Energy Rebates | Wall wash luminaire (1500 lumen) | 0 | 0 | 0
Business Energy Rebates | Wall Wash Luminaire (1000 lumen) | 0 | 0 | 0
Custom | Custom New Construction | 2.8207 | 2.8771 | 2.9347
Custom | Custom Retrofit | 2.8207 | 2.8771 | 2.9347
Custom | Existing Building Comissioning | 2.2226 | 2.2671 | 2.3124
Custom | Pay-for-Performance | 2.8207 | 2.8771 | 2.9347
Efficient Products Installation | 18W Replacing 100W | 0 | 0 | 0
Efficient Products Installation | 5W Chandelier E12 - MURB | 0 | 0 | 0
Efficient Products Installation | 5W Chandelier E12 | 0 | 0 | 0
Efficient Products Installation | 7W G25 - MURB | 0 | 0 | 0
Efficient Products Installation | 7W G25 | 0 | 0 | 0
Efficient Products Installation | 7W GU10 Replacing 35W | 0 | 0 | 0
Efficient Products Installation | 7W GU10 Replacing 50W - MURB | 0 | 0 | 0
Efficient Products Installation | 7W GU10 Replacing 50W | 0 | 0 | 0
Efficient Products Installation | 9.5W Replacing 100W - MURB | 0 | 0 | 0
Efficient Products Installation | 9.5W Replacing 100W | 0 | 0 | 0
Efficient Products Installation | 9.5W Replacing 40W - MURB | 0 | 0 | 0
Efficient Products Installation | 9.5W Replacing 40W | 0 | 0 | 0
Efficient Products Installation | 9.5W Replacing 60W - MURB | 0 | 0 | 0
Efficient Products Installation | 9.5W Replacing 60W | 0 | 0 | 0
Efficient Products Installation | 9W Replacing 100W | 0 | 0 | 0
Efficient Products Installation | 9W Replacing 40W - MURB | 0 | 0 | 0
Efficient Products Installation | 9W Replacing 40W | 0 | 0 | 0
Efficient Products Installation | 9W Replacing 60W - MURB | 0 | 0 | 0
Efficient Products Installation | 9W Replacing 60W | 0 | 0 | 0
Efficient Products Installation | Air Sealing Measures - Elect Res - MURB | 0 | 0 | 0
Efficient Products Installation | Air Sealing Measures - Elect Res | 0 | 0 | 0
Efficient Products Installation | Air Sealing Measures - HP - MURB | 0 | 0 | 0
Efficient Products Installation | Air Sealing Measures - HP | 0 | 0 | 0
Efficient Products Installation | Dimmer Switch | 0 | 0 | 0
Efficient Products Installation | Faucet Aerators - MURB | 0 | 0 | 0
Efficient Products Installation | Faucet Aerators | 0 | 0 | 0
Efficient Products Installation | Hot Water Tank Wrap - MURB | 0 | 0 | 0
Efficient Products Installation | Hot Water Tank Wrap | 0 | 0 | 0
Efficient Products Installation | Indoor motion sensor | 0 | 0 | 0
Efficient Products Installation | LED - ENERGY STAR Fixture with Motion Sensor | 0 | 0 | 0
Efficient Products Installation | LED Nightlights - MURB | 0 | 0 | 0
Efficient Products Installation | LED Nightlights | 0 | 0 | 0
Efficient Products Installation | Low-flow showerhead - 1.0 gpm Reduction - MURB | 0 | 0 | 0
Efficient Products Installation | Low-flow showerhead - 1.0 gpm Reduction | 0 | 0 | 0
Efficient Products Installation | Motion sensor with dimmer switch | 0 | 0 | 0
Efficient Products Installation | Outdoor motion sensor | 0 | 0 | 0
Efficient Products Installation | PAR20 7 W Replacing 50 W - MURB | 0 | 0 | 0
Efficient Products Installation | PAR20 7 W Replacing 50 W | 0 | 0 | 0
Efficient Products Installation | PAR38 15 W Replacing 150 W | 0 | 0 | 0
Efficient Products Installation | Pipe Insulation - MURB | 0 | 0 | 0
Efficient Products Installation | Pipe Insulation | 0 | 0 | 0
Efficient Products Installation | Smart thermostats for central air source heat pump | 0 | 0 | 0
Efficient Products Installation | Smart thermostats for electric baseboards | 0 | 0 | 0
Efficient Products Installation | Smart thermostats for mini-split heat pumps | 0 | 0 | 0
Efficient Products Installation | Thermostatic Shower Valves -2.5gpm - MURB | 0 | 0 | 0
Efficient Products Installation | Thermostatic Shower Valves -2.5gpm | 0 | 0 | 0
Green Heat | Residential DHW Timer | 0 | 0 | 0
Green Heat | Residential ETS System (Central) | 0 | 0 | 0
Green Heat | Residential ETS System (Room) | 0 | 0 | 0
Green Heat | Three Element Hot Water Heater | 0 | 0 | 0
Green Heat | Wood Stove (Electric Resistance) | 2.2963 | 2.3422 | 2.3891
Home Energy Assessment | Residential ETS System (Central) | 0 | 0 | 0
Home Energy Assessment | Residential ETS System (Room) | 0 | 0 | 0
Instant Savings | Heavy duty timer | 1.2215 | 1.2459 | 1.2708
Instant Savings | LED - ENERGY STAR Fixture with Motion Sensor | 2.0904 | 2.1322 | 2.1748
Instant Savings | LED - Other | 0.86003 | 0.87723 | 0.89477
Instant Savings | LED - R, BR and Decorative | 0.78948 | 0.80527 | 0.82137
Instant Savings | LED - Recessed downlight | 2.5526 | 2.6037 | 2.6558
Instant Savings | Outdoor motion sensor | 1.6205 | 1.6529 | 1.686
Instant Savings | Power bar with timer | 2.9483 | 3.0072 | 3.0674
Instant Savings | Programmable thermostat | 0.41346 | 0.42173 | 0.43016
Instant Savings | Room air purifier | 2.983 | 3.0426 | 3.1035
Instant Savings | Smart power bar | 2.9428 | 3.0016 | 3.0617
Instant Savings | Smart thermostats for electric baseboards | 2.6627 | 2.7159 | 2.7702
MHEEP | Clothes Dryer replacement (Low Income Only) | 0 | 0 | 0
MHEEP | Drain Water Heat Recovery | 0 | 0 | 0
MHEEP | Freezer replacement (Low income only) | 0 | 0 | 0
MHEEP | Refrigerator replacement (Low income only) | 0 | 0 | 0
MHEEP | Whole Home First Nations Retrofit | 0 | 0 | 0
MHEEP | Dehumidifier replacement (Low income only) | 0 | 0 | 0
MHEEP | Clothes Washer replacement (Low income only) | 0 | 0 | 0
New Home Construction | Whole Home - tier 0 - Attached/Semi-Attached | 0 | 0 | 0
Residential Behaviour | Home Energy Report | 0.34121 | 0.34108 | 0.34108
SEM | Strategic Energy Management | 0.97472 | 0.99421 | 1.0141
Small Business Energy Solutions | Downlight Luminaire (1200 lumen) | 1.5914 | 1.6233 | 1.6557
Small Business Energy Solutions | Downlight Luminaire (3000 lumen) | 2.1001 | 2.1421 | 2.1849
Small Business Energy Solutions | Downlight Luminaire (800 lumen) | 1.8169 | 1.8532 | 1.8903
Small Business Energy Solutions | Flood Luminaire (10000 lumen) | 1.9645 | 2.0038 | 2.0438
Small Business Energy Solutions | Fuel Pump Canopy Luminaire ( 5000 lumen) | 2.0051 | 2.0452 | 2.0861
Small Business Energy Solutions | General Use Lamp (A-Series) | 0.38214 | 0.38978 | 0.39757
Small Business Energy Solutions | Glass Door Refrigerator (full size - 38 cu ft) | 0 | 0 | 0
Small Business Energy Solutions | Ground Source Heat Pump (60kBTU/hr) (closed loop) | 2.9086 | 2.5299 | 2.5805
Small Business Energy Solutions | Heat Pump Water Heater (40 gal) | 1.261 | 1.2862 | 1.3119
Small Business Energy Solutions | Heat Pump Water Heater (60 gal) | 0.90496 | 0.92306 | 0.94152
Small Business Energy Solutions | Heat Reclaimer Unit (Agriculture) | 2.8963 | 2.9542 | 3.0133
Small Business Energy Solutions | High Volume Low Speed Fan (Agriculture) (24 foot) | 1.6885 | 1.7222 | 1.7567
Small Business Energy Solutions | LED Wall Sconce (1200 lumen) | 0.29339 | 0.29926 | 0.30525
Small Business Energy Solutions | Linear Ambient Luminaire (10000 lumen) | 2.8547 | 2.9118 | 2.97
Small Business Energy Solutions | Linear Ambient Luminaire (2000 lumen) | 1.5403 | 1.5711 | 1.6025
Small Business Energy Solutions | Linear Replacement Lamp (2 foot) | 2.087 | 2.1288 | 2.1714
Small Business Energy Solutions | Linear Replacement Lamp (4 foot) | 1.0694 | 1.0907 | 1.1126
Small Business Energy Solutions | Low-bay Luminaire (10,000 lumen) | 2.1781 | 2.2217 | 2.2661
Small Business Energy Solutions | Multi-Tank Conveyor Dishwasher - High Temp | 0.27365 | 0.27912 | 0.2847
Small Business Energy Solutions | Multi-Tank Conveyor Dishwasher - Low Temp | 0.3987 | 0.40667 | 0.41481
Small Business Energy Solutions | Pole/Arm-Mounted Area Luminaire (20000 lumen) | 2.4693 | 2.5187 | 2.5691
Small Business Energy Solutions | Pole/Arm-Mounted Area Luminaire (5000 lumen) | 1.0404 | 1.0612 | 1.0824
Small Business Energy Solutions | Pole/Arm-Mounted Decorative Luminaire (10000 lumen) | 2.1081 | 2.1503 | 2.1933
Small Business Energy Solutions | Pole/Arm-Mounted Decorative Luminaire (1300 lumen) | 0.66262 | 0.67587 | 0.68939
Small Business Energy Solutions | SBES Direct Install - Lighting | 0 | 0 | 0
Small Business Energy Solutions | SBES Direct Install - Lighting Controls | 0 | 0 | 0
Small Business Energy Solutions | SBES Direct Install - Non-Lighting | 0 | 0 | 0
Small Business Energy Solutions | Smart thermostats for central air source heat pump | 2.1828 | 2.2264 | 2.271
Small Business Energy Solutions | Solid Door Freezer | 0 | 0 | 0
Small Business Energy Solutions | Solid Door Refrigerator | 0 | 0 | 0
Small Business Energy Solutions | Standard Capacity Electric Fryer | 1.7056 | 1.7397 | 1.7745
Small Business Energy Solutions | Strip-Curtains for Display Cases | 0.01628 | 0.016606 | 0.016938
Small Business Energy Solutions | Wall Mounted Area Luminaire (1000 lumen) (full and no-cutoff) | 1.1446 | 1.1675 | 1.1909
Small Business Energy Solutions | Wall Mounted Area Luminaire (10000 lumen) (full and no-cutoff) | 2.2601 | 2.3053 | 2.3514
Small Business Energy Solutions | Zero-Energy Doors for Reach-In Coolers | 1.3365 | 1.3632 | 1.3905