## Availability
Performance Factor: |  | Availability
Annual Hours: |  | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784
NERC
Year: |  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2019-2023
|  | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | Fossil Units (100-199 MW)
Plant
Pt. Aconi |  | 83.19% | 88.45% | 81.14% | 88% | 85.3% | 86.53% | 87.25% | 81.19% | 84.27% | 84.9% | 83.5% | 88.9% | 76.55%
Tufts Cove #1 |  | 85.26% | 99.98% | 88.53% | 74% | 43.33% | 86.02% | 75.01% | 83.38% | 79.14% | 80.63% | 61.49% | 69.36% | 81.69%
Tufts Cove #2 |  | 74.01% | 70.97% | 95.56% | 92% | 85.12% | 76.57% | 49.15% | 77.36% | 74.27% | 84.66% | 61.22% | 69.07% | 65.72%
Tufts Cove #3 |  | 76.96% | 82.25% | 57.86% | 82% | 91.6% | 66.55% | 89.68% | 88.09% | 92.86% | 66.52% | 68.58% | 75.49% | 83.03%
Tufts Cove #4 |  | - | - | 84.05% | 87% | 87.43% | 94.61% | 92.05% | 79.29% | 91.79% | 55.11% | 88.98% | 89.38% | 89.46%
Tufts Cove #5 |  | - | - | 90.35% | 88% | 90.45% | 82.68% | 91.81% | 88.12% | 90.86% | 80.55% | 89.94% | 89.45% | 90.81%
Tufts Cove #6 |  | - | - | 81.41% | 97% | 88.42% | 89.87% | 87.23% | 84.87% | 87.48% | 75.12% | 84.26% | 86.01% | 87.66%
PT. Tupper #2 |  | 96.25% | 77.59% | 96.23% | 91% | 94.3% | 85.91% | 92.88% | 75.65% | 57.96% | 85.9% | 76.5% | 72.8% | 78.21%
Trenton #5 |  | 35.42% | 85.11% | 86.96% | 90% | 77.6% | 88.68% | 69.5% | 55.11% | 91.76% | 88.8% | 87.6% | 93% | 75.25%
Trenton #6 |  | 92.12% | 86.17% | 91.29% | 86% | 92.5% | 74.99% | 86.72% | 78.13% | 86.38% | 82% | 85.5% | 85.4% | 84.91%
Lingan #1 |  | 93.54% | 86% | 91.81% | 92% | 98.61% | 85.15% | 68.46% | 93.95% | 91.56% | 90.2% | 79.87% | 72.69% | 72.6%
Lingan #2 |  | 64.54% | 91.05% | 93.21% | 96% | 98.87% | 73.45% | 61.79% | 92.25% | 79.27% | 86.71% | 68.3% | 88.24% | 93.79%
Lingan #3 |  | 88.55% | 94.07% | 99.61% | 74% | 98.02% | 97.06% | 76.83% | 87.54% | 86.22% | 90.46% | 82.53% | 86.76% | 81.66%
Lingan #4 |  | 94.13% | 94.23% | 92.7% | 92% | 64.23% | 90.55% | 87.71% | 88.11% | 83.24% | 89.4% | 84.87% | 84.87% | 79.57%
PHB |  | - | - | 85.78% | 90% | 92.5% | 81.59% | 91.05% | 85.17% | 85.73% | 86% | 73.8% | 86.3% | 81.93%
Fossil Fleet Availability |  | NERC 2019-2023: 81.09%
Definition: | Availability is not a reported CEA measure. It is comparable to the Capability Factor CbF (%),
which is the complement of the Incapability Factor. CEA Availability is calculated here as (100% - ICbF).
Availability is now a CEA measure. Availability for 2016 onwards is calculated as:
(operating hours + available hours) / unit hours.

## ICbF
Performance Factor: |  | ICbF
Annual Hours: |  | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784
Year: |  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
|  | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual)
Plant
Pt. Aconi |  | 11.81% | 7.6% | 18.18% | 11.3% | 14.5% | 11.55% | 11.65% | 21.6% | 19.15% | 16.2% | 18.3% | 11.99% | 25.4%
Tufts Cove #1 |  | 15% | 0% | 11.33% | 26.3% | 56.63% | 13.98% | 22% | 17.04% | 15.26% | 16.88% | 39.03% | 30.68% | 18.4%
Tufts Cove #2 |  | 25.13% | 26.86% | 4.13% | 7.8% | 15.02% | 19.12% | 50.85% | 22.73% | 21.01% | 15.76% | 39.57% | 33.87% | 34.28%
Tufts Cove #3 |  | 23.29% | 16.4% | 42.06% | 17.7% | 8.71% | 33.45% | 8.882% | 11.94% | 7.77% | 36.02% | 33.09% | 26.6% | 18.13%
Tufts Cove #4 |  | 16.13% | 12.2% | 17.03% | 13.3% | 15.64% | 5.162% | 7.762% | 16.63% | 8.19% | 44.55% | 11.28% | 11.01% | 14.48%
Tufts Cove #5 |  | 7.61% | 9.49% | 9.66% | 11.6% | 15.77% | 17.02% | 8.064% | 11.03% | 9.11% | 16.3% | 9.908% | 11.33% | 10.41%
Tufts Cove #6 |  | - | 15.39% | 18.41% | 3.2% | 11.05% | 9.927% | 12.41% | 12.66% | 11.24% | 37.52% | 21.08% | 15.75% | 12.79%
PT. Tupper #2 |  | 3.94% | 22.39% | 3.33% | 8.4% | 8.34% | 13.73% | 7.041% | 24.62% | 42.58% | 15.1% | 28.9% | 29.41% | 23.2%
Trenton #5 |  | 64.84% | 14.87% | 11.38% | 10.2% | 22.99% | 11.31% | 24.1% | 40.12% | 8.25% | 8.6% | 34.3% | 7.778% | 48.8%
Trenton #6 |  | 8.13% | 13.81% | 8.19% | 13.7% | 10.85% | 23.08% | 9.365% | 23.11% | 13.72% | 19.3% | 24.5% | 16.21% | 19.6%
Lingan #1 |  | 6.41% | 13.98% | 7.57% | 8.1% | 1.25% | 14.82% | 21.75% | 5.36% | 8.96% | 10.15% | 19.35% | 26.91% | 19.78%
Lingan #2 |  | 35.71% | 8.93% | 6.47% | 4.2% | 0.94% | 26.55% | 2.51% | 7.45% | 20.35% | 14.19% | 38.89% | 11.97% | 10.92%
Lingan #3 |  | 11.7% | 5.91% | 0.07% | 25.7% | 6.27% | 2.882% | 12.3% | 13.17% | 14.72% | 10.4% | 20.04% | 13.73% | 20.43%
Lingan #4 |  | 6.13% | 5.75% | 6.97% | 7.8% | 34.53% | 1.501% | 9.186% | 7.2% | 17.22% | 11.13% | 15.39% | 17.37% | 23.35%
PHB |  | - | - | 13.9% | 9.4% | 7.33% | 17.69% | 11.65% | 10.75% | 13.96% | 14.5% | 27.1% | 14.03% | 16.4%
Fossil Fleet ICbF |  | 21.44% | 15.78% | 11.91% | 11.91% | 15.32% | 14.79% | 14.63% | 16.36% | 15.43% | 19.1% | 25.4% | 18.6% | 21.1%
Definition: | ICbF (%) - the Incapability Factor is the ratio of Total Equivalent Outage Time, in hours,
to the number of Unit Hours times 100.

## MOF
Performance Factor: |  | MOF
Annual Hours: |  | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784
NERC
Year: |  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2019-2023
|  | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | Fossil Units (100-199 MW)
Plant
Pt. Aconi |  | 0% | 0% | 0.55% | 0.5% | 0.8001% | 1.084% | 2.015% | 5.54% | 2.44% | 1.6% | 2.6% | 2.327% | 0%
Tufts Cove #1 |  | 4.6% | 0% | 1.75% | 11.8% | 10.27% | 7.272% | 5.414% | 6.407% | 13.41% | 4.381% | 9.851% | 9.491% | 7.266%
Tufts Cove #2 |  | 5.7% | 3.69% | 3.34% | 0.7% | 5.652% | 0.9018% | 6.163% | 2.909% | 5.409% | 5.291% | 6.406% | 5.767% | 4.277%
Tufts Cove #3 |  | 2.08% | 2.13% | 3.11% | 7.8% | 0% | 1.575% | 1.086% | 2.695% | 2.413% | 4.528% | 5.532% | 11.81% | 2.943%
Tufts Cove #4 |  | 0.57% | 3.4% | 0.46% | 1.1% | 0.2829% | 1.587% | 0.6395% | 4.166% | 0.5662% | 1.167% | 0.8617% | 1.216% | 1.19%
Tufts Cove #5 |  | 4.55% | 0.11% | 0.31% | 0.3% | 1.038% | 0.2968% | 1.093% | 1.024% | 0.653% | 2.71% | 0.9334% | 0.4129% | 1.453%
Tufts Cove #6 |  | - | 0% | 0.23% | 0% | 0.6565% | 0.8333% | 0.4562% | 4.146% | 1.721% | 3.397% | 0.6252% | 0.7307% | 2.419%
PT. Tupper #2 |  | 0% | 0% | 0% | 0.5% | 1.607% | 2.922% | 0% | 1.398% | 7.61% | 0.3% | 1.2% | 2.511% | 2.5%
Trenton #5 |  | 0.03% | 0.12% | 0% | 0.8% | 1.443% | 1.37% | 0.8265% | 1.71% | 0% | 3.792% | 2.6% | 5.87% | 0%
Trenton #6 |  | 0.35% | 0% | 0% | 0.6% | 1.5% | 0.2511% | 2.373% | 1.632% | 1.55% | 0.5933% | 2.6% | 2.067% | 5.478%
Lingan #1 |  | 0% | 0% | 0% | 0% | 0% | 0% | 2.961% | 4.187% | 0% | 1.972% | 0.6584% | 1.431% | 1.995%
Lingan #2 |  | 0% | 0.6% | 0% | 0% | 0.8345% | 26.04% | 1.077% | 0.4755% | 0% | 1.758% | 1.186% | 2.486% | 0%
Lingan #3 |  | 1.63% | 0% | 0% | 0% | 0.2177% | 0.7192% | 0.00761% | 0.3577% | 3.366% | 0.3094% | 1.853% | 3.45% | 1.437%
Lingan #4 |  | 0% | 0% | 0% | 0% | 0% | 0% | 0.3954% | 0.03425% | 0.1385% | 0% | 0.07991% | 5.738% | 2.78%
PHB |  | - | - | 0.75% | 0.2% | 0.9583% | 1.13% | 0% | 1.566% | 0.1% | 4% | 1.7% | 0.8% | 2.4%
Fossil Fleet MOF |  | 1.77% | 0.91% | 0.7% | 1.62% | 1.684% | 3.065% | 1.634% | 2.55% | 2.625% | 2.4% | 2.6% | 3.7% | 2.4% | 3.52%
Definition: | MOF (%) - the Maintenance Outage Factor is computed by dividing the number of maintenance
outage hours by the number of Unit Hours times 100.

## DAFOR
Performance Factor: |  |  | DAFOR
Annual Hours: |  |  | 8784 | 8760 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784 | 8760 | 8760 | 8760 | 8784
NERC (EFOR)
Year: |  |  | 2012 | 2013 | 2014 | 2007 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2019-2023
|  |  | (actual) | (actual) | (actual) | (forecast) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | (actual) | Fossil Units (100-199 MW)
Plant
UF (2025-2029)
Pt. Aconi |  | Med | 2.96% | 2.94% | 5.09% | 3% | 5.4% | 3.2% | 1.222% | 1.311% | 4.367% | 7.304% | 7.3% | 7.544% | 0.8184% | 11.09%
Tufts Cove #1 |  | Low | 7.68% | 0% | 4.69% | 2% | 13% | 75.7% | 7.245% | 25.2% | 15.63% | 9.668% | 7.752% | 17.91% | 1.54% | 5.615%
Tufts Cove #2 |  | Low/Med | 7.77% | 12.04% | 1.26% | 2% | 0.7% | 14.4% | 6.253% | 36.65% | 24.86% | 14.11% | 4.146% | 14.6% | 10.1% | 0.3176%
Tufts Cove #3 |  | Med | 1.15% | 10.77% | 38.38% | 2% | 2.3% | 0.6% | 1.354% | 4.137% | 3.296% | 3.135% | 6.98% | 10.8% | 5.898% | 4.11%
Tufts Cove #4 |  | High | - | - | 8.22% |  | 14.8% | 5.3% | 1.5% | 1.815% | 4.949% | 2.893% | 5.498% | 3.319% | 1.372% | 7.508%
Tufts Cove #5 |  | High | - | - | 7.67% |  | 11.4% | 6.3% | 8.274% | 0.8294% | 3.138% | 2.216% | 4.058% | 1.833% | 4.784% | 2.222%
Tufts Cove #6 |  | High | - | - | 9.71% |  | 2.4% | 1.4% | 2.205% | 1.074% | 2.601% | 4.689% | 7.342% | 11.36% | 4.505% | 1.151%
PT. Tupper #2 |  | Med | 3.37% | 1.13% | 4.04% | 2% | 0% | 2.9% | 2.178% | 0.7119% | 0.2782% | 29.74% | 2.5% | 10% | 22.3% | 11.86%
Trenton #5 |  | Low | 18.03% | 14.01% | 10.01% | 4% | 6.1% | 6.4% | 1.833% | 12.03% | 19.89% | 0.04258% | 11.6% | 8.8% | 6.26% | 14.02%
Trenton #6 |  | High | 6.8% | 3.63% | 4.2% | 2.5% | 1.8% | 5.1% | 5.209% | 2.854% | 7.025% | 1.379% | 2.5% | 2.89% | 2.08% | 7.796%
Lingan #1 |  | Med | 3.89% | 7.31% | 1.95% | 2.5% | 2.5% | 1.5% | 0.4796% | 2.999% | 1.56% | 2.667% | 0.3504% | 8.962% | 3.019% | 5.226%
Lingan #2 |  | Low/Off | 2.98% | 2.03% | 0.28% | 2.5% | 1.1% | 0.3% | 1.517% | 3.161% | 1.757% | 27.28% | 0.9099% | 7.057% | 10.75% | 2.562%
Lingan #3 |  | Med | 2.91% | 0.06% | 0.42% | 2.5% | 3.1% | 6.9% | 2.556% | 3.029% | 4.31% | 9.252% | 1.382% | 7.944% | 5.355% | 0.1048%
Lingan #4 |  | Med | 0.34% | 0.17% | 2.43% | 2.5% | 0.2% | 5% | 2.655% | 7.474% | 0.6221% | 5.538% | 2.522% | 2.123% | 4.405% | 0.5786%
PHB |  | High | - | - | 6.15% |  | 2.4% | 0.6% | 1.696% | 1.315% | 5.311% | 9.756% | 3.7% | 1.2% | 2.4% | 6.692%
Fossil Fleet DAFOR |  |  | 5.64% | 5.38% | 6.46% |  | 5.827% | 5.6% | 3% | 5.8% | 5.8% | 8.5% | 4.1% | 7.4% | 5.3% | 5.4% | 16.14%
Definition: | DAFOR (%) - the Derated Adjusted Forced Outage Rate is the ratio of Equivalent Forced Outage Time
to Equivalent Forced Outage Time plus Total Equivalent Operating Time.
UF : Utilization Factor
Note: | NS Power uses Unit Utilziation Factors to understand the mission of Units. It is important to note that Capacity Factor alone is not a good representation of Unit Utilziation and other factors including Unit Starts, Hours, and Asset health must be considered. Units with Lower Utilization factors have different asset strategies than units with Higher utilization factors which align with their mission on the system. As such units with low to medium Utilization factors typically have higher forced outage rates.

## Summary
Customer Outage Indices
| NSPI All-In Data |  |  | CEA REGION 2
| NSPI | NSPI | NSPI | CEA | CEA | CEA
YEAR | SAIFI | SAIDI | CAIDI | SAIFI | SAIDI | CAIDI
2007 | 3.9788 | 14.1656 | 3.5602 | 2.68 | 7.29 | 2.7201
2008 | 4.1474 | 11.2863 | 2.7213 | 2.76 | 8.56 | 3.1
2009 | 2.8608 | 5.7959 | 2.026 | 2.3112 | 5.3134 | 2.299
2010 | 4.3406 | 17.6476 | 4.0657 | 2.5394 | 7.0128 | 2.7616
2011 | 3.751 | 7.9349 | 2.1154 | 2.9713 | 7.4978 | 2.5234
2012 | 1.8634 | 3.0582 | 1.6412 | 2.834 | 5.6122 | 1.9803
2013 | 2.4982 | 6.2419 | 2.4986 | 2.9397 | 9.8252 | 3.3423
2014 | 3.0682 | 17.0809 | 5.5671 | 2.6659 | 7.8133 | 2.9309
2015 | 2.39 | 4.86 | 2.03 | 2.6 | 6.28 | 2.41
2016 | 3.42 | 11.9 | 3.48 | 3.69 | 7.09 | 1.92
2017 | 2.81 | 8.57 | 3.05 | 2.81 | 9.88 | 3.51
2018 | 4.56 | 16.26 | 3.5658 | 3.23 | 10.05 | 3.11
2019 | 4.5223 | 43.881 | 9.7033 | 3.11 | 10.86 | 3.49
2020 | 2.7083 | 6.5696 | 2.4258 | 2.77 | 6.7 | 2.42
2021 | 2.56 | 5.6 | 2.19 | 2.77 | 7.01 | 2.5307
2022 | 5.82 | 74.87 | 12.87 | 3.42 | 17.08 | 4.9942
2023 | 4.97 | 23.03 | 4.64 | 3.7 | 12.77 | 3.4514
2024 | 2.75 | 6.34 | 2.3 | 3.07 | 7.82 | 2.55
NOTE:
SAIFI - System Average Interruption Duration Index
SAIDI - System Average Interruption Frequency Index
CAIDI - Customer Average Interruption Duration Index
* CEA Region 2 results are not yet available for 2024