## Sheet1
| Cost and Usage Inputs |  |  | % Var
| 2023 | 2026 | 2027 | 2026 | 2027
Distribution System Cost
Demand-related DS Costs (Exh 5) | 112124.0173 | 161065.0716 | 175760.1938 | 43.65% | 9.124%
System Demand Usage (Exh 9b) | 2356714.6874 | 2595215.7893 | 2662279.7842 | 10.12% | 2.584%
Unit Costs | 47.5764 | 62.0623 | 66.0187 | 30.45% | 6.375%
LIR Distribution Costs
LIR KW Peak at Distribution System (Exh 9b, column (8)) | 72916.7968 | 59615.3892 | 59132.3683 | -0.18242 | -0.8102%
LIR demand-related costs (Exh 6.1, cell I439) | 1666.1683 | 1701.4369 | 1775.1862 | 2.117% | 4.335%
Unit Cost | 22.8503 | 28.5402 | 30.0205 | 24.9% | 5.187%
Distribution Cost Adder of the LIR Class
Demand of Distribution-connected LIR customers (MVA)
Firm1 | 136.5002 | 123.384 | 123.384 | -0.096089 | 0%
Interruptible2 | 891.8861 | 704.9178 | 674.5013 | -0.20963 | -4.315%
Subtotal | 1028.3863 | 828.3018 | 797.8853 | -19.46% | -3.672%
Ratio of kVA Demand to kW Peak | 14.1036 | 13.8941 | 13.4932 | -1.485% | -2.885%
LIR Total Distribution Costs | 1677.8909 | 1716.8533 | 1790.5051 | 2.322% | 4.29%
Distribution Cost Adder ($/kVA) | 1.6316 | 2.0727 | 2.2441 | 27.04% | 8.266%
Footnotes
(1) In 2023 calculations the data input comes from Appendix B 2023-2024 Proof of Revenue, "2023 Composite" tab, cell M293
(1) In 2026 and 2027 calculations the data inputs come from 2026-2027 GRA OR-01 Att 01, tabs "2026 Std" and "2027 Std" , cell M294
(2) In 2023 calculations the data input comes from Appendix B 2023-2024 Proof of Revenue, "2023 Composite" tab, cell M312
(2) In 2026 and 2027 calculations the data inputs come from 2026-2027 GRA OR-01 Att 01, tabs "2026 Std" and "2027 Std" , cell M313