## Overview
Depreciation Settlement Agreement - Overview
The changes to depreciation rates to arrive at those included in the GRA settlement agreement was calculated by making the following changes:
1. Removal of reconnaissance costs included in the Hydro Decommissioning estimates.
2. Removal of contingency costs from generation decommissioning estimates.
3. Reflecting forecast decommissioning costs for all Generation Plant in 2024 dollars (removal of inflation to forecast year of decommissioning).
4. Updating estimated service life of Account 353 - Transmission Station Equipment to 48-R2.5.
5. Updating estimated service life of Account 390.10 - General Plant Structures and Improvements to 43-R3.
6. Reducing the Net Salvage Rate for Account 354.00 - Transmission Towers and Fixtures from (40%) to (20%).
7. Reducing the Net Salvage Rate for Account 355.00 - Transmission Poles and Fixtures from (60%) to (20%).
8. Reducing the Net Salvage Rate for Account 365.00 - Distribution Overhead Conductors and Devices from (30%) to (26%).
The supporting documentation for item 1 can be seen on tab (a). This restates Appendix 8E- Summary of Hydro Decommissioning Costs to remove reconnaissance costs included in the Hydro Partial Decommissioning cost estimates.
The supporting documentation for items 2 and 3 above can be seen on tabs (b) and (c), which restates the calculation of weighted net salvage for generation plants as seen on pages VIII-2 to VIII-3 of Appendix 8A.
All other items above are reflected in the revised schedule of depreciation rates provided in tab (d). This is a restatement of the schedule found in Appendix 8A, pages VI-4 to VI-6.

## (a)
Summary of Hydro Decommissioning Costs - Settlement Agreement
in 2024 Dollars
Hydro System | Total Full Decommissioning Costs | Total Partial Decommissioning Costs | Less: Reconnaisssance Estimates in Partial Decommissionng Costs | Total Partial Decommissioning Costs (2024 $) - Less Reconnaissance
Avon | 101446370 | 5149942.02 | -2664876 | 2485066.02
Bear River | 661973167 | 21040914.99 | -12870773 | 8170141.99
Black River | 324130888 | 20472362.47 | -14536547 | 5935815.47
Dickie Brook | 71159202 | 2502806.36 | -1361916 | 1140890.36
Fall River | 16264077 | 1628561.54 | -1093171 | 535390.54
Lequille | 207631487 | 13712179.57 | -9559350 | 4152829.57
Mersey | 507776250 | 60580368.67 | -47394109 | 13186259.67
Sheet Harbour | 109396129 | 9696222.56 | -5925244 | 3770978.56
St Margaret's Bay | 141136180 | 8305147.6 | -5070955 | 3234192.6
Tusket | 230496305.4938 | 127573565 | N/A | 127573565
Wreck Cove | 831137322 | 10817305.49 | -4470845 | 6346460.49

## (b)
NOVA SCOTIA POWER, INC.
TABLE 2. CALCULATION OF WEIGHTED NET SALVAGE PERCENT
| TERMINAL RETIREMENTS |  | INTERIM RETIREMENTS |  | WEIGHTED
| RETIREMENTS | NET SALVAGE | RETIREMENTS | NET SALVAGE | AVERAGE NET
ACCOUNT | (%) | (%) | (%) | (%) | SALVAGE %
(1) | (2) | (3) | (4) | (5) | (6)=(2)*(3)+(4)*(5)
STEAM PRODUCTION PLANT
LINGAN | 62.34 | -3.5373 | 37.66 | -20 | -10
POINT ACONI | 95.1 | -4.2278 | 4.9 | -20 | -5
POINT TUPPER | 73.23 | -3.5922 | 26.77 | -20 | -8
TRENTON | 95.6 | -3.5342 | 4.4 | -20 | -4
TUFTS COVE | 76.14 | -0.69321 | 23.86 | -20 | -5
POINT TUPPER MARINE TERMINAL | 98.28 | -14.8858 | 1.72 | -20 | -15
PORT HAWKESBURY BIOMASS | 84.6 | -1.5022 | 15.4 | -20 | -4
INTERNATIONAL COAL PIER | 98.72 | -155.7935 | 1.28 | -20 | -154
HYDRO PRODUCTION PLANT
AVON | 74.41 | -9.9983 | 25.59 | -20 | -13
BEAR RIVER | 74.2 | -13.3499 | 25.8 | -20 | -15
BLACK RIVER | 75.26 | -9.9432 | 24.74 | -20 | -12
DICKIE BROOK | 78.28 | -1.7329 | 21.72 | -20 | -6
FALL RIVER | 73.95 | -24.8482 | 26.05 | -20 | -24
LEQUILLE | 76.33 | -6.7544 | 23.67 | -20 | -10
ST. MARGARET'S | 87.6 | -2.6612 | 12.4 | -20 | -5
SHEET HARBOUR | 74.81 | -4.4348 | 25.19 | -20 | -8
OTHER PRODUCTION PLANT
BURNSIDE | 85.91 | -1.3395 | 14.09 | -15 | -3
TUSKET | 88.72 | 0.24457 | 11.28 | -15 | -1
VICTORIA JUNCTION | 86.05 | -4.1247 | 13.95 | -15 | -6
TUFTS COVE CT | 37.01 | -3.1883 | 62.99 | -15 | -11
WIND
DIGBY | 96.95 | -1.7066 | 3.05 | -15 | -2
NUTTBY | 96.98 | -1.1404 | 3.02 | -15 | -2
SOUTH CANOE | 96.18 | -0.474 | 3.82 | -15 | -1
CANSO/SABLE | 96.31 | -1.3806 | 3.69 | -15 | -2
TUPPER/BEARHEAD | 96.98 | -1.1665 | 3.02 | -15 | -2

## (c)
NOVA SCOTIA POWER, INC.
TABLE 3. DECOMMISSIONING COSTS RELATED TO GENERATING UNITS
|  |  |  | ESCALATED | ESCALATED TOTAL
| ESTIMATED | TOTAL | REMOVE CONTINGENCY | TOTAL | COST LESS COSTS |  | TOTAL
| RETIREMENT | DECOMMISSIONING | COSTS | DECOMMISSIONING | COLLECTED FROM | TERMINAL | NET
UNIT | YEAR | COSTS |  | COSTS | CUSTOMERS FOR ARO | RETIREMENTS | SALVAGE
(1) | (2) | -3 |  | -4 | -5 | -6 | -7
LINGAN | 2049 | 48429000 | 38743200 | 38743200 | 14409071.8439 | -407345807.45 | -3.5373
POINT ACONI | 2029 | 32123000 |  | 32123000 | 23092444.4207 | -546201296.59 | -4.2278
POINT TUPPER | 2048 | 30354000 | 24283200 | 24283200 | 5383393.4914 | -149864127.78 | -3.5922
TRENTON | 2029 | 39207000 |  | 39207000 | 17239447.0373 | -487787430.93 | -3.5342
TUFTS COVE | 2049 | 28921000 | 23136800 | 23136800 | 2129266.5474 | -307162348.43 | -0.69321
POINT TUPPER MARINE TERMINAL | 2029 | 8154000 |  | 8154000 | 5143133.0619 | -34550703.15 | -14.8858
PORT HAWKESBURY BIOMASS | 2045 | 3370570 | 2696456 | 2696456 | 2696456 | -179498343.81 | -1.5022
INTERNATIONAL COAL PIER | 2029 | 17885000 |  | 17885000 | 17885000 | -11479941.39 | -155.7935
|  | 208443570 |  | 186228656 | 87978212.4027 | -2123889999.53 | -4.1423
AVON | 2066 | 2485066.02 |  | 2485066 | 1427805.6842 | -14280497.43 | -9.9983
BEAR RIVER | 2066 | 8170141.99 |  | 8170142 | 6229732.2828 | -46664897.33 | -13.3499
BLACK RIVER | 2066 | 5935815.47 |  | 5935815 | 4199602.9966 | -42235903.22 | -9.9432
DICKIE BROOK | 2066 | 1140890.36 |  | 1140890 | 217297.9791 | -12539550.86 | -1.7329
FALL RIVER | 2066 | 535390.54 |  | 535391 | 447211.4645 | -1799775.32 | -24.8482
LEQUILLE | 2066 | 4152829.57 |  | 4152830 | 2178621.9721 | -32254655.9 | -6.7544
ST. MARGARET'S | 2066 | 3234192.6 |  | 3234193 | 1225336.3018 | -46044118.2 | -2.6612
SHEET HARBOUR | 2066 | 3770978.56 |  | 3770979 | 1111109.1511 | -25054308.97 | -4.4348
|  | 29425305.11 |  | 29425306 | 17036717.8323 | -220873707.23 | -7.7133
BURNSIDE | 2049 | 3378000 | 2702400 | 2702400 | 502216.2989 | -37494123.94 | -1.3395
TUSKET | 2049 | 2028000 | 1622400 | 1622400 | -37888.6789 | -15492046.69 | 0.24457
VICTORIA JUNCTION | 2049 | 2218000 | 1774400 | 1774400 | 718037.1665 | -17408103.3 | -4.1247
TUFTS COVE CT | 2049 | 2799000 | 2239200 | 2239200 | 1146490.8516 | -35959490.81 | -3.1883
|  | 10423000 |  | 8338400 | 2328855.638 | -106353764.74 | -2.1897
DIGBY | 2036 | 1342000 | 1118333.3333 | 1118333.3333 | 1118333.3333 | -65528341.13 | -1.7066
NUTTBY | 2035 | 1480000 | 1233333.3333 | 1233333.3333 | 1233333.3333 | -108144625.25 | -1.1404
SOUTH CANOE | 2040 | 536000 | 446666.6667 | 446666.6667 | 446666.6667 | -94233849.12 | -0.474
CANSO/SABLE | 2039 | 197527.9091 | 164606.5909 | 164606.5909 | 164606.5909 | -11923229.73 | -1.3806
TUPPER/BEARHEAD | 2035 | 335931.8182 | 279943.1818 | 279943.1818 | 279943.1818 | -23997642.98 | -1.1665
|  | 3891459.7273 |  | 3242883.1061 | 3242883.1061 | -303827688.21 | -1.0673
|  | 252183334.8373 |  | 227235245.1061 | 110586668.9791 | -2754945159.71 | -4.0141

## (d)
NOVA SCOTIA POWER, INC.
TABLE 1. ESTIMATED SURVIVOR CURVE, NET SALVAGE, ORIGINAL COST, BOOK RESERVE AND
CALCULATED ANNUAL DEPRECIATION ACCRUALS RELATED TO ELECTRIC PLANT IN SERVICE AS OF DECEMBER 31, 2023
|  |  | PROBABLE | ESTIMATED |  |  | NET | ORIGINAL COST | BOOK RESERVE |  |  | CALCULATED |  | COMPOSITE
|  |  | RETIREMENT | SURVIVOR |  |  | SALVAGE | AS OF | AS OF |  | FUTURE | ANNUAL ACCRUAL |  | REMAINING
|  | DEPRECIABLE GROUP | DATE | CURVE |  |  | PERCENT | DECEMBER 31, 2023 | DECEMBER 31, 2023 |  | ACCRUALS | AMOUNT | RATE | LIFE
|  | (1) | (2) | (3) |  |  | (4) | (5) | (6) |  | (7) | (8) | (9)=(8)/(5) | (10)=(7)/(8)
DEPRECIABLE PLANT
310.99 | STEAM PRODUCTION PLANT
LINGAN
|  | LINGAN 1 | 2049-12-31 | 65 | - | L1 a | -10 | 138151528.96 | 103751275 |  | 48215407 | 2234591 | 1.62 | 21.6
|  | LINGAN 2 | 2029-12-31 | 65 | - | L1 a | -10 | 86836520.77 | 100062274 |  | -4542101 | 0 | 0 | 0
|  | LINGAN 3-4 | 2049-12-31 | 65 | - | L1 a | -10 | 290616703.75 | 171721364.34 |  | 147957010 | 7037590 | 2.42 | 21
|  | LINGAN - COMMON | 2049-12-31 | 65 | - | L1 a | -10 | 137819664.04 | 31467217.29 |  | 120134413 | 5459756 | 3.96 | 22
| TOTAL LINGAN | [6 empty] | 653424417.52 | 407002130.63 |  | 311764729 | 14731937 | 2.25
| POINT ACONI |  | 2029-12-31 | 65 | - | L1 a | -5 | 574355236.8 | 243710223.77 |  | 359362775 | 62112977 | 10.81 | 5.8
| POINT TUPPER |  | 2048-12-31 | 65 | - | L1 a | -8 | 204646401.32 | 93394889.37 |  | 127623224 | 6198266 | 3.03 | 20.6
TRENTON
|  | TRENTON 5 | 2029-12-31 | 65 | - | L1 a | -4 | 154246211.53 | 69420216.36 |  | 90995844 | 15520279 | 10.06 | 5.9
|  | TRENTON 6 | 2029-12-31 | 65 | - | L1 a | -4 | 287095315.52 | 131910744.6 |  | 166668384 | 29020962 | 10.11 | 5.7
|  | TRENTON - COMMON | 2029-12-31 | 65 | - | L1 a | -4 | 68919522.53 | 11056285.13 |  | 60620018 | 10263264 | 14.89 | 5.9
| TOTAL TRENTON | [6 empty] | 510261049.58 | 212387246.09 |  | 318284246 | 54804505 | 10.74
TUFTS COVE
|  | TUFTS COVE 1 | 2049-12-31 | 65 | - | L1 a | -5 | 51886820.94 | 32885131.55 |  | 21596030 | 969279 | 1.87 | 22.3
|  | TUFTS COVE 2 | 2049-12-31 | 65 | - | L1 a | -5 | 58767019.17 | 26896528.52 |  | 34808842 | 1578906 | 2.69 | 22
|  | TUFTS COVE 3 | 2049-12-31 | 65 | - | L1 a | -5 | 90099432.57 | 40234912.09 |  | 54369492 | 2508142 | 2.78 | 21.7
|  | TUFTS COVE 6 | 2049-12-31 | 65 | - | L1 a | -5 | 99805460.55 | 34254207.56 |  | 70541526 | 3193342 | 3.2 | 22.1
|  | TUFTS COVE - COMMON | 2049-12-31 | 65 | - | L1 a | -5 | 102844872.98 | 39733086.15 |  | 68254030 | 3134100 | 3.05 | 21.8
| TOTAL TUFTS COVE | [6 empty] | 403403606.21 | 174003865.87 |  | 249569920 | 11383769 | 2.82
| POINT TUPPER MARINE TERMINAL |  | 2029-12-31 | 100 | - | R1 a | -15 | 35156805.05 | 18934839.14 |  | 21495487 | 3618881 | 10.29 | 5.9
| PORT HAWKESBURY BIOMASS |  | 2045-12-31 | 65 | - | L1 a | -4 | 212173030.43 | 40969204.42 |  | 179690747 | 9220034 | 4.35 | 19.5
| INTERNATIONAL COAL PIER |  | 2029-12-31 | 65 | - | L1 a | -154 | 11628782.08 | -5594604.3 |  | 35131711 | 5930262 | 51 | 5.9
|  | GENERAL | 2029-12-31 |  |  |  |  | 11918056.65 | 4607622.35 |  | 7310434.3 | 1218405.7167 | 10.22 | 6
| TOTAL STEAM PRODUCTION PLANT | [6 empty] | 2616967385.64 | 1189415417.34 |  | 1610233273.3 | 169219036.7167 | 6.47
330.99 | HYDRAULIC PRODUCTION PLANT
|  | AVON | 2066-12-31 | 100 | - | L0.5 a | -13 | 19190750.26 | 7374477.69 |  | 14311070 | 418280 | 2.18 | 34.2
|  | BEAR RIVER | 2066-12-31 | 100 | - | L0.5 a | -15 | 62888372.32 | 13223547.59 |  | 59098081 | 1735627 | 2.76 | 34
|  | BLACK RIVER | 2066-12-31 | 100 | - | L0.5 a | -12 | 56119195.81 | 12773629.96 |  | 50079869 | 1465503 | 2.61 | 34.2
|  | DICKIE BROOK | 2066-12-31 | 100 | - | L0.5 a | -6 | 16019561.61 | 1175021.2 |  | 15805714 | 460490 | 2.87 | 34.3
|  | FALL RIVER | 2066-12-31 | 100 | - | L0.5 a | -24 | 2433706.82 | 440846.36 |  | 2576950 | 75314 | 3.09 | 34.2
|  | LEQUILLE | 2066-12-31 | 100 | - | L0.5 a | -10 | 42258224.4 | 5550379.55 |  | 40933667 | 1198840 | 2.84 | 34.1
|  | ST. MARGARET'S | 2066-12-31 | 100 | - | L0.5 a | -5 | 52563783.03 | 13049921.66 |  | 42142051 | 1218918 | 2.32 | 34.6
|  | SHEET HARBOUR | 2066-12-31 | 100 | - | L0.5 a | -8 | 33492534.38 | 9153795.44 |  | 27018142 | 797225 | 2.38 | 33.9
|  | TUSKET |  | 100 | - | L0.5 | -20 | 23001091.79 | 5585326.97 |  | 22015983 | 400170 | 1.74 | 55
|  | WRECK COVE |  | 100 | - | L0.5 | -20 | 241849833.3 | 80739860.67 |  | 209479939 | 3964699 | 1.64 | 52.8
|  | MERSEY |  | 100 | - | L0.5 | -20 | 40259998.49 | 20874637.27 |  | 27437361 | 567195 | 1.41 | 48.4
|  | GENERAL | [5 empty] | 23944861.23 | -2085373.67 |  | 26030234.9 | 499216.05 | 2.0849
| TOTAL HYDRAULIC PRODUCTION PLANT | [6 empty] | 614021913.44 | 167856070.69 |  | 536929061.9 | 12801477.05 | 2.08
340.96 | SOLAR PRODUCTION PLANT
|  | SOLAR SMARTGRID | 2051-12-31 | 45 | - | R2.5 a | 0 | 1582853.98 | 98009.02 |  | 1484845 | 61606 | 3.89 | 24.1
| TOTAL SOLAR PRODUCTION PLANT | [6 empty] | 1582853.98 | 98009.02 |  | 1484845 | 61606 | 3.89
340.99 | OTHER PRODUCTION PLANT
OTHER PRODUCTION - GAS TURBINES
|  | BURNSIDE | 2049-12-31 | 75 | - | S0.5 a | -3 | 43645266.22 | 14071208.14 |  | 30883416 | 1309193 | 3 | 23.6
|  | TUSKET | 2049-12-31 | 75 | - | S0.5 a | -1 | 17461600.06 | 6878554.99 |  | 10757661 | 448016 | 2.57 | 24
|  | VICTORIA JUNCTION | 2049-12-31 | 75 | - | S0.5 a | -6 | 20230710.05 | 7604683.18 |  | 13839869 | 577509 | 2.85 | 24
TUFTS COVE
|  | TUFTS COVE CT UNIT 4 | 2049-12-31 | 30 | - | L0.5 a | -11 | 57829237.36 | 11119148.39 |  | 53071305 | 3829244 | 6.62 | 13.9
|  | TUFTS COVE CT UNIT 5 | 2049-12-31 | 30 | - | L0.5 a | -11 | 39322117.53 | 3328106.39 |  | 40319444 | 2870636 | 7.3 | 14
| TOTAL TUFTS COVE | [6 empty] | 97151354.89 | 14447254.78 |  | 93390749 | 6699880 | 6.63 | 13.9
| TOTAL OTHER PRODUCTION - GAS TURBINES | [6 empty] | 178488931.22 | 43001701.09 |  | 148871695 | 9034598 | 5.06
OTHER PRODUCTION - WIND
|  | DIGBY | 2036-12-31 | 90 | - | S0.5 a | -2 | 67721101.71 | 30355933.93 |  | 38719590 | 3047396 | 4.5 | 12.7
|  | NUTTBY | 2035-12-31 | 90 | - | S0.5 a | -2 | 111163130.65 | 59566442.41 |  | 53819951 | 4580296 | 4.12 | 11.8
|  | CANSO/SABLE | 2039-12-31 | 90 | - | S0.5 a | -2 | 12399703.87 | 4488546.49 |  | 8159151 | 526382 | 4.25 | 15.5
|  | SOUTH CANOE | 2040-12-31 | 90 | - | S0.5 a | -1 | 98031285.59 | 33630847.29 |  | 65380751 | 3962466 | 4.04 | 16.5
|  | TUPPER/BEARHEAD | 2035-12-31 | 90 | - | S0.5 a | -2 | 24785573.02 | 13165183.91 |  | 12116101 | 1031094 | 4.16 | 11.8
| TOTAL OTHER PRODUCTION - WIND | [6 empty] | 314100794.84 | 141206954.03 |  | 178195544 | 13147634 | 4.19
| TOTAL OTHER PRODUCTION PLANT | [6 empty] | 492589726.06 | 184208655.12 |  | 327067239 | 22182232 | 4.5
TRANSMISSION PLANT
350.1 |  | LAND RIGHTS - EASEMENTS |  | 80 | - | R5 | 0 | 100622596.53 | 26905421.25 |  | 73717175 | 1330578 | 1.32 | 55.4
353 |  | STATION EQUIPMENT |  | 48 | - | R2.5 | -20 | 586908961.82 | 253049475.64 |  | 451241279 | 16060367 | 2.74 | 28.1
354 |  | TOWERS AND FIXTURES |  | 60 | - | S2.5 | -20 | 111028870.31 | 73423125.02 |  | 59811519 | 1449994 | 1.31 | 41.2
355 |  | POLES AND FIXTURES |  | 45 | - | R1.5 | -20 | 268176041.83 | 82589383.59 |  | 239221867 | 9209997 | 3.43 | 26
356 |  | OVERHEAD CONDUCTORS AND DEVICES |  | 45 | - | R3 | -20 | 178454462.64 | 75534093.77 |  | 138611261 | 5546910 | 3.11 | 25
357 |  | UNDERGROUND CONDUIT |  | 65 | - | S3 | 0 | 1736138.8 | 611263.16 |  | 1124876 | 27127 | 1.56 | 41.5
358 |  | UNDERGROUND CONDUCTORS AND DEVICES |  | 45 | - | S3 | -10 | 7345546.49 | 853458.85 |  | 7226642 | 194359 | 2.65 | 37.2
359 |  | ROADS, TRAILS AND BRIDGES |  | 60 | - | S3 | 0 | 344182.75 | 110123.06 |  | 234060 | 6260 | 1.82 | 37.4
| TOTAL TRANSMISSION PLANT | [6 empty] | 1254616801.17 | 513076344.34 |  | 971188679 | 33825592 | 2.7
DISTRIBUTION PLANT
360.1 |  | LAND RIGHTS - EASEMENTS, SURVEYS AND CLEARING |  | 65 | - | R5 | 0 | 118136716.15 | 15711852.45 |  | 102424864 | 1860352 | 1.57 | 55.1
361 |  | STRUCTURES AND IMPROVEMENTS |  | 55 | - | R3 | -5 | 2418693.96 | 750103.85 |  | 1789525 | 40916 | 1.69 | 43.7
362 |  | STATION EQUIPMENT |  | 55 | - | R1.5 | -5 | 74535144.16 | 64521947.25 |  | 13739954 | 501585 | 0.67 | 27.4
362.1 |  | SCADA EQUIPMENT |  | 15 | - | S2.5 | -5 | 473093.96 | 475824.24 |  | 20924 | 1774 | 0.37 | 11.8
362.2 |  | REMOTE MONITORING EQUIPMENT |  | 15 | - | S2.5 | -5 | 393348.52 | 388218.83 |  | 24797 | 2108 | 0.54 | 11.8
362.3 |  | STATION EQUIPMENT - MISCELLANEOUS |  | 15 | - | S2.5 | -5 | 13123051.61 | 11030074.31 |  | 2749130 | 236947 | 1.81 | 11.6
363.1 |  | ENERGY STORAGE EQUIPMENT - EV CHARGERS |  | 15 | - | S3 | 0 | 987094.28 | 158436.06 |  | 828658 | 71330 | 7.23 | 11.6
363.2 |  | ENERGY STORAGE EQUIPMENT - DISTRIBUTED SOLAR |  | 25 | - | S3 | 0 | 1123202.1 | 64624.88 |  | 1058577 | 48536 | 4.32 | 21.8
363.3 |  | ENERGY STORAGE EQUIPMENT - BATTERIES |  | 10 | - | S3 | 0 | 1261437.74 | 201459.77 |  | 1059978 | 141434 | 11.21 | 7.5
364 |  | POLES, TOWERS AND FIXTURES |  | 43 | - | R2 | -35 | 646990061.17 | 406226456.17 |  | 467210126 | 18024106 | 2.79 | 25.9
365 |  | OVERHEAD CONDUCTORS AND DEVICES |  | 42 | - | R2 | -26 | 329509671.98 | 144738996.48 |  | 270443190 | 11067585 | 3.36 | 24.4
366 |  | UNDERGROUND CONDUIT |  | 70 | - | S3 | 0 | 8554638.21 | 4309840.62 |  | 4244798 | 105112 | 1.23 | 40.4
367 |  | UNDERGROUND CONDUCTORS AND DEVICES |  | 42 | - | R3 | -25 | 75012364.29 | 33657016.82 |  | 60108439 | 2407126 | 3.21 | 25
368 |  | LINE TRANSFORMERS |  | 35 | - | R1 | -25 | 555455934.13 | 237671905.17 |  | 456648012 | 23885113 | 4.3 | 19.1
369 |  | SERVICES |  | 48 | - | S2.5 | -65 | 149613064.74 | 134202103.11 |  | 112659454 | 3885448 | 2.6 | 29
370 |  | METERS |  | 20 | - | S2 | -10 | 6155843.72 | 6077870.84 |  | 693557 | 40535 | 0.66 | 17.1
370.1 |  | METERS - AMI |  | 18 | - | S2 | -10 | 96761787.48 | 18747007.69 |  | 87690959 | 7299539 | 7.54 | 12
373 |  | STREET LIGHTING AND SIGNAL SYSTEMS |  | 22 | - | R2.5 | -15 | 19074061.36 | 12890305.5 |  | 9044865 | 839992 | 4.4 | 10.8
373.1 |  | STREET LIGHTING AND SIGNAL SYSTEMS - LED |  | 20 | - | S2 | -15 | 38107176.4 | 15677772.26 |  | 28145481 | 3257814 | 8.55 | 8.6
| TOTAL DISTRIBUTION PLANT | [6 empty] | 2137686385.96 | 1107501816.3 |  | 1620585288 | 73717352 | 3.45
GENERAL PLANT
389.1 |  | LAND RIGHTS - GENERAL PLANT |  | 50 | - | R5 | 0 | 4346528.9 | 1595625.94 |  | 2750903 | 77009 | 1.77 | 35.7
390.1 |  | STRUCTURES AND IMPROVEMENTS |  | 43 | - | R3 | -10 | 184609960.44 | 73153643.21 |  | 129917313 | 5001545 | 2.71 | 26
391.1 |  | OFFICE FURNITURE AND EQUIPMENT |  | 20 | - | SQ | 0 | 2218574.37 | 1108351 |  | 1110223 | 110705 | 5 | 10
|  | RESERVE VARIANCE AMORT - OFFICE FURNITURE AND EQUIPMENT | [6 empty] | 919411.86 | c | -919411.86 | -183882.372 |  | 5 | b
391.31 |  | OFFICE FURNITURE AND EQUIPMENT - COMPUTER HARDWARE |  | 5 | - | SQ | 0 | 27846697.92 | 9640416 |  | 18206282 | 5360624 | 20 | 3.4
|  | RESERVE VARIANCE AMORT - COMPUTER HARDWARE | [6 empty] | -416439.58 | c | 416439.58 | 83287.916 |  | 5 | b
391.32 |  | OFFICE FURNITURE EQUIPMENT - COMPUTER SOFTWARE |  | 10 | - | SQ | 0 | 246257554.07 | 85873932 |  | 160383622 | 24625754 | 10 | 6.5
|  | RESERVE VARIANCE AMORT - COMPUTER SOFTWARE | [6 empty] | -22338880.56 | c | 22338880.56 | 4467776.112 |  | 5 | b
392 |  | TRANSPORTATION EQUIPMENT |  | 13 | - | R1 | 10 | 102651501.55 | 53324459.3 |  | 39061892 | 5179062 | 5.05 | 7.5
394 |  | TOOLS, SHOP AND GARAGE EQUIPMENT |  | 20 | - | SQ | 0 | 3986623.19 | 1103512 |  | 2883111 | 199331 | 5 | 14.5
|  | RESERVE VARIANCE AMORT - TOOLS, SHOP AND GARAGE EQUIPMENT | [6 empty] | -180288.05 | c | 180288.05 | 36057.61 |  | 5 | b
397 |  | COMMUNICATION EQUIPMENT |  | 22 | - | R2.5 | -5 | 91516693.37 | 49199545.43 |  | 46892983 | 3164612 | 3.46 | 14.8
397.1 |  | COMMUNICATION EQUIPMENT - SCADA EQUIPMENT |  | 19 | - | R2 | -5 | 28577986.98 | 10319624.46 |  | 19687262 | 2863731 | 10.02 | 6.9
397.2 |  | REMOTE MONITORING EQUIPMENT |  | 15 |  | R3 | 0 | 3488768.27 | 2207852.02 |  | 1280916 | 117761 | 3.38 | 10.9
398 |  | MISCELLANEOUS EQUIPMENT |  | 20 | - | SQ | 0 | 42982052.54 | 22611639 |  | 20370414 | 2122241 | 5 | 9.6
|  | RESERVE VARIANCE AMORT - MISCELLANEOUS EQUIPMENT | [6 empty] | -3178536.5 | c | 3178536.5 | 635707.3 |  | 5 | b
399.76 |  | MISCELLANEOUS EQUIPMENT (KELLY ROCK) | 2029-12-31 | 40 | - | R2 | -5 | 2513071.14 | 2489646.28 |  | 149078 | 26380 | 1.05 | 5.7
| TOTAL GENERAL PLANT | [6 empty] | 740996012.74 | 287433513.81 |  | 467888731.83 | 53887701.566 | 7.27
| FULLY AMORTIZED GENERAL PLANT d | [6 empty] | 7858461078.99 |  |  |  | 365694997.3327 | 0.046535
391.1 |  | OFFICE FURNITURE AND EQUIPMENT | [5 empty] | 7251565.09 | 7251565.09
391.31 |  | OFFICE FURNITURE AND EQUIPMENT - COMPUTER HARDWARE | [5 empty] | 29762602.86 | 29762602.86
391.32 |  | OFFICE FURNITURE AND EQUIPMENT - COMPUTER SOFTWARE | [5 empty] | 18345792.17 | 18345792.17
393 |  | STORES EQUIPMENT | [5 empty] | 472904.73 | 472904.73
394 |  | TOOLS, SHOP AND GARAGE EQUIPMENT | [5 empty] | 7560490 | 7560490
395 |  | LABORATORY EQUIPMENT | [5 empty] | 2684879.3 | 2684879.3
398 |  | MISCELLANEOUS EQUIPMENT | [5 empty] | 1320249.24 | 1320249.24
| TOTAL FULLY AMORTIZED GENERAL PLANT | [6 empty] | 67398483.39 | 67398483.39
| TOTAL DEPRECIABLE PLANT STUDIED | [6 empty] | 15784320641.37 | 3516988310.01 |  | 5535377118.03 | 731389994.6653 | 4.63
DEPRECIABLE PLANT NOT STUDIED
THERMAL PRODUCTION PLANT NOT STUDIED
|  | GLACE BAY | [5 empty] | 0 | 72934.48
|  | WATER STREET | [5 empty] | 0 | 0
| TOTAL STEAM PRODUCTION PLANT NOT STUDIED | [6 empty] | 0 | 72934.48
HYDRAULIC PRODUCTION PLANT NOT STUDIED
|  | ANNAPOLIS TIDAL | [5 empty] | 39271384.67 | 16930661.363
|  | HARMONY (RETIRED) | [5 empty] | 0 | 15634.5522
|  | ROSEWAY (RETIRED) | [5 empty] | 0 | -1223839.8924
| TOTAL HYDRAULIC PRODUCTION PLANT NOT STUDIED | [6 empty] | 39271384.67 | 15722456.0228
WIND PRODUCTION PLANT NOT STUDIED
|  | GRAND ETANG (RETIRED) | [5 empty] | 6196.47 | 6197
| TOTAL WIND PRODUCTION PLANT NOT STUDIED | [6 empty] | 6196.47 | 6197
| ARO COSTS | [6 empty] | -12291457.1282 | -19119246.6353
| CAPITAL CONTRIBUTIONS | [6 empty] | -155427721.73 | -154748262.29
| SITE RESTORATION ASSET | [6 empty] | 0 | 0
| TOTAL DEPRECIABLE PLANT NOT STUDIED | [6 empty] | -128441597.7182 | -158065921.4226 |  | 0 | 0
| TOTAL DEPRECIABLE PLANT | [6 empty] | 15655879043.6518 | 3358922388.5874 |  | 5535377118.03 | 731389994.6653
NONDEPRECIABLE PLANT
|  | PURCHASE DIFFERENCE | [5 empty] | 2334555.12 | 0
|  | NON-UTILITY PROPERTY | [5 empty] | 14641745.91 | 4405696.92
|  | RESEARCH AND DEVELOPMENT | [5 empty] | 0 | 0
|  | LAND - STEAM PRODUCTION | [5 empty] | 5121212.62 | 0
|  | LAND - HYDRAULIC PRODUCTION | [5 empty] | 5396780.73 | 0
|  | LAND - WIND PRODUCTION | [5 empty] | 39000.13 | 0
|  | LAND - OTHER PRODUCTION | [5 empty] | 7628.85 | 0
|  | LAND - TRANSMISSION | [5 empty] | 13274264.3 | 0
|  | LAND - DISTRIBUTION | [5 empty] | 4563115.21 | 0
|  | LAND - GENERAL | [5 empty] | 12033063.66 | 340494.57
| TOTAL NONDEPRECIABLE PLANT | [6 empty] | 57411366.53 | 4746191.49 |  | 0 | 0
| TOTAL ELECTRIC PLANT | [6 empty] | 15713290410.1818 | 3363668580.0774 |  | 5535377118.03 | 731389994.6653
Footnotes:
| a | Curve shown represents interim survivor curve.
| b | Special reserve variance amortization adjustment proposed. The reserve variance related to computer hardware will be amortized over a 5 year period rather than the account's remaining life.
| c | Amount shown represents the reserve variance related to computer hardware and software. The reserve variance is the difference between the theoretical reserve and the book reserve.
| d | Amounts shown are for vintages outside of the amortization period for each account. These amounts should be retired with the adoption of amortization accounting.