## Capacity
Message log for Industrial Load Management Procedure 2017 - 2023
Message | Time
Advisory Notification GRLF | 2017-05-10 04:04
Advisory Notification LIIR | 2017-05-10 04:05
Advisory Cancellation LIIR | 2017-05-10 05:00
Advisory Cancellation GRLF | 2017-05-10 05:00
Advisory Notification GRLF | 2017-09-25 09:54
Advisory Notification LIIR | 2017-09-25 09:55
Advisory Cancellation LIIR | 2017-09-25 11:21
Advisory Cancellation GRLF | 2017-09-25 11:22
Advisory Notification GRLF | 2017-09-26 10:39
Advisory Notification LIIR | 2017-09-26 10:40
Alert Notification GRLF | 2017-09-26 15:59
Alert Notification LIIR | 2017-09-26 16:00
Alert Cancellation LIIR | 2017-09-26 20:25
Alert Cancellation GRLF | 2017-09-26 20:26
Advisory Cancellation LIIR | 2017-09-26 21:11
Advisory Cancellation GRLF | 2017-09-26 21:11
Advisory Notification GRLF | 2017-11-07 17:22
Advisory Notification LIIR | 2017-11-07 17:23
Advisory Cancellation LIIR | 2017-11-07 19:51
Advisory Cancellation GRLF | 2017-11-07 19:52
Advisory Notification GRLF | 2018-01-08 16:59
Alert Notification GRLF | 2018-01-08 16:59
Advisory Notification LIIR | 2018-01-08 17:00
Alert Cancellation LIIR | 2018-01-08 17:00
Alert Notification LIIR | 2018-01-08 17:36
Alert Cancellation LIIR | 2018-01-08 19:28
Advisory Cancellation LIIR | 2018-01-08 19:29
Alert Cancellation GRLF | 2018-01-08 19:29
Advisory Cancellation GRLF | 2018-01-08 19:30
Advisory Notification GRLF | 2018-07-16 15:56
Advisory Notification LIIR | 2018-07-16 15:56
Alert Notification GRLF | 2018-07-16 16:45
Alert Notification LIIR | 2018-07-16 16:46
Alert Cancellation LIIR | 2018-07-16 19:23
Alert Cancellation GRLF | 2018-07-16 19:23
Advisory Cancellation LIIR | 2018-07-16 19:26
Advisory Cancellation GRLF | 2018-07-16 19:27
Advisory Notification GRLF | 2018-07-17 10:40
Advisory Notification LIIR | 2018-07-17 10:47
Advisory Cancellation LIIR | 2018-07-17 15:08
Advisory Cancellation GRLF | 2018-07-17 15:09
Advisory Notification GRLF | 2018-08-07 12:39
Advisory Notification LIIR | 2018-08-07 12:39
Alert Notification GRLF | 2018-08-07 16:16
Alert Notification LIIR | 2018-08-07 16:17
Alert Cancellation LIIR | 2018-08-07 21:12
Alert Cancellation GRLF | 2018-08-07 21:13
Advisory Cancellation LIIR | 2018-08-07 21:13
Advisory Cancellation GRLF | 2018-08-07 21:14
Advisory Notification GRLF | 2018-08-08 14:43
Advisory Notification LIIR | 2018-08-08 14:44
Advisory Cancellation GRLF | 2018-08-08 21:53
Advisory Cancellation LIIR | 2018-08-08 21:55
Advisory Notification GRLF | 2018-10-23 17:02
Advisory Notification LIIR | 2018-10-23 17:02
Advisory Cancellation LIIR | 2018-10-23 20:44
Advisory Cancellation GRLF | 2018-10-23 20:44
Advisory Notification GRLF | 2018-11-13 08:02
Advisory Notification LIIR | 2018-11-13 08:03
Advisory Cancellation LIIR | 2018-11-13 09:29
Advisory Cancellation GRLF | 2018-11-13 09:30
Advisory Notification GRLF | 2018-11-18 16:50
Advisory Notification LIIR | 2018-11-18 16:51
Alert Notification GRLF | 2018-11-18 16:56
Alert Notification LIIR | 2018-11-18 16:57
Alert Cancellation LIIR | 2018-11-18 21:05
Alert Cancellation GRLF | 2018-11-18 21:05
Advisory Cancellation LIIR | 2018-11-18 21:06
Advisory Cancellation GRLF | 2018-11-18 21:06
Advisory Notification GRLF | 2018-11-19 06:30
Advisory Notification LIIR | 2018-11-19 06:30
Alert Notification GRLF | 2018-11-19 17:16
Alert Notification LIIR | 2018-11-19 17:17
Alert Cancellation LIIR | 2018-11-19 19:55
Alert Cancellation GRLF | 2018-11-19 19:55
Advisory Cancellation LIIR | 2018-11-19 20:20
Advisory Cancellation GRLF | 2018-11-19 20:21
Advisory Notification GRLF | 2018-11-25 08:53
Advisory Notification LIIR | 2018-11-25 08:53
Advisory Cancellation LIIR | 2018-11-25 10:52
Advisory Cancellation GRLF | 2018-11-25 10:52
Interruption Notification GRLF | 2018-11-29 07:28
Interruption Notification LIIR Team Blue 21 MW | 2018-11-29 07:29
Interruption Notification LIIR Team Red 18 MW | 2018-11-29 07:30
Interruption Notification LIIR Team Yellow 15 MW | 2018-11-29 07:30
Reserve Activation CALL PHP | 2018-11-29 07:31
LIIR Reserve Activation I 12 MW | 2018-11-29 07:32
LIIR Reserve Activation II 13 MW | 2018-11-29 07:32
LIIR Reserve Activation III 21 MW | 2018-11-29 07:33
RESTORE LIIR Reserve Activation I 12 MW | 2018-11-29 14:24
LIIR Reserve Activation II 13 MW | 2018-11-29 14:25
LIIR Reserve Activation III 21 MW | 2018-11-29 14:26
RESTORE Reserve CALL PHP | 2018-11-29 14:27
RESTORE LIIR Reserve Activation II 13 MW | 2018-11-29 14:35
RESTORE LIIR Reserve Activation III 21 MW | 2018-11-29 14:35
CANCEL SUPPLY Interruption LIIR Team Blue | 2018-11-29 14:40
CANCEL SUPPLY Interruption LIIR Team Red | 2018-11-29 14:40
CANCEL SUPPLY Interruption LIIR Team Yellow | 2018-11-29 14:41
CANCEL SUPPLY Interruption GRLF | 2018-11-29 14:41
Alert Cancellation LIIR | 2018-11-29 15:00
Alert Cancellation GRLF | 2018-11-29 19:29
Advisory Cancellation LIIR | 2018-11-30 03:29
Advisory Cancellation GRLF | 2018-11-30 03:29
Advisory Notification GRLF | 2018-12-03 16:48
Advisory Notification LIIR | 2018-12-03 16:49
Advisory Cancellation LIIR | 2018-12-03 18:49
Advisory Cancellation GRLF | 2018-12-03 18:50
Advisory Notification GRLF | 2018-12-07 06:54
Advisory Notification LIIR | 2018-12-07 06:55
Alert Notification GRLF | 2018-12-07 07:19
Alert Notification LIIR | 2018-12-07 07:19
Alert Cancellation LIIR | 2018-12-07 08:27
Alert Cancellation GRLF | 2018-12-07 08:27
Advisory Cancellation LIIR | 2018-12-07 10:14
Advisory Cancellation GRLF | 2018-12-07 10:14
Advisory Notification GRLF | 2018-12-08 17:19
Advisory Notification LIIR | 2018-12-08 17:19
Advisory Cancellation LIIR | 2018-12-08 18:24
Advisory Cancellation GRLF | 2018-12-08 18:24
Advisory Notification GRLF | 2018-12-28 09:35
Advisory Notification LIIR | 2018-12-28 09:36
Alert Notification GRLF | 2018-12-28 09:39
Alert Notification LIIR | 2018-12-28 09:39
Alert Cancellation LIIR | 2018-12-28 13:03
Advisory Cancellation LIIR | 2018-12-28 13:03
Alert Cancellation GRLF | 2018-12-28 13:04
Advisory Cancellation GRLF | 2018-12-28 13:04
Advisory Notification GRLF | 2019-01-03 05:00
Advisory Notification LIIR | 2019-01-03 05:00
Alert Notification GRLF | 2019-01-03 06:17
Alert Notification LIIR | 2019-01-03 06:17
Alert Cancellation LIIR | 2019-01-03 13:11
Alert Cancellation GRLF | 2019-01-03 13:11
Advisory Cancellation LIIR | 2019-01-03 18:26
Advisory Cancellation GRLF | 2019-01-03 18:27
Advisory Notification GRLF | 2019-01-14 07:26
Advisory Notification LIIR | 2019-01-14 07:27
Advisory Cancellation LIIR | 2019-01-14 09:03
Advisory Cancellation GRLF | 2019-01-14 09:05
Advisory Notification GRLF | 2019-02-15 06:59
Advisory Notification LIIR | 2019-02-15 06:59
Advisory Cancellation LIIR | 2019-02-15 08:57
Advisory Cancellation GRLF | 2019-02-15 08:58
Advisory Notification GRLF | 2019-03-02 08:40
Advisory Notification LIIR | 2019-03-02 08:41
Advisory Cancellation LIIR | 2019-03-02 10:11
Advisory Cancellation GRLF | 2019-03-02 10:11
Advisory GRLF | 2019-05-10 08:16
Advisory LIIR | 2019-05-10 08:39
Advisory Cancellation GRLF | 2019-05-10 10:06
Advisory Cancellation LIIR | 2019-05-10 10:06
Advisory GRLF and Shore | 2019-05-11 08:17
Advisory LIIR | 2019-05-11 08:18
Advisory Cancellation GRLF and Shore | 2019-05-11 13:10
Advisory Cancellation LIIR | 2019-05-11 13:11
Advisory GRLF and Shore | 2019-05-12 20:52
Advisory LIIR | 2019-05-12 20:53
Advisory Cancellation GRLF and Shore | 2019-05-12 22:07
Advisory Cancellation LIIR | 2019-05-12 22:07
Advisory GRLF and Shore | 2019-05-13 10:42
Advisory LIIR | 2019-05-13 10:43
Advisory Cancellation GRLF and Shore | 2019-05-13 13:39
Advisory Cancellation LIIR | 2019-05-13 13:40
Advisory Cancellation LIIR | 2019-05-13 13:46
Advisory GRLF and Shore | 2019-05-20 16:40
Advisory LIIR | 2019-05-20 16:41
Advisory Cancellation GRLF and Shore | 2019-05-20 21:12
Advisory Cancellation LIIR | 2019-05-20 21:13
Advisory GRLF and Shore | 2019-09-26 10:06
Advisory LIIR | 2019-09-26 10:06
Alert GRLF and Shore | 2019-09-26 10:07
Alert LIIR | 2019-09-26 10:07
Advisory LIIR T and C | 2019-09-26 10:09
Advisory Cancellation LIIR T and C | 2019-09-26 19:49
Alert Cancellation LIIR | 2019-09-26 19:50
Alert Cancellation GRLF and Shore | 2019-09-26 19:51
Advisory Cancellation LIIR | 2019-09-26 19:51
Advisory Cancellation GRLF and Shore | 2019-09-26 19:52
Advisory GRLF and Shore | 2019-11-14 07:33
Advisory LIIR | 2019-11-14 07:33
Advisory LIIR T and C | 2019-11-14 07:42
Alert GRLF and Shore | 2019-11-14 07:43
Alert LIIR | 2019-11-14 07:44
Alert Cancellation LIIR | 2019-11-14 11:02
Alert Cancellation GRLF and Shore | 2019-11-14 11:03
Advisory Cancellation LIIR T and C | 2019-11-14 11:04
Advisory Cancellation LIIR | 2019-11-14 18:35
Advisory Cancellation GRLF and Shore | 2019-11-14 18:41
Alert GRLF and Shore | 2019-11-19 16:59
Alert LIIR | 2019-11-19 17:00
Advisory LIIR T and C | 2019-11-19 17:00
Alert Cancellation LIIR | 2019-11-19 19:41
Alert Cancellation GRLF and Shore | 2019-11-19 19:41
Advisory Cancellation LIIR T and C | 2019-11-19 19:42
Advisory Cancellation GRLF and Shore | 2019-11-19 20:04
Advisory Cancellation LIIR | 2019-11-19 20:04
Advisory GRLF and Shore | 2020-01-22 07:25
Advisory LIIR | 2020-01-22 07:26
Advisory Cancellation LIIR | 2020-01-22 09:50
Advisory Cancellation GRLF and Shore | 2020-01-22 09:50
Advisory GRLF and Shore | 2020-07-13 12:04
Advisory LIIR | 2020-07-13 12:05
Advisory Cancellation GRLF and Shore | 2020-07-13 22:27
Advisory Cancellation LIIR | 2020-07-13 22:27
Advisory GRLF and Shore | 2020-07-21 11:09
Advisory LIIR | 2020-07-21 11:09
Alert GRLF and Shore | 2020-07-21 11:35
Alert LIIR | 2020-07-21 11:36
Advisory LIIR T and C | 2020-07-21 11:36
Alert Cancellation GRLF and Shore | 2020-07-21 14:09
Advisory Cancellation LIIR T and C | 2020-07-21 14:12
Advisory Cancellation LIIR | 2020-07-21 14:13
Advisory Cancellation GRLF and Shore | 2020-07-21 14:13
Advisory GRLF and Shore | 2020-10-12 10:08
Advisory LIIR | 2020-10-12 10:08
Advisory Cancellation GRLF and Shore | 2020-10-12 14:41
Advisory Cancellation LIIR | 2020-10-12 14:41
Advisory GRLF and Shore | 2020-10-19 09:53
Advisory LIIR | 2020-10-19 09:53
Advisory Cancellation LIIR | 2020-10-19 21:21
Advisory Cancellation GRLF and Shore | 2020-10-19 21:22
Advisory GRLF and Shore | 2020-10-20 08:24
Advisory LIIR | 2020-10-20 08:24
Advisory Cancellation GRLF and Shore | 2020-10-20 09:07
Advisory Cancellation LIIR | 2020-10-20 09:07
Advisory GRLF and Shore | 2020-10-28 07:46
Advisory LIIR | 2020-10-28 07:46
Advisory Cancellation LIIR | 2020-10-28 10:19
Advisory Cancellation GRLF and Shore | 2020-10-28 10:19
Advisory GRLF and Shore | 2020-11-04 06:50
Advisory LIIR | 2020-11-04 06:50
Advisory Cancellation GRLF and Shore | 2020-11-04 19:27
Advisory Cancellation LIIR | 2020-11-04 19:27
Advisory LIIR | 2020-12-09 16:24
Advisory Cancellation LIIR | 2020-12-09 19:05
Advisory LIIR | 2020-12-10 16:22
Advisory Cancellation LIIR | 2020-12-10 18:09
Advisory LIIR | 2020-12-20 09:07
Advisory Cancellation LIIR | 2020-12-20 12:54
Advisory GRLF and Shore | 2021-01-08 12:46
Advisory LIIR | 2021-01-08 12:47
Alert GRLF and Shore | 2021-01-08 12:48
Alert LIIR | 2021-01-08 12:48
Advisory LIIR T and C | 2021-01-08 13:23
Advisory Cancellation LIIR T and C | 2021-01-08 21:07
Alert Cancellation LIIR | 2021-01-08 21:08
Alert Cancellation GRLF and Shore | 2021-01-08 21:08
Advisory Cancellation LIIR | 2021-01-08 21:11
Advisory Cancellation GRLF and Shore | 2021-01-08 21:11
Advisory GRLF and Shore | 2021-01-09 07:10
Advisory LIIR | 2021-01-09 07:10
Alert GRLF and Shore | 2021-01-09 08:53
Alert LIIR | 2021-01-09 08:53
Advisory LIIR T and C | 2021-01-09 08:54
Advisory Cancellation LIIR T and C | 2021-01-09 11:43
Alert Cancellation LIIR | 2021-01-09 11:43
Alert Cancellation GRLF and Shore | 2021-01-09 11:43
Advisory Cancellation LIIR | 2021-01-09 11:44
Advisory Cancellation GRLF and Shore | 2021-01-09 11:44
Advisory GRLF and Shore | 2021-01-09 17:09
Advisory LIIR | 2021-01-09 17:10
Alert GRLF and Shore | 2021-01-09 17:10
Advisory LIIR T and C | 2021-01-09 17:19
Alert LIIR | 2021-01-09 17:19
Alert LIIR T and C | 2021-01-09 17:20
Interruption GRLF and Shore | 2021-01-09 17:20
Interruption LIIR Team Yellow 15 MW | 2021-01-09 17:21
Interruption LIIR Team Blue 21 MW | 2021-01-09 17:21
Interruption LIIR Team Red 18 MW | 2021-01-09 17:22
RESTORE LIIR Team Yellow | 2021-01-09 18:06
RESTORE LIIR Team Blue | 2021-01-09 18:14
RESTORE LIIR Team Red | 2021-01-09 18:20
RESTORE GRLF and Shore | 2021-01-09 18:29
Alert Cancellation LIIR T and C | 2021-01-09 20:40
Alert Cancellation LIIR | 2021-01-09 20:40
Advisory Cancellation LIIR T and C | 2021-01-09 20:41
Alert Cancellation GRLF and Shore | 2021-01-09 20:41
Advisory Cancellation LIIR | 2021-01-09 20:42
Advisory Cancellation GRLF and Shore | 2021-01-09 20:42
Advisory GRLF and Shore | 2021-01-11 07:07
Advisory LIIR | 2021-01-11 07:07
Alert GRLF and Shore | 2021-01-11 07:34
Alert LIIR | 2021-01-11 07:35
Advisory LIIR T and C | 2021-01-11 07:35
Advisory Cancellation GRLF and Shore | 2021-01-11 10:08
Advisory Cancellation LIIR | 2021-01-11 10:08
Advisory Cancellation LIIR | 2021-01-11 10:09
Alert Cancellation GRLF and Shore | 2021-01-11 10:10
Alert Cancellation LIIR | 2021-01-11 10:10
Advisory Cancellation LIIR T and C | 2021-01-11 10:12
Advisory GRLF and Shore | 2021-03-02 17:28
Advisory LIIR | 2021-03-02 17:29
Advisory Cancellation LIIR | 2021-03-02 21:05
Advisory Cancellation GRLF and Shore | 2021-03-02 21:06
Advisory GRLF and Shore | 2021-03-08 06:45
Advisory LIIR | 2021-03-08 06:46
Advisory Cancellation LIIR | 2021-03-08 09:11
Advisory Cancellation GRLF and Shore | 2021-03-08 09:11
Advisory GRLF and Shore | 2021-04-06 07:32
Advisory LIIR | 2021-04-06 07:32
Advisory Cancellation GRLF and Shore | 2021-04-06 11:58
Advisory Cancellation LIIR | 2021-04-06 11:58
Advisory GRLF and Shore | 2021-04-15 07:04
Advisory LIIR | 2021-04-15 07:04
Advisory Cancellation GRLF and Shore | 2021-04-15 07:52
Advisory Cancellation LIIR | 2021-04-15 07:52
Advisory GRLF and Shore | 2021-06-18 13:48
Advisory LIIR | 2021-06-18 13:49
Alert GRLF and Shore | 2021-06-18 13:51
Advisory LIIR T and C | 2021-06-18 13:52
Alert Cancellation GRLF and Shore | 2021-06-18 16:30
Advisory Cancellation LIIR | 2021-06-18 16:31
Advisory Cancellation GRLF and Shore | 2021-06-18 16:32
Advisory Cancellation GRLF and Shore | 2021-06-18 16:38
Advisory Cancellation LIIR T and C | 2021-06-19 08:30
Advisory GRLF and Shore | 2021-06-28 09:05
Advisory LIIR | 2021-06-28 09:05
Alert GRLF and Shore | 2021-06-28 09:19
Alert LIIR | 2021-06-28 09:19
Advisory LIIR T and C | 2021-06-28 09:20
Interruption GRLF and Shore | 2021-06-28 17:08
Interruption LIIR Team Yellow 15 MW | 2021-06-28 17:16
RESTORE LIIR Team Yellow | 2021-06-28 18:45
RESTORE GRLF and Shore | 2021-06-28 18:46
Alert Cancellation LIIR | 2021-06-28 19:47
Alert Cancellation GRLF and Shore | 2021-06-28 19:48
Advisory Cancellation LIIR T and C | 2021-06-28 20:06
Advisory Cancellation LIIR | 2021-06-28 20:06
Advisory Cancellation GRLF and Shore | 2021-06-28 20:11
Advisory GRLF and Shore | 2021-07-13 09:06
Advisory LIIR | 2021-07-13 09:06
Advisory Cancellation LIIR | 2021-07-13 13:51
Advisory Cancellation GRLF and Shore | 2021-07-13 13:51
Advisory GRLF and Shore | 2021-08-25 10:13
Advisory LIIR | 2021-08-25 10:14
Advisory LIIR T and C | 2021-08-25 11:30
Alert GRLF and Shore | 2021-08-25 11:31
Alert LIIR | 2021-08-25 11:33
Interruption GRLF and Shore | 2021-08-25 17:38
Alert LIIR T and C | 2021-08-25 17:43
Interruption LIIR Team Blue 21 MW | 2021-08-25 17:50
RESTORE LIIR Team Blue | 2021-08-25 21:35
RESTORE GRLF and Shore | 2021-08-25 21:37
Alert Cancellation LIIR T and C | 2021-08-25 22:04
Alert Cancellation LIIR | 2021-08-25 22:06
Advisory Cancellation LIIR T and C | 2021-08-25 22:06
Advisory LIIR | 2021-08-25 22:08
Advisory GRLF and Shore | 2021-08-25 22:08
Advisory GRLF and Shore | 2021-08-26 12:16
Advisory LIIR | 2021-08-26 12:17
Advisory Cancellation LIIR | 2021-08-26 19:14
Advisory Cancellation GRLF and Shore | 2021-08-26 19:14
Advisory GRLF and Shore | 2021-08-27 09:57
Advisory LIIR | 2021-08-27 09:58
Advisory Cancellation GRLF and Shore | 2021-08-27 13:40
Advisory Cancellation LIIR | 2021-08-27 13:41
Advisory GRLF and Shore | 2021-08-31 12:31
Advisory LIIR | 2021-08-31 12:32
Alert GRLF and Shore | 2021-08-31 12:44
Alert LIIR | 2021-08-31 12:45
Advisory LIIR T and C | 2021-08-31 12:45
Advisory Cancellation LIIR T and C | 2021-08-31 18:35
Alert Cancellation LIIR | 2021-08-31 18:37
Alert Cancellation GRLF and Shore | 2021-08-31 18:37
Advisory Cancellation LIIR | 2021-08-31 19:32
Advisory Cancellation GRLF and Shore | 2021-08-31 19:34
Advisory GRLF and Shore | 2021-11-02 07:18
Advisory LIIR | 2021-11-02 07:18
Alert GRLF and Shore | 2021-11-02 07:31
Alert LIIR | 2021-11-02 07:32
Advisory LIIR T and C | 2021-11-02 07:32
Advisory Cancellation LIIR T and C | 2021-11-02 10:49
Alert Cancellation LIIR | 2021-11-02 10:50
Alert Cancellation GRLF and Shore | 2021-11-02 10:51
Advisory Cancellation LIIR | 2021-11-02 10:52
Advisory Cancellation GRLF and Shore | 2021-11-02 10:53
Advisory GRLF and Shore | 2021-11-05 07:20
Advisory LIIR | 2021-11-05 07:20
Advisory Cancellation GRLF and Shore | 2021-11-05 11:33
Advisory Cancellation LIIR | 2021-11-05 11:33
Advisory GRLF and Shore | 2021-11-17 16:57
Advisory LIIR | 2021-11-17 16:58
Alert GRLF and Shore | 2021-11-17 17:15
Alert LIIR | 2021-11-17 17:16
Advisory LIIR T and C | 2021-11-17 17:16
Advisory Cancellation LIIR T and C | 2021-11-17 22:40
Alert Cancellation LIIR | 2021-11-17 22:40
Alert Cancellation GRLF and Shore | 2021-11-17 22:41
Advisory Cancellation LIIR | 2021-11-17 22:41
Advisory Cancellation GRLF and Shore | 2021-11-17 22:42
Advisory GRLF and Shore | 2021-11-18 07:08
Advisory LIIR | 2021-11-18 07:08
Alert GRLF and Shore | 2021-11-18 08:03
Alert LIIR | 2021-11-18 08:04
Advisory LIIR T and C | 2021-11-18 08:04
Advisory Cancellation LIIR T and C | 2021-11-18 09:17
Alert Cancellation LIIR | 2021-11-18 09:18
Alert Cancellation GRLF and Shore | 2021-11-18 09:18
Advisory Cancellation LIIR | 2021-11-18 09:45
Advisory Cancellation GRLF and Shore | 2021-11-18 09:45
Advisory GRLF and Shore | 2021-11-27 16:36
Advisory LIIR | 2021-11-27 16:36
Advisory Cancellation LIIR | 2021-11-27 18:33
Advisory Cancellation GRLF and Shore | 2021-11-27 18:33
Advisory GRLF and Shore | 2021-12-04 16:41
Advisory LIIR | 2021-12-04 16:41
Alert GRLF and Shore | 2021-12-04 17:05
Alert LIIR | 2021-12-04 17:05
Advisory LIIR T and C | 2021-12-04 17:06
Advisory Cancellation LIIR T and C | 2021-12-04 21:59
Alert Cancellation GRLF and Shore | 2021-12-04 22:00
Alert Cancellation LIIR | 2021-12-04 22:00
Advisory Cancellation LIIR | 2021-12-04 22:01
Advisory Cancellation GRLF and Shore | 2021-12-04 22:02
Advisory GRLF and Shore | 2021-12-08 15:25
Advisory LIIR | 2021-12-08 15:26
Advisory Cancellation GRLF and Shore | 2021-12-08 18:41
Advisory Cancellation LIIR | 2021-12-08 18:42
Advisory GRLF and Shore | 2021-12-10 06:49
Advisory LIIR | 2021-12-10 06:50
Alert GRLF and Shore | 2021-12-10 07:06
Alert LIIR | 2021-12-10 07:06
Advisory LIIR T and C | 2021-12-10 07:06
Interruption GRLF and Shore | 2021-12-10 07:30
Interruption LIIR Team Red 18 MW | 2021-12-10 07:34
Interruption LIIR Team Yellow 15 MW | 2021-12-10 07:35
Interruption LIIR Team Blue 21 MW | 2021-12-10 07:35
Alert LIIR T and C | 2021-12-10 07:35
RESTORE LIIR Team Red | 2021-12-10 10:40
RESTORE LIIR Team Yellow | 2021-12-10 10:41
RESTORE LIIR Team Blue | 2021-12-10 10:41
RESTORE GRLF and Shore | 2021-12-10 10:41
Alert Cancellation LIIR T and C | 2021-12-10 17:32
Alert Cancellation LIIR | 2021-12-10 17:34
Alert Cancellation GRLF and Shore | 2021-12-10 17:35
Advisory Cancellation LIIR T and C | 2021-12-10 17:36
Advisory Cancellation LIIR | 2021-12-10 17:37
Advisory Cancellation GRLF and Shore | 2021-12-10 17:40
Advisory GRLF and Shore | 2021-12-13 17:22
Advisory LIIR | 2021-12-13 17:23
Advisory Cancellation GRLF and Shore | 2021-12-13 18:03
Advisory Cancellation LIIR | 2021-12-13 18:04
Advisory GRLF and Shore | 2022-01-03 16:57
Advisory LIIR | 2022-01-03 16:58
Advisory Cancellation LIIR | 2022-01-03 19:12
Advisory Cancellation GRLF and Shore | 2022-01-03 19:12
Advisory GRLF and Shore | 2022-01-12 06:52
Advisory LIIR | 2022-01-12 06:52
Advisory Cancellation LIIR | 2022-01-12 10:01
Advisory Cancellation GRLF and Shore | 2022-01-12 10:01
Advisory GRLF and Shore | 2022-01-13 17:41
Advisory LIIR | 2022-01-13 17:42
Advisory Cancellation LIIR | 2022-01-13 19:06
Advisory Cancellation GRLF and Shore | 2022-01-13 19:06
Advisory GRLF and Shore | 2022-01-16 17:08
Advisory LIIR | 2022-01-16 17:08
Alert GRLF and Shore | 2022-01-16 20:32
Alert LIIR | 2022-01-16 20:32
Advisory LIIR T and C | 2022-01-16 20:33
Interruption GRLF and Shore | 2022-01-17 06:26
Interruption LIIR Team Red 18 MW | 2022-01-17 06:28
Interruption LIIR Team Yellow 15 MW | 2022-01-17 06:29
Interruption LIIR Team Blue 21 MW | 2022-01-17 06:30
Alert LIIR T and C | 2022-01-17 06:32
RESTORE LIIR Team Red | 2022-01-17 08:05
RESTORE LIIR Team Yellow | 2022-01-17 08:05
RESTORE LIIR Team Blue | 2022-01-17 08:06
RESTORE GRLF and Shore | 2022-01-17 08:07
Alert Cancellation LIIR T and C | 2022-01-17 08:07
Alert Cancellation GRLF and Shore | 2022-01-17 10:19
Alert Cancellation LIIR | 2022-01-17 10:19
Advisory Cancellation LIIR T and C | 2022-01-17 10:21
Advisory Cancellation GRLF and Shore | 2022-01-17 10:36
Advisory Cancellation LIIR | 2022-01-17 10:37
Advisory GRLF and Shore | 2022-01-21 08:17
Advisory LIIR | 2022-01-21 08:18
Alert GRLF and Shore | 2022-01-21 08:47
Alert LIIR | 2022-01-21 08:47
Advisory LIIR T and C | 2022-01-21 08:48
Interruption GRLF and Shore | 2022-01-21 09:04
Interruption LIIR Team Red 18 MW | 2022-01-21 09:05
Interruption LIIR Team Yellow 15 MW | 2022-01-21 09:07
Interruption LIIR Team Blue 21 MW | 2022-01-21 09:08
Alert LIIR T and C | 2022-01-21 09:11
RESTORE LIIR Team Red | 2022-01-21 11:27
RESTORE LIIR Team Yellow | 2022-01-21 11:46
RESTORE LIIR Team Blue | 2022-01-21 12:37
Alert Cancellation LIIR T and C | 2022-01-21 16:10
RESTORE GRLF and Shore | 2022-01-21 16:12
Interruption GRLF and Shore | 2022-01-22 09:01
Interruption LIIR Team Red 18 MW | 2022-01-22 09:03
Interruption LIIR Team Yellow 15 MW | 2022-01-22 09:04
Interruption LIIR Team Blue 21 MW | 2022-01-22 09:04
Alert LIIR T and C | 2022-01-22 09:06
Alert Cancellation LIIR T and C | 2022-01-22 12:41
RESTORE LIIR Team Red | 2022-01-22 12:46
RESTORE LIIR Team Yellow | 2022-01-22 13:08
RESTORE LIIR Team Blue | 2022-01-22 13:08
RESTORE GRLF and Shore | 2022-01-22 16:11
Advisory Cancellation LIIR T and C | 2022-01-22 20:29
Alert Cancellation LIIR | 2022-01-22 20:29
Alert Cancellation GRLF and Shore | 2022-01-22 20:30
Advisory Cancellation LIIR | 2022-01-22 20:30
Advisory Cancellation GRLF and Shore | 2022-01-22 20:31
Advisory GRLF and Shore | 2022-01-27 06:41
Advisory LIIR | 2022-01-27 06:42
Advisory LIIR T and C | 2022-01-27 07:02
Alert GRLF and Shore | 2022-01-27 07:03
Alert LIIR | 2022-01-27 07:03
Alert LIIR T and C | 2022-01-27 07:18
Interruption GRLF and Shore | 2022-01-27 07:20
Interruption LIIR Team Red 18 MW | 2022-01-27 07:21
Interruption LIIR Team Yellow 15 MW | 2022-01-27 07:21
Interruption LIIR Team Blue 21 MW | 2022-01-27 07:22
RESTORE LIIR Team Red | 2022-01-27 12:59
RESTORE LIIR Team Yellow | 2022-01-27 13:01
RESTORE LIIR Team Blue | 2022-01-27 13:02
RESTORE GRLF and Shore | 2022-01-27 13:03
Alert Cancellation LIIR T and C | 2022-01-27 13:05
Advisory Cancellation LIIR T and C | 2022-01-27 13:45
Alert Cancellation GRLF and Shore | 2022-01-27 13:46
Alert Cancellation LIIR | 2022-01-27 13:47
Advisory Cancellation GRLF and Shore | 2022-01-27 13:48
Advisory Cancellation LIIR | 2022-01-27 13:49
Advisory GRLF and Shore | 2022-03-01 06:12
Advisory LIIR | 2022-03-01 06:13
Advisory LIIR T and C | 2022-03-01 06:32
Alert GRLF and Shore | 2022-03-01 06:33
Alert LIIR | 2022-03-01 06:34
Advisory Cancellation LIIR T and C | 2022-03-01 11:01
Alert Cancellation LIIR | 2022-03-01 11:02
Alert Cancellation GRLF and Shore | 2022-03-01 11:03
Advisory Cancellation LIIR | 2022-03-01 11:37
Advisory Cancellation GRLF and Shore | 2022-03-01 11:37
Advisory GRLF and Shore | 2022-03-03 07:58
Advisory LIIR | 2022-03-03 07:58
Advisory LIIR T and C | 2022-03-03 08:20
Alert GRLF and Shore | 2022-03-03 08:20
Alert LIIR | 2022-03-03 08:21
Advisory Cancellation LIIR T and C | 2022-03-03 10:45
Alert Cancellation LIIR | 2022-03-03 10:45
Alert Cancellation GRLF and Shore | 2022-03-03 10:46
Advisory Cancellation LIIR | 2022-03-03 11:31
Advisory Cancellation GRLF and Shore | 2022-03-03 11:31
Advisory GRLF and Shore | 2022-03-09 07:08
Advisory LIIR | 2022-03-09 07:09
Advisory LIIR T and C | 2022-03-09 07:19
Alert GRLF and Shore | 2022-03-09 07:20
Alert LIIR | 2022-03-09 07:20
Interruption GRLF and Shore | 2022-03-09 08:15
Interruption LIIR Team Red 18 MW | 2022-03-09 08:16
Interruption LIIR Team Yellow 15 MW | 2022-03-09 08:17
Interruption LIIR Team Blue 21 MW | 2022-03-09 08:17
Alert LIIR T and C | 2022-03-09 08:18
RESTORE LIIR Team Red | 2022-03-09 09:42
RESTORE LIIR Team Yellow | 2022-03-09 09:44
RESTORE LIIR Team Blue | 2022-03-09 09:46
Advisory Cancellation LIIR T and C | 2022-03-09 10:21
Alert Cancellation LIIR | 2022-03-09 10:22
Alert Cancellation GRLF and Shore | 2022-03-09 10:23
Advisory Cancellation LIIR | 2022-03-09 10:24
Advisory Cancellation GRLF and Shore | 2022-03-09 10:25
Advisory GRLF and Shore | 2022-03-14 07:49
Advisory LIIR | 2022-03-14 07:49
Alert GRLF and Shore | 2022-03-14 08:03
Advisory LIIR T and C | 2022-03-14 08:03
Alert LIIR | 2022-03-14 08:03
Alert Cancellation LIIR | 2022-03-14 12:06
Advisory Cancellation GRLF and Shore | 2022-03-14 12:07
Advisory Cancellation LIIR T and C | 2022-03-14 12:07
Advisory Cancellation LIIR | 2022-03-14 12:07
Advisory Cancellation GRLF and Shore | 2022-03-14 12:07
Advisory GRLF and Shore | 2022-04-10 11:31
Advisory LIIR | 2022-04-10 11:31
Advisory LIIR T and C | 2022-04-10 11:45
Alert GRLF and Shore | 2022-04-10 11:45
Alert LIIR | 2022-04-10 11:46
Advisory Cancellation LIIR T and C | 2022-04-10 16:12
Alert Cancellation LIIR | 2022-04-10 16:13
Alert Cancellation GRLF and Shore | 2022-04-10 16:13
Advisory Cancellation GRLF and Shore | 2022-04-10 16:55
Advisory Cancellation LIIR | 2022-04-10 16:55
Advisory GRLF and Shore | 2022-07-28 13:10
Advisory LIIR | 2022-07-28 13:11
Alert GRLF and Shore | 2022-07-28 16:33
Alert LIIR | 2022-07-28 16:33
Advisory LIIR T and C | 2022-07-28 16:34
Advisory Cancellation LIIR T and C | 2022-07-28 19:11
Alert Cancellation LIIR | 2022-07-28 19:12
Alert Cancellation GRLF and Shore | 2022-07-28 19:13
Advisory Cancellation LIIR | 2022-07-28 19:14
Advisory Cancellation GRLF and Shore | 2022-07-28 19:14
Advisory GRLF and Shore | 2022-08-06 10:01
Advisory LIIR | 2022-08-06 10:01
Alert GRLF and Shore | 2022-08-06 10:23
Alert LIIR | 2022-08-06 10:23
Advisory LIIR T and C | 2022-08-06 10:24
Alert Cancellation LIIR | 2022-08-06 18:25
Alert Cancellation GRLF and Shore | 2022-08-06 18:25
Advisory Cancellation LIIR | 2022-08-06 18:25
Advisory Cancellation GRLF and Shore | 2022-08-06 18:25
Advisory Cancellation LIIR T and C | 2022-08-06 20:13
Advisory GRLF and Shore | 2022-08-09 13:28
Advisory LIIR | 2022-08-09 13:29
Advisory Cancellation GRLF and Shore | 2022-08-09 14:32
Advisory Cancellation LIIR | 2022-08-09 14:33
Advisory GRLF and Shore | 2022-08-23 16:16
Advisory LIIR | 2022-08-23 16:16
Advisory Cancellation GRLF and Shore | 2022-08-23 18:11
Advisory Cancellation LIIR | 2022-08-23 18:13
Advisory GRLF and Shore | 2022-08-26 10:35
Advisory LIIR | 2022-08-26 10:35
Advisory Cancellation GRLF and Shore | 2022-08-26 18:15
Advisory Cancellation LIIR | 2022-08-26 18:15
Advisory GRLF and Shore | 2022-09-11 15:53
Advisory LIIR | 2022-09-11 15:54
Advisory LIIR T and C | 2022-09-11 16:43
Alert GRLF and Shore | 2022-09-11 16:43
Alert LIIR | 2022-09-11 16:44
Alert Cancellation LIIR | 2022-09-11 20:44
Alert Cancellation GRLF and Shore | 2022-09-11 20:45
Advisory Cancellation LIIR T and C | 2022-09-11 20:46
Advisory Cancellation LIIR | 2022-09-11 20:47
Advisory Cancellation GRLF and Shore | 2022-09-11 20:48
Advisory GRLF and Shore | 2022-10-03 07:34
Advisory LIIR | 2022-10-03 07:35
Advisory Cancellation GRLF and Shore | 2022-10-03 15:37
Advisory Cancellation LIIR | 2022-10-03 15:37
Advisory GRLF and Shore | 2022-10-04 06:28
Advisory LIIR | 2022-10-04 06:28
Alert LIIR | 2022-10-04 07:02
Advisory LIIR T and C | 2022-10-04 07:02
Alert GRLF and Shore | 2022-10-04 07:04
Interruption GRLF and Shore | 2022-10-04 07:11
RESTORE GRLF and Shore | 2022-10-04 11:30
Advisory Cancellation GRLF and Shore | 2022-10-04 21:22
Advisory Cancellation LIIR | 2022-10-04 21:22
Advisory Cancellation LIIR T and C | 2022-10-04 21:22
Alert Cancellation GRLF and Shore | 2022-10-04 21:22
Alert Cancellation LIIR | 2022-10-04 21:23
Advisory GRLF and Shore | 2022-10-05 07:07
Advisory LIIR | 2022-10-05 07:08
Alert GRLF and Shore | 2022-10-05 09:34
Alert LIIR | 2022-10-05 09:35
Advisory LIIR T and C | 2022-10-05 09:35
Advisory Cancellation LIIR T and C | 2022-10-05 21:15
Alert Cancellation LIIR | 2022-10-05 21:15
Alert Cancellation GRLF and Shore | 2022-10-05 21:15
Advisory Cancellation GRLF and Shore | 2022-10-05 21:26
Advisory Cancellation LIIR | 2022-10-05 21:26
Advisory GRLF and Shore | 2022-10-06 07:14
Advisory LIIR | 2022-10-06 07:14
Alert GRLF and Shore | 2022-10-06 09:01
Alert LIIR | 2022-10-06 09:01
Advisory LIIR T and C | 2022-10-06 09:02
Advisory LIIR | 2022-10-07 07:09
Alert GRLF and Shore | 2022-10-07 09:13
Alert LIIR | 2022-10-07 09:13
Advisory LIIR T and C | 2022-10-07 09:15
Alert Cancellation LIIR | 2022-10-07 18:05
Alert Cancellation GRLF and Shore | 2022-10-07 18:06
Advisory Cancellation LIIR T and C | 2022-10-07 18:07
Advisory Cancellation LIIR | 2022-10-07 18:08
Advisory Cancellation GRLF and Shore | 2022-10-07 18:09
Advisory GRLF and Shore | 2022-10-29 08:51
Advisory LIIR | 2022-10-29 08:51
Advisory Cancellation GRLF and Shore | 2022-10-29 11:23
Advisory Cancellation LIIR | 2022-10-29 11:23
Advisory GRLF and Shore | 2022-11-09 17:02
Advisory LIIR | 2022-11-09 17:02
Alert GRLF and Shore | 2022-11-09 17:11
Alert LIIR | 2022-11-09 17:11
Advisory Cancellation GRLF and Shore | 2022-11-09 20:59
Advisory Cancellation LIIR | 2022-11-09 20:59
Alert Cancellation GRLF and Shore | 2022-11-09 20:59
Alert Cancellation LIIR | 2022-11-09 20:59
Advisory GRLF and Shore | 2022-11-15 10:10
Advisory LIIR | 2022-11-15 10:10
Advisory LIIR T and C | 2022-11-15 16:08
Alert GRLF and Shore | 2022-11-15 16:08
Alert LIIR | 2022-11-15 16:08
Interruption GRLF and Shore | 2022-11-15 17:18
Interruption LIIR Team Red 18 MW | 2022-11-15 17:19
Interruption LIIR Team Yellow 15 MW | 2022-11-15 17:20
Interruption LIIR Team Blue 21 MW | 2022-11-15 17:21
Alert LIIR T and C | 2022-11-15 17:22
RESTORE LIIR Team Red | 2022-11-15 19:11
RESTORE LIIR Team Yellow | 2022-11-15 19:12
RESTORE LIIR Team Blue | 2022-11-15 19:13
RESTORE GRLF and Shore | 2022-11-15 19:14
Alert Cancellation LIIR T and C | 2022-11-15 19:15
Alert Cancellation GRLF and Shore | 2022-11-15 19:37
Alert Cancellation LIIR | 2022-11-15 19:37
Advisory Cancellation LIIR T and C | 2022-11-15 19:38
Advisory Cancellation LIIR | 2022-11-15 19:39
Advisory Cancellation GRLF and Shore | 2022-11-15 19:39
Advisory GRLF and Shore | 2022-11-18 18:03
Advisory LIIR | 2022-11-18 18:03
Advisory Cancellation GRLF and Shore | 2022-11-18 21:11
Advisory Cancellation LIIR | 2022-11-18 21:11
Advisory GRLF and Shore | 2022-11-19 16:12
Advisory LIIR | 2022-11-19 16:13
Alert GRLF and Shore | 2022-11-19 17:05
Alert LIIR | 2022-11-19 17:05
Advisory LIIR T and C | 2022-11-19 17:12
Alert LIIR T and C | 2022-11-19 17:15
Alert Cancellation LIIR T and C | 2022-11-19 20:54
Advisory Cancellation LIIR T and C | 2022-11-19 20:54
Alert Cancellation GRLF and Shore | 2022-11-19 20:54
Alert Cancellation LIIR | 2022-11-19 20:55
Advisory Cancellation GRLF and Shore | 2022-11-19 20:55
Advisory Cancellation LIIR | 2022-11-19 20:55
Advisory GRLF and Shore | 2022-11-21 16:51
Advisory LIIR | 2022-11-21 16:52
Alert GRLF and Shore | 2022-11-21 16:57
Alert LIIR | 2022-11-21 16:58
Advisory LIIR T and C | 2022-11-21 16:58
Advisory Cancellation LIIR T and C | 2022-11-21 19:11
Alert Cancellation GRLF and Shore | 2022-11-21 19:12
Alert Cancellation LIIR | 2022-11-21 19:12
Advisory Cancellation GRLF and Shore | 2022-11-21 19:13
Advisory Cancellation LIIR | 2022-11-21 19:14
Advisory Cancellation LIIR | 2022-11-21 19:14
Advisory GRLF and Shore | 2022-11-22 17:28
Advisory LIIR | 2022-11-22 17:28
Advisory Cancellation GRLF and Shore | 2022-11-22 19:27
Advisory Cancellation LIIR | 2022-11-22 19:27
Advisory GRLF and Shore | 2022-11-24 09:35
Advisory LIIR | 2022-11-24 09:35
Alert GRLF and Shore | 2022-11-24 09:35
Alert LIIR | 2022-11-24 09:35
Advisory LIIR T and C | 2022-11-24 09:36
Interruption GRLF and Shore | 2022-11-24 09:39
Interruption LIIR Team Red 18 MW | 2022-11-24 09:40
Interruption LIIR Team Yellow 15 MW | 2022-11-24 09:40
Interruption LIIR Team Blue 21 MW | 2022-11-24 09:40
RESTORE LIIR Team Red | 2022-11-24 09:57
RESTORE LIIR Team Yellow | 2022-11-24 10:00
RESTORE LIIR Team Blue | 2022-11-24 10:53
RESTORE GRLF and Shore | 2022-11-24 10:53
Advisory Cancellation GRLF and Shore | 2022-11-24 17:47
Advisory GRLF and Shore | 2022-11-25 06:08
Advisory LIIR | 2022-11-25 06:09
Advisory LIIR T and C | 2022-11-25 06:48
Alert GRLF and Shore | 2022-11-25 06:48
Alert LIIR | 2022-11-25 06:48
Alert Cancellation GRLF and Shore | 2022-11-25 09:14
Alert Cancellation LIIR | 2022-11-25 09:14
Advisory Cancellation LIIR T and C | 2022-11-25 09:15
Advisory Cancellation LIIR | 2022-11-25 09:16
Advisory Cancellation GRLF and Shore | 2022-11-25 09:16
Advisory GRLF and Shore | 2022-11-30 07:00
Advisory LIIR | 2022-11-30 07:00
Alert GRLF and Shore | 2022-11-30 07:33
Alert LIIR | 2022-11-30 07:34
Advisory LIIR T and C | 2022-11-30 07:33
Advisory Cancellation LIIR T and C | 2022-11-30 09:30
Alert Cancellation GRLF and Shore | 2022-11-30 09:30
Alert Cancellation LIIR | 2022-11-30 09:30
Advisory Cancellation GRLF and Shore | 2022-11-30 09:32
Advisory Cancellation LIIR | 2022-11-30 09:32
Advisory GRLF and Shore | 2022-12-01 18:45
Advisory LIIR | 2022-12-01 18:45
Alert GRLF and Shore | 2022-12-01 18:45
Alert LIIR | 2022-12-01 18:45
Advisory LIIR | 2022-12-02 17:00
LIIR Interruptions | 2022-12-02 18:00
LIIR T&C Interruptions | 2022-12-02 18:00
LIIR T&C Restored | 2022-12-02 18:55
LIIR Restored | 2022-12-02 23:05
Advisory GRLF and Shore | 2022-12-05 07:00
Advisory LIIR | 2022-12-05 07:00
Alert GRLF and Shore | 2022-12-05 07:00
Alert LIIR | 2022-12-05 07:00
Alert LIIR | 2022-12-11 15:46
Advisory LIIR T and C | 2022-12-11 15:46
LIIR Interruptions | 2022-12-11 16:52
LIIR Interruption Cancellation | 2022-12-11 18:24
Advisory LIIR Cancellation | 2022-12-11 23:30
Advisory LIIR | 2022-12-12 07:29
Alert LIIR | 2022-12-12 07:43
Advisory LIIR T and C | 2022-12-12 07:43
Advisory LIIR | 2022-12-21 16:56
Alert LIIR | 2022-12-21 17:03
Advisory LIIR T&C | 2022-12-21 17:05
Advisory LIIR T&C Cancellation | 2022-12-21 21:29
Alert LIIR Cancellation | 2022-12-21 21:32
Advisory LIIR Cancellation | 2022-12-21 21:35
Advisory LIIR | 2022-12-22 08:51
Advisory LIIR Cancellation | 2022-12-22 10:33
Advisory LIIR | 2022-12-22 16:20
Alert LIIR | 2022-12-22 16:50
Advisory LIIR T&C | 2022-12-22 16:53
Advisory LIIR T&C Cancellation | 2022-12-22 20:06
Alert LIIR Cancellation | 2022-12-22 20:09
Alvisory LIIR Cancellation | 2022-12-22 20:12
Advisory LIIR | 2023-01-05 16:18
Alert LIIR | 2023-01-05 17:05
Alert LIIR Cancellation | 2023-01-05 19:37
Advisory LIIR Cancellation | 2023-01-05 20:23
Advisory LIIR | 2023-01-06 17:17
Advisory LIIR Cancellation | 2023-01-06 18:33
Advisory LIIR | 2023-01-08 16:51
Alert LIIR | 2023-01-08 17:06
Alert LIIR Cancellation | 2023-01-08 19:00
Advisory LIIR Cancellation | 2023-01-08 19:02
Advisory LIIR | 2023-01-09 17:05
Advisory LIIR Cancellation | 2023-01-09 18:10
Advisory LIIR | 2023-01-11 07:01
Alert LIIR | 2023-01-11 07:19
Advisory LIIR T&C | 2023-01-11 07:22
Advisory LIIR T&C Cancellation | 2023-01-11 12:03
Alert LIIR Cancellation | 2023-01-11 12:05
Advisory LIIR Cancellation | 2023-01-11 12:06
Advisory LIIR | 2023-01-12 07:07
Alert LIIR | 2023-01-12 07:46
Advisory LIIR T&C | 2023-01-12 07:46
LIIR Interruptions | 2023-01-12 08:11
LIIR Interruption Cancellation | 2023-01-12 10:06
Advisory LIIR T&C Cancellation | 2023-01-12 19:20
Alert LIIR Cancellation | 2023-01-12 19:22
Advisory LIIR Cancellation | 2023-01-12 19:23
Advisory LIIR | 2023-01-16 16:51
Alert LIIR | 2023-01-16 17:22
Advisory LIIR T&C | 2023-01-16 17:23
Advisory LIIR T&C Cancellation | 2023-01-16 20:37
Alert LIIR Cancellation | 2023-01-16 20:37
Advisory LIIR Cancellation | 2023-01-16 21:46
Advisory LIIR | 2023-01-25 17:10
Advisory LIIR Cancellation | 2023-01-25 19:27
Advisory LIIR | 2023-02-01 07:04
Alert LIIR | 2023-02-01 07:12
Advisory LIIR T&C | 2023-02-01 07:29
LIIR Interruptions | 2023-02-01 07:41
LIIR Interruption Cancellation | 2023-02-01 09:21
Alert LIIR T&C Cancellation | 2023-02-01 10:11
Advisory LIIR T&C Cancellation | 2023-02-01 10:13
Alert LIIR Cancellation | 2023-02-01 10:14
Advisory LIIR Cancellation | 2023-02-01 10:15
Advisory LIIR | 2023-02-02 06:03
Alert LIIR | 2023-02-02 06:13
Advisory LIIR T&C | 2023-02-02 06:14
LIIR Interruptions | 2023-02-02 06:24
LIIR Interruption Cancellation | 2023-02-02 10:16
Advisory LIIR T&C Cancellation | 2023-02-02 10:17
Alert LIIR Cancellation | 2023-02-02 10:38
Advisory LIIR Cancellation | 2023-02-02 10:38
Advisory LIIR | 2023-02-04 07:43
Alert LIIR | 2023-02-04 08:16
Advisory LIIR T&C | 2023-02-04 11:04
LIIR Interruptions | 2023-02-04 11:13
Alert LIIR T&C | 2023-02-04 11:26
LIIR Interruption Cancellation | 2023-02-04 19:19
Advisory LIIR T&C Cancellation | 2023-02-04 20:28
Alert LIIR Cancellation | 2023-02-04 20:29
Advisory LIIR T&C Cancellation | 2023-02-04 20:30
Advisory LIIR Cancellation | 2023-02-04 21:50
Advisory LIIR | 2023-02-09 18:34
Advisory LIIR Cancellation | 2023-02-09 21:09
Advisory LIIR | #VALUE!
Alert LIIR | #VALUE!
Advisory LIIR T&C | #VALUE!
Advisory LIIR T&C Cancellation | #VALUE!
Alert LIIR Cancellation | #VALUE!
Advisory LIIR Cancellation | #VALUE!
Advisory GRLF and Shore | 2023-06-01 17:00
Advisory LIIR | 2023-06-01 17:00
Advisory LIIR T and C | 2023-06-01 17:01
Alert GRLF and Shore | 2023-06-01 17:01
Alert LIIR | 2023-06-01 17:01
Alert LIIR T and C | 2023-06-01 17:02
Interruption GRLF and Shore | 2023-06-01 17:02
Interruption LIIR Team Red 18 MW | 2023-06-01 17:03
Interruption LIIR Team Yellow 15 MW | 2023-06-01 17:03
Interruption LIIR Team Blue 21 MW | 2023-06-01 17:03
RESTORE LIIR Team Red | 2023-06-01 18:06
RESTORE LIIR Team Yellow | 2023-06-01 18:06
RESTORE LIIR Team Blue | 2023-06-01 18:07
RESTORE GRLF and Shore | 2023-06-01 18:09
Alert Cancellation GRLF and Shore | 2023-06-01 20:46
Alert Cancellation LIIR | 2023-06-01 20:47
Alert Cancellation LIIR T and C | 2023-06-01 20:47
Advisory Cancellation GRLF and Shore | 2023-06-01 20:53
Advisory Cancellation LIIR | 2023-06-01 20:53
Advisory Cancellation LIIR T and C | 2023-06-01 20:53
Advisory GRLF and Shore | 2023-06-18 15:49
Advisory LIIR | 2023-06-18 15:49
Advisory LIIR T and C | 2023-06-18 15:54
Alert GRLF and Shore | 2023-06-18 15:54
Alert LIIR | 2023-06-18 15:55
Interruption GRLF and Shore | 2023-06-18 17:15
Alert LIIR T and C | 2023-06-18 17:17
Interruption LIIR Team Yellow 15 MW | 2023-06-18 17:17
Interruption LIIR Team Red 18 MW | 2023-06-18 17:19
Interruption LIIR Team Blue 21 MW | 2023-06-18 17:19
RESTORE LIIR Team Yellow | 2023-06-18 20:36
RESTORE LIIR Team Red | 2023-06-18 20:37
RESTORE LIIR Team Blue | 2023-06-18 20:37
RESTORE GRLF and Shore | 2023-06-18 20:38
Alert Cancellation LIIR T and C | 2023-06-18 20:40
Alert Cancellation LIIR | 2023-06-18 20:40
Alert Cancellation GRLF and Shore | 2023-06-18 20:41
Advisory Cancellation LIIR T and C | 2023-06-18 20:42
Advisory Cancellation LIIR | 2023-06-18 20:42
Advisory Cancellation GRLF and Shore | 2023-06-18 20:42
Advisory GRLF and Shore | 2023-06-22 09:38
Advisory LIIR | 2023-06-22 09:39
Advisory LIIR T and C | 2023-06-22 09:39
Alert GRLF and Shore | 2023-06-22 10:07
Alert LIIR | 2023-06-22 10:08
Advisory Cancellation LIIR T and C | 2023-06-22 14:18
Alert Cancellation LIIR | 2023-06-22 14:20
Alert Cancellation GRLF and Shore | 2023-06-22 14:21
Advisory Cancellation LIIR | 2023-06-22 14:23
Advisory Cancellation GRLF and Shore | 2023-06-22 14:24
Advisory GRLF and Shore | 2023-07-04 11:53
Advisory LIIR | 2023-07-04 11:54
Advisory Cancellation LIIR | 2023-07-04 18:43
Advisory Cancellation GRLF and Shore | 2023-07-04 18:43
Advisory GRLF and Shore | 2023-07-05 12:24
Advisory LIIR | 2023-07-05 12:24
Alert GRLF and Shore | 2023-07-05 12:38
Alert LIIR | 2023-07-05 12:38
Advisory LIIR T and C | 2023-07-05 12:40
Advisory Cancellation LIIR T and C | 2023-07-05 14:23
Alert Cancellation GRLF and Shore | 2023-07-05 14:24
Alert Cancellation LIIR | 2023-07-05 14:24
Advisory Cancellation LIIR | 2023-07-05 18:04
Advisory Cancellation GRLF and Shore | 2023-07-05 18:05
Advisory GRLF and Shore | 2023-07-10 08:42
Advisory LIIR | 2023-07-10 08:43
Advisory Cancellation GRLF and Shore | 2023-07-10 14:28
Advisory Cancellation LIIR | 2023-07-10 14:28
Advisory GRLF and Shore | 2023-08-24 11:20
Advisory LIIR | 2023-08-24 11:21
Advisory Cancellation GRLF and Shore | 2023-08-24 12:59
Advisory Cancellation LIIR | 2023-08-24 13:00
Advisory GRLF and Shore | 2023-12-06 07:41
Advisory LIIR | 2023-12-06 07:41
Advisory LIIR | 2023-12-06 07:48
Advisory GRLF and Shore | 2023-12-06 07:54
Advisory LIIR T and C | 2023-12-06 08:03
Alert GRLF and Shore | 2023-12-06 08:05
Alert LIIR | 2023-12-06 08:20
Alert Cancellation LIIR | 2023-12-06 10:14
Alert Cancellation GRLF and Shore | 2023-12-06 10:14
Advisory Cancellation LIIR T and C | 2023-12-06 10:15
Advisory Cancellation LIIR | 2023-12-06 10:17
Advisory Cancellation GRLF and Shore | 2023-12-06 10:17
Advisory GRLF and Shore | 2023-12-16 21:03
Advisory LIIR | 2023-12-16 21:03
Alert GRLF and Shore | 2023-12-16 21:31
Alert LIIR | 2023-12-16 21:31
Advisory Cancellation GRLF and Shore | 2023-12-17 00:58
Advisory Cancellation LIIR | 2023-12-17 00:58
Alert Cancellation GRLF and Shore | 2023-12-17 00:59
Alert Cancellation LIIR | 2023-12-17 00:59
Advisory GRLF and Shore | 2023-12-20 11:35
Advisory LIIR | 2023-12-20 11:35
Alert Cancellation GRLF and Shore | 2023-12-20 13:25
Alert Cancellation LIIR | 2023-12-20 13:25
Advisory Cancellation GRLF and Shore | 2023-12-20 13:25
Advisory Cancellation LIIR | 2023-12-20 13:26

## Interruptions
Large industrial load interruption events
Event | Start Time | End Time
LIIR Interruption | 2023-06-18 17:18 | 2023-06-18 20:38
LIIR Interruption | 2023-06-01 17:03 | 2023-06-01 18:07
LIIR Interruption | 2023-02-04 11:13 | 2023-02-04 19:19
LIIR Interruption | 2023-02-02 06:24 | 2023-02-02 10:16
LIIR Interruption | 2023-02-01 07:41 | 2023-02-01 09:21
LIIR Interruption | 2023-01-12 08:11 | 2023-01-12 10:06
LIIR Interruption | 2022-12-11 16:52 | 2022-12-11 18:24
LIIR Interruption | 2022-12-02 18:00 | 2022-12-02 23:05
LIIR Interruption | 2022-11-24 09:40 | 2022-11-24 10:54
LIIR Interruption | 2022-11-15 17:20 | 2022-11-15 19:13
LIIR Interruption | 2022-10-04 07:11 | 2022-10-04 11:30
LIIR Interruption | 2022-03-09 08:16 | 2022-03-09 09:46
LIIR Interruption | 2022-01-27 07:21 | 2022-01-27 13:03
LIIR Interruption | 2022-01-22 09:04 | 2022-01-22 13:09
LIIR Interruption | 2022-01-21 09:06 | 2022-01-21 12:38
LIIR Interruption | 2022-01-17 06:28 | 2022-01-17 08:06
LIIR Interruption | 2021-12-10 07:34 | 2021-12-10 10:42
LIIR Interruption | 2021-08-25 17:50 | 2021-08-25 21:36
LIIR Interruption | 2021-06-28 17:16 | 2021-06-28 18:46
LIIR Interruption | 2021-01-09 17:21 | 2021-01-09 18:20

## CPP
Critical Peak Pricing Events 2021 - 2023
Event Status | Event Date | Event Time
COMPLETE | 2023-02-24 | 7:00 AM - 11:00 AM Atlantic
COMPLETE | 2023-02-01 | 5:00 PM - 9:00 PM Atlantic
COMPLETE | 2023-01-11 | 5:00 PM - 9:00 PM Atlantic
COMPLETE | 2023-01-11 | 7:00 AM - 11:00 AM Atlantic
COMPLETE | 2023-01-10 | 5:00 PM - 9:00 PM Atlantic
COMPLETE | 2022-12-19 | 5:00 PM - 9:00 PM Atlantic
COMPLETE | 2022-12-19 | 7:00 AM - 11:00 AM Atlantic
COMPLETE | 2022-12-12 | 5:00 PM - 9:00 PM Atlantic
COMPLETE | 2022-12-12 | 7:00 AM - 11:00 AM Atlantic
COMPLETE | 2022-11-16 | 7:00 AM - 11:00 AM Atlantic
COMPLETE | 2022-11-15 | 5:00 PM - 9:00 PM Atlantic
COMPLETE | 2022-11-15 | 7:00 AM - 11:00 AM Atlantic
COMPLETE | 2022-03-16 | 7:00 AM - 11:00 AM Atlantic
COMPLETE | 2022-03-03 | 7:00 AM - 11:00 AM Atlantic
COMPLETE | 2022-02-15 | 5:00 PM - 9:00 PM Atlantic
COMPLETE | 2022-02-02 | 7:00 AM - 11:00 AM Atlantic
COMPLETE | 2022-01-19 | 5:00 PM - 9:00 PM Atlantic
COMPLETE | 2022-01-19 | 7:00 AM - 11:00 AM Atlantic
COMPLETE | 2022-01-17 | 7:00 AM - 11:00 AM Atlantic
COMPLETE | 2022-01-12 | 7:00 AM - 11:00 AM Atlantic

## UFLS
Under-frequency Load Shedding occurred twice with loss of transmission due to line icing from freezing rain.
Start | Restored | Event
2018-11-29 08:58 | 2018-11-29 16:52 | Icing event. Tripping of the transmission lines in the Cape Breton Export Corridor, followed by loss of the connection to NB (Eastern Interconnection).
2023-01-16 05:31 | 2023-01-16 08:48 | The NS-NB Tie line tripped due to icing on L-8001 separating NS from NB (Eastern interconnection)

## Major Storms
Largest storm events with multi-day customer outages
Start of Event | Event
2014-07-05 | Hurricane Arthur
2016-01-29 | Jan 2016 Snow (Jan 29 to Feb 1)
2016-10-10 | Thanksgiving Storm 2016 (Oct 10 to 12)
2017-12-25 | Christmas 2017 Storm (Dec 25 to 26)
2018-01-04 | New Years 2018 Storm (Jan 4 to 5)
2019-09-07 | Sep 2019 Hurricane Dorian (Sept 7 to 12)
2022-09-23 | Sep 2022 Hurricane Fiona (Sep 23 to 30)
2023-09-16 | Sep 2023 Hurricane Lee (Sep 16 to 17)