## Partial Rev Req
|  | Capital Costs | [14 empty] | OM&G Costs
Year | Partial Revenue Requirement ($000) | Unit Addition Reciprocating Engine ($000) | Unit Addition Frame CT ($000) | Unit Addition Onshore Wind ($000) | Unit Addition Solar ($000) | Unit Addition Synchronous Condensers ($000) | Point Tupper Nat Gas Conversion ($000) | Lingan 1 HFO Conversion ($000) | Lingan 3 HFO Conversion ($000) | Lingan 4 HFO Conversion ($000) | Unit Addition BESS ($000) | Reliability Tie ($000) | Thermal Sustaining Capital ($000) | Hydro Sustaining Capital ($000) | Diesel Sustaining Capital ($000) | Total Capital Costs ($000) | Steam FO&M Cost ($000) | LM 6000 FO&M Cost ($000) | New CTs & Recips FO&M Cost ($000) | Point Tupper Gas Conversion FO&M Cost ($000) | Diesel CTs FO&M Cost ($000) | Hydro FO&M Cost ($000) | Wind FO&M Cost ($000) | Solar FO&M Cost ($000) | Synchronous Condensers FO&M Cost ($000) | Lingan HFO - Conversion FO&M Cost ($000) | BESS FO&M Cost ($000) | Reliability Tie FO&M ($000) | Generation Cost ($000) | Output Based Pricing System Costs ($000) | Generator Abatement Cost ($000) | Start & Shutdown Cost ($000) | Take or Pay Wind Curtailment Costs ($000) | Markets (Imports) Cost ($000) | Total OM&G Cost ($000) | DSM Costs ($000)
2025 | 882062.9 | 0 | 0 | 0 | 17024.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 79548.53 | 21583.11 | 1145.99 | 119301.98 | 55795.7 | 1762.1 | 0 | 0 | 931.53 | 9127.85 | 8882.8 | 4414.46 | 0 | 0 | 0 | 0 | 485785.15 | 26321.54 | 198.96 | 14487.93 | 4144.97 | 88407.93 | 700260.92 | 62500
2026 | 839602.5217 | 0 | 0 | 18562.42 | 17024.35 | 834.25 | 0 | 0 | 0 | 0 | 2544.08 | 0 | 33650.95 | 16065.17 | 3156.38 | 91837.6 | 56911.61 | 1797.34 | 0 | 0 | 950.16 | 9310.41 | 17979.69 | 4502.74 | 27.57 | 0 | 1405.99 | 0 | 434933.48 | 20311.13 | 154.15 | 13116.17 | 28727.07 | 95325.25 | 685452.76 | 62312.1617
2027 | 877575.6034 | 0 | 0 | 36756.07 | 17024.35 | 1117.9 | 0 | 0 | 0 | 0 | 3376.92 | 0 | 40706.78 | 19767.29 | 4411.87 | 123161.18 | 58049.84 | 1833.28 | 0 | 0 | 969.16 | 9496.61 | 27436.91 | 4592.8 | 37.49 | 0 | 1912.15 | 0 | 412582.36 | 29772.67 | 113.93 | 13231.86 | 46848.02 | 85195 | 692072.08 | 62342.3434
2028 | 954957.9305 | 0 | 17170.42 | 55057.84 | 17024.35 | 2564.49 | 0 | 0 | 0 | 0 | 7619.74 | 0 | 72942.36 | 13230.93 | 4986.6 | 190596.73 | 51373.47 | 1875.06 | 3201.42 | 0 | 991.25 | 9713.08 | 37367.32 | 4697.49 | 86.28 | 0 | 4400.4 | 0 | 381375.51 | 45528.64 | 13.23 | 8921.81 | 55591.68 | 92443.97 | 697580.61 | 66780.5905
2029 | 1029995.5704 | 0 | 51976.27 | 72932.57 | 17024.35 | 4040.02 | 4111.65 | 0 | 0 | 0 | 11773.3 | 0 | 30085.35 | 19891.54 | 1240.47 | 213075.52 | 29809.47 | 1907.35 | 9769.57 | 6892.11 | 1008.32 | 9880.28 | 47475.7 | 4778.35 | 136.53 | 0 | 6962.9 | 0 | 390489.48 | 75456.37 | 0 | 10094.59 | 55019.82 | 104921.73 | 754602.57 | 62317.4804
2030 | 1137030.8763 | 0 | 51976.27 | 90355.89 | 17024.35 | 4040.02 | 4111.65 | 26.03 | 26.03 | 26.03 | 11773.3 | 0 | 58506.07 | 19529.68 | 6453.45 | 263848.77 | 14938.76 | 1945.48 | 9964.96 | 7029.96 | 1028.48 | 10077.88 | 58079.69 | 4873.92 | 139.26 | 11600.17 | 7102.15 | 0 | 380337.29 | 70806.81 | 0 | 7426.71 | 64543.07 | 159121.14 | 809015.73 | 64166.3763
2031 | 1078342.8411 | 0 | 51976.27 | 107951.09 | 17024.35 | 5882.18 | 4111.65 | 26.03 | 26.03 | 26.03 | 16679.78 | 0 | 23142.64 | 10997.33 | 8647.72 | 246491.1 | 15237.54 | 1984.4 | 10164.26 | 7170.56 | 1049.05 | 10279.44 | 69088.85 | 4971.39 | 202.92 | 11832.17 | 10348.85 | 0 | 356027.75 | 62776.7 | 0 | 7289.2 | 64414.85 | 142030.35 | 774868.28 | 56983.4611
2032 | 1174664.3018 | 3840.84 | 51976.27 | 128302.39 | 17024.35 | 5882.18 | 4111.65 | 26.03 | 26.03 | 26.03 | 16679.78 | 0 | 32317.47 | 9391.63 | 18431.26 | 288035.91 | 15584.87 | 2029.64 | 11056.01 | 7334 | 1072.96 | 10513.75 | 80735.73 | 5084.71 | 207.54 | 12101.88 | 10584.75 | 0 | 363445.05 | 65558.11 | 0 | 7102.94 | 79082.37 | 157904.37 | 829398.68 | 57229.7118
2033 | 1211210.685 | 3840.84 | 69336.74 | 154068.42 | 17024.35 | 5882.18 | 4111.65 | 26.03 | 26.03 | 26.03 | 16679.78 | 36089.16 | 35926.42 | 13954.73 | 12219.9 | 369212.26 | 15853.13 | 2064.58 | 14771.29 | 7460.25 | 1091.43 | 10694.73 | 92370.84 | 5172.24 | 211.12 | 12310.19 | 10766.95 | 2663.76 | 318443.04 | 53505.44 | 0 | 6711.6 | 78246.44 | 153913.16 | 786250.19 | 55748.235
2034 | 1237919.233 | 3840.84 | 69336.74 | 173157.11 | 17024.35 | 5882.18 | 4111.65 | 26.03 | 26.03 | 26.03 | 16679.78 | 36142.43 | 33707.49 | 8117.57 | 1369.6 | 369447.83 | 16170.2 | 2105.87 | 15066.71 | 7609.45 | 1113.26 | 10908.62 | 101887.09 | 5275.68 | 215.34 | 12556.39 | 10982.29 | 2717.04 | 336000.33 | 63315.07 | 0 | 7386.3 | 76677.9 | 141502 | 811489.54 | 56981.863
2035 | 1327223.5675 | 3840.84 | 87210.6 | 192834.67 | 17024.35 | 5882.18 | 4111.65 | 26.03 | 26.03 | 26.03 | 16679.78 | 36196.77 | 32074.48 | 7468.8 | 1397.09 | 404799.3 | 16493.6 | 2147.98 | 19035.42 | 7761.64 | 1135.53 | 11126.8 | 111912.91 | 5381.2 | 219.65 | 12807.52 | 11201.93 | 2771.38 | 319498.13 | 104589.74 | 0 | 4271.39 | 80505.8 | 155016.9 | 865877.52 | 56546.7475
Energy Allocation |  | 0% | 0% | 82% | 100% | 0% | 19.5% | 19.5% | 19.5% | 19.5% | 38% | 0% | 74.5% | 59.4% | 0% | 0% | 74.5% | 58.8% | 0% | 19.5% | 0% | 59.4% | 82% | 100% | 0% | 19.5% | 38% | 0% | 100% | 100% | 100% | 100% | 100% | 100% |  | 66%
| Energy Portion of | Capital Costs | [14 empty] | OMG Costs
Year | Partial Revenue Requirement ($000) | Unit Addition Reciprocating Engine ($000) | Unit Addition Frame CT ($000) | Unit Addition Onshore Wind ($000) | Unit Addition Solar ($000) | Unit Addition Synchronous Condensers ($000) | Point Tupper Nat Gas Conversion ($000) | Lingan 1 HFO Conversion ($000) | Lingan 3 HFO Conversion ($000) | Lingan 4 HFO Conversion ($000) | Unit Addition BESS ($000) | Reliability Tie ($000) | Thermal Sustaining Capital ($000) | Hydro Sustaining Capital ($000) | Diesel Sustaining Capital ($000) | Total Capital Costs ($000) | Steam FO&M Cost ($000) | LM 6000 FO&M Cost ($000) | New CTs & Recips FO&M Cost ($000) | Point Tupper Gas Conversion FO&M Cost ($000) | Diesel CTs FO&M Cost ($000) | Hydro FO&M Cost ($000) | Wind FO&M Cost ($000) | Solar FO&M Cost ($000) | Synchronous Condensers FO&M Cost ($000) | Lingan HFO - Conversion FO&M Cost ($000) | BESS FO&M Cost ($000) | Reliability Tie FO&M ($000) | Variable Generation Cost ($000) | Output Based Pricing System Costs ($000) | Generator Abatement Cost ($000) | Start & Shutdown Cost ($000) | Take or Pay Wind Curtailment Costs ($000) | Markets (Imports) Cost ($000) | Total OMG Cost ($000) | DSM Costs ($000)
2025 | 809429.0624 | 0 | 0 | 0 | 17024.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 59263.6548 | 12820.3673 | 0 | 89108.3722 | 41567.7965 | 1036.1148 | 0 | 0 | 0 | 5421.9429 | 7283.896 | 4414.46 | 0 | 0 | 0 | 0 | 485785.15 | 26321.54 | 198.96 | 14487.93 | 4144.97 | 88407.93 | 679070.6902 | 41250
2026 | 770284.9611 | 0 | 0 | 15221.1844 | 17024.35 | 0 | 0 | 0 | 0 | 0 | 966.7504 | 0 | 25069.9578 | 9542.711 | 0 | 67824.9535 | 42399.1494 | 1056.8359 | 0 | 0 | 0 | 5530.3835 | 14743.3458 | 4502.74 | 0 | 0 | 534.2762 | 0 | 434933.48 | 20311.13 | 154.15 | 13116.17 | 28727.07 | 95325.25 | 661333.9809 | 41126.0267
2027 | 797189.434 | 0 | 0 | 30139.9774 | 17024.35 | 0 | 0 | 0 | 0 | 0 | 1283.2296 | 0 | 30326.5511 | 11741.7703 | 0 | 90515.8784 | 43247.1308 | 1077.9686 | 0 | 0 | 0 | 5640.9863 | 22498.2662 | 4592.8 | 0 | 0 | 726.617 | 0 | 412582.36 | 29772.67 | 113.93 | 13231.86 | 46848.02 | 85195 | 665527.609 | 41145.9466
2028 | 837374.7247 | 0 | 0 | 45147.4288 | 17024.35 | 0 | 0 | 0 | 0 | 0 | 2895.5012 | 0 | 54342.0582 | 7859.1724 | 0 | 127268.5106 | 38273.2352 | 1102.5353 | 0 | 0 | 0 | 5769.5695 | 30641.2024 | 4697.49 | 0 | 0 | 1672.152 | 0 | 381375.51 | 45528.64 | 13.23 | 8921.81 | 55591.68 | 92443.97 | 666031.0243 | 44075.1897
2029 | 870342.1215 | 0 | 0 | 59804.7074 | 17024.35 | 0 | 801.7717 | 0 | 0 | 0 | 4473.854 | 0 | 22413.5858 | 11815.5748 | 0 | 116333.8437 | 22208.0552 | 1121.5218 | 0 | 1343.9615 | 0 | 5868.8863 | 38930.074 | 4778.35 | 0 | 0 | 2645.902 | 0 | 390489.48 | 75456.37 | 0 | 10094.59 | 55019.82 | 104921.73 | 712878.7407 | 41129.5371
2030 | 953270.0508 | 0 | 0 | 74091.8298 | 17024.35 | 0 | 801.7717 | 5.0758 | 5.0758 | 5.0758 | 4473.854 | 0 | 43587.0222 | 11600.6299 | 0 | 151594.6852 | 11129.3762 | 1143.9422 | 0 | 1370.8422 | 0 | 5986.2607 | 47625.3458 | 4873.92 | 0 | 2262.0332 | 2698.817 | 0 | 380337.29 | 70806.81 | 0 | 7426.71 | 64543.07 | 159121.14 | 759325.5573 | 42349.8084
2031 | 894508.2988 | 0 | 0 | 88519.8938 | 17024.35 | 0 | 801.7717 | 5.0758 | 5.0758 | 5.0758 | 6338.3164 | 0 | 17241.2668 | 6532.414 | 0 | 136473.2403 | 11351.9673 | 1166.8272 | 0 | 1398.2592 | 0 | 6105.9874 | 56652.857 | 4971.39 | 0 | 2307.2731 | 3932.563 | 0 | 356027.75 | 62776.7 | 0 | 7289.2 | 64414.85 | 142030.35 | 720425.9742 | 37609.0843
2032 | 968056.7528 | 0 | 0 | 105207.9598 | 17024.35 | 0 | 801.7717 | 5.0758 | 5.0758 | 5.0758 | 6338.3164 | 0 | 24076.5152 | 5578.6282 | 0 | 159042.7689 | 11610.7281 | 1193.4283 | 0 | 1430.13 | 0 | 6245.1675 | 66203.2986 | 5084.71 | 0 | 2359.8666 | 4022.205 | 0 | 363445.05 | 65558.11 | 0 | 7102.94 | 79082.37 | 157904.37 | 771242.3742 | 37771.6098
2033 | 941423.8079 | 0 | 0 | 126336.1044 | 17024.35 | 0 | 801.7717 | 5.0758 | 5.0758 | 5.0758 | 6338.3164 | 0 | 26765.1829 | 8289.1096 | 0 | 185570.0626 | 11810.5819 | 1213.973 | 0 | 1454.7487 | 0 | 6352.6696 | 75744.0888 | 5172.24 | 0 | 2400.4871 | 4091.441 | 0 | 318443.04 | 53505.44 | 0 | 6711.6 | 78246.44 | 153913.16 | 719059.9101 | 36793.8351
2034 | 975285.5158 | 0 | 0 | 141988.8302 | 17024.35 | 0 | 801.7717 | 5.0758 | 5.0758 | 5.0758 | 6338.3164 | 0 | 25112.08 | 4821.8366 | 0 | 196102.4125 | 12046.799 | 1238.2516 | 0 | 1483.8428 | 0 | 6479.7203 | 83547.4138 | 5275.68 | 0 | 2448.4961 | 4173.2702 | 0 | 336000.33 | 63315.07 | 0 | 7386.3 | 76677.9 | 141502 | 741575.0736 | 37608.0296
2035 | 1037416.4325 | 0 | 0 | 158124.4294 | 17024.35 | 0 | 801.7717 | 5.0758 | 5.0758 | 5.0758 | 6338.3164 | 0 | 23895.4876 | 4436.4672 | 0 | 210636.0499 | 12287.732 | 1263.0122 | 0 | 1513.5198 | 0 | 6609.3192 | 91768.5862 | 5381.2 | 0 | 2497.4664 | 4256.7334 | 0 | 319498.13 | 104589.74 | 0 | 4271.39 | 80505.8 | 155016.9 | 789459.5292 | 37320.8534
Demand Allocation |  | 100% | 100% | 18% | 0% | 100% | 80.5% | 80.5% | 80.5% | 80.5% | 62% | 100% | 25.5% | 40.6% | 100% |  | 25.5% | 41.2% | 100% | 80.5% | 100% | 40.6% | 18% | 0% | 100% | 80.5% | 62% | 100% | 0% | 0% | 0% | 0% | 0% | 0% |  | 34%
| Demand Portion of | Capital Costs | [14 empty] | OMG Costs
Year | Partial Revenue Requirement ($000) | Unit Addition Reciprocating Engine ($000) | Unit Addition Frame CT ($000) | Unit Addition Onshore Wind ($000) | Unit Addition Solar ($000) | Unit Addition Synchronous Condensers ($000) | Point Tupper Nat Gas Conversion ($000) | Lingan 1 HFO Conversion ($000) | Lingan 3 HFO Conversion ($000) | Lingan 4 HFO Conversion ($000) | Unit Addition BESS ($000) | Reliability Tie ($000) | Thermal Sustaining Capital ($000) | Hydro Sustaining Capital ($000) | Diesel Sustaining Capital ($000) | Total Capital Costs ($000) | Steam FO&M Cost ($000) | LM 6000 FO&M Cost ($000) | New CTs & Recips FO&M Cost ($000) | Point Tupper Gas Conversion FO&M Cost ($000) | Diesel CTs FO&M Cost ($000) | Hydro FO&M Cost ($000) | Wind FO&M Cost ($000) | Solar FO&M Cost ($000) | Synchronous Condensers FO&M Cost ($000) | Lingan HFO - Conversion FO&M Cost ($000) | BESS FO&M Cost ($000) | Reliability Tie FO&M ($000) | Generation Cost ($000) | Output Based Pricing System Costs ($000) | Generator Abatement Cost ($000) | Start & Shutdown Cost ($000) | Take or Pay Wind Curtailment Costs ($000) | Markets (Imports) Cost ($000) | Total Variable Cost ($000) | DSM Costs ($000)
2025 | 72633.8376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20284.8751 | 8762.7427 | 1145.99 | 30193.6078 | 14227.9035 | 725.9852 | 0 | 0 | 931.53 | 3705.9071 | 1598.904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21190.2298 | 21250
2026 | 69317.5605 | 0 | 0 | 3341.2356 | 0 | 834.25 | 0 | 0 | 0 | 0 | 1577.3296 | 0 | 8580.9923 | 6522.459 | 3156.38 | 24012.6465 | 14512.4605 | 740.5041 | 0 | 0 | 950.16 | 3780.0265 | 3236.3442 | 0 | 27.57 | 0 | 871.7138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24118.7791 | 21186.135
2027 | 80386.1694 | 0 | 0 | 6616.0926 | 0 | 1117.9 | 0 | 0 | 0 | 0 | 2093.6904 | 0 | 10380.2289 | 8025.5197 | 4411.87 | 32645.3016 | 14802.7092 | 755.3114 | 0 | 0 | 969.16 | 3855.6237 | 4938.6438 | 0 | 37.49 | 0 | 1185.533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26544.471 | 21196.3968
2028 | 117583.2058 | 0 | 17170.42 | 9910.4112 | 0 | 2564.49 | 0 | 0 | 0 | 0 | 4724.2388 | 0 | 18600.3018 | 5371.7576 | 4986.6 | 63328.2194 | 13100.2349 | 772.5247 | 3201.42 | 0 | 991.25 | 3943.5105 | 6726.1176 | 0 | 86.28 | 0 | 2728.248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31549.5857 | 22705.4008
2029 | 159653.449 | 0 | 51976.27 | 13127.8626 | 0 | 4040.02 | 3309.8782 | 0 | 0 | 0 | 7299.446 | 0 | 7671.7643 | 8075.9652 | 1240.47 | 96741.6763 | 7601.4149 | 785.8282 | 9769.57 | 5548.1485 | 1008.32 | 4011.3937 | 8545.626 | 0 | 136.53 | 0 | 4316.998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41723.8293 | 21187.9433
2030 | 183760.8255 | 0 | 51976.27 | 16264.0602 | 0 | 4040.02 | 3309.8782 | 20.9541 | 20.9541 | 20.9541 | 7299.446 | 0 | 14919.0479 | 7929.0501 | 6453.45 | 112254.0848 | 3809.3838 | 801.5378 | 9964.96 | 5659.1178 | 1028.48 | 4091.6193 | 10454.3442 | 0 | 139.26 | 9338.1368 | 4403.333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49690.1727 | 21816.5679
2031 | 183834.5422 | 0 | 51976.27 | 19431.1962 | 0 | 5882.18 | 3309.8782 | 20.9541 | 20.9541 | 20.9541 | 10341.4636 | 0 | 5901.3732 | 4464.916 | 8647.72 | 110017.8597 | 3885.5727 | 817.5728 | 10164.26 | 5772.3008 | 1049.05 | 4173.4526 | 12435.993 | 0 | 202.92 | 9524.8968 | 6416.287 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54442.3058 | 19374.3768
2032 | 206607.549 | 3840.84 | 51976.27 | 23094.4302 | 0 | 5882.18 | 3309.8782 | 20.9541 | 20.9541 | 20.9541 | 10341.4636 | 0 | 8240.9549 | 3813.0018 | 18431.26 | 128993.1411 | 3974.1418 | 836.2117 | 11056.01 | 5903.87 | 1072.96 | 4268.5825 | 14532.4314 | 0 | 207.54 | 9742.0134 | 6562.545 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58156.3058 | 19458.102
2033 | 269786.8772 | 3840.84 | 69336.74 | 27732.3156 | 0 | 5882.18 | 3309.8782 | 20.9541 | 20.9541 | 20.9541 | 10341.4636 | 36089.16 | 9161.2371 | 5665.6204 | 12219.9 | 183642.1974 | 4042.5482 | 850.607 | 14771.29 | 6005.5012 | 1091.43 | 4342.0604 | 16626.7512 | 0 | 211.12 | 9909.7029 | 6675.509 | 2663.76 | 0 | 0 | 0 | 0 | 0 | 0 | 67190.2799 | 18954.3999
2034 | 262633.7173 | 3840.84 | 69336.74 | 31168.2798 | 0 | 5882.18 | 3309.8782 | 20.9541 | 20.9541 | 20.9541 | 10341.4636 | 36142.43 | 8595.4099 | 3295.7334 | 1369.6 | 173345.4175 | 4123.401 | 867.6184 | 15066.71 | 6125.6072 | 1113.26 | 4428.8997 | 18339.6762 | 0 | 215.34 | 10107.8939 | 6809.0198 | 2717.04 | 0 | 0 | 0 | 0 | 0 | 0 | 69914.4664 | 19373.8334
2035 | 289807.135 | 3840.84 | 87210.6 | 34710.2406 | 0 | 5882.18 | 3309.8782 | 20.9541 | 20.9541 | 20.9541 | 10341.4636 | 36196.77 | 8178.9924 | 3032.3328 | 1397.09 | 194163.2501 | 4205.868 | 884.9678 | 19035.42 | 6248.1202 | 1135.53 | 4517.4808 | 20144.3238 | 0 | 219.65 | 10310.0536 | 6945.1966 | 2771.38 | 0 | 0 | 0 | 0 | 0 | 0 | 76417.9908 | 19225.8942