## Release Notes
Release Notes - 2024-08
1. This revision updates the Avoided Cost of Energy and Capacity values for the No EE, No DR scenario.
2. No changes from what was provided to the DSMAG on June 12, 2024 have been made to the Avoided Cost of Capacity value for the No DR scenario, nor to the Avoided Transmission and Distribution costs.
3. Seasonal Avoided Energy Costs for the No EE, No DR scenario are broken out in the AVC no EE, no DR (Seasonal) tab.

## AVC no EE, no DR (Total)
Difference In Revenue Requirement
Energy | 3091372.6659
Capacity | 639388.0932
Total | 3730760.7591
Input Assumptions
Nominal WACC (2023) | 6.48%
Inflation | 2%
Real WACC (Energy/Capacity) | 4.392%
Table 1 - Avoided Energy Cost (DSM) | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2025 |  | 52974.0523 | 539.8953 |  | 98.1191 | 124.9392 | 96.8855 | 67454.0769 | 52308.0439 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE)
2026 |  | 94311.6065 | 688.9023 |  | 136.9013 | 124.9392 | 98.8232 | 86070.891 | 68079.561
2027 |  | 120924.1427 | 859.9006 |  | 140.6257 | 124.9392 | 100.7997 | 107435.2675 | 86677.722
2028 |  | 176883.8065 | 1017.6577 |  | 173.8146 | 124.9392 | 102.8157 | 127145.3107 | 104631.1836
2029 |  | 161750.3192 | 1103.281 |  | 146.6085 | 124.9392 | 104.872 | 137843.0188 | 115703.2981
2030 |  | 120287.2474 | 1248.3442 |  | 96.3574 | 124.9392 | 106.9695 | 155967.0891 | 133534.6896
2031 |  | 128991.3398 | 1737.39 |  | 74.2443 | 124.9392 | 109.1088 | 217068.0752 | 189564.61
2032 |  | 161009.0698 | 1917.0934 |  | 83.986 | 124.9392 | 111.291 | 239520.0684 | 213355.2752
2033 |  | 185904.6469 | 2069.8717 |  | 89.8146 | 124.9392 | 113.5168 | 258608.0594 | 234965.2867
2034 |  | 254743.115 | 2146.7248 |  | 118.6659 | 124.9392 | 115.7872 | 268210.0273 | 248563.2003
2035 |  | 276077.166 | 2197.3677 |  | 125.6399 | 124.9392 | 118.1029 | 274537.3119 | 259515.5409
2036 |  | 273912.183 | 2304.6369 |  | 118.8526 | 124.9392 | 120.465 | 287939.4385 | 277628.0345
2037 |  | 286194.4776 | 2404.9106 |  | 119.0042 | 124.9392 | 122.8743 | 300467.5468 | 295501.6485
2038 |  | 286499.5088 | 2560.4644 |  | 111.8936 | 124.9392 | 125.3318 | 319902.3102 | 320907.5132
2039 |  | 290896.7098 | 2515.0372 |  | 115.663 | 124.9392 | 127.8384 | 314226.6783 | 321518.3282
2040 |  | 323921.8177 | 2677.7871 |  | 120.9662 | 124.9392 | 130.3952 | 334560.5165 | 349170.4946
2041 |  | 317670.5793 | 2731.2072 |  | 116.3114 | 124.9392 | 133.0031 | 341234.7722 | 363258.9337
2042 |  | 351979.2936 | 2858.7384 |  | 123.124 | 124.9392 | 135.6631 | 357168.4163 | 387825.3953
2043 |  | 391565.0274 | 2931.7295 |  | 133.5611 | 124.9392 | 138.3764 | 366287.8629 | 405682.1469
2044 |  | 443473.9692 | 3016.595 |  | 147.0114 | 124.9392 | 141.1439 | 376890.8847 | 425774.0348
2045 |  | 457363.1578 | 3055.6359 |  | 149.6786 | 124.9392 | 143.9668 | 381768.63 | 439910.1175
2046 |  | 495989.9823 | 3141.8928 |  | 157.8634 | 124.9392 | 146.8461 | 392545.4984 | 461374.815
2047 |  | 514801.321 | 3272.1556 |  | 157.3279 | 124.9392 | 149.7831 | 408820.4239 | 490113.4701
2048 |  | 526520.5465 | 3306.937 |  | 159.217 | 124.9392 | 152.7787 | 413165.9745 | 505229.5865
2049 |  | 511294.3413 | 3307.4661 |  | 154.5879 | 124.9392 | 155.8343 | 413232.0873 | 515416.6395
2050 |  | 538629.6123 | 3424.5973 |  | 157.2826 | 124.9392 | 158.951 | 427866.3616 | 544343.0894
NPV (2025$) - Nominal |  | 3091372.6659 | 24743.0213 | 31907.4762 |  |  |  | 3091372.6659 | 3091372.6659
Table 2 - Avoided Capacity Cost (DSM) | [11 empty] | Notes
Year |  | Annual Avoided Capacity Costs ($000) | ∆ Capacity (MW) |  | Actual Annual AVC Capacity ($/kW-Yr) | Levelized AVC- Capacity ($/kW-Yr) | Equiv. Escal. Series - AVC - Capacity ($/kW-yr) | Annual Avoided Capacity Costs ($000) - Levelized | Annual Avoided Capacity Costs ($000) - Equiv. Escal. Series | Levelized AVC- Capacity ($/kW-Yr) | Equiv. Escal. Series - AVC - Capacity ($/kW-yr)
|  |  | Nominal WACC | Real WACC
2025 |  | 382.4574 | 0 |  | 0 | 128.0822 | 101.3228 | 0 | 0 | 139.6096 | 110.4418 | - These avoided costs are related to DSM (EE+DR) impacts (avoided capacity costs by implementing both EE and DR programs)
2026 |  | 40377.9788 | 293.81 |  | 137.4289 | 128.0822 | 103.3492 | 37631.8246 | 30365.0347 | 139.6096 | 112.6507
2027 |  | 30446.2218 | 300.74 |  | 101.2377 | 128.0822 | 105.4162 | 38519.4341 | 31702.8697 | 139.6096 | 114.9037
2028 |  | 48550.7342 | 293.13 |  | 165.6287 | 128.0822 | 107.5245 | 37544.7288 | 31518.6655 | 139.6096 | 117.2017 | - No capacity was added in 2025 as a result of DSM removal therefore avoided capacity costs are $0 in that year
2029 |  | 32430.2117 | 286.16 |  | 113.3289 | 128.0822 | 109.675 | 36651.996 | 31384.6039 | 139.6096 | 119.5458
2030 |  | 42824.112 | 303.17 |  | 141.2545 | 128.0822 | 111.8685 | 38830.6738 | 33915.1795 | 139.6096 | 121.9367
2031 |  | 53267.3715 | 453.34 |  | 117.4998 | 128.0822 | 114.1059 | 58064.7744 | 51728.7648 | 139.6096 | 124.3754
2032 |  | 57548.1283 | 461.93 |  | 124.5819 | 128.0822 | 116.388 | 59165.0003 | 53763.1131 | 139.6096 | 126.8629
2033 |  | 38337.3921 | 331.64 |  | 115.5994 | 128.0822 | 118.7158 | 42477.1734 | 39370.8978 | 139.6096 | 129.4002
2034 |  | 40392.462 | 357.6 |  | 112.9543 | 128.0822 | 121.0901 | 45802.1867 | 43301.8143 | 139.6096 | 131.9882
2035 |  | 37819.4716 | 343.54 |  | 110.0875 | 128.0822 | 123.5119 | 44001.3513 | 42431.2735 | 139.6096 | 134.628
2036 |  | 59223.0024 | 478.96 |  | 123.6492 | 128.0822 | 125.9821 | 61346.2398 | 60340.3982 | 139.6096 | 137.3205
2037 |  | 63972.8248 | 468.92 |  | 136.4259 | 128.0822 | 128.5018 | 60060.2948 | 60257.0484 | 139.6096 | 140.0669
2038 |  | 54829.9389 | 453.8 |  | 120.824 | 128.0822 | 131.0718 | 58123.6922 | 59480.3837 | 139.6096 | 142.8683
2039 |  | 74533.2558 | 570.01 |  | 130.7578 | 128.0822 | 133.6932 | 73008.1221 | 76206.4826 | 139.6096 | 145.7256
2040 |  | 51721.4275 | 436.54 |  | 118.4804 | 128.0822 | 136.3671 | 55912.9939 | 59529.6951 | 139.6096 | 148.6401
2041 |  | 74351.2829 | 572.89 |  | 129.7828 | 128.0822 | 139.0944 | 73376.9988 | 79685.8165 | 139.6096 | 151.6129
2042 |  | 53443.7662 | 433.95 |  | 123.1565 | 128.0822 | 141.8763 | 55581.261 | 61567.235 | 139.6096 | 154.6452
2043 |  | 81459.7987 | 573.59 |  | 142.0175 | 128.0822 | 144.7139 | 73466.6563 | 83006.4232 | 139.6096 | 157.7381
2044 |  | 55484.1036 | 443.37 |  | 125.1418 | 128.0822 | 147.6081 | 56787.7951 | 65445.02 | 139.6096 | 160.8929
2045 |  | 80635.017 | 585.87 |  | 137.633 | 128.0822 | 150.5603 | 75039.5055 | 88208.7632 | 139.6096 | 164.1107
2046 |  | 54510.4232 | 443.37 |  | 122.9457 | 128.0822 | 153.5715 | 56787.7951 | 68088.9988 | 139.6096 | 167.3929
2047 |  | 86578.7594 | 585.87 |  | 147.7781 | 128.0822 | 156.6429 | 75039.5055 | 91772.3972 | 139.6096 | 170.7408
2048 |  | 82162.7453 | 581.84 |  | 141.2119 | 128.0822 | 159.7758 | 74523.3343 | 92963.9487 | 139.6096 | 174.1556
2049 |  | 82845.439 | 581.84 |  | 142.3853 | 128.0822 | 162.9713 | 74523.3343 | 94823.2277 | 139.6096 | 177.6387
2050 |  | 79684.1657 | 586.01 |  | 135.9775 | 128.0822 | 166.2307 | 75057.437 | 97412.8744 | 139.6096 | 181.1915
25-yr NPV (2023$) |  | 639388.0932 | 4992.0145 | 6310.409 |  |  |  | 639388.0932 | 639388.0932
Basic
Capacity Adjustment for Planning Reserve Margin
Metric | Basic Value | PRM adder (UCAP) | Final Value
Levelized | 128.0822 | 9% | 139.6096
Equiv. Escal. Series | 101.3228 | 9% | 110.4418
Levelized- AVC Energy =
Levelized- AVC Energy = 3,091,373/24,743=$125∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 3,091,373/31,907=$97∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Capacity =
Equiv. Escalating Series - AVC Capacity = 639,388/6,310=$101∕〖𝑘𝑊−𝑌𝑟〗
Levelized- AVC Capacity =
Levelized- AVC Capacity = 639,388/4,992=$128∕〖𝑘𝑊−𝑌𝑟〗

## AVC no EE, no DR (Seasonal)
Difference In Revenue Requirement
Input Assumptions
Nominal WACC (2023) | 6.48%
Inflation | 2%
Real WACC (Energy/Capacity) | 4.392%
Table 1 - On Peak Winter Avoided Energy Costs | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2025 |  | 9556.7502 | 86.6385 |  | 110.306 | 161.7978 | 125.6225 | 14017.9226 | 10883.7481 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE) - Peak period: December-February weekdays 7am-11pm
2026 |  | 25704.7745 | 107.1194 |  | 239.9637 | 161.7978 | 128.135 | 17331.693 | 13725.7468
2027 |  | 24536.8188 | 126.8135 |  | 193.4874 | 161.7978 | 130.6977 | 20518.1575 | 16574.2364
2028 |  | 31760.6749 | 150.3459 |  | 211.2507 | 161.7978 | 133.3116 | 24325.6459 | 20042.8613
2029 |  | 26243.4205 | 174.6172 |  | 150.2912 | 161.7978 | 135.9779 | 28252.6819 | 23744.0715
2030 |  | 25496.8281 | 196.5644 |  | 129.7123 | 161.7978 | 138.6974 | 31803.6996 | 27262.9801
2031 |  | 17786.7072 | 259.4372 |  | 68.5588 | 161.7978 | 141.4714 | 41976.3719 | 36702.9315
2032 |  | 21343.9506 | 281.8021 |  | 75.7409 | 161.7978 | 144.3008 | 45594.9742 | 40664.272
2033 |  | 26201.5675 | 295.6004 |  | 88.6385 | 161.7978 | 147.1868 | 47827.5127 | 43508.4883
2034 |  | 41511.3314 | 301.4008 |  | 137.728 | 161.7978 | 150.1306 | 48766.0049 | 45249.4754
2035 |  | 44793.9558 | 316.6254 |  | 141.473 | 161.7978 | 153.1332 | 51229.314 | 48485.8577
2036 |  | 44062.6387 | 354.1888 |  | 124.4044 | 161.7978 | 156.1958 | 57306.9815 | 55322.8121
2037 |  | 46949.3027 | 354.5076 |  | 132.4353 | 161.7978 | 159.3198 | 57358.5594 | 56480.0563
2038 |  | 63393.8496 | 366.4527 |  | 172.9933 | 161.7978 | 162.5061 | 59291.2589 | 59550.8177
2039 |  | 58215.163 | 366.2098 |  | 158.9667 | 161.7978 | 165.7563 | 59251.9566 | 60701.5702
2040 |  | 70366.8475 | 392.8965 |  | 179.0977 | 161.7978 | 169.0714 | 63569.8136 | 66427.5659
2041 |  | 63146.91 | 410.4257 |  | 153.8571 | 161.7978 | 172.4528 | 66406.002 | 70779.079
2042 |  | 73372.3666 | 434.1431 |  | 169.005 | 161.7978 | 175.9019 | 70243.423 | 76366.5923
2043 |  | 88473.4396 | 434.2658 |  | 203.7311 | 161.7978 | 179.4199 | 70263.2675 | 77915.93
2044 |  | 93876.0635 | 436.4274 |  | 215.1012 | 161.7978 | 183.0083 | 70613.0081 | 79869.8375
2045 |  | 88261.6383 | 444.7204 |  | 198.4655 | 161.7978 | 186.6685 | 71954.8009 | 83015.2797
2046 |  | 99821.002 | 461.0602 |  | 216.5032 | 161.7978 | 190.4019 | 74598.5502 | 87786.7192
2047 |  | 99729.9454 | 489.4308 |  | 203.7672 | 161.7978 | 194.2099 | 79188.8521 | 95052.3046
2048 |  | 111908.3605 | 501.611 |  | 223.0979 | 161.7978 | 198.0941 | 81159.5774 | 99366.1703
2049 |  | 113702.2005 | 487.1403 |  | 233.4075 | 161.7978 | 202.056 | 78818.2461 | 98429.5984
2050 |  | 123066.795 | 491.0277 |  | 250.6311 | 161.7978 | 206.0971 | 79447.2158 | 101199.3681
NPV (2025$) - Nominal |  | 593347.0997 | 3667.2126 | 4723.2536 |  |  |  | 593347.0997 | 593347.0997
Table 2 - Off Peak Winter Avoided Energy Costs | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2025 |  | 3914.6554 | 77.2786 |  | 50.6564 | 153.7558 | 118.8378 | 11882.0378 | 9183.6171 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE) - Off-peak period: December-February; weekdays 11pm-7am and full weekends
2026 |  | 13029.0732 | 100.9897 |  | 129.0139 | 153.7558 | 121.2145 | 15527.7487 | 12241.4118
2027 |  | 20379.6379 | 129.9642 |  | 156.8096 | 153.7558 | 123.6388 | 19982.7597 | 16068.6226
2028 |  | 23140.4125 | 159.2797 |  | 145.2816 | 153.7558 | 126.1116 | 24490.189 | 20087.0192
2029 |  | 21177.6244 | 165.7726 |  | 127.7511 | 153.7558 | 128.6338 | 25488.5011 | 21323.9584
2030 |  | 14345.044 | 180.6371 |  | 79.4136 | 153.7558 | 131.2065 | 27774.0095 | 23700.7604
2031 |  | 24557.1255 | 259.2163 |  | 94.736 | 153.7558 | 133.8306 | 39856.0252 | 34691.0829
2032 |  | 34362.2029 | 292.9885 |  | 117.2818 | 153.7558 | 136.5072 | 45048.6874 | 39995.0446
2033 |  | 27006.6057 | 331.9641 |  | 81.354 | 153.7558 | 139.2374 | 51041.4213 | 46221.8129
2034 |  | 51124.4058 | 335.4839 |  | 152.39 | 153.7558 | 142.0221 | 51582.6142 | 47646.1415
2035 |  | 59177.6249 | 336.5552 |  | 175.8334 | 153.7558 | 144.8626 | 51747.3252 | 48754.2483
2036 |  | 57223.5168 | 342.8015 |  | 166.929 | 153.7558 | 147.7598 | 52707.7349 | 50652.2899
2037 |  | 63432.6994 | 364.6018 |  | 173.978 | 153.7558 | 150.715 | 56059.6615 | 54950.9713
2038 |  | 63330.7353 | 404.5288 |  | 156.5543 | 153.7558 | 153.7293 | 62198.6679 | 62187.9381
2039 |  | 59798.744 | 406.8007 |  | 146.9976 | 153.7558 | 156.8039 | 62547.9873 | 63787.9413
2040 |  | 74895.2521 | 441.8715 |  | 169.4955 | 153.7558 | 159.94 | 67940.3293 | 70672.9248
2041 |  | 68451.915 | 426.2135 |  | 160.6048 | 153.7558 | 163.1388 | 65532.8111 | 69531.9465
2042 |  | 76882.3295 | 442.2675 |  | 173.8367 | 153.7558 | 166.4016 | 68001.2135 | 73594.0027
2043 |  | 79901.8155 | 449.4788 |  | 177.7655 | 153.7558 | 169.7296 | 69109.9853 | 76289.8452
2044 |  | 90475.7792 | 490.0887 |  | 184.611 | 153.7558 | 173.1242 | 75354.0039 | 84846.2082
2045 |  | 98394.4329 | 501.2716 |  | 196.2896 | 153.7558 | 176.5867 | 77073.4432 | 88517.8869
2046 |  | 101177.9199 | 495.9457 |  | 204.0101 | 153.7558 | 180.1184 | 76254.5427 | 89328.9377
2047 |  | 110968.5912 | 509.1132 |  | 217.9645 | 153.7558 | 183.7208 | 78279.1258 | 93534.6633
2048 |  | 104216.5661 | 524.8114 |  | 198.5791 | 153.7558 | 187.3952 | 80692.8219 | 98347.1311
2049 |  | 95362.026 | 541.7401 |  | 176.0291 | 153.7558 | 191.1431 | 83295.7085 | 103549.8776
2050 |  | 101791.9273 | 559.2817 |  | 182.0047 | 153.7558 | 194.9659 | 85992.8319 | 109040.8898
NPV (2025$) - Nominal |  | 591434.934 | 3846.5851 | 4976.8265 |  |  |  | 591434.934 | 591434.934
Table 3 - Non-Winter Avoided Energy Costs | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2025 |  | 39503.6456 | 375.9827 |  | 105.0677 | 110.6602 | 85.8538 | 41606.3014 | 32279.5328 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE) - Non-winter period: March-November all hours
2026 |  | 55577.8126 | 480.7943 |  | 115.5958 | 110.6602 | 87.5709 | 53204.775 | 42103.5691
2027 |  | 76007.7656 | 603.1264 |  | 126.0229 | 110.6602 | 89.3223 | 66742.0622 | 53872.6196
2028 |  | 121982.5039 | 708.0339 |  | 172.2834 | 110.6602 | 91.1087 | 78351.1427 | 64508.0597
2029 |  | 114329.1858 | 762.8908 |  | 149.8631 | 110.6602 | 92.9309 | 84421.6158 | 70896.1214
2030 |  | 80445.2071 | 871.1395 |  | 92.3448 | 110.6602 | 94.7895 | 96400.434 | 82574.8849
2031 |  | 86647.5888 | 1218.737 |  | 71.0962 | 110.6602 | 96.6853 | 134865.6313 | 117833.9536
2032 |  | 105302.7783 | 1342.3054 |  | 78.4492 | 110.6602 | 98.619 | 148539.7299 | 132376.8253
2033 |  | 132696.3325 | 1442.3098 |  | 92.0027 | 110.6602 | 100.5914 | 159606.2336 | 145083.9438
2034 |  | 162105.7254 | 1509.8449 |  | 107.3658 | 110.6602 | 102.6032 | 167079.6762 | 154914.9389
2035 |  | 172106.6341 | 1544.1839 |  | 111.4548 | 110.6602 | 104.6553 | 170879.6353 | 161606.9952
2036 |  | 172625.9952 | 1607.6442 |  | 107.3782 | 110.6602 | 106.7484 | 177902.1566 | 171613.4141
2037 |  | 175812.1919 | 1685.8027 |  | 104.2899 | 110.6602 | 108.8833 | 186551.1951 | 183555.8482
2038 |  | 159774.9521 | 1789.481 |  | 89.2856 | 110.6602 | 111.061 | 198024.2499 | 198741.5803
2039 |  | 172882.5954 | 1742.031 |  | 99.242 | 110.6602 | 113.2822 | 192773.4243 | 197341.1687
2040 |  | 178659.0904 | 1843.0188 |  | 96.9383 | 110.6602 | 115.5479 | 203948.7468 | 212956.915
2041 |  | 186070.2479 | 1894.5724 |  | 98.2123 | 110.6602 | 117.8588 | 209653.6829 | 223292.1078
2042 |  | 201725.9352 | 1982.3234 |  | 101.7624 | 110.6602 | 120.216 | 219364.2224 | 238307.0256
2043 |  | 223189.6773 | 2047.9851 |  | 108.9801 | 110.6602 | 122.6203 | 226630.3575 | 251124.6271
2044 |  | 259122.0027 | 2090.0802 |  | 123.9771 | 110.6602 | 125.0727 | 231288.6024 | 261412.063
2045 |  | 270704.9883 | 2109.6409 |  | 128.318 | 110.6602 | 127.5742 | 233453.198 | 269135.7513
2046 |  | 294992.3485 | 2184.8904 |  | 135.0147 | 110.6602 | 130.1257 | 241780.3184 | 284310.3575
2047 |  | 304101.3758 | 2273.6102 |  | 133.7526 | 110.6602 | 132.7282 | 251598.0632 | 301772.181
2048 |  | 310397.1258 | 2280.5119 |  | 136.1085 | 110.6602 | 135.3828 | 252361.8053 | 308741.9944
2049 |  | 302229.7786 | 2278.5884 |  | 132.639 | 110.6602 | 138.0904 | 252148.9549 | 314651.2229
2050 |  | 313770.7915 | 2374.2836 |  | 132.1539 | 110.6602 | 140.8522 | 262738.6008 | 334423.129
NPV (2025$) - Nominal |  | 1906589.9097 | 17229.2355 | 22207.4083 |  |  |  | 1906589.9097 | 1906589.9097
Levelized- AVC Energy =
Levelized- AVC Energy = 583,347/3,667=$162∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 583,347/4,723=$126∕𝑀𝑊ℎ
Levelized- AVC Energy =
Levelized- AVC Energy = 591,435/3,847=$154∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 591,435/4,977=$119∕𝑀𝑊ℎ
Levelized- AVC Energy =
Levelized- AVC Energy = 1,906,590/17,150=$111∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 1,906,590/22,207=$86∕𝑀𝑊ℎ

## AVC no DR
Difference In Revenue Requirement
Capacity | 85008.9562
Total | 85008.9562
Input Assumptions
Nominal WACC (2023) | 6.48%
Inflation | 2%
Real WACC (Energy/Capacity) | 4.392%
Table 2 - Avoided Capacity Cost (DR) | [9 empty] | PRM Adj. |  | Notes
Year |  | Annual Avoided Capacity Costs ($000) | ∆ Capacity (MW) |  | Actual Annual AVC Capacity ($/kW-Yr) | Levelized AVC- Capacity ($/kW-Yr) | Equiv. Escal. Series - AVC - Capacity ($/kW-yr) | Annual Avoided Capacity Costs ($000) - Levelized | Annual Avoided Capacity Costs ($000) - Equiv. Escal. Series | Levelized AVC- Capacity ($/kW-Yr) | Equiv. Escal. Series - AVC - Capacity ($/kW-yr)
|  |  | Nominal WACC | Real WACC
2025 |  | 0 | 0 |  | 0 | 145.524 | 119.6798 | 0 | 0 | 158.6211 | 130.451 | - These avoided costs are related to DR (avoided capacity costs by implementing DR)
2026 |  | 16268.707 | 53.91 |  | 301.7753 | 145.524 | 122.0734 | 7845.198 | 6580.9775 | 158.6211 | 133.06
2027 |  | 3359.5706 | 36.21 |  | 92.7802 | 145.524 | 124.5149 | 5269.4235 | 4508.6837 | 158.6211 | 135.7212
2028 |  | 2072.9471 | 38.35 |  | 54.0534 | 145.524 | 127.0052 | 5580.8448 | 4870.6485 | 158.6211 | 138.4356
2029 |  | 3214.7597 | 54.5 |  | 58.9864 | 145.524 | 129.5453 | 7931.0572 | 7060.2177 | 158.6211 | 141.2044
2030 |  | 4533.391 | 59.91 |  | 75.67 | 145.524 | 132.1362 | 8718.3419 | 7916.2788 | 158.6211 | 144.0284 | - There are no avoided energy costs associated with the removal of DR
2031 |  | 21222.0115 | 153.91 |  | 137.8859 | 145.524 | 134.7789 | 22397.5966 | 20743.8217 | 158.6211 | 146.909
2032 |  | 21312.3947 | 142.5 |  | 149.5607 | 145.524 | 137.4745 | 20737.1679 | 19590.1143 | 158.6211 | 149.8472
2033 |  | 464.7009 | 0 |  | 0 | 145.524 | 140.224 | 0 | 0 | 158.6211 | 152.8441 | - In 2036 & 2037, capacity additions are ~1 MW (slight variance in wind resource addtions in those years) therefore the actual annual AVC is set to zero
2034 |  | 489.4894 | -0.04 |  | 0 | 145.524 | 143.0285 | 0 | 0 | 158.6211 | 155.901
2035 |  | 478.3734 | 0.05 |  | 0 | 145.524 | 145.889 | 0 | 0 | 158.6211 | 159.019
2036 |  | 515.1394 | 1.19 |  | 0 | 145.524 | 148.8068 | 0 | 0 | 158.6211 | 162.1994
2037 |  | 397.2149 | 0.2 |  | 0 | 145.524 | 151.7829 | 0 | 0 | 158.6211 | 165.4434
2038 |  | -1774.4411 | -11.61 |  | 0 | 145.524 | 154.8186 | 0 | 0 | 158.6211 | 168.7523
2039 |  | 16865.9052 | 110.27 |  | 152.951 | 145.524 | 157.915 | 16046.9298 | 17413.284 | 158.6211 | 172.1273
2040 |  | -5967.9304 | -30.59 |  | 0 | 145.524 | 161.0733 | 0 | 0 | 158.6211 | 175.5699
2041 |  | 16432.8125 | 105.9 |  | 155.1729 | 145.524 | 164.2947 | 15410.99 | 17398.8126 | 158.6211 | 179.0813
2042 |  | -5392.5213 | -26.11 |  | 0 | 145.524 | 167.5806 | 0 | 0 | 158.6211 | 182.6629
2043 |  | 19800.2347 | 120.67 |  | 164.0858 | 145.524 | 170.9322 | 17560.3793 | 20626.3939 | 158.6211 | 186.3161
2044 |  | -4675.9654 | -20.92 |  | 0 | 145.524 | 174.3509 | 0 | 0 | 158.6211 | 190.0425
2045 |  | 21377.4758 | 126.41 |  | 169.1122 | 145.524 | 177.8379 | 18395.687 | 22480.4898 | 158.6211 | 193.8433
2046 |  | -4333.4806 | -16.09 |  | 0 | 145.524 | 181.3947 | 0 | 0 | 158.6211 | 197.7202
2047 |  | -4106.5144 | -14.88 |  | 0 | 145.524 | 185.0226 | 0 | 0 | 158.6211 | 201.6746
2048 |  | 21469.9667 | 123.67 |  | 173.6069 | 145.524 | 188.723 | 17996.9512 | 23339.3746 | 158.6211 | 205.7081
2049 |  | 21531.0212 | 123.67 |  | 174.1006 | 145.524 | 192.4975 | 17996.9512 | 23806.1621 | 158.6211 | 209.8222
2050 |  | 14018.8742 | 47.3 |  | 296.3821 | 145.524 | 196.3474 | 6883.2845 | 9287.2329 | 158.6211 | 214.0187
25-yr NPV (2025$) |  | 85008.9562 | 584.1577 | 710.3032 |  |  |  | 90791.2084 | 91704.8237
Capacity Adjustment for Planning Reserve Margin ($/kW-Yr)
Metric | Basic Value | PRM adder (UCAP) | Final Value
Levelized | 145.524 | 9% | 158.6211
Equiv. Escal. Series | 119.6798 | 9% | 130.451
Equiv. Escalating Series - AVC Capacity =
Equiv. Escalating Series - AVC Capacity = 85,009/710=$120∕〖𝑘𝑊−𝑌𝑟〗
Levelized- AVC Capacity =
Levelized- AVC Capacity = 85,009/584=$146∕〖𝑘𝑊−𝑌𝑟〗

## AVC T&D
Input Assumptions
Inflation | 2%
Table 1 - System Wide Avoided T&D Costs |  |  |  | Table 2 - Constrained System Avoided T&D Costs
Year | Transmission $/kW-yr | Distribution $/kW-yr | Total $/kW-yr | Avoided T&D Costs | Transmission $/kW-yr | Distribution $/kW-yr | Total $/kW-yr
2023 | 28.3241 | 30.4417 | 58.7658 | 2023 | 82.9942 | 89.1989 | 172.1931
2024 | 28.8906 | 31.0505 | 59.9411 | 2024 | 84.654 | 90.9829 | 175.637
2025 | 29.4684 | 31.6715 | 61.14 | 2025 | 86.3471 | 92.8026 | 179.1497
2026 | 30.0578 | 32.305 | 62.3628 | 2026 | 88.0741 | 94.6586 | 182.7327
2027 | 30.659 | 32.9511 | 63.61 | 2027 | 89.8356 | 96.5518 | 186.3874
2028 | 31.2721 | 33.6101 | 64.8822 | 2028 | 91.6323 | 98.4828 | 190.1151
2029 | 31.8976 | 34.2823 | 66.1799 | 2029 | 93.4649 | 100.4525 | 193.9174
2030 | 32.5355 | 34.9679 | 67.5035 | 2030 | 95.3342 | 102.4615 | 197.7958
2031 | 33.1862 | 35.6673 | 68.8535 | 2031 | 97.2409 | 104.5108 | 201.7517
2032 | 33.85 | 36.3806 | 70.2306 | 2032 | 99.1857 | 106.601 | 205.7867
2033 | 34.527 | 37.1083 | 71.6352 | 2033 | 101.1694 | 108.733 | 209.9024
2034 | 35.2175 | 37.8504 | 73.0679 | 2034 | 103.1928 | 110.9077 | 214.1005
2035 | 35.9219 | 38.6074 | 74.5293 | 2035 | 105.2567 | 113.1258 | 218.3825
2036 | 36.6403 | 39.3796 | 76.0199 | 2036 | 107.3618 | 115.3883 | 222.7501
2037 | 37.3731 | 40.1672 | 77.5403 | 2037 | 109.509 | 117.6961 | 227.2052
2038 | 38.1206 | 40.9705 | 79.0911 | 2038 | 111.6992 | 120.05 | 231.7493
2039 | 38.883 | 41.7899 | 80.6729 | 2039 | 113.9332 | 122.451 | 236.3842
2040 | 39.6606 | 42.6257 | 82.2863 | 2040 | 116.2119 | 124.9001 | 241.1119
2041 | 40.4538 | 43.4782 | 83.9321 | 2041 | 118.5361 | 127.3981 | 245.9342
2042 | 41.2629 | 44.3478 | 85.6107 | 2042 | 120.9068 | 129.946 | 250.8528
2043 | 42.0882 | 45.2348 | 87.3229 | 2043 | 123.325 | 132.5449 | 255.8699
2044 | 42.9299 | 46.1394 | 89.0694 | 2044 | 125.7915 | 135.1958 | 260.9873
2045 | 43.7885 | 47.0622 | 90.8508 | 2045 | 128.3073 | 137.8998 | 266.207
2046 | 44.6643 | 48.0035 | 92.6678 | 2046 | 130.8734 | 140.6577 | 271.5312
2047 | 45.5576 | 48.9636 | 94.5211 | 2047 | 133.4909 | 143.4709 | 276.9618
2048 | 46.4687 | 49.9428 | 96.4116 | 2048 | 136.1607 | 146.3403 | 282.501
2049 | 47.3981 | 50.9417 | 98.3398 | 2049 | 138.8839 | 149.2671 | 288.1511
2050 | 48.3461 | 51.9605 | 100.3066 | 2050 | 141.6616 | 152.2525 | 293.9141