## Rates - Summary Table
2027
TRANSMISSION SERVICE RATES ($/MW)
Schedule | Description | 2026 Proposed | 2027 Proposed | % Variance
Schedule 1 | Sched., Sys. Cntrl. & Disp. For Point-To-Point/Monthly | 348.0978 | 242.0792 | -30.46%
Schedule 1 | Sched., Sys. Cntrl. & Disp. For Network Service/Rate Monthly | 319.0594 | 217.1533 | -31.94%
Schedule 2 | Reactive Supply & Voltage Control/Pt-to-Pt/Monthly | 162.4583 | 176.35 | 8.551%
Schedule 2 | Reactive Supply & Voltage Control/Network Services/Monthly | 148.9 | 158.1942 | 6.242%
Schedule 3 | Regulation and Frequency Respponse Service (Regulation Point to Point)/Monthly | 218.7717 | 229.1508 | 4.744%
Schedule 3 | Regulation and Frequency Respponse Service (Regulation Network)/Monthly | 218.7717 | 229.1508 | 4.744%
Schedule 3 | Regulation and Frequency Respponse Service (Load Following Point to Point)/Monthly | 905.8683 | 925.795 | 2.2%
Schedule 3 | Regulation and Frequency Respponse Service (Load Following Network)/Monthly | 905.8683 | 925.795 | 2.2%
Schedule 5 | Operating Reserve - Spinning Reserve Service (Point-to-Point)/Monthly | 179.955 | 183.8192 | 2.147%
Schedule 5 | Operating Reserve - Spinning Reserve Service (Network)/Monthly | 179.955 | 183.8192 | 2.147%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (10 min Point-to-Point)/Monthly | 528.9358 | 560.5975 | 5.986%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (10 min Network)/Monthly | 528.9358 | 560.5975 | 5.986%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (30 min Point-to-Point)/Monthly | 256.97 | 260.9908 | 1.565%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (30 min Network)/Monthly | 256.97 | 260.9908 | 1.565%
Schedule 7, 8 | OATT Point-To-Point Transmission Service/Monthly | 5211.7215 | 6268.6973 | 20.28%
Schedule 10 | OATT Network Transmission Service/Monthly Billing | 4776.9584 | 5623.2344 | 17.72%
Point-toPoint
Ancillary Generation |  | 2601.057 | 2578.7825 | -0.8564%
Transmission |  | 5211.7215 | 6268.6973 | 20.28%
Subtotal |  | 7812.7785 | 8847.4798 | 13.24%
Network
Ancillary Generation |  | 2558.4603 | 2535.7008 | -0.8896%
Transmission |  | 4776.9584 | 5623.2344 | 17.72%
Subtotal |  | 7335.4187 | 8158.9352 | 11.23%

## Rates - Table
Schedule | Description | TRANSMISSION SERVICE RATES ($/MW)
|  | 2026 Proposed | 2027 Proposed | % Variance
Schedule 1 | Sched., Sys. Cntrl. & Disp. For Point-To-Point/Yearly | 4177.1742 | 2904.9503 | -30.46%
Schedule 1 | Sched., Sys. Cntrl. & Disp. For Point-To-Point/Monthly | 348.0978 | 242.0792 | -30.46%
Schedule 1 | Sched., Sys. Cntrl. & Disp. For Point-To-Point/Weekly | 80.3303 | 55.8644 | -30.46%
Schedule 1 | Sched., Sys. Cntrl. & Disp. For Point-To-Point/On-Peak Daily | 16.0661 | 11.1729 | -30.46%
Schedule 1 | Sched., Sys. Cntrl. & Disp. For Point-To-Point/Off-Peak Daily | 11.4443 | 7.9588 | -30.46%
Schedule 1 | Sched., Sys. Cntrl. & Disp. For Point-To-Point/On-Peak Hourly | 1.0041 | 0.69831 | -30.46%
Schedule 1 | Sched., Sys. Cntrl. & Disp. For Point-To-Point/Off-Peak Hourly | 0.47685 | 0.33162 | -30.46%
Schedule 1 | Sched., Sys. Cntrl. & Disp. For Network Service/Rate Monthly | 319.0594 | 217.1533 | -31.94%
Schedule 2 | Reactive Supply & Voltage Control/Pt-to-Pt/Yearly | 1949.5 | 2116.2 | 8.551%
Schedule 2 | Reactive Supply & Voltage Control/Pt-to-Pt/Monthly | 162.4583 | 176.35 | 8.551%
Schedule 2 | Reactive Supply & Voltage Control/Pt-to-Pt/Weekly | 37.4904 | 40.6962 | 8.551%
Schedule 2 | Reactive Supply & Voltage Control/Pt-to-Pt/On Peak Daily | 7.4981 | 8.1392 | 8.551%
Schedule 2 | Reactive Supply & Voltage Control/Pt-to-Pt/Off Peak Daily | 5.3411 | 5.7978 | 8.551%
Schedule 2 | Reactive Supply & Voltage Control/Pt-to-Pt/On Peak Hourly | 0.46863 | 0.5087 | 8.551%
Schedule 2 | Reactive Supply & Voltage Control/Pt-to-Pt/Off Peak Hourly | 0.22255 | 0.24158 | 8.551%
Schedule 2 | Reactive Supply & Voltage Control/Network Services/Monthly | 148.9 | 158.1942 | 6.242%
Schedule 3 | Regulation and Frequency Respponse Service (Regulation Point to Point)/Yearly | 2625.26 | 2749.81 | 4.744%
Schedule 3 | Regulation and Frequency Respponse Service (Regulation Point to Point)/Monthly | 218.7717 | 229.1508 | 4.744%
Schedule 3 | Regulation and Frequency Respponse Service (Regulation Point to Point)/Weekly | 50.4858 | 52.881 | 4.744%
Schedule 3 | Regulation and Frequency Respponse Service (Regulation Point to Point)/Daily | 7.1925 | 7.5337 | 4.744%
Schedule 3 | Regulation and Frequency Respponse Service (Regulation Network)/Monthly | 218.7717 | 229.1508 | 4.744%
Schedule 3 | Regulation and Frequency Respponse Service (Load Following Point to Point)/Yearly | 10870.42 | 11109.54 | 2.2%
Schedule 3 | Regulation and Frequency Respponse Service (Load Following Point to Point)/Monthly | 905.8683 | 925.795 | 2.2%
Schedule 3 | Regulation and Frequency Respponse Service (Load Following Point to Point)/Weekly | 209.0465 | 213.645 | 2.2%
Schedule 3 | Regulation and Frequency Respponse Service (Load Following Point to Point)/Daily | 29.782 | 30.4371 | 2.2%
Schedule 3 | Regulation and Frequency Respponse Service (Load Following Network)/Monthly | 905.8683 | 925.795 | 2.2%
Schedule 5 | Operating Reserve - Spinning Reserve Service (Point-to-Point)/Yearly | 2159.46 | 2205.83 | 2.147%
Schedule 5 | Operating Reserve - Spinning Reserve Service (Point-to-Point)/Monthly | 179.955 | 183.8192 | 2.147%
Schedule 5 | Operating Reserve - Spinning Reserve Service (Point-to-Point)/Weekly | 41.5281 | 42.4198 | 2.147%
Schedule 5 | Operating Reserve - Spinning Reserve Service (Point-to-Point)/Daily | 5.9163 | 6.0434 | 2.147%
Schedule 5 | Operating Reserve - Spinning Reserve Service (Network)/Monthly | 179.955 | 183.8192 | 2.147%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (10 min Point-to-Point)/Yearly | 6347.23 | 6727.17 | 5.986%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (10 min Point-to-Point)/Monthly | 528.9358 | 560.5975 | 5.986%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (10 min Point-to-Point)/Weekly | 122.0621 | 129.3687 | 5.986%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (10 min Point-to-Point)/Daily | 17.3897 | 18.4306 | 5.986%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (10 min Network)/Monthly | 528.9358 | 560.5975 | 5.986%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (30 min Point-to-Point)/Yearly | 3083.64 | 3131.89 | 1.565%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (30 min Point-to-Point)/Monthly | 256.97 | 260.9908 | 1.565%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (30 min Point-to-Point)/Weekly | 59.3008 | 60.2287 | 1.565%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (30 min Point-to-Point)/Daily | 8.4483 | 8.5805 | 1.565%
Schedule 6 | Operating Reserve - Supplemental Reserve Service (30 min Network)/Monthly | 256.97 | 260.9908 | 1.565%
Schedule 7 | OATT Point-To-Point Transmission Service/Yearly | 62540.6577 | 75224.3674 | 20.28%
Schedule 7, 8 | OATT Point-To-Point Transmission Service/Monthly | 5211.7215 | 6268.6973 | 20.28%
Schedule 7, 8 | OATT Point-To-Point Transmission Service/Weekly | 1202.705 | 1446.6225 | 20.28%
Schedule 7, 8 | OATT Point-To-Point Transmission Service/On-Peak Daily | 240.541 | 289.3245 | 20.28%
Schedule 7, 8 | OATT Point-To-Point Transmission Service/Off-Peak Daily | 171.3443 | 206.0942 | 20.28%
Schedule 8 | OATT Point-To-Point Transmission Service/On-Peak Hourly | 15.0338 | 18.0828 | 20.28%
Schedule 8 | OATT Point-To-Point Transmission Service/Off-Peak Hourly | 7.1393 | 8.5873 | 20.28%
Schedule 10 | OATT Network Transmission Service/Monthly Billing | 4776.9584 | 5623.2344 | 17.72%

## Trans - Fig 5-9
FIGURE 5-9
NOVA SCOTIA POWER INC.
2027 TRANSMISSION REVENUE REQUIREMENT
(in $000s)
| (1) | (2) | (3) | (4) | (5) | (6) | (7)
| Gross Plant | Net Plant | OM&G | Depreciation | Int., Taxes & | FCR | Total
Asset Category | (Note 1) | (Note 1) | Expense | Expense | Return Exp | Deferral | Expenses
Bulk Network:
Total Equipment | 1467419.1509 | 1158946.3592 | 30242.3087 | 43539.6445 | 85326.4617 | 0 | 159108.4149
Generation Related Transmission Assets:
Step Up Transformers | 17856.5209 | 12265.025 | 287 | 607 | 986 | 0 | 1880
Radial to Generation | 65230.9673 | 44804.8897 | 1047 | 2218 | 3603 | 0 | 6868
Generator Breakers | 7527.2547 | 5170.2102 | 121 | 256 | 416 | 0 | 793
Total Gen. Related Transmission Assets | 90614.7428 | 62240.1249 | 1455 | 3081 | 5005 | 0 | 9541
Scheduling, System Control & Dispatch (Note 2) | (3): 6144.3126; (7): 6144.3126
Total Transmission Asset and Revenue Requirement | 1558033.8938 | 1221186.484 | 37841.6214 | 46620.6445 | 90331.4617 | 0 | 174793.7275
NOTE:
1. Transmission Gross and Net Plant assets include allocated share of General Property assets and other assets such as deferred charges,
materials inventory and net receivables.
2. Control Centre assets and related capital charges are included in the General Property assignment to Transmission assets.

## Trans - Fig 5-10
FIGURE 5-10
NOVA SCOTIA POWER INC.
2027 DEMAND ALLOCATION FACTORS
(in MW Demand)
| (1) | (2) | (3) | (4)
|  | Transmission |  | Billing
| Long-Term Firm | System | Allocation | Determinants
Service | Reservations | 12 CP | Factors (%) | 12 NCP
Point-to-Point (Note 1) | 330 |  | 15.6% | N/A
Network In-Province (Note 2) |  | 1785.118 | 84.4% | 1990
TOTAL MW | 330 | 1785.118 | 100%
NOTES:
1. There is currenly one Long-Term Firm Point-to-Point Transmission Reservation (TSR400)
2. The 1635 MW is the average of the 12 monthly Coincident System Peaks averaged for 2019 - 2020
from PI monthly peak data. The 1,797 MW is based on a review of 2023
system load data resulting in a coincidence factor of 91% which is then applied to the average of the
12 monthly Coincident System Peaks.

## Trans - Fig 5-11
FIGURE 5-11
NOVA SCOTIA POWER INC.
2027 TRANSMISSION REVENUE REQUIREMENT ALLOCATION
UNIT COSTS
| (1) | (2) | (3) | (4)
| Total Cost By | Total Usage By
| Service | Service | Annual | Monthly
| (in $000s) | (in MW) | $/MW-year | $/MW-month
Bulk Transmission Services
Point-to-Point Service | 24824.0412 | 330 | 75224.3674 | 6268.6973
Network Service | 134284.3737 | 1785.118 | 75224.3674 | 6268.6973
Total Transmission | 159108.4149 | 2115.118 | 75224.3674 | 6268.6973
Scheduling, System Control & Dispatch
Point-to-Point Service | 958.6336 | 330 | 2904.9503 | 242.0792
Network Service | 5185.6791 | 1785.118 | 2904.9503 | 242.0792
Total Scheduling, System Control & Dispatch | 6144.3126 | 2115.118 | 2904.9503 | 242.0792
Grand Total | 165252.7275
NOTES:
1. Point-to-Point and Network Transmission Service costs are Bulk Network Costs from Figure 5-9 and allocated using
the allocation factors from Figure 5-10.
2. Scheduling, System Control & Dispatch Service costs, from Figure 5-9, are allocated using the allocation
factors from Figure 5-10.

## Trans - Fig 5-12
FIGURE 5-12
NOVA SCOTIA POWER INC.
RATE CALCULATION
2027 POINT-TO-POINT TRANSMISSION SERVICE
| (1) | (2) | (3) | (4)
Service Category | Total Cost By | Total Usage By
| Service | Service | Annual | Monthly
| (in $000s) | (in MW) | $/MW-year | $/MW-month
Point-to-Point Service | 24824.0412 | 330 | 75224.3674 | 6268.6973
RATES
|  |  | $/MW-year | $/MW-month
Yearly |  | Monthly Cost * 1000 | 75224.3674 | 6268.6973
Monthly | ($/MW-m) | Yearly/12 |  | 6268.6973
Weekly | ($/MW-w) | Yearly/52 |  | 1446.6225
On-Peak Daily | ($/MW-d) | Weekly/5 |  | 289.3245
Off-peak Daily | ($/MW-d) | Yearly/365 |  | 206.0942
On-Peak Hourly | ($/MW-h) | Daily/16 |  | 18.0828
Off-Peak Hourly | ($/MW-h) | Yearly/8760 |  | 8.5873
NOTES:
1. Yearly Service is available only as firm service.
2. Hourly Service is available only as non-firm service.
3. Other Services are available as firm or non-firm services.

## Trans - Fig 5-13
FIGURE 5-13
NOVA SCOTIA POWER INC.
RATE CALCULATION
2027 NETWORK TRANSMISSION SERVICE
| (1) | (2) | (3) | (4)
Service Category | Annual | Monthly |  | Monthly
| Cost of | Cost of |  | ($MW-month)
| Service | Service | Coincidence | Billing
| ($MW-year) | ($MW-month) | Factor (1) | Rate
Network Service | 75224.3674 | 6268.6973 | 89.7% | 5623.2344
NOTE:
This approach facilitates the use of non-coincident peaks for billing purposes consistent with EMGC
Recommendation 28.
Notes
(1) The Coincident Factor is the ratio between the monthly system peaks and the average of the monthly class NCP peaks from the Cost Of Service Study ( COS).

## Anc Serv - Fig 5-14
FIGURE 5-14
NOVA SCOTIA POWER INC.
ANCILLIARY SERVICE RATE CALCULATION
2027 SCHEDULING, SYSTEM CONTROL AND DISPATCH
|  |  | (1) | (2) | (3) | (4)
Service |  |  | Total Cost of | Total
|  |  | Service | Usage | Yearly Cost | Monthly Cost
|  |  | (in $000s) | (in MW) | $/MW-year | $/MW-month
Scheduling, System Control & Dispatch |  |  | 958.6336 | 330 | 2904.9503 | 242.0792
Rate for Services Billed Monthly
Sched., Sys. Cntrl. & Disp. for Point-to-Point |  |  |  | Services | $/MW-year | $/MW-month
Yearly |  |  |  | Monthly Cost | 2904.9503 | 242.0792
Monthly |  |  | ($/MW-m) | Yearly/12 |  | 242.0792
Weekly |  |  | ($/MW-w) | Yearly/52 |  | 55.8644
On-Peak Daily |  |  | ($/MW-d) | Weekly/5 |  | 11.1729
Off-peak Daily |  |  | ($/MW-d) | Yearly/365 |  | 7.9588
On-Peak Hourly |  |  | ($/MW-h) | Daily/16 |  | 0.69831
Off-Peak Hourly |  |  | ($/MW-h) | Yearly/8760 |  | 0.33162
Cost of Service
| Total Cost of | Total |  |  |  | Rate
| Service | Usage |  |  | Coincidence | Monthly
| (in $000s) | (in MW) | ($MW-year) | ($MW-month) | Factor | ($MW-month)
Sched., Sys. Cntrl. & Disp. for Network Service | 5185.6791 | 1785.118 | 2904.9503 | 242.0792 | 89.7% | 217.1533
NOTE:
This approach facilitates the use of non-coincident peaks for billing purposes consistent with EMGC
Recommendation 28.

## Anc Serv - Fig 6-7
FIGURE 6-7
NOVA SCOTIA POWER INC.
2027 CAPACITY BASED ANCILLARY SERVICES
NOVA SCOTIA USAGE
| (1) | (2) | (3) | (4) | (5)
Network Service Billing Determinants
Loads that
| Usage by |  |  | Purchase
| Point-to- |  | Loads that | From Third | Net Usage
| Point | Total | Self Supply | Party | in Tariff
| MW | MW | MW | MW | MW
Regulation and Frequency Response
Regulation | 0 | 1990 |  |  | 1990
Load Following | 0 | 1990 |  |  | 1990
Operating Reserves (Contingency Reserves)
Spinning (10 Minute) | 0 | 1990 |  |  | 1990
Supplemental (10 Minute) | 0 | 1990 |  |  | 1990
Supplemental (30 Minute) | 0 | 1990 |  |  | 1990
NOTES:
1. The Network Billing Determinants (based on 12 NCP) are as per Figure 5-10.
2. These services apply only to Network Service loads or to point-to-point services within Nova Scotia. They do not
apply to point-to-point service used for exports, because for exports, those services would be the responsibility
of the customer receiving the supply. That customer would purchase these ancillary services from the transmission
provider in the operating area where the load is located.

## Anc Serv - Fig 6-8
FIGURE 6-8
NOVA SCOTIA POWER INC.
CAPACITY BASED ANCILLARY SERVICES
2027 REVENUE REQUIREMENT AND RATE DESIGN
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9)
| Revenue | Services | Revenue |  | Rate for | Rate for | Rate for | Rate for | Rate for
| Requirement | Required | Requirement | Usage | Network | Network | Pt.-to-Pt. | Pt.-to-Pt. | Pt.-to-Pt.
| ($/kW-yr) | (MW) | ($000/yr) | (MW) | ($/MW-yr) | ($/MW-mo) | ($/MW-mo) | ($/MW-wk) | ($/MW-dy)
Regulation and Frequency Response
Regulation | 171.0037 | 32 | 5472.1174 | 1990 | 2749.81 | 229.1508 | 229.1508 | 52.881 | 7.5337
Load Following | 180.3261 | 122.6 | 22107.9796 | 1990 | 11109.54 | 925.795 | 925.795 | 213.645 | 30.4371
Operating Reserves (Contingency Reserves)
Spinning (10 Minute) | 137.1748 | 32 | 4389.5922 | 1990 | 2205.83 | 183.8192 | 183.8192 | 42.4198 | 6.0434
Supplemental (10 Minute) | 132.5452 | 101 | 13387.0663 | 1990 | 6727.17 | 560.5975 | 560.5975 | 129.3687 | 18.4306
Supplemental (30 Minute) | 124.6494 | 50 | 6232.4707 | 1990 | 3131.89 | 260.9908 | 260.9908 | 60.2287 | 8.5805
NOTES:
1. Revenue Requirement is from OATT Allocation attachments

## Anc Serv - Fig 6-9
FIGURE 6-9
NOVA SCOTIA POWER INC.
REACTIVE SUPPLY AND VOLTAGE CONTROL
2027 CALCULATION OF REVENUE REQUIREMENT
| (1) | (3) | (4) | (5) | (6)
Total Fixed
| Capacity |  |  |  | Costs
Ancillary Service Proxy Source | (MVAR) |  |  |  | ($000/yr)
Reactive Supply and Voltage Control
Static Var Compensators | 1252.9002 |  |  |  | 3890.9612
Revenue Requirement per VAR of capability |  |  | $/kVAR/yr |  | 3.1056
Estimated peak VAR requirement |  |  | MVAR | 228.3
Additional VAR requirement for dynamic system security |  |  | MVAR | 228.3
Total VAR requirement |  |  | MVAR | 456.6 | 456.6
Revenue requirement total |  |  | $000/yr |  | 1418.0003
NOTES:
1. Discount Rate | 5.67%
2. Ecalation Rate | 2%
3. The Escalating Capital charge includes Income Tax.
4. Total capability of generation currently on the system is | 1252.9002 | MVAR
5. The requirement divided by the capability is | 456.6 | MVAR divided by | 1252.9002 | MVAR = | 36.44%

## Anc Serv - Fig 6-10
FIGURE 6-10
NOVA SCOTIA POWER INC.
2027 REACTIVE SUPPLY AND VOLTAGE CONTROL
RATE DESIGN
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9)
| Revenue | Billing |  |  |  | On-Peak | Off-Peak | On-Peak | Off-Peak
| Requirement | Determinants | Yearly | Monthly | Weekly | Daily | Daily | Hourly | Hourly
| ($000/yr) | (MW) | ($/MW-yr) | ($/MW-mo) | ($/MW-wk) | ($/MW-dy) | ($/MW-dy) | ($/MW-hr) | ($/MW-hr)
Reactive Supply and Voltage Control
Total | (1): 4476.0227
Less: Credits | (1): 0
Net | (1): 4476.0227
Point-to-Point | 698.3476 | 330 | 2116.2 | 176.35 | 40.6962 | 8.1392 | 5.7978 | 0.5087 | 0.24158
Network Services | (1): 3777.6751; (2): 1990; (3): 1898.33; (4): 158.1942
| 4476.0227 | 2320
NOTES:
1. Point-to-Point and Network Services Reactive Supply and Voltage Control Revenue Requirements are segregated as per Figure 5-10, Col. 3.

## FCR Deferral
FCR Deferral
2027 FCR Deferral | 0
Average of Gross Fixed Assets
NPV - Steam | 802.5522
NPV - Hydro | 713.9256
NPV - Wind | 153.6681
NPV - Gas Turbine | 173.2728
GPV - LM 6000 | 96.1858
GPV - Transmission | 1232.4434
Total | 3172.0479
Transmission Allocator | 38.85%
FCR Deferral applicable to OATT | 0

## Revenue Req
2027 OATT DEVELOPMENT SCHEDULE | [6 empty] | MONTHLY SYSTEM PEAKS
NOVA SCOTIA POWER INC. | [7 empty] | 2003 | 2003 |  | 2003 |  | 2004 | 2006 | 2007 | 2009 | 2013 | 2014 | 2019 | 2020 | 2027 Test Year | (4)
2027 TRANSMISSION SYSTEM REVENUE REQUIREMENT | [8 empty] | Non- |  | Non- Coin. | [9 empty] | Average | CLASS NON-
[8 empty] | Coincident | Coincident |  | Demand |  | Coincident | Coincident | Coincident | Coincident | Coincident | Coincident | Coincident | Coincident | Coincident | COINCIDENT
[6 empty] | Based on | MONTH | Peak (kW) | Demand (kW) |  | + Losses (kW) |  | Peak (kW) | Peak (kW) | Peak (kW) | Peak (kW) | Peak (kW) | Peak (kW) | Peak (kW) | Peak (kW) | Peak (kW) | DMD. (KW)
|  | Based on | Based on | Based on | Based on | Re-classification of
| Original | Re-classification of | Re-classification of | Re-classification of | Re-classification of | Step-Up Trnfrs, Radial to | January | 1948150 | 2096434 |  | 2347749 |  | 2077800 | 2185900 | 2256300 | 2260975 | 2096775.8789 | 2071067.941 | 2081070.0684 | 2070666.9922 | 2424228.1915 | 2819366.71
| Classification | Step-Up Transformers | Substation Breakers | Radial to Load | Radial to Generation | Gen. & Gen. Breakers | February | 1898469 | 2149916 |  | 2385897 |  | 2015600 | 2130900 | 2168700 | 2228254 | 2109394.2871 | 2093337.3874 | 2178341.7969 | 1986842.5293 | 2364746.2534 | 2589201.377
[7 empty] | March | 1797913 | 2007633 |  | 2203390 |  | 1953500 | 2002700 | 2029500 | 2116274 | 1870832.2754 | 1816824.0933 | 2081256.1035 | 1900343.2617 | 2084552.4038 | 2306281.9167
[7 empty] | April | 1673321 | 1880568 |  | 2037465 |  | 1729500 | 1799000 | 1840900 | 1876549 | 1704487.793 | 1599228.5755 | 1720834.9609 | 1494047.2412 | 1754517.6008 | 2005763.2504
Transmission Revenue Requirement: | [6 empty] | May | 1669467 | 1812900 |  | 1970045 |  | 1597700 | 1910700 | 1664300 | 1723228 | 1459601.4404 | 1461033.3475 | 1490407.2266 | 1464354.126 | 1487264.0596 | 1745504.0545
[7 empty] | June | 1465392 | 1853908 |  | 2004327 |  | 1503100 | 1549800 | 1559200 | 1677208 | 1343285.7666 | 1419523.4855 | 1235583.7402 | 1264254.2725 | 1372407.9826 | 1466419.6287
O&M Expenses | 30242.0238 | 29955.332 | 30121.1715 | 30242.0238 | 29194.721 | 28787.1768 | July | 1448934 | 1695163 |  | 1826468 |  | 1535100 | 1569100 | 1586400 | 1644035 | 1415573.9746 | 1375413.0436 | 1257195.9229 | 1486012.6953 | 1428976.5289 | 1575131.8064
Depreciation | 43539.6445 | 42932.4942 | 43283.7058 | 43539.6445 | 41321.6873 | 40458.5983 | August | 1464221 | 1767181 |  | 1901496 |  | 1564000 | 1602000 | 1609300 | 1648902 | 1379348.2666 | 1457650.4955 | 1288219.7266 | 1428756.3477 | 1444095.1549 | 1545353.7222
Interest, Taxes & Return | 85326.4617 | 84340.1918 | 84910.7085 | 85326.4617 | 81723.5571 | 80321.5341 | September | 1488409 | 1907652 |  | 2063595 |  | 1514900 | 1578700 | 1589900 | 1600840 | 1350969.4824 | 1464993.6122 | 1214255.7373 | 1386187.1338 | 1374964.587 | 1508477.7158
FCR | 0 | 0 | 0 | 0 | 0 | 0 | October | 1602647 | 1898900 |  | 2069360 |  | 1668900 | 1715800 | 1720200 | 1722514 | 1561851.5625 | 1485322.6958 | 1382248.9014 | 1579004.5166 | 1543728.488 | 1703118.1013
[7 empty] | November | 1806068 | 2047936 |  | 2283323 |  | 1926700 | 1914700 | 1925100 | 1914656 | 1629986.084 | 1695950.5879 | 1779616.5771 | 1660219.7266 | 1931880.1982 | 2226273.5625
SUB-TOTAL | 159108.13 | 157228.018 | 158315.5858 | 159108.13 | 152239.9654 | 149567.3092 | December | 2013671 | 2095759 |  | 2373572 |  | 2100600 | 2175700 | 2195000 | 2205595 | 2000000 | 2000027.7028 | 1900571.7773 | 1910103.0273 | 2210054.7636 | 2389381.1723
Scheduling, System Control & Dispatch | 6144.3126 | 6144.3126 | 6144.3126 | 6144.3126 | 6144.3126 | 6144.3126 | Total | 20276662 | 23213950 |  | 25466687 |  | 21187400 | 22135000 | 22144800 | 22619030 | 19922106.8115 | 19940372.9679 | 19609602.5391 | 19630791.8701 | 21421416.2124 | 23880273.0179
TOTAL EXPENSES | 165252.4427 | 163372.3307 | 164459.8985 | 165252.4427 | 158384.2781 | 155711.6219 | Average Monthly | 1689721.8333 | 1934495.8333 | 87.3% | 2122223.9167 | 79.6% | 1765616.6667 | 1844583.3333 | 1845400 | 1884919.1667 | 1660175.5676 | 1661697.7473 | 1634133.5449 | 1635899.3225 | 1785118.0177 | 1990022.7515
Determination of Trans. O&M Expenses: (in $000)
Direct Expenses: |  |  |  |  | 3602.9046
Customer Operations - Control Centre | 3619.3126
Sub-Total | 3619.3126
Customer Operations - Other Transmission | 17813.0238
TOTAL | 21432.3365 | 0.16887
Assignment of Corp. O/H & Pension Costs
Transmission Share of Corp. O/H Exp. | 14954.2849
TOTAL Overhead Expenses | 14954.2849
Scheduling,System Control & Dispatch (including Corp. O/H expenses) | 6144.3126
Other Transmission (including Corp. O/H expenses) | 30242.0238
Total Transmission Expenses | 36386.3365

## Total Assets
Nova Scotia Power Inc.
2027 Transmission Tariff WACC Rate
Millions of dollars
| End of year | End of year
| 2026 | 2027 |  | AVERAGE
Deferred Charges & Credits:
Deferred Charges & Credits
Financing Charges | 21.0991 | 19.9929 |  | 20.546
Pension Charges | 170.2854 | 197.7854 |  | 184.0354
FAM Deferral | 1.2074 | -1.5181 |  | -0.15534
Storm Rider Deferral | 0 | -0.0021814 |  | -0.0010907
Rate Stabilization (RS) Deferral | 0 | 0 |  | 0
DSM Rider Deferral | 0.79518 | 0.096958 |  | 0.44607
DSM Deferral | 0 | 7.627e-07 |  | 3.8135e-07
Other General Charges | 24.8967 | 16.8786 |  | 20.8876
Retired Assets (Roseway, Annapolis, and SmartGrid) | 0 | 27.1004 |  | 13.5502
Deferred Decarbonization Asset | 0 | 0 |  | 0
Cost of Removal Liability | -2.3818 | -18.3412 |  | -10.3615
Asset Retirement Obligation | -149.7086 | -157.6011 |  | -153.6549
Deferred Income Taxes | 23.9249 | 22.8263 |  | 23.3756
Other Deferred Credits | -30.1275 | -31.7534 |  | -30.9405
0
Long term receivable | 95.3311 | 99.523 |  | 97.4271
Allowance for materials and supplies | 301.9708 | 286.9934 |  | 294.4821
Allowance for working capital | 137.55 | 114.6901 |  | 126.12
Total Assigned to Fixed Assets | 594.8426 | 576.6711 |  | 585.7568
% Allocated To Transmission |  |  |  | 22.38%
Additional Deferred Chgs. & W/C assigned to Trans. |  |  |  | 131.0816
| End of year | End of year
| 2026 | 2027 |  | AVERAGE
Fixed Assets
GPV - Transmission Plant - TLand | 14.5734 | 14.5643 |  | 14.5689
GPV - Steam Production | 2079.5867 | 2150.7444 |  | 2115.1656
GPV - Hydro | 873.9425 | 894.3099 |  | 884.1262
GPV - Wind | 325.8688 | 327.0533 |  | 326.4611
GPV - Gas Turbine | 212.7728 | 226.0037 |  | 219.3883
GPV - Solar/Smart Grid | 1.5791 | 1.5791 |  | 1.5791
GPV - LM 6000 | 105.8304 | 115.5485 |  | 110.6894
GPV Transmission | 1712.156 | 1799.9152 | -198.0017 | 1558.0339
GPV Distribution | 2491.66 | 2650.5374 | 198.0017 | 2769.1004
GPV General Property | 987.0032 | 1043.59 |  | 1015.2966
Total GPV of Fixed Assets | 8790.3995 | 9209.2814 |  | 8999.8404
% Transmission to Total Assets |  |  |  | 19.51%
Additional Deferred Chgs. & W/C assigned to Trans. |  |  |  | 114.2995
NPV - Steam Production | 772.3205 | 832.7839 |  | 802.5522
NPV - Hydro | 696.2581 | 731.5932 |  | 713.9256
NPV - Wind | 158.5102 | 148.8261 |  | 153.6681
NPV - Solar | 1.2546 | 1.1932 |  | 1.2239
NPV - Gas Turbine | 168.8715 | 177.6741 |  | 173.2728
NPV - LM 6000 | 92.8021 | 99.5695 |  | 96.1858
NPV Transmission | 1197.0847 | 1267.8021 | -187.9061 | 1044.5373
NPV Distribution | 1430.9827 | 1557.8019 | 187.9061 | 1682.2983
NPV General Property | 470.022 | 468.353 |  | 469.1875
Total NPV of Fixed Assets | 4988.1063 | 5285.5968 |  | 5136.8515
% Transmission to Total Assets | 26.5% | 26.32% |  | 22.38%

## Trans. Plt Analysis
2027 GRA OATT DEVELOPMENT SCHEDULE
December 31, 2027 Fixed Asset Balance
Annual
Depreciation
Composite Transmission Depreciation Rate |  | 3.23%
Composite General Property Depreciation Rate |  | 6.7%
| (in $000) | (in $000)
Depreciated Plant:
Average Transmission | 1044537.323
Average share of General Property | 104995.525
Average share of Deferred Charges & Working Cap. | 131081.6006
Total assigned Depreciated Plant | 1280614.4486
Transmission Depreciable Gross Plant | 1572602.7772
Transmission Land Value | -14568.8834
Total Transmission Plant | 1558033.8938
share of General Property | 198116.0747
Sub-Total | 1756149.9684 |  | 1779834.6797
share of Deferred Charges & Working Capital | 114299.4541
1870449.4225
Percent Un-depreciated | 65%
Step-up Transformers:
1979 Transfer - Original Plant Value | 6216
1997 Transfer - Original Plant Value | 8658
Sub-Total | 14874
Share of General Property | 1891.3443
Total | 16765.3443
share of Deferred Charges & Working Capital | 1091.1766
Total Gross Assets including Deferred Chgs & W/C | 17856.5209
Depreciated Plant Value | 10897.4738 | 607.1503
share of Deferred Charges & Working Capital | 1367.5512
Total including Deferred Chgs & W/C | 12265.025
Radial to Generation:
Original Plant Value - 69kV Lines | 44385.6355
Original Plant Value - 230kV Lines | 7070
Original Plant Value - 230kV Substation | 2880
Sub-Total | 54335.6355
Share of General Property | 6909.1968
Total | 61244.8323
share of Deferred Charges & Working Capital | 3986.135
Total Gross Assets including Deferred Chgs & W/C | 65230.9673
Depreciated Plant Value | 39809.141 | 2217.9572
share of Deferred Charges & Working Capital | 4995.7487
Total including Deferred Chgs & W/C | 44804.8897
Radial to Load:
Original Plant Value - 69kV Lines | 0
Sub-Total | 0
Share of General Property | 0
Total | 0
share of Deferred Charges & Working Capital | 0
Total Gross Assets including Deferred Chgs & W/C | 0
Depreciated Plant Value | 0 | 0
share of Deferred Charges & Working Capital | 0
Total including Deferred Chgs & W/C | 0
Breakers:
Original Plant Value - 138 kV | 1670
Original Plant Value - 230 kV | 2760
Original Plant Value - 345 kV | 1840
Sub-Total | 6270
Share of General Property | 797.2791
Total | 7067.2791
share of Deferred Charges & Working Capital | 459.9756
Total Gross Assets including Deferred Chgs & W/C | 7527.2547
Depreciated Plant Value | 4593.7314 | 255.9387
share of Deferred Charges & Working Capital | 576.4788
Total including Deferred Chgs & W/C | 5170.2102
SUB-TOTAL | 55300.3462 | 3081.0462
share of Deferred Charges & Working Capital | 6939.7787
Total including Deferred Chgs & W/C | 62240.1249
Total Net Transmission Plant ($M) | 1149532.848
% Step-up Transformers to Total | 0.948%
% Radial to Generation | 3.463%
% Radial to Load | 0%
% Generator Breakers | 0.3996%

## Trans Voltage Level
NOVA SCOTIA POWER INC.
ANALYSIS OF TRANSMISSION PLANT
| 69 kV Voltage |  |  | 138 kV Voltage |  | 230 kV Voltage |  |  | 345 kV Voltage
| Radial to Load | Radial to Gen. | Balance | Breakers | Balance | Radial to Gen. | Breakers | Balance | Breakers | Balance | TOTAL
| (in $M) | (in $M) | (in $M) | (in $M) | (in $M) | (in $M) | (in $M) | (in $M) | (in $M) | (in $M) | (in $M)
Transmission Associated with Lingan #1 & #2
STATIONS:
Lingan Terminals #1 | [6 empty] | 0.3 | 1.48 |  |  | 1.78
Lingan Terminals #2 | [6 empty] | 1.1 | 5.39 |  |  | 6.49
VJ Terminal |  |  |  |  | 0.14 | [5 empty] | 0.14
Port Hastings Substation | [7 empty] | 5.91 |  |  | 5.91
Onslow Substation | [7 empty] | 10.26 |  |  | 10.26
Brushy Hill Site | [7 empty] | 0.07 |  |  | 0.07
Brushy Hill Substation | [7 empty] | 5.67 |  |  | 5.67
Brushy Hill Bus | [7 empty] | 0.62 |  |  | 0.62
LINES:
Lingan - Victoria Junction |  |  |  |  | 0.97 |  |  | 2.22 |  |  | 3.19
Upgrade 230 kV Lingan to Port Hastings | [7 empty] | 0.22 |  |  | 0.22
ROW Lingan - Victoria Junction |  |  |  |  | 0.66 | [5 empty] | 0.66
Onslow - Port Hastings | [7 empty] | 4.64 |  |  | 4.64
ROW Trenton - Port Hastings | [7 empty] | 0.89 |  |  | 0.89
Upgrade 230 kV Onslow to Brushy Hill | [7 empty] | 1.31 |  |  | 1.31
Onslow - Brushy Hill | [7 empty] | 6.8 |  |  | 6.8
ROW Onslow - Brushy Hill | [7 empty] | 0.62 |  |  | 0.62
49.27
Transmission associated with Wreck Cove
Wreck Cove - Glen Tosh Terminal Equip.
ROW Wreck Cove - Glen Tosh
138 kV Wreck Cove - Glen Tosh |  |  |  |  | 5.5 | [5 empty] | 5.5
Transmission associated with Lingan #3 & #4
STATIONS:
Lingan 230 kV Substation | [6 empty] | 0.9 | 4.37 |  |  | 5.27
Port Hastings 230 kV Substation | [7 empty] | 2.01 |  |  | 2.01
Onslow 230 kV Substation | [7 empty] | 2.63 |  |  | 2.63
Brushy Hill 230 kV Substation | [7 empty] | 4.72 |  |  | 4.72
LINES:
ROW Onslow - Port Hastings | [7 empty] | 1.72 |  |  | 1.72
ROW Clearing Lingan - Port Hastings | [7 empty] | 1.08 |  |  | 1.08
ROW Clearing Port Hastings - Onslow | [7 empty] | 1.39 |  |  | 1.39
ROW Clearing Onslow - Brushy Hill | [7 empty] | 0.59 |  |  | 0.59
Lingan - Port Hastings | [7 empty] | 8.53 |  |  | 8.53
Port Hastings - Onslow | [7 empty] | 9.34 |  |  | 9.34
Strait of Canso Crossing | [7 empty] | 5.31 |  |  | 5.31
Onslow - Brushy Hill | [7 empty] | 7.33 |  |  | 7.33
49.92
Transmission associated with Brushy Hill - Bridgewater
STATIONS:
Bridgewater Substation |  |  |  |  | 4.35 |  |  | 1.45 |  |  | 5.8
Brushy Hill Terminal | [7 empty] | 0.6 |  |  | 0.6
Bridgewater Terminal | [7 empty] | 3.7 |  |  | 3.7
Telecommunications | [7 empty] | 1.8 |  |  | 1.8
LINES:
ROW Brushy Hill - Bridgewater | [7 empty] | 1.5 |  |  | 1.5
Clearing Brushy Hill - Bridgewater | [7 empty] | 0.8 |  |  | 0.8
Brushy Hill - Bridgewater | [7 empty] | 5 |  |  | 5
Upgrade Brushy Hill - Bridgewater | [7 empty] | 1.6 |  |  | 1.6
20.8
Transmission associated with Trenton #6
STATIONS:
Lakeside Transformer | [9 empty] | 6.39 | 6.39
Hopewell Substation | [9 empty] | 8.09 | 8.09
Onslow Substation | [9 empty] | 12.34 | 12.34
Trenton Substation |  |  |  |  | 2.15 | [5 empty] | 2.15
Lakeside Substation | [9 empty] | 0.66 | 0.66
Telecommunications | [9 empty] | 2 | 2
Land | [9 empty] | 1 | 1
LINES:
Lakeside - Onslow | [9 empty] | 21.38 | 21.38
Onslow - Hopewell | [9 empty] | 10.99 | 10.99
Hopewell - Trenton |  |  |  |  | 5.58 | [5 empty] | 5.58
70.58
Transmission associated with Pt. Aconi
STATIONS:
Woodbine 230/345 kV Substation | [6 empty] | 0.46 | 2.24 | 1.84 | 8.97 | 13.51
Telecommunications | [9 empty] | 2.44 | 2.44
Hopewell 345 kV Terminal | [9 empty] | 2.39 | 2.39
Pt. Aconi 230 kV Substation | [5 empty] | 2.26 |  |  |  |  | 2.26
Springhill Capacitor Bank |  |  |  |  | 1.04 | [5 empty] | 1.04
Pt. Aconi Construction | [5 empty] | 0.62 |  |  |  |  | 0.62
Sysco 230 kV Breaker | [7 empty] | 0.99 |  |  | 0.99
Lingan Modifications | [7 empty] | 0.52 |  |  | 0.52
LINES:
ROW Woodbine - Pt. Aconi | [7 empty] | 1.91 |  |  | 1.91
ROW Woodbine - Port Hastings | [9 empty] | 2.09 | 2.09
Woodbine - Hopewell | [9 empty] | 40.2 | 40.2
Pt. Aconi - Woodbine | [5 empty] | 7.07 |  |  |  |  | 7.07
Woodbine - Sysco | [7 empty] | 3.21 |  |  | 3.21
ROW Woodbine - Victoria Junction | [7 empty] | 0.37 |  |  | 0.37
78.62
NS - NB Intertie
ROW Onslow - NB Border | [9 empty] | 0.27 | 0.27
Onslow - NB Border | [9 empty] | 7.49 | 7.49
138 kV Terminal |  |  |  |  | 0.22 | [5 empty] | 0.22
345 kV Terminal | [9 empty] | 0.43 | 0.43
345 kV / 230 kV Transformers | [9 empty] | 1.75 | 1.75
10.16
Additional Stations - Generation
138kV Substation - Pt. Tupper |  |  |  | 0.26 | 1.26 | [5 empty] | 1.52
138kv Substation - Tufts Cove |  |  |  | 0.75 | 3.64 | [5 empty] | 4.39
138kV Substation - Trenton |  |  |  | 0.66 | 3.21 | [5 empty] | 3.87
TOTAL |  |  |  | 1.67 | 28.72 | 9.95 | 2.76 | 120.81 | 1.84 | 128.88 | 294.63
PERCENT OF TOTAL |  |  |  | 0.5668% | 9.748% | 3.377% | 0.9368% | 41% | 0.6245% | 43.74% | 100%
Modification from Original Calculation:
50 / 50 split of bal. In Trans. Plant (Note 1) |  |  | 631.7 |  | 631.7 | [5 empty] | 1263.4
69kV Radials to Load/Gen./Balance | 0 | 44.3856 | -44.3856
Revised Trans. Plant from above | 0 | 0 | 0 | 1.67 | 28.72 | 9.95 | 2.76 | 120.81 | 1.84 | 128.88 | 294.63
TOTAL | 0 | 44.3856 | 587.3144 | 1.67 | 660.42 | 9.95 | 2.76 | 120.81 | 1.84 | 128.88 | 1558.03
PERCENT OF TOTAL | 0% | 2.849% | 37.7% | 0.1072% | 42.39% | 0.6386% | 0.1771% | 7.754% | 0.1181% | 8.272% | 100%
Below 69kV Percentage of Total |  |  | 40.54%
138kV & Above Percentage of Total |  |  | 59.46%
Note 1: 69kV vs 138kV split was based on kilometres of line ( 1666 km - 69kV & 1786 km - 138 kV)

## 69kV Radial to Load
NOVA SCOTIA POWER INC.
69KV RADIAL LINES
L5004 | Sackville | Rockingham | 10.4
L5039 | Lakeside | Spryfield | 8.31
L5014 | St Croix | Burlington | 10.6
L5021 | Canaan | Klondike | 7.1
L5023 | Waterville Tap | Waterville | 1.1
L5024 | Tremont | Kingston | 4.7
L5028 | Onslow | Stewiacke | 10.3 | -- 18.4 km included due to serving Industrial Load
L5030 | Black River Rd | Aberdeen | 0 | -- 2.9 km included due to connecting to Wind Generation
L5031 | Mill Lake | Robinson Cor | 19.8
L5033 | Canaan | Hillaton | 12.1
L5036 | BerwickTp | berwick | 1.95
L5037 | EastRiver | Canexel | 0 | -- 3.68 km included due to serving Industrial Load
L5040 | Onslow | Tatamagouche | 0 | -- 42.8 km included due to connecting to Wind Generation
L5042 | Farell | Albro | 2
L5044 | MiddletonTp | Middleton | 3.9
L5046 | Wolf Tap | WolfvilleRidge | 2.4
L5047 | Tap | Bridgetown | 3.1
L5048 | EGreenH | Lockport | 5.5
L5054 | Weymouth | Saulnierville | 0 | -- 23.30 km included due to connecting to Wind Generation
L5057 | Tap | Cornwallis | 2.1
L5058 | Springhill | Pugwash | 0 | -- 39 km included due to serving Industrial Load
L5502 | Trenton | Abercrombie | 6
L5503 | Hastings | Cleveland | 0 | --12.7 km included due to connecting to Wind Generation
L5505 | Whycocomagh | Aberdeen | 11.1
L5506 | Abercombie | Pictou | 2.7 | --5.4 km included due to connecting to Wind Generation
L5508 | Abercombie | KimberlyClark | 0 | -- 1.50 km included due to serving Industrial Load
L5511 | Trafalgar | Up Muquodoboit | 31.7
L5521 | Onslow | WillowLn | 0 | -- 4.4 km included due to connecting to Wind Generation
L5522 | Onslow | Walker | 0 | -- Line Retired
L5527 | SalmonRiver | Canso | 57
L5533 | Gulch | Conway | 0 | --13.2 km included due to connecting to Wind Generation
L5539 | Milton | Liverpool | 8.5
L5545 | Bridgewate | HighSt | 5.2
L5547 | Westhavers | Lunenburg | 18.2
L5548 | Maccan | Brownell | 16.8
L5549 | Maccan | Hickman | 0 | -- 12.70 km included due to serving Industrial Load
L5550 | Maccan | Parsboro | 33.3
L5551 | Lunenburg | Riverport | 9.8
L5559 | Whycocomagh | SWMargaree | 0 | -- 38.78 km included due to connecting to Wind Generation
L5565 | Seaboard | AlbertBridge | 18.1
L5569 | tap | TerraceSt | 1.6
L5579 | SW Margaree | Cheticamp | 0 | -- 41.20 km included due to connecting to Wind Generation
|  | Load | 0 | 69kV Radial to Load set to zero due to inclusion in Bulk Network Services (Total km = 325.36)
|  | Gen | 117.2 | km
|  | Total | 117.2 | km
|  | Total 69kV | 1668 | km
| 69kV Radial to Load |  | 0%
| 69kV Radial to Generation |  | 7.026%
| Total |  | 7.026%
|  | Total Xmn | 83
|  | 138 and up | 53.8
|  | 69 etc | 29.2
|  | excluded | 2.0517
|  | percentage | 2.472%

## 69kV Radial to Gen
NOVA SCOTIA POWER INC.
69KV RADIAL GENERATION LINES
L5019 | Canann Rd | Hollow B | 4.7
L5020 | Hollow B | Methals | 9.2
L5035 | HellsGate | Canaan | 0 | 0.8
L5050 | Sissiboo | FourthLk | 16.3
L5540 | Milton | Deep B and Cow | 2.3
:5580 | tap | Lingan Wind | 2.3
L5581 | Gulliver's Cove | Conway | 16.6
L7015 | Pt Aconi | Woodbine | 46.3
L5056 | tap | Annapolis | 3.9
L5555 | Gannon | Aconi | 15.6
L5556 | Tap | Donkin | 0 | 11.5
Total |  |  | 117.2 | km

## WACC Calc
TABLE E1-1
Nova Scotia Power Inc.
2027 Transmission Tariff WACC Rate
Millions of dollars
1) Interest (Carrying Cost)
a) Weighted Average Cost of Capital - Pretax
|  | Proportion | Cost | Extended
| ST Debt | 4.828% | 2.731% | 0.1318%
| LT Debt | 55.17% | 3.513% | 1.938%
| Common | 40% | 9% | 3.6%
|  | 100% |  | 5.67%
| WACC - pretax cost |  |  |  | 5.67%
b) Additional income tax for common equity
| Extended equity cost |  |  | 3.6%
| Effective tax rate (excluding surtax) |  |  | 29%
| Income tax |  |  | 1.471%
| WACC - equity tax cost |  |  |  | 1.471%
c) Large Corporations Tax
| Ave. NPV - Transmission |  | 1044.5373
| Ave. NPV - assigned GP |  | 104.9955
| Ave. Deferred Chgs & W/C |  | 131.0816
| NPV - Total Transmission |  | 1280.6144
d) Grants in Lieu of Property Tax
| Total 2022 Forecasted Expense |  |  | 51.5485
| Transmission % of Total Plant |  |  | 22.38%
| Transmission Allocated Amount |  |  | 11.5356
| Percentage of NBV |  |  | 0.9008%
| WACC - Grants in Lieu of Property Tax |  |  |  | 0.9008%
Total WACC - Interest / Carrying Cost |  |  |  |  | 8.041%

## Depr Calc
Nova Scotia Power Inc.
2027 Transmission Tariff WACC Rate
Millions of dollars
2) Depreciation
a) Depreciation Expense
| Gross Transmission Assets ($M) - Y/A 2026/2027 | 1558.0339
| Less: Non depreciable land ($M) - Y/A 2026/2027 | 14.5689
| Net Gross Transmission Assets ($M) | 1572.6028
| Gross Assigned Gen. Prop. Assets ($M) -Y/A 2026/2027 | 198.1161
| Total Gross assigned Trans. Assets ($M) | 1770.7189
| Depreciation Rate - Transmission | 3.23%
| Depreciation Rate - General Property | 6.7%
| Depreciation Expense ($M) | 59.9898
| Depreciation Expense |  | 59.9898
b) Tax Effect
UCC Balance - Class 1 {4%} ($M)
CCA Deduction ($M)
Plus: Net Depreciation (above)
Net tax expense (deduction)
Tax Impact
Total tax effected
| Tax Effected (CCA Deduction vs. Depreciation Exp.) |  | 0
Total Depreciation Charge ($M) |  |  | 59.9898
NOTE:
1) Estimated UCC % of Gross Accounting Value based on estimates only.