## 2026 Standby capacity rate
STANDBY SERVICE TARIFF
Source | Category
| Demand-related Costs | Cost in thousands of $'s
2026 COSS - Exhibit 5, page 1, column 2. |  |  | 356253.7875
Less
FUEL |  |  | 0
PURCHASES - OTHER THAN BIOMASS AND WIND |  |  | 8333.7629
PURCHASES - BIOMASS |  |  | 5364.7116
MARITIME LINK |  |  | 89600.1373
PURCHASES - WIND ERIS |  |  | 15071.9481
PURCHASES - WIND NRIS |  |  | 50291.6466
IMPORTS |  |  | 0
BUTU CAPACITY CREDIT |  |  | 300.311
Subtotal |  |  | 168962.5176
2026 COSS - Exhibit 5, page 1, column 2. | Demand-related fixed gen costs net of fuel costs |  | 187291.2699
GRA 2026 DE-03 - DE-04 Appendix L Attachment 3 pages 7 and 8, Figures 3-7 and 3-8 | Less: Ancillary generation-related costs recovered under OATT
| Reactive Supply & Voltage Control | 4109.7223
| Regulation & Frequency | 5092.9988
| Load Following | 21088.6234
| Operating Reserve - Spinning (10 min) | 4189.3569
| Operating Reserve - Supplemental (10 min) | 12313.6269
| Operating Reserve - Supplemental (30 min) | 5982.2631
52776.5914
2026 COSS - Exhibit 6, page 6, column 1. | Add: Interruptible Credit Cost | 11165.2602
| Demand-related fixed Gen. Costs net of Ancillary Service Costs3 |  | 145679.9387
Capacity Usage in kW
| Transmission Loss at 69 kV |  |  | 4.22%
|  | Sum of 3 Coincident Winter Peaks | 3CP Monthly Ave
|  | At Generator's Gate |  | At 69 kV Transmission Voltage
2026 COSS - Exhibit 9A, col 10. | ( 1) DOMESTIC | 4353837.5477 | 1451279.1826 | 1392515.0476
| ( 2) SMALL GENERAL | 222263.6133 | 74087.8711 | 71087.9592
| ( 3) GENERAL | 1206116.4283 | 402038.8094 | 385759.7481
| ( 4) GENERAL LARGE | 137482.1033 | 45827.3678 | 43971.7595
| ( 5) SMALL INDUSTRIAL | 123549.9933 | 41183.3311 | 39515.7658
| ( 6) MEDIUM INDUSTRIAL | 158817.6378 | 52939.2126 | 50795.6367
| ( 7) LARGE INDUSTRIAL | 246525.0993 | 82175.0331 | 78847.6618
| ( 8) ELI 2P-RTP | 203227.1938 | 67742.3979 | 64999.4223
| ( 9) MUNICIPAL | 93930.6229 | 31310.2076 | 30042.4176
| (10) UNMETERED | 31519.5955 | 10506.5318 | 10081.109
|  | 6777269.8353 | 2259089.9451 | 2167616.5276
TYPE OF SERVICE
| FIRM | 6570262.9954 | 2190087.6651 | 2101408.2375
| INTERRUPTIBLE | 207006.8398 | 69002.2799 | 66208.2901
| TOTAL | 6777269.8353 | 2259089.9451 | 2167616.5276
Standby Demand Charge Calculation
|  | Cost | Usage | Unit Annual Cost $/kW | Monthly Rate $/kW
| Firm Service Cost | 145679.9387 | 2167616.5276 | 67.2074 | 5.6006
| Interruptible Service Credit | -11165.2602 | 66208.2901 | -168.6384 | -14.0532