## IR-38
Investment Track | Sub-Program | Scalability | Notes | Section | SAIDI Hour Per $1M (Low) | SAIDI Hour Per $1M (High) | Proposed Incremental Investment | SAIDI Reduction (Low) | SAIDI Reduction (High) | % SAIDI Reduction
Storm Hardening - Vegetation Management | Distribution Corridor Widening with Managed Rights-of-Way (ROW) | High | External Resource Capacity Available High Volume of Locations Identified Minimal Access and Permits Required | 4.1 | 0.0038356 | 0.0068493 | 182500000 | 0.7 | 1.25 | 78.12%
Storm Hardening - Vegetation Management | Establish New Rights-of-Way (ROW) |  |  | 4.3
Storm Hardening - Vegetation Management | Trimming and Removal of Trees Around Existing Power Lines |  |  | 4.4
Storm Hardening - Targeted Equipment Replacement and Upgrades | Distribution System Equipment Upgrades and Replacements | Low | Limited Resource Capacity Moderate Volume of Risks Identified Minimal Access and Permits Required | 5.1 | 0.037423 | 0.069089 | 4390000 | 0.071328 | 0.13168 | 9.084%
Storm Hardening - Targeted Equipment Replacement and Upgrades | Build-to-Roadside Program | Low | Limited Resource Capacity Moderate Volume of Risks Identified High Volume of Access and Permits Required | 5.1.1 | 0.0033379 | 0.0061622 | 12500000 | 0.041723 | 0.077027 | 4.207%
Storm Hardening - Targeted Equipment Replacement and Upgrades | Distribution System Conductor Upgrades | Medium | Limited Resource Capacity Moderate Volume of Risks Identified No Access or Permits Required | 5.1.2 | 0.018176 | 0.033556 | 407000 | 0.0073978 | 0.013657 | 0.7459%
Storm Hardening - Targeted Equipment Replacement and Upgrades | Distribution System Underground Upgrades | Low | Limited Resource Capacity Low Volume of Risks Identified No Access or Permits Required | 5.1.3 | 0.010927 | 0.020174 | 874000 | 0.0095505 | 0.017632 | 0.963%
Advanced Grid Modernization Programs | Remote Terminal Units (RTUs) | Low | Limited Resource Capacity Moderate Volume of Risks Identified No Access or Permits Required | 6.1.1 | 0.00111 | 0.0020351 | 35000000 | 0.039 | 0.071 | 5.833%
Advanced Grid Modernization Programs | Downline Connectivity | Medium | Limited Resource Capacity Moderate Volume of Risks Identified Minimal Access and Permits Required | 6.1.2 | 0.0082937 | 0.015205 | 2550000 | 0.021 | 0.039 | 1.042%
Advanced Grid Modernization Programs | Fault Location Isolation and Service Restoration (FLISR) |  |  | 6.2
[7 empty] | 238221000 | 0.89 | 1.6