## IR-44
2025 Trip Saver Installations
Feeder | Feeder Risk | Feeder Condition | Feeder Criticality | Comments
56N-414 | 20 | 4 | 5 | These locations are selected based on Regional Engineering assessments, which consider feeder protection performance, fault exposure, and system reliability in identifying priority areas for distribution protection improvements.
81S-301 | 12 | 4 | 3
6N-301 | 12 | 3 | 4
57W-401 | 25 | 5 | 5
78W-301 | 15 | 3 | 5
57S-401 | 25 | 5 | 5
85S-401 | 25 | 5 | 5
4N-313 | 16 | 4 | 4
70W-311 | 15 | 5 | 3
113H-433 | 20 | 4 | 5
80W-301 | 20 | 4 | 5
91W-411 | 25 | 5 | 5