M12686

NOVA SCOTIA ENERGY BOARD

IN THE MATTER OF:		THE PUBLIC UTILITIES ACT

- and -

IN THE MATTER OF:	NOVA SCOTIA POWER INCORPORATED’s 2025 Community Solar Program Report

INFORMATION REQUESTS

To:		Karynne Munroe

Manager, Regulatory Affairs

Nova Scotia Power Incorporated

By email: karynne.munroe@nspower.ca

From: 		Board Staff

Nova Scotia Energy Board

Responses Due: 		Monday, March 30, 2026

Copies:		1 electronic copy - PDF searchable

Contact Person:		Somesh Singh, P.Eng.

Senior Advisor, Electrical

Nova Scotia Energy Board

3rd Floor, 1601 Lower Water Street

Halifax, NS  B3J 3S3

Tel: 902 424 1332

Email: somesh.singh@novascotia.ca

Issued at Halifax, Nova Scotia, this 6th day of March 2026.

______________________________________________

Crystal Henwood, Clerk of the Board

How did residential subscribers receive the CSECR credits, and how frequently were they issued?

Partially confidential Attachment 1 to the annual report provides details about the average subscription size for residential customers. The noted average is 9.9 kW. The Board understands that residential customers can subscribe for anywhere from 10% to 100% of their electricity consumption. Pursuant to s. 24(1) of the Community Solar Program Regulations NS Power must determine “…the maximum number of kilowatts the subscriber may subscribe to as a portion of the project’s approved nameplate capacity.”

- What methodology did NS Power use to allocate the available kWs to the individual residential subscribers?

- Was there a minimum and maximum subscription size in kW for residential customers? If yes:

- Please provide the minimum and maximum subscription size in kW and explain how these values were determined.

- Please provide a breakdown of domestic CSECR credits paid, categorized by subscription size.

- How was the 131.3 kW subscription size for the non-residential subscriber determined?

- How did the non-residential subscriber receive the CSECR credits, and how frequently were they issued?

Was there any instance in which solar energy production was curtailed? If yes, please provide the total kWh curtailed and the reason for the curtailment.

Footnote 2 on Attachment 1, Page 1 of 6, notes, “The PPAs for Projects 2-4 are reported in the table above but are excluded from the data on the M11911 Directives tab, as those Projects did not achieve commercial operation in the Reporting Year.”

- What is the expected commercial operation date for these projects.

- Please confirm that NS Power received no energy and made no payments for Projects 2-4.

  - If not confirmed, please provide a breakdown of the energy received and payments made for each project and provide an update for the M11911 Directives tab that includes this data.