## 24Jan2026
Net Generation | [34 empty] | Chart Data
HOUR | SYSTEM LOAD | PA1 | LIN1 | LIN2 | LIN3 | LIN4 | TR5 | TR6 | PT2 | TUC1 | TUC2 | TUC3 | TUC4 | TUC5 | TUC6 | BS1 | BS2 | BS3 | BS4 | VJ1 | VJ2 | TK4 | IPP TOTAL | PT BIO | Small Hydro | WC1 | WC2 | Spider BESS | BW BESS | WIND TOTAL | FIRM NB PURCH | FIRM NFLD PURCH | NB/PEI Emerg Assist | NFLD Emerg Assist | SOLID FUEL | OIL / GAS | NS HYDRO | WIND | IMPORTS | BESS Discharging
1 | 1768.2762 | 136.4891 | 122.89 | 0 | 152.04 | 147.18 | 93.4884 | 115.9763 | 116.5515 | 47.2495 | 9.72 | 65.6826 | 32.8654 | 32.7671 | 18.7444 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.48865 | -0.059925 | 0 | -8.292 | 12.6905 | 55.7282 | 0 | 0 | -3.8021 | -25.06 | 395.078 | 0 | 199 | 0 | 0 | 889.0138 | 206.4559 | 68.4187 | 395.078 | 199 | 0
2 | 1833.7389 | 139.0844 | 135.16 | 0 | 152.06 | 137.63 | 94.3897 | 115.3886 | 133.5379 | 46.9337 | 12.24 | 65.6994 | 32.7927 | 30.9765 | 18.2738 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.46898 | -0.023449 | 0 | -8.3547 | 19.1495 | 54.5318 | 0 | 0 | -24.8277 | -25.0286 | 433.2701 | 0 | 199 | 0 | 0 | 918.0453 | 206.3994 | 73.6812 | 433.2701 | 199 | 0
3 | 1848.0713 | 157.0451 | 131.97 | 0 | 152.42 | 139.92 | 93.7206 | 115.9857 | 124.6154 | 46.6735 | 14.4 | 65.5284 | 31.2664 | 30.974 | 17.7855 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.50552 | -0.040254 | 0 | -8.3146 | 10.8239 | 54.4619 | 0 | 0 | -25.093 | -19.1312 | 447.9075 | 0 | 199 | 0 | 0 | 918.186 | 206.0576 | 65.2858 | 447.9075 | 199 | 0
4 | 1844.3813 | 154.3095 | 119.59 | 7.8 | 148.11 | 140.91 | 93.2402 | 116.1698 | 118.7371 | 46.7417 | 16.992 | 65.5032 | 31.6923 | 30.9814 | 17.656 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.51588 | -0.048917 | 0 | -8.3962 | 11.5955 | 55.895 | 0 | 0 | -17.7824 | -0.10604 | 462.9556 | 0 | 199 | 0 | 0 | 902.0659 | 208.9774 | 67.4904 | 462.9556 | 199 | 0
5 | 1868.7961 | 146.6329 | 112.09 | 41.88 | 150.9 | 147.42 | 92.1212 | 116.4335 | 115.874 | 46.6735 | 19.008 | 65.829 | 31.2308 | 30.9714 | 17.2974 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.51588 | -0.070347 | 0 | -8.5114 | 12.4041 | 57.5451 | 0 | 0 | 0.0046074 | 0.030639 | 456.1988 | 0 | 199 | 0 | 0 | 927.2444 | 210.3994 | 69.9492 | 456.1988 | 199 | 0.035247
6 | 1934.6543 | 136.2657 | 126.12 | 55.98 | 151.7 | 147.03 | 90.7902 | 116.424 | 127.176 | 46.5497 | 20.592 | 65.8206 | 33.0607 | 30.9738 | 17.5225 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.51562 | -0.069826 | 0 | -9.1682 | 12.9371 | 57.9887 | 0 | 0 | -0.038838 | -0.065688 | 472.2502 | 0 | 199 | 0 | 0 | 955.2548 | 213.9095 | 70.9258 | 472.2502 | 199 | 0
7 | 1988.052 | 136.2477 | 137.2 | 70.5 | 151.08 | 147.63 | 86.5295 | 140.4374 | 140.4383 | 47.77 | 22.608 | 65.925 | 37.3652 | 34.8453 | 19.1584 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.49243 | -0.023449 | 0 | -9.0327 | 14.7582 | 58.9637 | 0 | 0 | -0.0028486 | -0.015202 | 456.7211 | 0 | 199 | 0 | 0 | 1015.7883 | 227.1316 | 73.7219 | 456.7211 | 199 | 0
8 | 2065.5782 | 136.6617 | 138 | 101.03 | 151.7 | 147.23 | 97.383 | 148.0244 | 140.8228 | 69.5834 | 25.704 | 80.586 | 46.2776 | 45.3304 | 23.6773 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.49243 | -0.023449 | 0 | -9.2611 | 16.2233 | 59.9831 | 0 | 0 | -0.81876 | 0.007815 | 456.9685 | 0 | 154 | 0 | 0 | 1067.814 | 290.6184 | 76.2064 | 456.9685 | 154 | 0
9 | 2154.5425 | 136.2548 | 133.24 | 129.34 | 152.25 | 147.21 | 116.7914 | 148.361 | 125.8807 | 74.985 | 32.976 | 105.3222 | 47.9674 | 47.9772 | 42.2986 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.46051 | -0.02638 | 0 | -9.2577 | 28.7628 | 60.5388 | 0 | 0 | -1.1266 | -0.027939 | 456.8171 | 0 | 154 | 0 | 0 | 1108.833 | 351.0152 | 89.3016 | 456.8171 | 154 | 0
10 | 2197.298 | 136.6424 | 133.6 | 135.22 | 151.85 | 146.81 | 119.8452 | 149.0886 | 122.1955 | 75.2048 | 49.536 | 103.4274 | 47.9687 | 47.9685 | 45.5896 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.44553 | -0.031331 | 0 | -9.3434 | 29.3335 | 64.0165 | 0 | 0 | 0.024245 | -0.031028 | 467.2601 | 0 | 154 | 0 | 0 | 1115.2419 | 369.1937 | 93.35 | 467.2601 | 154 | 0
11 | 2197.9097 | 156.3223 | 138.25 | 137.6 | 151.23 | 146.77 | 118.5906 | 150.5466 | 142.4562 | 74.793 | 55.8 | 123.072 | 46.5484 | 46.5714 | 43.1878 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.44553 | -0.039081 | 0 | -9.2332 | 29.7199 | 69.8971 | 43.1061 | 0 | -0.033293 | 0.018401 | 480.0891 | 0 | 55 | 0 | 0 | 1162.2525 | 389.4636 | 99.6169 | 480.0891 | 55 | 0
12 | 2165.1615 | 161.4957 | 118.15 | 135.45 | 150.85 | 146.77 | 118.1469 | 151.2644 | 147.0531 | 60.9733 | 74.952 | 105.5268 | 39.3577 | 39.4618 | 17.5853 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.44169 | -0.039082 | 0 | -9.2288 | 18.3087 | 69.9033 | 2.3831 | 0 | -0.040961 | 0.012477 | 471.9438 | 0 | 154 | 0 | 0 | 1138.26 | 337.3517 | 88.212 | 471.9438 | 154 | 0
13 | 2126.4258 | 160.6549 | 137.3 | 135.45 | 150.26 | 146.17 | 119.148 | 150.6893 | 140.3849 | 53.2548 | 88.992 | 119.7792 | 37.1331 | 35.7604 | 18.3374 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.42208 | -0.031331 | 0 | -9.3868 | 16.3748 | 69.7407 | 0 | 0 | -0.034537 | 0.018722 | 467.2594 | 0 | 154 | 0 | 0 | 1147.0452 | 352.7791 | 86.1155 | 467.2594 | 154 | 0
14 | 2087.0257 | 161.7623 | 147.32 | 131.51 | 151.07 | 146.55 | 116.3114 | 150.6798 | 130.5983 | 49.3743 | 84.816 | 123.4308 | 31.9775 | 30.9788 | 14.6054 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.43511 | -0.023449 | 0 | -9.4831 | 15.4392 | 68.9102 | 0 | 0 | -0.0083128 | -0.033535 | 456.8142 | 0 | 154 | 0 | 0 | 1141.758 | 334.6998 | 84.3494 | 456.8142 | 154 | 0
15 | 2073.1654 | 161.1967 | 148.33 | 132.52 | 151.64 | 146.8 | 107.614 | 150.9372 | 125.8747 | 48.8943 | 73.656 | 114.921 | 42.9949 | 42.5817 | 10.2927 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.43257 | -0.03374 | 0 | -9.4279 | 16.6063 | 69.0854 | 0 | 0 | -1.0763 | -0.040033 | 454.8889 | -20 | 154 | 0 | 0 | 1132.0911 | 332.8499 | 85.6917 | 454.8889 | 134 | 0
16 | 2098.6842 | 160.8191 | 147.73 | 132.71 | 147.46 | 147.02 | 101.8499 | 150.8229 | 124.2418 | 48.6063 | 70.776 | 111.3276 | 45.4031 | 44.7797 | 10.452 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.44553 | -0.046898 | 0 | -9.4927 | 17.9547 | 74.334 | 0 | 0 | 7.585 | 0.082862 | 445.6827 | 20 | 154 | 0 | 0 | 1121.1158 | 330.8279 | 92.2887 | 445.6827 | 174 | 7.6678
17 | 2212.7469 | 160.8191 | 148.72 | 132.71 | 153.52 | 147.22 | 102.9667 | 150.6641 | 135.7753 | 49.1823 | 80.208 | 122.88 | 44.0282 | 41.5544 | 19.4708 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.43192 | -0.043179 | 0 | -9.5269 | 16.2501 | 76.3954 | 32.3416 | 0 | -0.43523 | 0.19072 | 427.1439 | 80 | 154 | 0 | 0 | 1139.1185 | 356.8241 | 92.6456 | 427.1439 | 234 | 0
18 | 2350.1817 | 160.8598 | 148.32 | 131.32 | 154.71 | 145.82 | 97.1764 | 150.8675 | 151.1671 | 71.448 | 88.992 | 127.9008 | 47.9919 | 47.9791 | 21.4589 | 15.517 | 4.8242e-07 | 15.2795 | 4.8242e-07 | 1.6667 | -0.023449 | 0 | -9.5649 | 18.9768 | 76.8232 | 78.1023 | 0 | 23.1831 | 23.5923 | 429.4894 | 100 | 154 | 0 | 0 | 1149.6528 | 438.2105 | 95.8 | 429.4894 | 254 | 46.7754
19 | 2362.2322 | 160.9623 | 150.85 | 131.14 | 152.01 | 147 | 98.34 | 149.3015 | 153.1872 | 73.8608 | 90.792 | 128.1762 | 47.9708 | 47.9722 | 20.3932 | 18.4341 | 4.8242e-07 | 18.7137 | 4.8242e-07 | 21.3543 | -0.023449 | 0 | -9.6446 | 18.1278 | 76.9872 | 49.7842 | 0 | 24.9519 | 24.997 | 452.2975 | 75 | 154 | 0 | 0 | 1151.2742 | 467.6437 | 95.115 | 452.2975 | 229 | 49.9489
20 | 2329.143 | 160.8317 | 151.05 | 130.33 | 148.34 | 146.79 | 107.2288 | 149.2511 | 153.2494 | 74.2448 | 92.088 | 128.214 | 47.9765 | 47.9682 | 23.6398 | 16.9273 | 4.8242e-07 | 5.6378 | 4.8242e-07 | 4.651 | -0.055105 | 0 | -9.6411 | 15.874 | 75.6038 | 31.5734 | 0 | 25.0284 | 24.9469 | 468.003 | 75 | 154 | 0 | 0 | 1153.3039 | 441.2923 | 91.4778 | 468.003 | 229 | 49.9753
21 | 2296.6063 | 160.7419 | 151.66 | 127.94 | 142.1 | 145.19 | 114.592 | 149.4671 | 153.3004 | 74.1765 | 94.968 | 128.2056 | 47.9705 | 47.9673 | 24.2342 | 16.777 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.064093 | -0.029442 | 0 | -9.6564 | 16.1539 | 68.0015 | 76.1186 | 0 | 9.541 | 9.4658 | 464.2353 | 40 | 154 | 0 | 0 | 1151.4889 | 434.1812 | 84.1554 | 464.2353 | 194 | 19.0067
22 | 2246.9455 | 161.0127 | 151.01 | 129.13 | 143.79 | 143.05 | 115.3234 | 149.4036 | 153.4858 | 74.1488 | 95.832 | 128.1054 | 47.9642 | 47.9753 | 24.1093 | 23.7752 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.050937 | -0.037779 | 0 | -9.5913 | 17.3008 | 66.0893 | 83.9975 | 0 | -0.0091337 | 0.01401 | 461.3224 | 0 | 154 | 0 | 0 | 1153.9151 | 441.7971 | 83.3902 | 461.3224 | 154 | 0.0048764
23 | 2181.46 | 160.8162 | 150.24 | 127.15 | 145.49 | 141.88 | 115.3465 | 150.4931 | 153.6085 | 55.2964 | 95.76 | 128.2056 | 44.2697 | 46.5482 | 22.977 | -0.61275 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.014199 | -0.023579 | 0 | -13.3179 | 16.35 | 62.3655 | 80.06 | 0 | -0.062379 | 0.0015447 | 447.4349 | 0 | 154 | 0 | 0 | 1148.0564 | 392.3819 | 78.7155 | 447.4349 | 154 | 0
24 | 2135.2343 | 160.6969 | 150.65 | 126.95 | 147.7 | 141.89 | 113.9032 | 150.8648 | 153.742 | 46.1786 | 95.688 | 128.1054 | 36.6133 | 37.802 | 19.5077 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.023449 | -0.023449 | 0 | -20.4901 | 15.6688 | 59.5628 | 5.5048 | 0 | -0.36755 | -6.9122 | 426.5735 | 0 | 199 | 0 | 0 | 1141.5756 | 363.8236 | 75.2316 | 426.5735 | 199 | 0
| Max Net Output: | 173 | 152 | 138 | 155 | 148 | 137 | 151 | 154 | 75 | 99 | 128 | 48 | 48 | 46 | 30 | 0 | 30 | 30 | 27 | 0 | 26 | -8 | 41 | 77 | 100 | 0 | 50 | 50
Remaining Generation Supply / Reserve
HOUR | REMAINING SUPPLY /RESERVE | PA1 | LIN1 | LIN2 | LIN3 | LIN4 | TR5 | TR6 | PT2 | TUC1 | TUC2 | TUC3 | TUC4 | TUC5 | TUC6 | BS1 | BS2 | BS3 | BS4 | VJ1 | VJ2 | TK4 | IPP TOTAL | PT BIO | Small Hydro | WC1 | WC2 | Spider BESS | BW BESS | WIND TOTAL | FIRM NB PURCH | FIRM NFLD PURCH | NB/PEI Emerg Assist | NFLD Emerg Assist
1 | 815.8021 | 36.5109 | 29.11 | 0 | 2.96 | 0.82001 | 43.5116 | 35.0237 | 37.4485 | 27.7505 | 89.28 | 62.3174 | 15.1346 | 15.2329 | 27.2556 | 30 | 0 | 30.0244 | 30 | 27.4887 | 0.059925 | 26 | 0.292 | 28.3095 | 21.2718 | 100 | 0 | 50 | 50
2 | 788.0236 | 33.9156 | 16.84 | 0 | 2.94 | 10.37 | 42.6103 | 35.6114 | 20.4621 | 28.0663 | 86.76 | 62.3006 | 15.2073 | 17.0235 | 27.7262 | 30 | 0 | 30.0244 | 30 | 27.469 | 0.023449 | 26 | 0.35473 | 21.8505 | 22.4682 | 100 | 0 | 50 | 50
3 | 788.2944 | 15.9549 | 20.03 | 0 | 2.58 | 8.08 | 43.2794 | 35.0143 | 29.3846 | 28.3265 | 84.6 | 62.4716 | 16.7336 | 17.026 | 28.2145 | 30 | 0 | 30.0244 | 30 | 27.5055 | 0.040254 | 26 | 0.31463 | 30.1761 | 22.5381 | 100 | 0 | 50 | 50
4 | 807.8618 | 18.6905 | 32.41 | 0 | 6.89 | 7.09 | 43.7598 | 34.8302 | 35.2629 | 28.2583 | 82.008 | 62.4968 | 16.3077 | 17.0186 | 28.344 | 30 | 0 | 30.0244 | 30 | 27.5159 | 0.048917 | 26 | 0.39619 | 29.4045 | 21.105 | 100 | 0 | 50 | 50
5 | 813.6558 | 26.3671 | 39.91 | 0 | 4.1 | 0.58 | 44.8788 | 34.5665 | 38.126 | 28.3265 | 79.992 | 62.171 | 16.7692 | 17.0286 | 28.7026 | 30 | 0 | 30.0244 | 30 | 27.5159 | 0.070347 | 26 | 0.51136 | 28.5959 | 19.4549 | 100 | 0 | 49.9954 | 49.9694
6 | 795.8269 | 36.7343 | 25.88 | 0 | 3.3 | 0.97 | 46.2098 | 34.576 | 26.824 | 28.4503 | 78.408 | 62.1794 | 14.9393 | 17.0262 | 28.4775 | 30 | 0 | 30.0244 | 30 | 27.5156 | 0.069826 | 26 | 1.1682 | 28.0629 | 19.0113 | 100 | 0 | 50 | 50
7 | 735.6164 | 36.7523 | 14.8 | 0 | 3.92 | 0.37 | 50.4705 | 10.5626 | 13.5617 | 27.23 | 76.392 | 62.075 | 10.6348 | 13.1547 | 26.8416 | 30 | 0 | 30.0244 | 30 | 27.4924 | 0.023449 | 26 | 1.0327 | 26.2418 | 18.0363 | 100 | 0 | 50 | 50
8 | 649.6066 | 36.3383 | 14 | 0 | 3.3 | 0.77 | 39.617 | 2.9756 | 13.1772 | 5.4166 | 73.296 | 47.414 | 1.7224 | 2.6696 | 22.3227 | 30 | 0 | 30.0244 | 30 | 27.4924 | 0.023449 | 26 | 1.2611 | 24.7767 | 17.0169 | 100 | 0 | 50 | 49.9922
9 | 575.953 | 36.7452 | 18.76 | 0 | 2.75 | 0.78999 | 20.2086 | 2.639 | 28.1193 | 0.014977 | 66.024 | 22.6778 | 0.032585 | 0.022758 | 3.7014 | 30 | 0 | 30.0244 | 30 | 27.4605 | 0.02638 | 26 | 1.2577 | 12.2372 | 16.4612 | 100 | 0 | 50 | 50
10 | 553.9484 | 36.3576 | 18.4 | 0 | 3.15 | 1.19 | 17.1548 | 1.9114 | 31.8045 | 0 | 49.464 | 24.5726 | 0.031349 | 0.031456 | 0.41039 | 30 | 0 | 30.0244 | 30 | 27.4455 | 0.031331 | 26 | 1.3434 | 11.6665 | 12.9835 | 100 | 0 | 49.9758 | 50
11 | 439.8624 | 16.6777 | 13.75 | 0 | 3.77 | 1.23 | 18.4094 | 0.45338 | 11.5438 | 0.20697 | 43.2 | 4.928 | 1.4516 | 1.4286 | 2.8122 | 30 | 0 | 30.0244 | 30 | 27.4455 | 0.039081 | 26 | 1.2332 | 11.2801 | 7.1029 | 56.8939 | 0 | 50 | 49.9816
12 | 557.3538 | 11.5043 | 33.85 | 2.55 | 4.15 | 1.23 | 18.8531 | 0 | 6.9469 | 14.0267 | 24.048 | 22.4732 | 8.6423 | 8.5382 | 28.4147 | 30 | 0 | 30.0244 | 30 | 27.4417 | 0.039082 | 26 | 1.2288 | 22.6913 | 7.0967 | 97.6169 | 0 | 50 | 49.9875
13 | 535.4163 | 12.3451 | 14.7 | 2.55 | 4.74 | 1.83 | 17.852 | 0.31073 | 13.6151 | 21.7452 | 10.008 | 8.2208 | 10.8669 | 12.2396 | 27.6626 | 30 | 0 | 30.0244 | 30 | 27.4221 | 0.031331 | 26 | 1.3868 | 24.6252 | 7.2593 | 100 | 0 | 50 | 49.9813
14 | 559.632 | 11.2377 | 4.68 | 6.49 | 3.93 | 1.45 | 20.6886 | 0.32019 | 23.4017 | 25.6257 | 14.184 | 4.5692 | 16.0225 | 17.0212 | 31.3946 | 30 | 0 | 30.0244 | 30 | 27.4351 | 0.023449 | 26 | 1.4831 | 25.5608 | 8.0898 | 100 | 0 | 50 | 50
15 | 570.9736 | 11.8033 | 3.67 | 5.48 | 3.36 | 1.2 | 29.386 | 0.062775 | 28.1253 | 26.1057 | 25.344 | 13.079 | 5.0051 | 5.4183 | 35.7073 | 30 | 0 | 30.0244 | 30 | 27.4326 | 0.03374 | 26 | 1.4279 | 24.3937 | 7.9146 | 100 | 0 | 50 | 50
16 | 571.0545 | 12.1809 | 4.27 | 5.29 | 7.54 | 0.98 | 35.1501 | 0.17708 | 29.7582 | 26.3937 | 28.224 | 16.6724 | 2.5969 | 3.2203 | 35.548 | 30 | 0 | 30.0244 | 30 | 27.4455 | 0.046898 | 26 | 1.4927 | 23.0453 | 2.666 | 100 | 0 | 42.415 | 49.9171
17 | 500.1296 | 12.1809 | 3.28 | 5.29 | 1.48 | 0.78 | 34.0333 | 0.33594 | 18.2247 | 25.8177 | 18.792 | 5.12 | 3.9718 | 6.4456 | 26.5292 | 30 | 0 | 30.0244 | 30 | 27.4319 | 0.043179 | 26 | 1.5269 | 24.7499 | 0.60456 | 67.6584 | 0 | 50 | 49.8093
18 | 315.4358 | 12.1402 | 3.68 | 6.68 | 0.28999 | 2.18 | 39.8236 | 0.13254 | 2.8329 | 3.552 | 10.008 | 0.09919 | 0.0081482 | 0.020882 | 24.5411 | 14.483 | 0 | 14.7205 | 30 | 25.3333 | 0.023449 | 26 | 1.5649 | 22.0232 | 0.17681 | 21.8977 | 0 | 26.8169 | 26.4077
19 | 309.538 | 12.0377 | 1.15 | 6.86 | 2.99 | 1 | 38.66 | 1.6985 | 0.81284 | 1.1392 | 8.208 | 0 | 0.029247 | 0.027805 | 25.6068 | 11.5659 | 0 | 11.2863 | 30 | 5.6457 | 0.023449 | 26 | 1.6446 | 22.8722 | 0.012788 | 50.2158 | 0 | 25.0481 | 25.003
20 | 353.4653 | 12.1683 | 0.95 | 7.67 | 6.66 | 1.21 | 29.7712 | 1.7489 | 0.75064 | 0.75524 | 6.912 | 0 | 0.02346 | 0.031761 | 22.3602 | 13.0727 | 0 | 24.3622 | 30 | 22.349 | 0.055105 | 26 | 1.6411 | 25.126 | 1.3962 | 68.4266 | 0 | 24.9716 | 25.0531
21 | 356.4087 | 12.2581 | 0.34 | 10.06 | 12.9 | 2.81 | 22.408 | 1.5329 | 0.69965 | 0.82351 | 4.032 | 0 | 0.029488 | 0.032711 | 21.7658 | 13.223 | 0 | 30.0244 | 30 | 27.0641 | 0.029442 | 26 | 1.6564 | 24.8461 | 8.9985 | 23.8814 | 0 | 40.459 | 40.5342
22 | 359.2924 | 11.9873 | 0.98999 | 8.87 | 11.21 | 4.95 | 21.6766 | 1.5964 | 0.51421 | 0.85124 | 3.168 | 0 | 0.035767 | 0.024651 | 21.8907 | 6.2248 | 0 | 30.0244 | 30 | 27.0509 | 0.037779 | 26 | 1.5913 | 23.6992 | 10.9107 | 16.0025 | 0 | 50 | 49.986
23 | 422.3403 | 12.1838 | 1.76 | 10.85 | 9.51 | 6.12 | 21.6535 | 0.50694 | 0.39154 | 19.7036 | 3.24 | 0 | 3.7303 | 1.4518 | 23.023 | 30.6127 | 0 | 30.0244 | 30 | 27.0142 | 0.023579 | 26 | 5.3179 | 24.65 | 14.6345 | 19.94 | 0 | 50 | 49.9985
24 | 534.6386 | 12.3031 | 1.35 | 11.05 | 7.3 | 6.11 | 23.0968 | 0.13522 | 0.25798 | 28.8214 | 3.312 | 0 | 11.3867 | 10.198 | 26.4923 | 30 | 0 | 30.0244 | 30 | 27.0234 | 0.023449 | 26 | 12.4901 | 25.3312 | 17.4372 | 94.4952 | 0 | 50 | 50

## 25Jan2026
Net Thermal Generation | [34 empty] | Chart Data
HOUR | SYSTEM LOAD | PA1 | LIN1 | LIN2 | LIN3 | LIN4 | TR5 | TR6 | PT2 | TUC1 | TUC2 | TUC3 | TUC4 | TUC5 | TUC6 | BS1 | BS2 | BS3 | BS4 | VJ1 | VJ2 | TK4 | IPP TOTAL | PT BIO | Small Hydro | WC1 | WC2 | Spider BESS | BW BESS | WIND TOTAL | FIRM NB PURCH | FIRM NFLD PURCH | NB/PEI Emerg Assist | NFLD Emerg Assist | SOLID FUEL | OIL / GAS | NS HYDRO | WIND | IMPORTS | BESS Discharging
1 | 2171.7424 | 155.5387 | 149.06 | 122.62 | 146.89 | 141.66 | 115.7831 | 149.3177 | 153.79 | 46.8228 | 94.608 | 127.5378 | 37.4296 | 37.8216 | 19.4433 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.046442 | -0.068783 | 0 | 23.2597 | 14.9524 | 52.3715 | 0 | 0 | -46.5377 | -38.8561 | 421.0031 | 0 | 199 | 0 | 0 | 1172.8716 | 363.5235 | 67.3239 | 421.0031 | 199 | 0
2 | 2140.2369 | 152.3047 | 147.25 | 121.43 | 146.31 | 137.73 | 115.6842 | 146.9795 | 153.3765 | 47.0148 | 93.24 | 123.7734 | 36.9686 | 36.4733 | 19.2192 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.045661 | -0.068914 | 0 | 24.2077 | 15.8658 | 49.8765 | 0 | 0 | -50.0035 | -17.4514 | 408.1529 | 0 | 199 | 0 | 0 | 1161.1384 | 356.5503 | 65.7423 | 408.1529 | 199 | 0
3 | 2098.6774 | 164.3954 | 140.03 | 122.45 | 146.33 | 140.5 | 112.9924 | 145.5341 | 142.1183 | 46.8228 | 85.104 | 111.9792 | 36.9337 | 35.9797 | 19.06 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.023449 | -0.046898 | 0 | 24.1338 | 17.7323 | 45.0874 | 0 | 0 | -4.7275 | -28.8498 | 396.0255 | 0 | 199 | 0 | 0 | 1156.2163 | 335.7846 | 62.8197 | 396.0255 | 199 | 0
4 | 2066.3785 | 166.4279 | 121.07 | 121.23 | 145.12 | 141.72 | 119.3467 | 145.1691 | 129.401 | 46.1508 | 88.416 | 113.5776 | 35.9673 | 35.9799 | 18.8427 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.023449 | -0.046898 | 0 | 24.2718 | 16.7873 | 45.4574 | 0 | 0 | -0.0018911 | -0.0091155 | 388.6652 | 0 | 199 | 0 | 0 | 1130.5439 | 338.8395 | 62.2447 | 388.6652 | 199 | 0
5 | 2075.9954 | 154.2739 | 119.46 | 122.6 | 148.68 | 139.56 | 128.6452 | 144.4419 | 132.4353 | 46.5348 | 84.96 | 110.3262 | 35.9814 | 35.9763 | 18.819 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.022472 | -0.047679 | 0 | 24.0903 | 16.1848 | 47.5964 | 0 | 0 | -0.62674 | -0.054788 | 403.2998 | 0 | 199 | 0 | 0 | 1130.3714 | 332.5031 | 63.7812 | 403.2998 | 199 | 0
6 | 2113.6132 | 161.1627 | 132.17 | 125.2 | 149.87 | 139.93 | 127.6984 | 145.5989 | 139.0327 | 46.6308 | 85.248 | 115.284 | 36.1984 | 36.2209 | 18.8498 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.020387 | -0.043837 | 0 | 24.2436 | 17.0181 | 52.1893 | 0 | 0 | -0.028763 | -1.4227 | 383.626 | 0 | 199 | 0 | 0 | 1161.9243 | 338.3433 | 69.2074 | 383.626 | 199 | 0
7 | 2163.7787 | 158.3457 | 149.02 | 123.79 | 150.06 | 142.68 | 102.6811 | 144.5094 | 141.0056 | 68.0197 | 90.864 | 126.849 | 47.7942 | 47.8082 | 23.2139 | 4.8242e-07 | 4.8242e-07 | -0.024426 | 4.8242e-07 | -0.046442 | -0.041296 | 0 | 24.3015 | 16.7488 | 57.104 | 23.6413 | 0 | -0.011856 | 0.11235 | 354.9673 | 0 | 199 | 0 | 0 | 1153.1422 | 404.4368 | 73.8529 | 354.9673 | 199 | 0.10049
8 | 2240.7956 | 159.0659 | 151.38 | 126.39 | 150.48 | 144.28 | 80.594 | 144.3443 | 146.297 | 75.561 | 89.424 | 128.1972 | 47.9797 | 47.9648 | 23.4209 | 3.6122 | 4.8242e-07 | 3.5989 | 4.8242e-07 | -0.046898 | -0.023449 | 0 | 24.0276 | 17.4436 | 56.3898 | 77.9644 | 0 | -2.03 | -1.9852 | 355.4313 | 21 | 154 | 0 | 0 | 1144.3023 | 419.6884 | 73.8334 | 355.4313 | 175 | 0
9 | 2310.6127 | 159.4266 | 150.97 | 125.99 | 152.04 | 144.27 | 103.7093 | 144.1125 | 149.2176 | 75.8213 | 95.832 | 128.2098 | 47.9751 | 47.9736 | 27.1855 | 20.1089 | 4.8242e-07 | 19.0181 | 4.8242e-07 | 12.6089 | -0.027096 | -0.19005 | 24.2182 | 16.2048 | 58.2111 | 74.276 | 0 | -1.9799 | -2.0099 | 346.0609 | 21 | 154 | 0 | 0 | 1170.159 | 474.516 | 74.4159 | 346.0609 | 175 | 0
10 | 2335.9204 | 156.8973 | 151.36 | 125.38 | 150.65 | 144.07 | 122.1951 | 143.6841 | 148.5168 | 75.9173 | 84.672 | 115.806 | 45.6054 | 45.5226 | 42.2053 | 20.4786 | 4.8242e-07 | 16.4875 | 4.8242e-07 | 20.3175 | -0.046768 | -0.362 | 24.4366 | 16.2535 | 59.5483 | 38.8622 | 0 | -8.767 | -8.8136 | 357.4702 | 75 | 154 | 0 | 0 | 1183.4433 | 466.6034 | 75.8018 | 357.4702 | 229 | 0
11 | 2319.8649 | 164.0389 | 149.39 | 126 | 151.48 | 143.67 | 123.108 | 137.7482 | 148.3982 | 75.8213 | 83.736 | 119.6916 | 47.9806 | 47.9678 | 43.9264 | 1.7875 | 4.8242e-07 | 15.3356 | 4.8242e-07 | 15.692 | -0.052695 | -0.362 | 24.3607 | 37.6116 | 59.3286 | 36.9941 | 0 | -8.1474 | -6.0968 | 337.5186 | 75 | 154 | 0 | 0 | 1205.8055 | 451.524 | 96.9402 | 337.5186 | 229 | 0
12 | 2293.5165 | 170.535 | 149.8 | 125.61 | 150.88 | 143.47 | 114.3799 | 141.3126 | 151.2426 | 69.7882 | 77.472 | 123.8358 | 46.384 | 46.3701 | 32.701 | -0.19541 | 4.8242e-07 | 0.24426 | 6.0787 | 16.8285 | -0.046833 | -0.362 | 24.3276 | 28.4102 | 60.3716 | 76.2289 | 0 | 0.006797 | 0.0016209 | 296.7041 | 75 | 154 | 0 | 0 | 1199.9679 | 419.0984 | 88.7818 | 296.7041 | 229 | 0.0084178
13 | 2262.83 | 171.3493 | 150.99 | 127.18 | 150.66 | 142.29 | 106.1336 | 142.2909 | 151.3705 | 47.4671 | 80.424 | 128.2056 | 43.9721 | 43.9713 | 21.5318 | -0.19541 | 4.8242e-07 | 22.0109 | 20.6666 | 20.4475 | -0.046898 | -0.362 | 24.2014 | 14.7133 | 65.4515 | 78.9114 | 0 | 0.016322 | 0.012213 | 270.9992 | 75 | 154 | 0 | 0 | 1181.1789 | 428.0925 | 80.1647 | 270.9992 | 229 | 0.028535
14 | 2226.3885 | 171.7663 | 150.62 | 125.01 | 150.64 | 143.08 | 104.9006 | 144.3209 | 151.5227 | 46.5348 | 84.24 | 128.1972 | 43.9815 | 43.9705 | 21.1359 | -0.19541 | 4.8242e-07 | 23.7164 | 23.0442 | 20.0127 | -0.045465 | -0.362 | 24.1665 | 14.6865 | 67.5738 | 58.2943 | 0 | 0.007313 | -0.007499 | 244.0398 | 75 | 154 | 0 | 0 | 1180.7134 | 434.2304 | 82.2603 | 244.0398 | 229 | 0
15 | 2240.8982 | 171.6176 | 148.62 | 125.2 | 151.26 | 142.88 | 116.6652 | 146.3702 | 151.6135 | 46.3151 | 96.696 | 128.1846 | 43.9632 | 43.9731 | 21.1131 | 7.7328 | 4.8242e-07 | 24.4536 | 24.2028 | 19.6628 | -0.042339 | 3.4027 | 23.764 | 16.2727 | 64.5085 | 77.1991 | 0 | 0.026158 | -0.032245 | 202.3646 | 75 | 154 | 0 | 0 | 1194.2632 | 459.6575 | 80.7812 | 202.3646 | 229 | 0
16 | 2300.2579 | 171.7961 | 148.4 | 124.22 | 151.04 | 142.87 | 120.1258 | 148.1427 | 148.2458 | 49.4276 | 98.712 | 128.2974 | 45.0025 | 45.023 | 23.1966 | 26.3686 | 4.8242e-07 | 26.6098 | 26.6458 | 25.6316 | -0.023644 | 25.72 | 24.4336 | 22.2228 | 71.6918 | 97.9587 | 0 | 0.01609 | -2.2859 | 159.4056 | 75 | 154 | 0 | 0 | 1201.4968 | 520.6113 | 93.9146 | 159.4056 | 229 | 0
17 | 2386.6304 | 172.1778 | 146.83 | 124.21 | 150.88 | 141.1 | 134.9465 | 150.0903 | 148.4801 | 74.4368 | 98.784 | 128.2764 | 47.9589 | 47.9697 | 42.7766 | 29.8452 | 4.8242e-07 | 29.6754 | 29.7273 | 26.8828 | -0.042794 | 5.3947 | 23.8398 | 41.4521 | 79.0292 | 99.9957 | 0 | 11.8419 | 16.3143 | 120.4463 | 70 | 154 | 0 | 100 | 1234.0066 | 561.6849 | 120.4812 | 120.4463 | 324 | 28.1562
18 | 2459.0055 | 172.5961 | 147.65 | 124.99 | 150.47 | 144.62 | 137.1075 | 152.0028 | 150.556 | 75.6293 | 98.712 | 128.2974 | 47.97 | 47.9631 | 44.8881 | 29.3609 | 4.8242e-07 | 29.7918 | 30.1185 | 27.249 | -0.023905 | 23.4943 | 24.2449 | 41.3426 | 77.0558 | 93.5339 | 0 | 14.7688 | 14.9619 | 92.1865 | 54 | 154 | 28 | 100 | 1245.5798 | 583.4504 | 118.3985 | 92.1865 | 336 | 29.7307
19 | 2430.8965 | 172.8052 | 149.2 | 126.79 | 152.44 | 145.99 | 124.5631 | 152.8002 | 150.8952 | 75.7253 | 98.784 | 128.3808 | 47.9915 | 47.9703 | 45.457 | 25.773 | 4.8242e-07 | 25.8487 | 26.3184 | 27.3083 | -0.023449 | 25.9006 | 24.3839 | 28.3727 | 77.0804 | 61.295 | 0 | 22.8705 | 22.8599 | 84.4385 | 72 | 154 | 30 | 100 | 1228.2403 | 575.4345 | 105.4531 | 84.4385 | 356 | 45.7304
20 | 2383.9267 | 169.8941 | 149 | 126.21 | 151.86 | 144.03 | 124.2808 | 152.6477 | 151.5463 | 75.849 | 98.712 | 128.2014 | 47.9768 | 47.9529 | 37.1905 | 23.5607 | 4.8242e-07 | 23.5727 | 23.8032 | 26.8567 | -0.023449 | 24.1524 | 24.3623 | 14.0407 | 76.185 | 70.0987 | 0 | 27.9587 | 27.8946 | 71.1961 | 47 | 154 | 30 | 100 | 1207.872 | 557.8048 | 90.2257 | 71.1961 | 331 | 55.8534
21 | 2323.5157 | 168.9719 | 150 | 125.22 | 150.87 | 136.95 | 136.1971 | 153.153 | 151.6937 | 75.6293 | 98.784 | 128.172 | 47.9676 | 47.9603 | 33.1805 | 16.4215 | 4.8242e-07 | 17.5234 | 16.3865 | 27.134 | -0.023449 | 17.3784 | 24.487 | 15.3202 | 74.8479 | 48.4882 | 0 | 20.1636 | 20.1287 | 74.3533 | 59 | 154 | 30 | 100 | 1212.8629 | 526.514 | 90.1681 | 74.3533 | 343 | 40.2923
22 | 2236.5959 | 168.8611 | 149.4 | 128.96 | 152.65 | 134.19 | 136.0197 | 153.9347 | 151.9284 | 75.657 | 98.712 | 128.1762 | 46.5684 | 46.5736 | 25.5417 | 16.6157 | 4.8242e-07 | 17.6759 | 16.4631 | 27.4139 | -0.042924 | 17.0284 | 23.8749 | 15.0001 | 76.4757 | 49.2731 | 0 | 13.8969 | 13.7306 | 69.0965 | 60 | 154 | 0 | 63 | 1214.8188 | 516.383 | 91.4758 | 69.0965 | 277 | 27.6275
23 | 2128.9292 | 168.8035 | 148.83 | 131.14 | 152.65 | 137.56 | 126.2477 | 154.5224 | 152.0491 | 64.1263 | 98.784 | 128.1888 | 33.989 | 33.98 | 17.5316 | 20.328 | 4.8242e-07 | 20.7843 | 22.6456 | 2.9459 | -0.058427 | 21.775 | 24.2316 | 15.157 | 78.1378 | 84.7274 | 0 | 0.078634 | 0.030549 | 58.0966 | 64 | 154 | 0 | 0 | 1211.1913 | 465.0202 | 93.2948 | 58.0966 | 218 | 0.10918
24 | 2064.1861 | 168.8485 | 148.98 | 132.51 | 151.84 | 135.42 | 120.6571 | 156.533 | 152.0932 | 46.3577 | 98.712 | 128.2014 | 30.9562 | 30.9763 | 16.8147 | 17.826 | 4.8242e-07 | 18.6109 | 21.0063 | -0.023579 | -0.040906 | 0.0015775 | 24.2937 | 13.8797 | 61.2394 | 64.791 | 0 | -0.01479 | -0.019666 | 53.9612 | 66 | 199 | 0 | 0 | 1205.0551 | 409.3987 | 75.119 | 53.9612 | 265 | 0
| Max Net Output: | 172.8052 | 151.38 | 132.51 | 154.71 | 147.63 | 137.1075 | 156.533 | 153.79 | 75.9173 | 98.784 | 128.3808 | 47.9915 | 47.9736 | 45.457 | 29.8452 | 4.8242e-07 | 29.7918 | 30.1185 | 27.4139 | -0.023449 | 25.9006 | 24.487 | 41.4521 | 79.0292 | 99.9957 |  | 50 | 50
Remaining Generation Supply / Reserve
HOUR | REMAINING SUPPLY /RESERVE | PA1 | LIN1 | LIN2 | LIN3 | LIN4 | TR5 | TR6 | PT2 | TUC1 | TUC2 | TUC3 | TUC4 | TUC5 | TUC6 | BS1 | BS2 | BS3 | BS4 | VJ1 | VJ2 | TK4 | IPP TOTAL | PT BIO | Small Hydro | WC1 | WC2 | Spider BESS | BW BESS | WIND TOTAL | FIRM NB PURCH | FIRM NFLD PURCH | NB/PEI Emerg Assist | NFLD Emerg Assist
1 | 550.2137 | 17.2665 | 2.32 | 9.89 | 7.82 | 5.97 | 21.3244 | 7.2153 | 0 | 29.0945 | 4.176 | 0.84299 | 10.5618 | 10.152 | 26.0137 | 29.8452 | 0 | 29.8163 | 30.1185 | 27.4604 | 0.045334 | 25.9006 | 1.2273 | 26.4996 | 26.6576 | 99.9957 | 0 | 50 | 50
2 | 571.4151 | 20.5005 | 4.13 | 11.08 | 8.4 | 9.9 | 21.4233 | 9.5535 | 0.41348 | 28.9025 | 5.544 | 4.6074 | 11.0229 | 11.5003 | 26.2378 | 29.8452 | 0 | 29.8163 | 30.1185 | 27.4596 | 0.045465 | 25.9006 | 0.27925 | 25.5863 | 29.1527 | 99.9957 | 0 | 50 | 50
3 | 601.8919 | 8.4098 | 11.35 | 10.06 | 8.38 | 7.13 | 24.1151 | 10.9989 | 11.6716 | 29.0945 | 13.68 | 16.4016 | 11.0578 | 11.9939 | 26.397 | 29.8452 | 0 | 29.8163 | 30.1185 | 27.4374 | 0.023449 | 25.9006 | 0.35318 | 23.7198 | 33.9417 | 99.9957 | 0 | 50 | 50
4 | 624.1395 | 6.3773 | 30.31 | 11.28 | 9.59 | 5.91 | 17.7608 | 11.3639 | 24.389 | 29.7665 | 10.368 | 14.8032 | 12.0242 | 11.9937 | 26.6143 | 29.8452 | 0 | 29.8163 | 30.1185 | 27.4374 | 0.023449 | 25.9006 | 0.21519 | 24.6647 | 33.5718 | 99.9957 | 0 | 50 | 50
5 | 628.5093 | 18.5313 | 31.92 | 9.91 | 6.03 | 8.07 | 8.4622 | 12.0911 | 21.3547 | 29.3825 | 13.824 | 18.0546 | 12.0101 | 11.9973 | 26.638 | 29.8452 | 0 | 29.8163 | 30.1185 | 27.4364 | 0.02423 | 25.9006 | 0.39662 | 25.2673 | 31.4327 | 99.9957 | 0 | 50 | 50
6 | 586.5233 | 11.6425 | 19.21 | 7.31 | 4.84 | 7.7 | 9.4091 | 10.9341 | 14.7572 | 29.2865 | 13.536 | 13.0968 | 11.7931 | 11.7527 | 26.6072 | 29.8452 | 0 | 29.8163 | 30.1185 | 27.4343 | 0.020388 | 25.9006 | 0.24332 | 24.434 | 26.8399 | 99.9957 | 0 | 50 | 50
7 | 500.5436 | 14.4595 | 2.36 | 8.72 | 4.65 | 4.95 | 34.4264 | 12.0236 | 12.7844 | 7.8976 | 7.92 | 1.5318 | 0.19731 | 0.1654 | 22.2431 | 29.8452 | 0 | 29.8163 | 30.1185 | 27.4604 | 0.017847 | 25.9006 | 0.18548 | 24.7032 | 21.9252 | 76.3544 | 0 | 50 | 49.8877
8 | 440.6354 | 13.7393 | 0 | 6.12 | 4.23 | 3.35 | 56.5135 | 12.1887 | 7.493 | 0.35628 | 9.36 | 0.18359 | 0.011791 | 0.0088387 | 22.0361 | 26.233 | 0 | 26.1929 | 30.1185 | 27.4608 | 0 | 25.9006 | 0.45939 | 24.0084 | 22.6394 | 22.0312 | 0 | 50 | 50
9 | 361.8181 | 13.3786 | 0.40999 | 6.52 | 2.67 | 3.36 | 33.3982 | 12.4205 | 4.5724 | 0.096001 | 2.952 | 0.17099 | 0.016426 | 0 | 18.2715 | 9.7362 | 0 | 10.7737 | 30.1185 | 14.805 | 0.0036474 | 26.0907 | 0.26877 | 25.2473 | 20.8181 | 25.7197 | 0 | 50 | 50
10 | 390.523 | 15.9079 | 0.020004 | 7.13 | 4.06 | 3.56 | 14.9124 | 12.8489 | 5.2732 | 0 | 14.112 | 12.5748 | 2.3861 | 2.451 | 3.2517 | 9.3666 | 0 | 13.3043 | 30.1185 | 7.0964 | 0.023319 | 26.2626 | 0.050389 | 25.1985 | 19.4809 | 61.1335 | 0 | 50 | 50
11 | 385.328 | 8.7663 | 1.99 | 6.51 | 3.23 | 3.96 | 13.9995 | 18.7848 | 5.3918 | 0.096001 | 15.048 | 8.6892 | 0.010887 | 0.0057869 | 1.5306 | 28.0577 | 0 | 14.4563 | 30.1185 | 11.7219 | 0.029246 | 26.2626 | 0.12626 | 3.8404 | 19.7006 | 63.0015 | 0 | 50 | 50
12 | 383.3051 | 2.2702 | 1.58 | 6.9 | 3.83 | 4.16 | 22.7276 | 15.2204 | 2.5474 | 6.1291 | 21.312 | 4.545 | 1.6075 | 1.6035 | 12.756 | 30.0406 | 0 | 29.5476 | 24.0398 | 10.5854 | 0.023384 | 26.2626 | 0.15935 | 13.0419 | 18.6576 | 23.7668 | 0 | 49.9932 | 49.9984
13 | 385.3175 | 1.4559 | 0.39 | 5.33 | 4.05 | 5.34 | 30.9739 | 14.2421 | 2.4195 | 28.4502 | 18.36 | 0.1752 | 4.0194 | 4.0023 | 23.9252 | 30.0406 | 0 | 7.7809 | 9.4518 | 6.9664 | 0.023449 | 26.2626 | 0.28554 | 26.7388 | 13.5777 | 21.0843 | 0 | 49.9837 | 49.9878
14 | 398.161 | 1.0389 | 0.76001 | 7.5 | 4.07 | 4.55 | 32.2069 | 12.2121 | 2.2673 | 29.3825 | 14.544 | 0.18359 | 4.01 | 4.0031 | 24.3211 | 30.0406 | 0 | 6.0754 | 7.0743 | 7.4012 | 0.022016 | 26.2626 | 0.32045 | 26.7656 | 11.4554 | 41.7014 | 0 | 49.9927 | 50
15 | 343.3258 | 1.1876 | 2.76 | 7.31 | 3.45 | 4.75 | 20.4423 | 10.1628 | 2.1765 | 29.6022 | 2.088 | 0.1962 | 4.0283 | 4.0005 | 24.3438 | 22.1124 | 0 | 5.3382 | 5.9157 | 7.7511 | 0.01889 | 22.4979 | 0.72299 | 25.1793 | 14.5207 | 22.7966 | 0 | 49.9738 | 50
16 | 247.2055 | 1.0091 | 2.98 | 8.29 | 3.67 | 4.76 | 16.9817 | 8.3903 | 5.5441 | 26.4897 | 0.071999 | 0.083405 | 2.9889 | 2.9506 | 22.2604 | 3.4765 | 0 | 3.182 | 3.4726 | 1.7823 | 0.00019542 | 0.18066 | 0.053342 | 19.2293 | 7.3374 | 2.037 | 0 | 49.9839 | 50
17 | 136.1077 | 0.6274 | 4.55 | 8.3 | 3.83 | 6.53 | 2.161 | 6.4427 | 5.3099 | 1.4805 | 0 | 0.1044 | 0.0326 | 0.0038681 | 2.6804 | 0 | 0 | 0.11643 | 0.39119 | 0.53112 | 0.019345 | 20.5059 | 0.64713 | 0 | 0 | 0 | 0 | 38.1581 | 33.6857
18 | 109.6296 | 0.20914 | 3.73 | 7.52 | 4.24 | 3.01 | 0 | 4.5302 | 3.234 | 0.288 | 0.071999 | 0.083405 | 0.021484 | 0.010513 | 0.56892 | 0.48431 | 0 | 0 | 0 | 0.16487 | 0.00045621 | 2.4064 | 0.24211 | 0.10941 | 1.9733 | 6.4618 | 0 | 35.2312 | 35.0381
19 | 151.1996 | 0 | 2.18 | 5.72 | 2.27 | 1.64 | 12.5444 | 3.7328 | 2.8948 | 0.192 | 0 | 0 | 0 | 0.003273 | 0 | 4.0722 | 0 | 3.9431 | 3.8 | 0.10564 | 0 | 0 | 0.10302 | 13.0794 | 1.9488 | 38.7007 | 0 | 27.1295 | 27.1401
20 | 171.1664 | 2.9111 | 2.38 | 6.3 | 2.85 | 3.6 | 12.8267 | 3.8853 | 2.2436 | 0.068275 | 0.071999 | 0.1794 | 0.014664 | 0.020687 | 8.2665 | 6.2844 | 0 | 6.2191 | 6.3153 | 0.55725 | 0 | 1.7482 | 0.12464 | 27.4114 | 2.8442 | 29.897 | 0 | 22.0413 | 22.1054
21 | 235.9748 | 3.8333 | 1.38 | 7.29 | 3.84 | 10.68 | 0.91043 | 3.38 | 2.0962 | 0.288 | 0 | 0.2088 | 0.02388 | 0.013317 | 12.2765 | 13.4237 | 0 | 12.2684 | 13.732 | 0.2799 | 3.8056e-08 | 8.5222 | 0 | 26.1319 | 4.1813 | 51.5074 | 0 | 29.8364 | 29.8713
22 | 254.4021 | 3.9441 | 1.98 | 3.55 | 2.06 | 13.44 | 1.0878 | 2.5983 | 1.8616 | 0.26028 | 0.071999 | 0.20459 | 1.4231 | 1.4 | 19.9153 | 13.2295 | 0 | 12.116 | 13.6554 | 0 | 0.019475 | 8.8722 | 0.61205 | 26.452 | 2.5535 | 50.7225 | 0 | 36.1031 | 36.2694
23 | 299.7944 | 4.0017 | 2.55 | 1.37 | 2.06 | 10.07 | 10.8598 | 2.0106 | 1.7409 | 11.791 | 0 | 0.192 | 14.0025 | 13.9936 | 27.9254 | 9.5172 | 0 | 9.0076 | 7.4729 | 24.468 | 0.034978 | 4.1256 | 0.25532 | 26.295 | 0.8914 | 15.2683 | 0 | 49.9214 | 49.9695
24 | 398.4961 | 3.9567 | 2.4 | 0 | 2.87 | 12.21 | 16.4504 | 0 | 1.6968 | 29.5596 | 0.071999 | 0.1794 | 17.0353 | 16.9973 | 28.6423 | 12.0192 | 0 | 11.1809 | 9.1121 | 27.4375 | 0.017457 | 25.899 | 0.19324 | 27.5724 | 17.7898 | 35.2047 | 0 | 50 | 50