## Key Model Assumptions
Applicable Resources
|  | ProCESS™ Model |  | DRSim™ Model
Category / Topic | Assumption / Input | Energy Efficiency | Solar-PV | Demand Response | Description/Approach
Line Losses | Energy and Demand Line Loss Factors | X | X | X | Line loss factors were developed by E1 using rate-class level line loss data provided by Nova Scotia Power as part of its 2014 Cost of Service Study (COSS) and applied in the modelling of DSM resources.
Savings | Unitary Energy & Demand Impacts | X | X | X | Savings input values were primarily compiled using the following approaches: - For prescriptive (and some semi-prescriptive) measures, deemed energy and demand savings values from the most recent DSM Evaluation Measure Assessment document were used. - For semi-prescriptive measures where, in practice, savings are calculated on a project-by-project basis using unit specifications, representative variables were selected to reflect the typical installation characteristics that E1 sees in practice and used to calculate energy savings inputs. - For some semi-prescriptive and for bundled or custom measures for which savings are calculated at the building or project level, and represent the impacts of multiple measures or multiple building types, average evaluated savings values were used. - For new measures, E1 performed engineering calculations and, where applicable, looked to similar measures and measure characterizations used in other jurisdictions to inform savings estimates. As appropriate, values developed with input from Guidehouse or other external subject matter experts were used for new measures. - For demand response measures, the most recent DSM evaluation results were used. Engineering adjustments were applied as needed to improve accuracy (i.e. accounting for 4-hour capacity and expected changes to measure performance).
Net to Gross Ratio (NTGR) |  | X | X |  | Net-to-Gross ratios (NTG) for existing measures largely use the latest NTG figures established in E1’s DSM Program Evaluation Report, held constant until 2031. For new measures, NTG ratios were estimated based on historical results for similar measures or existing program components.
Effective Useful Life (EUL) |  | X | X | X | EUL values for existing measures largely reflect the latest EUL values set out in E1’s DSM Program Evaluation Report, held constant until 2031. For new measures, EUL values were developed using existing EUL values for similar measures, or EUL values for similar measures used in other jurisdictions. As appropriate, EULs values developed with input from Guidehouse or other external subject matter experts were used for new measures.
Incremental Costs |  | X | X |  | In collaboration with Apex Analytics and Guidehouse, E1 compiled estimates of base and efficient material and labour costs, drawing on historical program data, Technical Reference Manuals and planning studies from other jurisdictions, online cost databases, contractor interviews, and internet web scraping. For Direct Installation programs, actual direct installation costs from 2024 were primarily used. Costs were reviewed by internal subject matter experts and adjusted, as appropriate, based on future expectations.
Incentive Levels |  | X | X | X | Historical and current incentive levels were used as a starting point for existing measures. As appropriate, these incentive levels were adjusted to account for historical experience, identified trends, future expectations and/or specific measure or program goals. Incentive levels continue to be reviewed and analyzed in accordance with E1's Incentive Setting Methodology to confirm incentive levels fall within a reasonable range. For new measures, incentives were developed using E1's Incentive Setting Methodology.
Participation |  | X | X | X | Participation values were developed using historical participation data and near-term program forecasts of participation expectations. Estimates were reviewed by internal subject matter experts and refined based on program delivery insights and identified trends. For new initiatives, participation was estimated using a variety of methods including trends identified through historical participation data, input from internal subject matter experts, and support/recommendations from external consultants.
Administrative Costs |  | X |  |  | Energy Efficiency administrative costs are currently based on average administrative cost profiles by program over the last four years (i.e., 2021-2024) for program support and other direct costs. It also includes estimates for marketing and evaluation costs by program and direct FTE costs based on the current FTE allocator and any incremental FTEs expected to be added at this time.
|  |  | X |  | Solar-PV administrative costs: Solar-PV admin costs include estimates of marketing and evaluation plus fully allocated FTE costs for the estimated direct FTEs that would be required.
|  |  |  | X | Demand Response administrative costs have been updated from the 2023-2025 Plan model with information from E1 experience delivering demand response.
Escalation Rates | Equipment | X | X |  | Material Cost Escalation Rate: 2.01%
| Labour | X | X |  | Labour Cost Escalation Rate: 4%

## PAC Assumptions
Category / Topic | Assumption / Input | Energy Efficiency | Demand Response | Solar-PV | Description
Electricity System Impacts | Avoided cost of energy | X | X | X | NS Power avoided costs provided to E1 December 22, 2025. Energy Efficiency and Solar-PV use the seasonal actual annual avoided cost of energy ($/MWh) (column F, AVC Energy Seasonal tab) for the avoided cost of energy. These are weighted over each measure by seasonal loadshape. For Demand Response, actual annual avoided cost of energy, winter on-peak and off-peak, are used to calculate the impact of shifting usage from on-peak to off-peak times.
| Avoided cost of capacity | X | X | X | NS Power avoided costs provided to E1 December 22, 2025. All resources use the actual annual avoided cost of capacity ($/kW-Yr) (column F, AVC Energy & Capacity tab, Table 2) for the avoided cost of capacity. The planning reserve margin (PRM) of 9% is then added. This is seen on tab AVC Energy & Capacity column M row 47-73.
| Avoided cost of transmission | X | X | X | NS Power avoided costs provided to E1 December 22, 2025. All resources use the system-wide avoided cost of transmission (column C, AVC T&D tab) and the system-wide avoided cost of distribution (column D, AVC T&D tab).
| Avoided cost of distribution | X | X | X | NS Power avoided costs provided to E1 December 22, 2025. All resources use the system-wide avoided cost of transmission (column C, AVC T&D tab) and the system-wide avoided cost of distribution (column D, AVC T&D tab).
| Avoided cost of carbon | Embedded in the NS Power avoided costs of energy. |  |  | NS Power avoided costs provided to E1 December 22, 2025. Embedded in the NS Power avoided costs of energy.
| Program administration | X | X | X | Energy Efficiency administrative costs are currently based on average administrative cost profiles by program over the last four years (i.e., 2021-2024) for program support and other direct costs. It also includes estimates for marketing and evaluation costs by program and direct FTE costs based on the current FTE allocator and any incremental FTEs expected to be added at this time. Solar-PV administrative costs: Solar-PV admin costs include estimates of marketing and evaluation plus fully allocated FTE costs for the estimated direct FTEs that would be required. Demand Response administrative costs have been updated from the 2023-2025 Plan model with information from E1 experience delivering demand response.
| Program financial incentives | X | X | X | Historical and current incentive levels were used as a starting point for existing measures. As appropriate, these incentive levels were adjusted to account for historical experience, identified trends, future expectations and/or specific measure or program goals. Incentive levels continue to be reviewed and analyzed in accordance with E1's Incentive Setting Methodology to confirm incentive levels fall within a reasonable range. For new measures, incentives were developed using E1's Incentive Setting Methodology.
Discount Rate | NS Power Weighted Average Cost of Capital (WACC) | X | X | X | 6.65% NS Power 2025 WACC rate. Effective April 1, 2025. M11990, NS Power Application for Approval of its 2025 pre-tax WACC/AFUDC Rate, Board Order, March 31, 2025.

## AVC Energy Seasonal
Difference In Revenue Requirement
Input Assumptions
Nominal WACC (2025) | 6.65%
Inflation | 2%
Real WACC (Energy/Capacity) | 4.559%
Table 1 - On Peak Winter Avoided Energy Costs | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | 3582.2015 | 23.07 |  | 155.2753 | 205.8317 | 160.2403 | 4748.5375 | 3696.7444 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE) - Peak period: December-February weekdays 6am-10pm
2028 |  | 1819.572 | 45.73 |  | 39.7895 | 205.8317 | 163.4451 | 9412.6841 | 7474.3461
2029 |  | 6406.1531 | 76.02 |  | 84.2693 | 205.8317 | 166.714 | 15647.3266 | 12673.6013
2030 |  | 8857.0684 | 84.06 |  | 105.366 | 205.8317 | 170.0483 | 17302.2135 | 14294.2619
2031 |  | 15950.5046 | 105.77 |  | 150.8037 | 205.8317 | 173.4493 | 21770.8199 | 18345.7312
2032 |  | 19581.6951 | 124.96 |  | 156.7037 | 205.8317 | 176.9183 | 25720.7304 | 22107.7074
2033 |  | 24218.0983 | 131.48 |  | 184.1961 | 205.8317 | 180.4566 | 27062.7532 | 23726.4389
2034 |  | 28315.4868 | 146.47 |  | 193.3194 | 205.8317 | 184.0658 | 30148.1705 | 26960.1136
2035 |  | 32648.4855 | 178.89 |  | 182.5059 | 205.8317 | 187.7471 | 36821.2345 | 33586.0764
2036 |  | 40862.5289 | 208.97 |  | 195.5426 | 205.8317 | 191.502 | 43012.6523 | 40018.179
2037 |  | 49438.2911 | 223.39 |  | 221.3093 | 205.8317 | 195.3321 | 45980.7456 | 43635.231
2038 |  | 54542.5382 | 243.33 |  | 224.1505 | 205.8317 | 199.2387 | 50085.0299 | 48480.7555
2039 |  | 58810.5639 | 252.2 |  | 233.1902 | 205.8317 | 203.2235 | 51910.7571 | 51252.9629
2040 |  | 65936.212 | 263.19 |  | 250.527 | 205.8317 | 207.288 | 54172.8476 | 54556.1168
2041 |  | 68143.0191 | 294.1 |  | 231.7002 | 205.8317 | 211.4337 | 60535.1058 | 62182.6552
2042 |  | 79437.3399 | 302.35 |  | 262.7331 | 205.8317 | 215.6624 | 62233.2174 | 65205.523
2043 |  | 77615.3263 | 303.07 |  | 256.097 | 205.8317 | 219.9756 | 62381.4162 | 66668.0159
2044 |  | 67267.2068 | 307.78 |  | 218.5561 | 205.8317 | 224.3751 | 63350.8835 | 69058.1832
2045 |  | 66824.5726 | 291.7 |  | 229.0866 | 205.8317 | 228.8627 | 60041.1097 | 66759.2354
2046 |  | 66645.1898 | 300.09 |  | 222.084 | 205.8317 | 233.4399 | 61768.0377 | 70052.9809
2047 |  | 93893.0841 | 354.37 |  | 264.9578 | 205.8317 | 238.1087 | 72940.5829 | 84378.5809
2048 |  | 68305.276 | 353.03 |  | 193.4829 | 205.8317 | 242.8709 | 72664.7684 | 85740.7056
2049 |  | 68187.5713 | 353.37 |  | 192.9637 | 205.8317 | 247.7283 | 72734.7512 | 87539.7473
2050 |  | 79920.729 | 317.25 |  | 251.9172 | 205.8317 | 252.6829 | 65300.1098 | 80163.6374
NPV (2027$) - Nominal |  | 457198.0226 | 2221.2225 | 2853.2019 |  |  |  | 457198.0226 | 457198.0226
Table 2 - Off Peak Winter Avoided Energy Costs | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | -35.9154 | 20.73 |  | -1.7325 | 169.628 | 131.3775 | 3516.3885 | 2723.4549 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE) - Off-peak period: December-February; weekdays 10pm-6am and full weekends
2028 |  | -2111.913 | 37.54 |  | -56.2577 | 169.628 | 134.005 | 6367.8351 | 5030.5484
2029 |  | 1171.5389 | 89.19 |  | 13.1353 | 169.628 | 136.6851 | 15129.1214 | 12190.9458
2030 |  | 5474.469 | 83.49 |  | 65.5704 | 169.628 | 139.4188 | 14162.2418 | 11640.0774
2031 |  | 10281.0835 | 87.67 |  | 117.2703 | 169.628 | 142.2072 | 14871.2868 | 12467.3051
2032 |  | 16582.7681 | 121.8 |  | 136.1475 | 169.628 | 145.0513 | 20660.6905 | 17667.2535
2033 |  | 22296.4206 | 131.49 |  | 169.5674 | 169.628 | 147.9524 | 22304.3858 | 19454.257
2034 |  | 28360.4778 | 158.42 |  | 179.0208 | 169.628 | 150.9114 | 26872.4679 | 23907.3866
2035 |  | 31528.62 | 185.25 |  | 170.195 | 169.628 | 153.9296 | 31423.5871 | 28515.4667
2036 |  | 37393.6326 | 220.7 |  | 169.432 | 169.628 | 157.0082 | 37436.8998 | 34651.718
2037 |  | 39346.5679 | 226.23 |  | 173.9229 | 169.628 | 160.1484 | 38374.9426 | 36230.373
2038 |  | 49365.8066 | 265.78 |  | 185.7394 | 169.628 | 163.3514 | 45083.73 | 43415.5272
2039 |  | 54016.6103 | 286.91 |  | 188.2702 | 169.628 | 166.6184 | 48667.9697 | 47804.4845
2040 |  | 58576.0359 | 285.56 |  | 205.1269 | 169.628 | 169.9508 | 48438.9719 | 48531.1406
2041 |  | 64108.9297 | 309.81 |  | 206.9298 | 169.628 | 173.3498 | 52552.4509 | 53705.4956
2042 |  | 65933.6662 | 308.11 |  | 213.9939 | 169.628 | 176.8168 | 52264.0833 | 54479.017
2043 |  | 68775.7461 | 319.63 |  | 215.173 | 169.628 | 180.3531 | 54218.1979 | 57646.2652
2044 |  | 72791.1764 | 349.63 |  | 208.1949 | 169.628 | 183.9602 | 59307.0379 | 64317.9957
2045 |  | 60786.3935 | 325 |  | 187.0351 | 169.628 | 187.6394 | 55129.1002 | 60982.7978
2046 |  | 63377.1402 | 339.07 |  | 186.9146 | 169.628 | 191.3922 | 57515.7662 | 64895.3415
2047 |  | 84972.8729 | 378.53 |  | 224.4812 | 169.628 | 195.22 | 64209.2871 | 73896.6299
2048 |  | 57818.6048 | 363.11 |  | 159.2317 | 169.628 | 199.1244 | 61593.6233 | 72304.0641
2049 |  | 63254.8683 | 401.01 |  | 157.7389 | 169.628 | 203.1069 | 68022.5246 | 81447.8968
2050 |  | 65707.3807 | 380.17 |  | 172.8368 | 169.628 | 207.169 | 64487.477 | 78759.452
NPV (2027$) - Nominal |  | 398259.9407 | 2347.8432 | 3031.4174 |  |  |  | 398259.9407 | 398259.9407
Table 3 - On Peak Non-Winter Avoided Energy Costs | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | 2313.8174 | 32.27 |  | 71.7018 | 117.9231 | 92.7276 | 3805.3768 | 2992.3202 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE) - Non-winter period: March-November, weekdays 6am-10pm
2028 |  | 5779.936 | 86.09 |  | 67.1383 | 117.9231 | 94.5822 | 10151.9954 | 8142.5788
2029 |  | 12603.4151 | 165.85 |  | 75.9929 | 117.9231 | 96.4738 | 19557.5379 | 16000.1816
2030 |  | 22988.2243 | 180.89 |  | 127.084 | 117.9231 | 98.4033 | 21331.1006 | 17800.1707
2031 |  | 24611.5797 | 202.76 |  | 121.3828 | 117.9231 | 100.3714 | 23910.0777 | 20351.2956
2032 |  | 27098.3367 | 241.44 |  | 112.2363 | 117.9231 | 102.3788 | 28471.3413 | 24718.3327
2033 |  | 38335.316 | 299.95 |  | 127.8057 | 117.9231 | 104.4264 | 35371.019 | 31322.6855
2034 |  | 48630.9436 | 414.6 |  | 117.2961 | 117.9231 | 106.5149 | 48890.8968 | 44161.0705
2035 |  | 40017.1406 | 346.78 |  | 115.3963 | 117.9231 | 108.6452 | 40893.3555 | 37675.9758
2036 |  | 39845.8261 | 381.21 |  | 104.5246 | 117.9231 | 110.8181 | 44953.4461 | 42244.9619
2037 |  | 42543.1554 | 357.57 |  | 118.9785 | 117.9231 | 113.0344 | 42165.7452 | 40417.7269
2038 |  | 48788.4026 | 380.04 |  | 128.377 | 117.9231 | 115.2951 | 44815.4761 | 43816.7631
2039 |  | 47986.9377 | 392.72 |  | 122.1912 | 117.9231 | 117.601 | 46310.7404 | 46184.2795
2040 |  | 54747.9698 | 488.09 |  | 112.1678 | 117.9231 | 119.9531 | 57557.0617 | 58547.8883
2041 |  | 51797.5987 | 463.54 |  | 111.7435 | 117.9231 | 122.3521 | 54662.0508 | 56715.1015
2042 |  | 58437.3213 | 519.73 |  | 112.4378 | 117.9231 | 124.7992 | 61288.1471 | 64861.8685
2043 |  | 66501.5591 | 536.61 |  | 123.929 | 117.9231 | 127.2951 | 63278.6882 | 68307.8479
2044 |  | 58629.3227 | 513.63 |  | 114.147 | 117.9231 | 129.841 | 60568.8165 | 66690.2576
2045 |  | 89943.1532 | 618.18 |  | 145.4967 | 117.9231 | 132.4379 | 72897.6714 | 81870.4419
2046 |  | 74945.7384 | 550.51 |  | 136.1387 | 117.9231 | 135.0866 | 64917.8186 | 74366.5387
2047 |  | 80809.7868 | 573.88 |  | 140.813 | 117.9231 | 137.7884 | 67673.6802 | 79073.9835
2048 |  | 43971.0036 | 555.01 |  | 79.2256 | 117.9231 | 140.5441 | 65448.4723 | 78003.3955
2049 |  | 66007.5746 | 561.33 |  | 117.5914 | 117.9231 | 143.355 | 66193.746 | 80469.467
2050 |  | 80756.4984 | 459.68 |  | 175.6798 | 117.9231 | 146.2221 | 54206.8679 | 67215.379
NPV (2027$) - Nominal |  | 476919.5082 | 4044.3281 | 5143.2306 |  |  |  | 476919.5082 | 476919.5082
Table 3 - Off Peak Non-Winter Avoided Energy Costs | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | -2843.4777 | 32.98 |  | -86.2182 | 114.0571 | 88.0064 | 3761.6034 | 2902.4514 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE) - Non-winter period: March-November, weekdays 10pm-6am and full weekends
2028 |  | 3451.1115 | 88.74 |  | 38.8901 | 114.0571 | 89.7665 | 10121.4276 | 7965.8826
2029 |  | 7657.9782 | 209.03 |  | 36.6358 | 114.0571 | 91.5619 | 23841.3568 | 19139.1774
2030 |  | 21210.77 | 207.22 |  | 102.3587 | 114.0571 | 93.3931 | 23634.9135 | 19352.9194
2031 |  | 25541.9796 | 229.77 |  | 111.1632 | 114.0571 | 95.261 | 26206.9012 | 21888.1126
2032 |  | 30643.999 | 280.79 |  | 109.1349 | 114.0571 | 97.1662 | 32026.0947 | 27283.2937
2033 |  | 45331.4571 | 388.49 |  | 116.6863 | 114.0571 | 99.1095 | 44310.045 | 38503.054
2034 |  | 55474.4711 | 524.59 |  | 105.7482 | 114.0571 | 101.0917 | 59833.2172 | 53031.6956
2035 |  | 51472.6073 | 447.85 |  | 114.9327 | 114.0571 | 103.1135 | 51080.4749 | 46179.3968
2036 |  | 54652.7416 | 523.92 |  | 104.3151 | 114.0571 | 105.1758 | 59756.7989 | 55103.7083
2037 |  | 55675.2959 | 513.36 |  | 108.4527 | 114.0571 | 107.2793 | 58552.3559 | 55072.9128
2038 |  | 61601.171 | 536.66 |  | 114.7862 | 114.0571 | 109.4249 | 61209.8864 | 58723.9714
2039 |  | 72583.3562 | 597.61 |  | 121.4561 | 114.0571 | 111.6134 | 68161.667 | 66701.288
2040 |  | 88222.336 | 711.66 |  | 123.967 | 114.0571 | 113.8457 | 81169.8799 | 81019.413
2041 |  | 89796.0141 | 721.4 |  | 124.4747 | 114.0571 | 116.1226 | 82280.7962 | 83770.8353
2042 |  | 103563.1987 | 824.69 |  | 125.5783 | 114.0571 | 118.445 | 94061.7546 | 97680.4402
2043 |  | 106228.855 | 842.68 |  | 126.0607 | 114.0571 | 120.8139 | 96113.642 | 101807.4918
2044 |  | 106380.6795 | 832.8 |  | 127.7386 | 114.0571 | 123.2302 | 94986.7577 | 102626.127
2045 |  | 128645.9854 | 968.45 |  | 132.837 | 114.0571 | 125.6948 | 110458.6042 | 121729.1525
2046 |  | 116174.9532 | 902.85 |  | 128.6758 | 114.0571 | 128.2087 | 102976.458 | 115753.2434
2047 |  | 128708.4529 | 960.23 |  | 134.0392 | 114.0571 | 130.7729 | 109521.0547 | 125572.057
2048 |  | 111750.3774 | 1042.61 |  | 107.1833 | 114.0571 | 133.3884 | 118917.0791 | 139072.0307
2049 |  | 127523.915 | 1107.66 |  | 115.1291 | 114.0571 | 136.0561 | 126336.4939 | 150703.9219
2050 |  | 129746.7653 | 978.76 |  | 132.5624 | 114.0571 | 138.7772 | 111634.5329 | 135829.6138
NPV (2027$) - Nominal |  | 674239.8446 | 5911.4234 | 7661.2584 |  |  |  | 674239.8446 | 674239.8446
Levelized- AVC Energy =
Levelized- AVC Energy = 467,024/2,265=$206∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 467,024/2,913=$160∕𝑀𝑊ℎ
Levelized- AVC Energy =
Levelized- AVC Energy = 407,105/2,395=$170∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 407,105/3,096=$131∕𝑀𝑊ℎ
Levelized- AVC Energy =
Levelized- AVC Energy = 486,309/4,121=$118∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 486,309/5,247=$93∕𝑀𝑊ℎ
Levelized- AVC Energy =
Levelized- AVC Energy = 688,951/6,033=$114∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 688,951/7,828=$88∕𝑀𝑊ℎ

## AVC Energy & Capacity
Difference In Revenue Requirement
Energy | 2004142.2668
Capacity | 501963.0968
Total | 2506105.3636
Input Assumptions
Nominal WACC (2025) | 6.65%
Inflation | 2%
Real WACC (Energy/Capacity) | 4.559%
Table 1 - Avoided Energy Cost (DSM) | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | 3016.6928 | 109.07 |  | 27.6583 | 137.9805 | 107.2358 | 15049.5359 | 11696.2084
2028 |  | 6298.7565 | 258.1 |  | 24.4043 | 137.9805 | 109.3805 | 35612.7736 | 28231.1105
2029 |  | 27839.0937 | 540.06 |  | 51.5481 | 137.9805 | 111.5681 | 74517.7624 | 60253.4807
2030 |  | 58530.5586 | 555.68 |  | 105.3314 | 137.9805 | 113.7995 | 76673.0182 | 63236.0983
2031 |  | 76385.1958 | 625.94 |  | 122.0328 | 137.9805 | 116.0755 | 86367.5299 | 72656.2832
2032 |  | 93906.8058 | 768.97 |  | 122.1202 | 137.9805 | 118.397 | 106102.8845 | 91043.7297
2033 |  | 130181.2906 | 951.42 |  | 136.8284 | 137.9805 | 120.7649 | 131277.4313 | 114898.1648
2034 |  | 160781.4093 | 1244.09 |  | 129.2362 | 137.9805 | 123.1802 | 171660.1916 | 153247.2841
2035 |  | 155666.9004 | 1158.79 |  | 134.3357 | 137.9805 | 125.6438 | 159890.4528 | 145594.8112
2036 |  | 172754.8076 | 1334.75 |  | 129.4286 | 137.9805 | 128.1567 | 184169.506 | 171057.1611
2037 |  | 187003.2889 | 1320.57 |  | 141.608 | 137.9805 | 130.7198 | 182212.9422 | 172624.6971
2038 |  | 214297.9569 | 1425.79 |  | 150.3012 | 137.9805 | 133.3342 | 196731.253 | 190106.6192
2039 |  | 233397.575 | 1529.45 |  | 152.6023 | 137.9805 | 136.0009 | 211034.3143 | 208006.607
2040 |  | 267482.5506 | 1748.52 |  | 152.9765 | 137.9805 | 138.7209 | 241261.7079 | 242556.3351
2041 |  | 273845.5016 | 1788.86 |  | 153.0838 | 137.9805 | 141.4954 | 246827.8423 | 253115.3845
2042 |  | 307371.6413 | 1954.91 |  | 157.2306 | 137.9805 | 144.3253 | 269739.5085 | 282142.9023
2043 |  | 319121.5035 | 2002.01 |  | 159.4006 | 137.9805 | 147.2118 | 276238.3912 | 294719.4347
2044 |  | 305068.3709 | 2003.81 |  | 152.2442 | 137.9805 | 150.156 | 276486.7562 | 300884.1042
2045 |  | 346200.0885 | 2203.34 |  | 157.1251 | 137.9805 | 153.1591 | 304018.0104 | 337461.6265
2046 |  | 321143.0416 | 2092.55 |  | 153.4697 | 137.9805 | 156.2223 | 288731.148 | 326902.9896
2047 |  | 388384.2051 | 2266.99 |  | 171.3215 | 137.9805 | 159.3468 | 312800.4708 | 361237.4971
2048 |  | 281845.2454 | 2313.77 |  | 121.8121 | 137.9805 | 162.5337 | 319255.1998 | 376065.573
2049 |  | 324973.8708 | 2423.36 |  | 134.1005 | 137.9805 | 165.7844 | 334376.4855 | 401755.1927
2050 |  | 356131.375 | 2135.86 |  | 166.7391 | 137.9805 | 169.1 | 294707.0845 | 361174.0323
NPV (2027$) - Nominal |  | 2004142.2668 | 14524.8198 | 18689.1161 |  |  |  | 2004142.2668 | 2004142.2668
Inclusive of PRM
Table 2 - Avoided Capacity Cost (DSM) | [11 empty] | Actual Annual AVC Capacity ($/kW-Yr)
Year |  | Annual Avoided Capacity Costs ($000) | ∆ Capacity (MW) |  | Actual Annual AVC Capacity ($/kW-Yr) | Levelized AVC- Capacity ($/kW-Yr) | Equiv. Escal. Series - AVC - Capacity ($/kW-yr) | Annual Avoided Capacity Costs ($000) - Levelized | Annual Avoided Capacity Costs ($000) - Equiv. Escal. Series | Levelized AVC- Capacity ($/kW-Yr) | Equiv. Escal. Series - AVC - Capacity ($/kW-yr)
|  |  | Nominal WACC | Real WACC
2027 |  | 5647.7972 | 12 |  | 470.6498 | 210.4877 | 164.1683 | 2525.8527 | 1970.019 | 229.4316 | 178.9434 | 513.0083
2028 |  | 2753.9535 | 12 |  | 229.4961 | 210.4877 | 167.4516 | 2525.8527 | 2009.4194 | 229.4316 | 182.5223 | 250.1508
2029 |  | 27244.7463 | 65.5 |  | 415.9503 | 210.4877 | 170.8007 | 13786.946 | 11187.4426 | 229.4316 | 186.1727 | 453.3859
2030 |  | 39395.9014 | 113 |  | 348.6363 | 210.4877 | 174.2167 | 23785.113 | 19686.483 | 229.4316 | 189.8962 | 380.0136
2031 |  | 39220.6042 | 113 |  | 347.085 | 210.4877 | 177.701 | 23785.113 | 20080.2127 | 229.4316 | 193.6941 | 378.3226
2032 |  | 52125.3962 | 154.5 |  | 337.3812 | 210.4877 | 181.255 | 32520.3536 | 28003.9001 | 229.4316 | 197.568 | 367.7455
2033 |  | 43486.3954 | 119 |  | 365.4319 | 210.4877 | 184.8801 | 25048.0394 | 22000.734 | 229.4316 | 201.5193 | 398.3208
2034 |  | 67561.8467 | 269 |  | 251.1593 | 210.4877 | 188.5777 | 56621.1982 | 50727.4066 | 229.4316 | 205.5497 | 273.7636
2035 |  | 53081.6996 | 215.5 |  | 246.3188 | 210.4877 | 192.3493 | 45360.1049 | 41451.2686 | 229.4316 | 209.6607 | 268.4875
2036 |  | 60506.6224 | 306 |  | 197.7341 | 210.4877 | 196.1963 | 64409.2441 | 60036.0554 | 229.4316 | 213.8539 | 215.5301
2037 |  | 40983.8211 | 168 |  | 243.9513 | 210.4877 | 200.1202 | 35361.9379 | 33620.1911 | 229.4316 | 218.131 | 265.9069
2038 |  | 66679.8071 | 315 |  | 211.6819 | 210.4877 | 204.1226 | 66303.6336 | 64298.6154 | 229.4316 | 222.4936 | 230.7333
2039 |  | 36775.327 | 217 |  | 169.4716 | 210.4877 | 208.205 | 45675.8365 | 45180.4937 | 229.4316 | 226.9435 | 184.724
2040 |  | 49157.0414 | 319.5 |  | 153.8562 | 210.4877 | 212.3691 | 67250.8284 | 67851.9406 | 229.4316 | 231.4824 | 167.7032
2041 |  | 33871.5744 | 269 |  | 125.9166 | 210.4877 | 216.6165 | 56621.1982 | 58269.8449 | 229.4316 | 236.112 | 137.2491
2042 |  | 37861.1427 | 278 |  | 136.1912 | 210.4877 | 220.9489 | 58515.5878 | 61423.7815 | 229.4316 | 240.8343 | 148.4484
2043 |  | 37816.1705 | 278 |  | 136.0294 | 210.4877 | 225.3678 | 58515.5878 | 62652.2572 | 229.4316 | 245.6509 | 148.272
2044 |  | 51284.1931 | 380.5 |  | 134.7811 | 210.4877 | 229.8752 | 80090.5796 | 87467.5091 | 229.4316 | 250.564 | 146.9114
2045 |  | 27680.7055 | 242.5 |  | 114.1472 | 210.4877 | 234.4727 | 51043.2735 | 56859.6278 | 229.4316 | 255.5752 | 124.4205
2046 |  | 30963.8924 | 242.5 |  | 127.6862 | 210.4877 | 239.1621 | 51043.2735 | 57996.8203 | 229.4316 | 260.6867 | 139.1779
2047 |  | 56927.1749 | 383.5 |  | 148.4411 | 210.4877 | 243.9454 | 80722.0428 | 93553.0565 | 229.4316 | 265.9005 | 161.8008
2048 |  | 55665.9286 | 377.5 |  | 147.4594 | 210.4877 | 248.8243 | 79459.1165 | 93931.1719 | 229.4316 | 271.2185 | 160.7308
2049 |  | 67244.7232 | 389.5 |  | 172.6437 | 210.4877 | 253.8008 | 81984.9692 | 98855.4047 | 229.4316 | 276.6429 | 188.1816
2050 |  | 67289.791 | 395.5 |  | 170.1385 | 210.4877 | 258.8768 | 83247.8955 | 102385.7736 | 229.4316 | 282.1757 | 185.451
25-yr NPV (2027$) |  | 501963.0968 | 2384.7618 | 3057.6137 |  |  |  | 501963.0968 | 501963.0968
Basic
Capacity Adjustment for Planning Reserve Margin
Metric | Basic Value | PRM adder (UCAP) | Final Value
Levelized | 210.4877 | 9% | 229.4316
Equiv. Escal. Series | 164.1683 | 9% | 178.9434
Levelized- AVC Energy =
Levelized- AVC Energy = 2,046,910/14,815=$138∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 2,046,910/19,085=$107∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Capacity =
Equiv. Escalating Series - AVC Capacity = 639,388/6,310=$163∕〖𝑘𝑊−𝑌𝑟〗
Levelized- AVC Capacity =
Levelized- AVC Capacity = 510,232/2,432=$210∕〖𝑘𝑊−𝑌𝑟〗

## AVC T&D
Input Assumptions
Inflation | 2%
Table 1 - System Wide Avoided T&D Costs |  |  |  | Table 2 - Constrained System Avoided T&D Costs
Year | Transmission $/kW-yr | Distribution $/kW-yr | Total $/kW-yr | Avoided T&D Costs | Transmission $/kW-yr | Distribution $/kW-yr | Total $/kW-yr
2023 | 28.3241 | 30.4417 | 58.7658 | 2023 | 82.9942 | 89.1989 | 172.1931
2024 | 28.8906 | 31.0505 | 59.9411 | 2024 | 84.654 | 90.9829 | 175.637
2025 | 29.4684 | 31.6715 | 61.14 | 2025 | 86.3471 | 92.8026 | 179.1497
2026 | 30.0578 | 32.305 | 62.3628 | 2026 | 88.0741 | 94.6586 | 182.7327
2027 | 30.659 | 32.9511 | 63.61 | 2027 | 89.8356 | 96.5518 | 186.3874
2028 | 31.2721 | 33.6101 | 64.8822 | 2028 | 91.6323 | 98.4828 | 190.1151
2029 | 31.8976 | 34.2823 | 66.1799 | 2029 | 93.4649 | 100.4525 | 193.9174
2030 | 32.5355 | 34.9679 | 67.5035 | 2030 | 95.3342 | 102.4615 | 197.7958
2031 | 33.1862 | 35.6673 | 68.8535 | 2031 | 97.2409 | 104.5108 | 201.7517
2032 | 33.85 | 36.3806 | 70.2306 | 2032 | 99.1857 | 106.601 | 205.7867
2033 | 34.527 | 37.1083 | 71.6352 | 2033 | 101.1694 | 108.733 | 209.9024
2034 | 35.2175 | 37.8504 | 73.0679 | 2034 | 103.1928 | 110.9077 | 214.1005
2035 | 35.9219 | 38.6074 | 74.5293 | 2035 | 105.2567 | 113.1258 | 218.3825
2036 | 36.6403 | 39.3796 | 76.0199 | 2036 | 107.3618 | 115.3883 | 222.7501
2037 | 37.3731 | 40.1672 | 77.5403 | 2037 | 109.509 | 117.6961 | 227.2052
2038 | 38.1206 | 40.9705 | 79.0911 | 2038 | 111.6992 | 120.05 | 231.7493
2039 | 38.883 | 41.7899 | 80.6729 | 2039 | 113.9332 | 122.451 | 236.3842
2040 | 39.6606 | 42.6257 | 82.2863 | 2040 | 116.2119 | 124.9001 | 241.1119
2041 | 40.4538 | 43.4782 | 83.9321 | 2041 | 118.5361 | 127.3981 | 245.9342
2042 | 41.2629 | 44.3478 | 85.6107 | 2042 | 120.9068 | 129.946 | 250.8528
2043 | 42.0882 | 45.2348 | 87.3229 | 2043 | 123.325 | 132.5449 | 255.8699
2044 | 42.9299 | 46.1394 | 89.0694 | 2044 | 125.7915 | 135.1958 | 260.9873
2045 | 43.7885 | 47.0622 | 90.8508 | 2045 | 128.3073 | 137.8998 | 266.207
2046 | 44.6643 | 48.0035 | 92.6678 | 2046 | 130.8734 | 140.6577 | 271.5312
2047 | 45.5576 | 48.9636 | 94.5211 | 2047 | 133.4909 | 143.4709 | 276.9618
2048 | 46.4687 | 49.9428 | 96.4116 | 2048 | 136.1607 | 146.3403 | 282.501
2049 | 47.3981 | 50.9417 | 98.3398 | 2049 | 138.8839 | 149.2671 | 288.1511
2050 | 48.3461 | 51.9605 | 100.3066 | 2050 | 141.6616 | 152.2525 | 293.9141

## Low-Income & Equity Assumptions
Type | Program Component | Assumptions | Calculation
Dedicated Low-Income & Equity Program Components | Affordable Multifamily Housing and Non-Profit Organizations (AMF) | Exclusively serves and benefits low income & equity communities. Focus is on low-income renters and non-profits that provide shelter or serve as community hubs. Assumed that 100% of savings are low-income & equity savings. | Low-income & equity AMF savings = total AMF savings. The same calculations are applied to energy savings, peak demand savings, and program expenditures.
| Affordable Single-family Homes (ASFH) | Exclusively serves and benefits low income & equity communities (100%). Focus is on lower-income qualified homeowners. Assumed that 100% of savings are low-income & equity savings. | Low-income & equity ASFH savings = total ASFH savings. The same calculations are applied to energy savings, peak demand savings, and program expenditures.
| Mi’kmaw Home Energy Efficiency Project (MHEEP) | Exclusively serves and benefits low income & equity communities (100%). Focus is on Mi'kmaw communities and community members who have the greatest need. Assumed that 100% of savings are low-income & equity savings. | Low-income & equity MHEEP savings = total MHEEP savings. The same calculations are applied to energy savings, peak demand savings, and program expenditures.
| Mi'kmaw New Home Construction | Exclusively serves and benefits low income & equity communities (100%). Focus is on Mi'kmaw communities. Assumed that 100% of savings are low-income & equity savings. | Low-income & equity Mi'kmaw New Home Construction savings = total Mi'kmaw New Home Construction savings. The same calculations are applied to energy savings, peak demand savings, and program expenditures.
| Residential Solar-PV | Exclusively serves and benefits low income & equity communities (100%). Focus is on Mi'kmaw communities and directly tied to Mi'kmaw New Home Construction participants. Assumed that 100% of savings are low-income & equity savings. | Low-income & equity Residential Solar-PV savings = total Residential Solar-PV savings. The same calculations are applied to estimated generation, installed capacity, and program expenditures. * As a new DSM resource, the Solar-PV program has a proposed standalone performance target with impacts reported separately alongside the low-income and equity energy savings from dedicated energy efficiency program components.
Incidental Low-income & Equity Impacts from Non-Targeted Program Components | Efficient Product Installation (EPI) | Estimates were scaled based on the reported 2023 and 2024 incidental low-income & equity impacts. In 2023 and 2024, low-income & equity participation in EPI represented: • 37% of energy savings • 41% of demand savings • 34% of expenditures The reported 2023 and 2024 incidental low-income & equity impacts are based on E1's current low-income & equity estimation methodology (updated in 2025 and filed with the 2026 DSM Extension Application on April 30, 2025). For further clarity, the reported 2023 and 2024 low-income and equity actuals were calculated using the 2025 updated estimation methodology. | Incidental low-income & equity EPI energy savings = (total EPI energy savings) * (37%) Incidental low-income & equity EPI demand savings = (total EPI demand savings) * (41%) Incidental low-income EPI expenditures = (total EPI expenditures) * (34%)
| Business Energy Rebates (BER) | Estimates were scaled based on the reported 2023 and 2024 incidental low-income & equity impacts. In 2023 and 2024, low-income & equity participation in BER represented: • 0.2% of energy savings • 0.4 % of demand savings • 0.02% of expenditures The reported 2023 and 2024 incidental low-income & equity impacts are based on E1's current low-income & equity estimation methodology (updated in 2025 and filed with the 2026 DSM Extension Application on April 30, 2025). For further clarity, the reported 2023 and 2024 low-income and equity actuals were calculated using the 2025 updated estimation methodology. | Low-income & equity BER energy savings = (total BER energy savings) * (0.2%) Low-income & equity BER demand savings = (total BER demand savings) * (0.4%) Low-income & equity BER expenditures = (total BER expenditures) * (0.02%)
| Custom | Estimates were scaled based on the reported 2023 and 2024 incidental low-income & equity impacts. In 2023 and 2024, low-income & equity participation in Custom represented: • 0.3% of energy savings • 0.03% of demand savings • 0.5% of expenditures The reported 2023 and 2024 incidental low-income & equity impacts are based on E1's current low-income & equity estimation methodology (updated in 2025 and filed with the 2026 DSM Extension Application on April 30, 2025). For further clarity, the reported 2023 and 2024 low-income and equity actuals were calculated using the 2025 updated estimation methodology. | Incidental low-income & equity Custom energy savings = (total Custom energy savings) * (0.3%) Incidental low-income & equity Custom demand savings = (total Custom demand savings) * (0.03%) Incidental low-income & equity Custom expenditures = (total Custom expenditures) * (0.5%)
| Small Business Energy Solutions (SBES) | Estimates were scaled based on the reported 2023 and 2024 incidental low-income & equity impacts. In 2023 and 2024, low-income & equity participation in SBES represented: • 0.7% of energy savings • 1.7% of demand savings • 1.1% of expenditures The reported 2023 and 2024 incidental low-income & equity impacts are based on E1's current low-income & equity estimation methodology (updated in 2025 and filed with the 2026 DSM Extension Application on April 30, 2025). For further clarity, the reported 2023 and 2024 low-income and equity actuals were calculated using the 2025 updated estimation methodology. | Incidental low-income & equity SBES energy savings = (total SBES energy savings) * (0.7%) Incidental low-income & equity SBES demand savings = (total SBES demand savings) * (1.7%) Incidental low-income & equity SBES expenditures = (total SBES expenditures) * (1.1%)
·

## Abbreviations
Abbreviations
AFUDC | Allowance for Funds Used During Construction
COSS | Cost of Service Study
DRSim Model | Guidehouse model (Demand Response)
EUL | Effective Useful Life
FTE | Full-time equivalent(s)
NTG | Net-to-Gross
ProCESS Model | Guidehouse model (EE, SE, Solar PV)
WACC | Weighted Average Cost of Capital