## Release Notes
Release Notes - 2025-12
1. This revision updates the Avoided Cost of Energy and Capacity values for the No EE, No DR scenario using the Reliability Intertie PLEXOS model as the base model, with minor updates specific to this analysis.
2. Seasonal Avoided Energy Costs for the No EE, No DR scenario are broken out in the AVC no EE, no DR (Seasonal) tab.
3. The cost of carbon is embedded in the Avoided Cost of Energy values depicted on the tabs "AVC no EE, no DR(Total)" and "AVC no EE, no DR (Seasonal)", but its contribution to the avoided cost of energy has been broken out seperately on the "AVC Carbon" and "AVC Carbon Seasonal" tabs.
4. The transmission and distribution were not in scope for this interim refresh of the avoided costs and remain the same as the values provided to the DSMAG in August 2024.

## AVC no EE, no DR (Total)
Difference In Revenue Requirement |  |  |  | Corrected After submission
Energy | 2006617.8819
Capacity | 501963.0968
Total | 2508580.9787
Input Assumptions
Nominal WACC (2025) | 6.65%
Inflation | 2%
Real WACC (Energy/Capacity) | 4.559%
Table 1 - Avoided Energy Cost (DSM) | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | 3016.6928 | 109.07 |  | 27.6583 | 138.151 | 107.3683 | 15068.1258 | 11710.6561
2028 |  | 8939 | 258.1 |  | 34.6339 | 138.151 | 109.5156 | 35656.7642 | 28265.9829
2029 |  | 27839.0937 | 540.06 |  | 51.5481 | 138.151 | 111.7059 | 74609.8104 | 60327.9088
2030 |  | 58530.5586 | 555.68 |  | 105.3314 | 138.151 | 113.9401 | 76767.7285 | 63314.2107
2031 |  | 76385.1958 | 625.94 |  | 122.0328 | 138.151 | 116.2189 | 86474.2154 | 72746.0318
2032 |  | 93906.8058 | 768.97 |  | 122.1202 | 138.151 | 118.5432 | 106233.948 | 91156.1914
2033 |  | 130181.2906 | 951.42 |  | 136.8284 | 138.151 | 120.9141 | 131439.5916 | 115040.0927
2034 |  | 160781.4093 | 1244.09 |  | 129.2362 | 138.151 | 123.3324 | 171872.2347 | 153436.5826
2035 |  | 155666.9004 | 1158.79 |  | 134.3357 | 138.151 | 125.799 | 160087.9573 | 145774.6571
2036 |  | 172754.8076 | 1334.75 |  | 129.4286 | 138.151 | 128.315 | 184397.0012 | 171268.4594
2037 |  | 187003.2889 | 1320.57 |  | 141.608 | 138.151 | 130.8813 | 182438.0205 | 172837.9316
2038 |  | 214297.9569 | 1425.79 |  | 150.3012 | 138.151 | 133.4989 | 196974.2651 | 190341.4483
2039 |  | 233397.575 | 1529.45 |  | 152.6023 | 138.151 | 136.1689 | 211294.9942 | 208263.547
2040 |  | 267482.5506 | 1748.52 |  | 152.9765 | 138.151 | 138.8923 | 241559.7262 | 242855.9526
2041 |  | 273845.5016 | 1788.86 |  | 153.0838 | 138.151 | 141.6701 | 247132.7362 | 253428.045
2042 |  | 307371.6413 | 1954.91 |  | 157.2306 | 138.151 | 144.5035 | 270072.704 | 282491.4191
2043 |  | 319121.5035 | 2002.01 |  | 159.4006 | 138.151 | 147.3936 | 276579.6145 | 295083.4866
2044 |  | 305068.3709 | 2003.81 |  | 152.2442 | 138.151 | 150.3415 | 276828.2862 | 301255.771
2045 |  | 346200.0885 | 2203.34 |  | 157.1251 | 138.151 | 153.3483 | 304393.5484 | 337878.4757
2046 |  | 321143.0416 | 2092.55 |  | 153.4697 | 138.151 | 156.4153 | 289087.8029 | 327306.7962
2047 |  | 388384.2051 | 2266.99 |  | 171.3215 | 138.151 | 159.5436 | 313186.8573 | 361683.7154
2048 |  | 281845.2454 | 2313.77 |  | 121.8121 | 138.151 | 162.7345 | 319649.5595 | 376530.1076
2049 |  | 324973.8708 | 2423.36 |  | 134.1005 | 138.151 | 165.9891 | 334789.5238 | 402251.4605
2050 |  | 356131.375 | 2135.86 |  | 166.7391 | 138.151 | 169.3089 | 295071.1212 | 361620.1722
NPV (2027$) - Nominal |  | 2006617.8819 | 14524.8198 | 18689.1161 |  |  |  | 2006617.8819 | 2006617.8819
Table 2 - Avoided Capacity Cost (DSM) | [11 empty] | Notes
Year |  | Annual Avoided Capacity Costs ($000) | ∆ Capacity (MW) |  | Actual Annual AVC Capacity ($/kW-Yr) | Levelized AVC- Capacity ($/kW-Yr) | Equiv. Escal. Series - AVC - Capacity ($/kW-yr) | Annual Avoided Capacity Costs ($000) - Levelized | Annual Avoided Capacity Costs ($000) - Equiv. Escal. Series | Levelized AVC- Capacity ($/kW-Yr) | Equiv. Escal. Series - AVC - Capacity ($/kW-yr)
|  |  | Nominal WACC | Real WACC
2027 |  | 5647.7972 | 12 |  | 470.6498 | 210.4877 | 164.1683 | 2525.8527 | 1970.019 | 229.4316 | 178.9434
2028 |  | 2753.9535 | 12 |  | 229.4961 | 210.4877 | 167.4516 | 2525.8527 | 2009.4194 | 229.4316 | 182.5223
2029 |  | 27244.7463 | 65.5 |  | 415.9503 | 210.4877 | 170.8007 | 13786.946 | 11187.4426 | 229.4316 | 186.1727
2030 |  | 39395.9014 | 113 |  | 348.6363 | 210.4877 | 174.2167 | 23785.113 | 19686.483 | 229.4316 | 189.8962
2031 |  | 39220.6042 | 113 |  | 347.085 | 210.4877 | 177.701 | 23785.113 | 20080.2127 | 229.4316 | 193.6941
2032 |  | 52125.3962 | 154.5 |  | 337.3812 | 210.4877 | 181.255 | 32520.3536 | 28003.9001 | 229.4316 | 197.568
2033 |  | 43486.3954 | 119 |  | 365.4319 | 210.4877 | 184.8801 | 25048.0394 | 22000.734 | 229.4316 | 201.5193
2034 |  | 67561.8467 | 269 |  | 251.1593 | 210.4877 | 188.5777 | 56621.1982 | 50727.4066 | 229.4316 | 205.5497
2035 |  | 53081.6996 | 215.5 |  | 246.3188 | 210.4877 | 192.3493 | 45360.1049 | 41451.2686 | 229.4316 | 209.6607
2036 |  | 60506.6224 | 306 |  | 197.7341 | 210.4877 | 196.1963 | 64409.2441 | 60036.0554 | 229.4316 | 213.8539
2037 |  | 40983.8211 | 168 |  | 243.9513 | 210.4877 | 200.1202 | 35361.9379 | 33620.1911 | 229.4316 | 218.131
2038 |  | 66679.8071 | 315 |  | 211.6819 | 210.4877 | 204.1226 | 66303.6336 | 64298.6154 | 229.4316 | 222.4936
2039 |  | 36775.327 | 217 |  | 169.4716 | 210.4877 | 208.205 | 45675.8365 | 45180.4937 | 229.4316 | 226.9435
2040 |  | 49157.0414 | 319.5 |  | 153.8562 | 210.4877 | 212.3691 | 67250.8284 | 67851.9406 | 229.4316 | 231.4824
2041 |  | 33871.5744 | 269 |  | 125.9166 | 210.4877 | 216.6165 | 56621.1982 | 58269.8449 | 229.4316 | 236.112
2042 |  | 37861.1427 | 278 |  | 136.1912 | 210.4877 | 220.9489 | 58515.5878 | 61423.7815 | 229.4316 | 240.8343
2043 |  | 37816.1705 | 278 |  | 136.0294 | 210.4877 | 225.3678 | 58515.5878 | 62652.2572 | 229.4316 | 245.6509
2044 |  | 51284.1931 | 380.5 |  | 134.7811 | 210.4877 | 229.8752 | 80090.5796 | 87467.5091 | 229.4316 | 250.564
2045 |  | 27680.7055 | 242.5 |  | 114.1472 | 210.4877 | 234.4727 | 51043.2735 | 56859.6278 | 229.4316 | 255.5752
2046 |  | 30963.8924 | 242.5 |  | 127.6862 | 210.4877 | 239.1621 | 51043.2735 | 57996.8203 | 229.4316 | 260.6867
2047 |  | 56927.1749 | 383.5 |  | 148.4411 | 210.4877 | 243.9454 | 80722.0428 | 93553.0565 | 229.4316 | 265.9005
2048 |  | 55665.9286 | 377.5 |  | 147.4594 | 210.4877 | 248.8243 | 79459.1165 | 93931.1719 | 229.4316 | 271.2185
2049 |  | 67244.7232 | 389.5 |  | 172.6437 | 210.4877 | 253.8008 | 81984.9692 | 98855.4047 | 229.4316 | 276.6429
2050 |  | 67289.791 | 395.5 |  | 170.1385 | 210.4877 | 258.8768 | 83247.8955 | 102385.7736 | 229.4316 | 282.1757
25-yr NPV (2027$) |  | 501963.0968 | 2384.7618 | 3057.6137 |  |  |  | 501963.0968 | 501963.0968
Basic
Capacity Adjustment for Planning Reserve Margin
Metric | Basic Value | PRM adder (UCAP) | Final Value
Levelized | 210.4877 | 9% | 229.4316
Equiv. Escal. Series | 164.1683 | 9% | 178.9434
Levelized- AVC Energy =
Levelized- AVC Energy = 2,006,618/14,525=$138∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 2,006,618/18,689=$107∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Capacity =
Equiv. Escalating Series - AVC Capacity = 501,963/3,058=$164∕〖𝑘𝑊−𝑌𝑟〗
Levelized- AVC Capacity =
Levelized- AVC Capacity = 501,963/2,385=$210∕〖𝑘𝑊−𝑌𝑟〗

## AVC no EE, no DR (Seasonal)
Difference In Revenue Requirement
Input Assumptions
Nominal WACC (2025) | 6.65%
Inflation | 2%
Real WACC (Energy/Capacity) | 4.559%
Table 1 - On Peak Winter Avoided Energy Costs | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | 3582.2015 | 23.07 |  | 155.2753 | 205.8317 | 160.2403 | 4748.5375 | 3696.7444 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE) - Peak period: December-February weekdays 6am-10pm
2028 |  | 1819.572 | 45.73 |  | 39.7895 | 205.8317 | 163.4451 | 9412.6841 | 7474.3461
2029 |  | 6406.1531 | 76.02 |  | 84.2693 | 205.8317 | 166.714 | 15647.3266 | 12673.6013
2030 |  | 8857.0684 | 84.06 |  | 105.366 | 205.8317 | 170.0483 | 17302.2135 | 14294.2619
2031 |  | 15950.5046 | 105.77 |  | 150.8037 | 205.8317 | 173.4493 | 21770.8199 | 18345.7312
2032 |  | 19581.6951 | 124.96 |  | 156.7037 | 205.8317 | 176.9183 | 25720.7304 | 22107.7074
2033 |  | 24218.0983 | 131.48 |  | 184.1961 | 205.8317 | 180.4566 | 27062.7532 | 23726.4389
2034 |  | 28315.4868 | 146.47 |  | 193.3194 | 205.8317 | 184.0658 | 30148.1705 | 26960.1136
2035 |  | 32648.4855 | 178.89 |  | 182.5059 | 205.8317 | 187.7471 | 36821.2345 | 33586.0764
2036 |  | 40862.5289 | 208.97 |  | 195.5426 | 205.8317 | 191.502 | 43012.6523 | 40018.179
2037 |  | 49438.2911 | 223.39 |  | 221.3093 | 205.8317 | 195.3321 | 45980.7456 | 43635.231
2038 |  | 54542.5382 | 243.33 |  | 224.1505 | 205.8317 | 199.2387 | 50085.0299 | 48480.7555
2039 |  | 58810.5639 | 252.2 |  | 233.1902 | 205.8317 | 203.2235 | 51910.7571 | 51252.9629
2040 |  | 65936.212 | 263.19 |  | 250.527 | 205.8317 | 207.288 | 54172.8476 | 54556.1168
2041 |  | 68143.0191 | 294.1 |  | 231.7002 | 205.8317 | 211.4337 | 60535.1058 | 62182.6552
2042 |  | 79437.3399 | 302.35 |  | 262.7331 | 205.8317 | 215.6624 | 62233.2174 | 65205.523
2043 |  | 77615.3263 | 303.07 |  | 256.097 | 205.8317 | 219.9756 | 62381.4162 | 66668.0159
2044 |  | 67267.2068 | 307.78 |  | 218.5561 | 205.8317 | 224.3751 | 63350.8835 | 69058.1832
2045 |  | 66824.5726 | 291.7 |  | 229.0866 | 205.8317 | 228.8627 | 60041.1097 | 66759.2354
2046 |  | 66645.1898 | 300.09 |  | 222.084 | 205.8317 | 233.4399 | 61768.0377 | 70052.9809
2047 |  | 93893.0841 | 354.37 |  | 264.9578 | 205.8317 | 238.1087 | 72940.5829 | 84378.5809
2048 |  | 68305.276 | 353.03 |  | 193.4829 | 205.8317 | 242.8709 | 72664.7684 | 85740.7056
2049 |  | 68187.5713 | 353.37 |  | 192.9637 | 205.8317 | 247.7283 | 72734.7512 | 87539.7473
2050 |  | 79920.729 | 317.25 |  | 251.9172 | 205.8317 | 252.6829 | 65300.1098 | 80163.6374
NPV (2027$) - Nominal |  | 457198.0226 | 2221.2225 | 2853.2019 |  |  |  | 457198.0226 | 457198.0226
Table 2 - Off Peak Winter Avoided Energy Costs | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | -35.9154 | 20.73 |  | -1.7325 | 169.628 | 131.3775 | 3516.3885 | 2723.4549 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE) - Off-peak period: December-February; weekdays 10pm-6am and full weekends
2028 |  | -2111.913 | 37.54 |  | -56.2577 | 169.628 | 134.005 | 6367.8351 | 5030.5484
2029 |  | 1171.5389 | 89.19 |  | 13.1353 | 169.628 | 136.6851 | 15129.1214 | 12190.9458
2030 |  | 5474.469 | 83.49 |  | 65.5704 | 169.628 | 139.4188 | 14162.2418 | 11640.0774
2031 |  | 10281.0835 | 87.67 |  | 117.2703 | 169.628 | 142.2072 | 14871.2868 | 12467.3051
2032 |  | 16582.7681 | 121.8 |  | 136.1475 | 169.628 | 145.0513 | 20660.6905 | 17667.2535
2033 |  | 22296.4206 | 131.49 |  | 169.5674 | 169.628 | 147.9524 | 22304.3858 | 19454.257
2034 |  | 28360.4778 | 158.42 |  | 179.0208 | 169.628 | 150.9114 | 26872.4679 | 23907.3866
2035 |  | 31528.62 | 185.25 |  | 170.195 | 169.628 | 153.9296 | 31423.5871 | 28515.4667
2036 |  | 37393.6326 | 220.7 |  | 169.432 | 169.628 | 157.0082 | 37436.8998 | 34651.718
2037 |  | 39346.5679 | 226.23 |  | 173.9229 | 169.628 | 160.1484 | 38374.9426 | 36230.373
2038 |  | 49365.8066 | 265.78 |  | 185.7394 | 169.628 | 163.3514 | 45083.73 | 43415.5272
2039 |  | 54016.6103 | 286.91 |  | 188.2702 | 169.628 | 166.6184 | 48667.9697 | 47804.4845
2040 |  | 58576.0359 | 285.56 |  | 205.1269 | 169.628 | 169.9508 | 48438.9719 | 48531.1406
2041 |  | 64108.9297 | 309.81 |  | 206.9298 | 169.628 | 173.3498 | 52552.4509 | 53705.4956
2042 |  | 65933.6662 | 308.11 |  | 213.9939 | 169.628 | 176.8168 | 52264.0833 | 54479.017
2043 |  | 68775.7461 | 319.63 |  | 215.173 | 169.628 | 180.3531 | 54218.1979 | 57646.2652
2044 |  | 72791.1764 | 349.63 |  | 208.1949 | 169.628 | 183.9602 | 59307.0379 | 64317.9957
2045 |  | 60786.3935 | 325 |  | 187.0351 | 169.628 | 187.6394 | 55129.1002 | 60982.7978
2046 |  | 63377.1402 | 339.07 |  | 186.9146 | 169.628 | 191.3922 | 57515.7662 | 64895.3415
2047 |  | 84972.8729 | 378.53 |  | 224.4812 | 169.628 | 195.22 | 64209.2871 | 73896.6299
2048 |  | 57818.6048 | 363.11 |  | 159.2317 | 169.628 | 199.1244 | 61593.6233 | 72304.0641
2049 |  | 63254.8683 | 401.01 |  | 157.7389 | 169.628 | 203.1069 | 68022.5246 | 81447.8968
2050 |  | 65707.3807 | 380.17 |  | 172.8368 | 169.628 | 207.169 | 64487.477 | 78759.452
NPV (2027$) - Nominal |  | 398259.9407 | 2347.8432 | 3031.4174 |  |  |  | 398259.9407 | 398259.9407
Table 3 - On Peak Non-Winter Avoided Energy Costs | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | 2313.8174 | 32.27 |  | 71.7018 | 117.9231 | 92.7276 | 3805.3768 | 2992.3202 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE) - Non-winter period: March-November, weekdays 6am-10pm
2028 |  | 5779.936 | 86.09 |  | 67.1383 | 117.9231 | 94.5822 | 10151.9954 | 8142.5788
2029 |  | 12603.4151 | 165.85 |  | 75.9929 | 117.9231 | 96.4738 | 19557.5379 | 16000.1816
2030 |  | 22988.2243 | 180.89 |  | 127.084 | 117.9231 | 98.4033 | 21331.1006 | 17800.1707
2031 |  | 24611.5797 | 202.76 |  | 121.3828 | 117.9231 | 100.3714 | 23910.0777 | 20351.2956
2032 |  | 27098.3367 | 241.44 |  | 112.2363 | 117.9231 | 102.3788 | 28471.3413 | 24718.3327
2033 |  | 38335.316 | 299.95 |  | 127.8057 | 117.9231 | 104.4264 | 35371.019 | 31322.6855
2034 |  | 48630.9436 | 414.6 |  | 117.2961 | 117.9231 | 106.5149 | 48890.8968 | 44161.0705
2035 |  | 40017.1406 | 346.78 |  | 115.3963 | 117.9231 | 108.6452 | 40893.3555 | 37675.9758
2036 |  | 39845.8261 | 381.21 |  | 104.5246 | 117.9231 | 110.8181 | 44953.4461 | 42244.9619
2037 |  | 42543.1554 | 357.57 |  | 118.9785 | 117.9231 | 113.0344 | 42165.7452 | 40417.7269
2038 |  | 48788.4026 | 380.04 |  | 128.377 | 117.9231 | 115.2951 | 44815.4761 | 43816.7631
2039 |  | 47986.9377 | 392.72 |  | 122.1912 | 117.9231 | 117.601 | 46310.7404 | 46184.2795
2040 |  | 54747.9698 | 488.09 |  | 112.1678 | 117.9231 | 119.9531 | 57557.0617 | 58547.8883
2041 |  | 51797.5987 | 463.54 |  | 111.7435 | 117.9231 | 122.3521 | 54662.0508 | 56715.1015
2042 |  | 58437.3213 | 519.73 |  | 112.4378 | 117.9231 | 124.7992 | 61288.1471 | 64861.8685
2043 |  | 66501.5591 | 536.61 |  | 123.929 | 117.9231 | 127.2951 | 63278.6882 | 68307.8479
2044 |  | 58629.3227 | 513.63 |  | 114.147 | 117.9231 | 129.841 | 60568.8165 | 66690.2576
2045 |  | 89943.1532 | 618.18 |  | 145.4967 | 117.9231 | 132.4379 | 72897.6714 | 81870.4419
2046 |  | 74945.7384 | 550.51 |  | 136.1387 | 117.9231 | 135.0866 | 64917.8186 | 74366.5387
2047 |  | 80809.7868 | 573.88 |  | 140.813 | 117.9231 | 137.7884 | 67673.6802 | 79073.9835
2048 |  | 43971.0036 | 555.01 |  | 79.2256 | 117.9231 | 140.5441 | 65448.4723 | 78003.3955
2049 |  | 66007.5746 | 561.33 |  | 117.5914 | 117.9231 | 143.355 | 66193.746 | 80469.467
2050 |  | 80756.4984 | 459.68 |  | 175.6798 | 117.9231 | 146.2221 | 54206.8679 | 67215.379
NPV (2027$) - Nominal |  | 476919.5082 | 4044.3281 | 5143.2306 |  |  |  | 476919.5082 | 476919.5082
Table 3 - Off Peak Non-Winter Avoided Energy Costs | [9 empty] | Notes
Year |  | Annual Avoided Energy Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Energy ($/MWh) | Levelized AVC - Energy ($/MWh) | Equiv. Escal. Series - AVC -Energy ($/MWh) | Annual Avoided Energy Costs ($000) - Levelized | Annual Avoided Energy Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | -2843.4777 | 32.98 |  | -86.2182 | 114.0571 | 88.0064 | 3761.6034 | 2902.4514 | - These avoided costs are related to EE impacts (avoided energy costs by implementing EE) - Non-winter period: March-November, weekdays 10pm-6am and full weekends
2028 |  | 3451.1115 | 88.74 |  | 38.8901 | 114.0571 | 89.7665 | 10121.4276 | 7965.8826
2029 |  | 7657.9782 | 209.03 |  | 36.6358 | 114.0571 | 91.5619 | 23841.3568 | 19139.1774
2030 |  | 21210.77 | 207.22 |  | 102.3587 | 114.0571 | 93.3931 | 23634.9135 | 19352.9194
2031 |  | 25541.9796 | 229.77 |  | 111.1632 | 114.0571 | 95.261 | 26206.9012 | 21888.1126
2032 |  | 30643.999 | 280.79 |  | 109.1349 | 114.0571 | 97.1662 | 32026.0947 | 27283.2937
2033 |  | 45331.4571 | 388.49 |  | 116.6863 | 114.0571 | 99.1095 | 44310.045 | 38503.054
2034 |  | 55474.4711 | 524.59 |  | 105.7482 | 114.0571 | 101.0917 | 59833.2172 | 53031.6956
2035 |  | 51472.6073 | 447.85 |  | 114.9327 | 114.0571 | 103.1135 | 51080.4749 | 46179.3968
2036 |  | 54652.7416 | 523.92 |  | 104.3151 | 114.0571 | 105.1758 | 59756.7989 | 55103.7083
2037 |  | 55675.2959 | 513.36 |  | 108.4527 | 114.0571 | 107.2793 | 58552.3559 | 55072.9128
2038 |  | 61601.171 | 536.66 |  | 114.7862 | 114.0571 | 109.4249 | 61209.8864 | 58723.9714
2039 |  | 72583.3562 | 597.61 |  | 121.4561 | 114.0571 | 111.6134 | 68161.667 | 66701.288
2040 |  | 88222.336 | 711.66 |  | 123.967 | 114.0571 | 113.8457 | 81169.8799 | 81019.413
2041 |  | 89796.0141 | 721.4 |  | 124.4747 | 114.0571 | 116.1226 | 82280.7962 | 83770.8353
2042 |  | 103563.1987 | 824.69 |  | 125.5783 | 114.0571 | 118.445 | 94061.7546 | 97680.4402
2043 |  | 106228.855 | 842.68 |  | 126.0607 | 114.0571 | 120.8139 | 96113.642 | 101807.4918
2044 |  | 106380.6795 | 832.8 |  | 127.7386 | 114.0571 | 123.2302 | 94986.7577 | 102626.127
2045 |  | 128645.9854 | 968.45 |  | 132.837 | 114.0571 | 125.6948 | 110458.6042 | 121729.1525
2046 |  | 116174.9532 | 902.85 |  | 128.6758 | 114.0571 | 128.2087 | 102976.458 | 115753.2434
2047 |  | 128708.4529 | 960.23 |  | 134.0392 | 114.0571 | 130.7729 | 109521.0547 | 125572.057
2048 |  | 111750.3774 | 1042.61 |  | 107.1833 | 114.0571 | 133.3884 | 118917.0791 | 139072.0307
2049 |  | 127523.915 | 1107.66 |  | 115.1291 | 114.0571 | 136.0561 | 126336.4939 | 150703.9219
2050 |  | 129746.7653 | 978.76 |  | 132.5624 | 114.0571 | 138.7772 | 111634.5329 | 135829.6138
NPV (2027$) - Nominal |  | 674239.8446 | 5911.4234 | 7661.2584 |  |  |  | 674239.8446 | 674239.8446
Levelized- AVC Energy =
Levelized- AVC Energy = 457,198/2,221=$206∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 457,198/2,853= $160∕𝑀𝑊ℎ
Levelized- AVC Energy =
Levelized- AVC Energy = 398,260/2,348=$170∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 398,260/3,031=$131∕𝑀𝑊ℎ
Levelized- AVC Energy =
Levelized- AVC Energy = 476,920/4,044=$118∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 476,920/5,143=$93∕𝑀𝑊ℎ
Levelized- AVC Energy =
Levelized- AVC Energy = 674,240/5,911=$114∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 674,240/7,661=$88∕𝑀𝑊ℎ

## AVC_Carbon
Difference In Revenue Requirement
Input Assumptions
Nominal WACC (2025) | 6.65%
Inflation | 2%
Real WACC (Energy/Capacity) | 4.559%
Table 1 - Avoided Carbon Costs | [9 empty] | Notes
Year |  | Annual Avoided Carbon Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Carbon ($/MWh) | Levelized AVC - Carbon ($/MWh) | Equiv. Escal. Series - AVC -Carbon ($/MWh) | Annual Avoided Carbon Costs ($000) - Levelized | Annual Avoided Carbon Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | -6751.03 | 109.07 |  | -61.8963 | 22.3878 | 17.3994 | 2441.8428 | 1897.753
2028 |  | -3140.29 | 258.1 |  | -12.167 | 22.3878 | 17.7474 | 5778.304 | 4580.6019
2029 |  | -17247.08 | 540.06 |  | -31.9355 | 22.3878 | 18.1023 | 12090.7822 | 9776.3498
2030 |  | 511.22 | 555.68 |  | 0.91999 | 22.3878 | 18.4644 | 12440.4804 | 10260.2905
2031 |  | 4588.04 | 625.94 |  | 7.3298 | 22.3878 | 18.8337 | 14013.4507 | 11788.7503
2032 |  | 10088.86 | 768.97 |  | 13.12 | 22.3878 | 19.2103 | 17215.5849 | 14772.1814
2033 |  | 8467.01 | 951.42 |  | 8.8993 | 22.3878 | 19.5946 | 21300.2481 | 18642.6516
2034 |  | 16343.99 | 1244.09 |  | 13.1373 | 22.3878 | 19.9864 | 27852.5001 | 24864.9378
2035 |  | 20504.35 | 1158.79 |  | 17.6946 | 22.3878 | 20.3862 | 25942.8165 | 23623.2959
2036 |  | 45218.89 | 1334.75 |  | 33.8782 | 22.3878 | 20.7939 | 29882.1826 | 27754.6562
2037 |  | 29109.48 | 1320.57 |  | 22.0431 | 22.3878 | 21.2098 | 29564.7229 | 28008.9947
2038 |  | 35837.35 | 1425.79 |  | 25.1351 | 22.3878 | 21.634 | 31920.3724 | 30845.5011
2039 |  | 51131.25 | 1529.45 |  | 33.4311 | 22.3878 | 22.0667 | 34241.0969 | 33749.8402
2040 |  | 51950.03 | 1748.52 |  | 29.7109 | 22.3878 | 22.508 | 39145.6032 | 39355.6612
2041 |  | 59951.61 | 1788.86 |  | 33.5139 | 22.3878 | 22.9581 | 40048.729 | 41068.906
2042 |  | 57040.09 | 1954.91 |  | 29.1779 | 22.3878 | 23.4173 | 43766.2315 | 45778.728
2043 |  | 61362.54 | 2002.01 |  | 30.6505 | 22.3878 | 23.8857 | 44820.6992 | 47819.3168
2044 |  | 54518.29 | 2003.81 |  | 27.2073 | 22.3878 | 24.3634 | 44860.9974 | 48819.5572
2045 |  | 60915.58 | 2203.34 |  | 27.6469 | 22.3878 | 24.8506 | 49328.045 | 54754.3953
2046 |  | 51674.66 | 2092.55 |  | 24.6946 | 22.3878 | 25.3476 | 46847.6952 | 53041.2174
2047 |  | 99271.53 | 2266.99 |  | 43.79 | 22.3878 | 25.8546 | 50753.0317 | 58612.1181
2048 |  | 72977.58 | 2313.77 |  | 31.5406 | 22.3878 | 26.3717 | 51800.3353 | 61018.0282
2049 |  | 76472.96 | 2423.36 |  | 31.5566 | 22.3878 | 26.8991 | 54253.8198 | 65186.2639
2050 |  | 90574.92 | 2135.86 |  | 42.4068 | 22.3878 | 27.4371 | 47817.3129 | 58601.8207
NPV (2027$) - Nominal |  | 325179.4849 | 14524.8198 | 18689.1161 |  |  |  | 325179.4849 | 325179.4849
Levelized- AVC Carbon =
Levelized- AVC Carbon = 325,179/14,525=$22∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Carbon =
Equiv. Escalating Series - AVC Carbon = 325,179/18,689=$17∕𝑀𝑊ℎ

## AVC_Carbon_Seasonal
Difference In Revenue Requirement
Input Assumptions
Nominal WACC (2025) | 6.65%
Inflation | 2%
Real WACC (Energy/Capacity/Carbon) | 4.559%
Table 1 - On Peak Winter Avoided Carbon Costs | [9 empty] | Notes
Year |  | Annual Avoided Carbon Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Carbon ($/MWh) | Levelized AVC - Carbon ($/MWh) | Equiv. Escal. Series - AVC -Carbon ($/MWh) | Annual Avoided Carbon Costs ($000) - Levelized | Annual Avoided Carbon Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | -739.18 | 23.07 |  | -32.0407 | 42.7893 | 33.3115 | 987.1481 | 768.4965 | - These avoided costs are related to EE impacts (avoided Carbon costs by implementing EE) - Peak period: December-February weekdays 6am-10pm
2028 |  | -137.87 | 45.73 |  | -3.0149 | 42.7893 | 33.9777 | 1956.7527 | 1553.8019
2029 |  | -3275.28 | 76.02 |  | -43.0845 | 42.7893 | 34.6573 | 3252.8392 | 2634.6474
2030 |  | 21.68 | 84.06 |  | 0.25791 | 42.7893 | 35.3504 | 3596.8649 | 2971.5578
2031 |  | 1520.6 | 105.77 |  | 14.3765 | 42.7893 | 36.0574 | 4525.8196 | 3813.7962
2032 |  | 2764.91 | 124.96 |  | 22.1264 | 42.7893 | 36.7786 | 5346.9454 | 4595.8534
2033 |  | 2162.45 | 131.48 |  | 16.447 | 42.7893 | 37.5142 | 5625.9314 | 4932.3628
2034 |  | 4031.69 | 146.47 |  | 27.5257 | 42.7893 | 38.2645 | 6267.3423 | 5604.5942
2035 |  | 5866.74 | 178.89 |  | 32.7952 | 42.7893 | 39.0297 | 7654.57 | 6982.0303
2036 |  | 11135.16 | 208.97 |  | 53.2859 | 42.7893 | 39.8103 | 8941.6708 | 8319.1657
2037 |  | 11361.04 | 223.39 |  | 50.8574 | 42.7893 | 40.6065 | 9558.6919 | 9071.0954
2038 |  | 12291.78 | 243.33 |  | 50.5149 | 42.7893 | 41.4187 | 10411.9097 | 10078.4056
2039 |  | 15090.86 | 252.2 |  | 59.8369 | 42.7893 | 42.247 | 10791.4504 | 10654.705
2040 |  | 16111.83 | 263.19 |  | 61.2175 | 42.7893 | 43.092 | 11261.7043 | 11341.3801
2041 |  | 17888.12 | 294.1 |  | 60.8233 | 42.7893 | 43.9538 | 12584.3202 | 12926.8205
2042 |  | 19908.72 | 302.35 |  | 65.8466 | 42.7893 | 44.8329 | 12937.3316 | 13555.2283
2043 |  | 19342.06 | 303.07 |  | 63.8204 | 42.7893 | 45.7296 | 12968.1398 | 13859.2582
2044 |  | 15924.73 | 307.78 |  | 51.7406 | 42.7893 | 46.6442 | 13169.6772 | 14356.1373
2045 |  | 13368.51 | 291.7 |  | 45.8297 | 42.7893 | 47.577 | 12481.626 | 13878.2213
2046 |  | 12832.4 | 300.09 |  | 42.7618 | 42.7893 | 48.5286 | 12840.6279 | 14562.9405
2047 |  | 25995.3 | 354.37 |  | 73.3564 | 42.7893 | 49.4991 | 15163.2287 | 17541.0131
2048 |  | 17633.76 | 353.03 |  | 49.9497 | 42.7893 | 50.4891 | 15105.8911 | 17824.1779
2049 |  | 16407.33 | 353.37 |  | 46.431 | 42.7893 | 51.4989 | 15120.4394 | 18198.1711
2050 |  | 22344.46 | 317.25 |  | 70.4317 | 42.7893 | 52.5289 | 13574.8915 | 16664.7909
NPV (2027$) - Nominal |  | 95044.458 | 2221.2225 | 2853.2019 |  |  |  | 95044.458 | 95044.458
Table 2 - Off Peak Winter Avoided Carbon Costs | [9 empty] | Notes
Year |  | Annual Avoided Carbon Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Carbon ($/MWh) | Levelized AVC - Carbon ($/MWh) | Equiv. Escal. Series - AVC -Carbon ($/MWh) | Annual Avoided Carbon Costs ($000) - Levelized | Annual Avoided Carbon Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | -833.8 | 20.73 |  | -40.2219 | 33.2226 | 25.731 | 688.7045 | 533.404 | - These avoided costs are related to EE impacts (avoided Carbon costs by implementing EE) - Off-peak period: December-February; weekdays 10pm-6am and full weekends
2028 |  | -364.65 | 37.54 |  | -9.7136 | 33.2226 | 26.2456 | 1247.1764 | 985.2613
2029 |  | -4638.45 | 89.19 |  | -52.0064 | 33.2226 | 26.7706 | 2963.1237 | 2387.6655
2030 |  | -74.39 | 83.49 |  | -0.891 | 33.2226 | 27.306 | 2773.7549 | 2279.7748
2031 |  | 1297.23 | 87.67 |  | 14.7967 | 33.2226 | 27.8521 | 2912.6254 | 2441.792
2032 |  | 1972.47 | 121.8 |  | 16.1943 | 33.2226 | 28.4091 | 4046.5127 | 3460.2312
2033 |  | 2363.8 | 131.49 |  | 17.977 | 33.2226 | 28.9773 | 4368.4397 | 3810.2259
2034 |  | 4188.68 | 158.42 |  | 26.4403 | 33.2226 | 29.5569 | 5263.1243 | 4682.3964
2035 |  | 5885.99 | 185.25 |  | 31.7732 | 33.2226 | 30.148 | 6154.4867 | 5584.9149
2036 |  | 9937.32 | 220.7 |  | 45.0264 | 33.2226 | 30.7509 | 7332.2279 | 6786.7343
2037 |  | 8034.41 | 226.23 |  | 35.5143 | 33.2226 | 31.366 | 7515.9489 | 7095.9228
2038 |  | 10119.43 | 265.78 |  | 38.0745 | 33.2226 | 31.9933 | 8829.9027 | 8503.1758
2039 |  | 12410.32 | 286.91 |  | 43.2551 | 33.2226 | 32.6332 | 9531.8962 | 9362.7778
2040 |  | 13332.82 | 285.56 |  | 46.6901 | 33.2226 | 33.2858 | 9487.0457 | 9505.0975
2041 |  | 15348.54 | 309.81 |  | 49.5418 | 33.2226 | 33.9515 | 10292.6938 | 10518.5241
2042 |  | 14774.6 | 308.11 |  | 47.9524 | 33.2226 | 34.6306 | 10236.2154 | 10670.0226
2043 |  | 15205.37 | 319.63 |  | 47.5718 | 33.2226 | 35.3232 | 10618.9397 | 11290.346
2044 |  | 15261.36 | 349.63 |  | 43.65 | 33.2226 | 36.0296 | 11615.6177 | 12597.0421
2045 |  | 11357.41 | 325 |  | 34.9459 | 33.2226 | 36.7502 | 10797.3451 | 11943.8248
2046 |  | 11625.7 | 339.07 |  | 34.287 | 33.2226 | 37.4852 | 11264.7871 | 12710.1185
2047 |  | 23438.52 | 378.53 |  | 61.9198 | 33.2226 | 38.2349 | 12575.7509 | 14473.0716
2048 |  | 14715.56 | 363.11 |  | 40.5265 | 33.2226 | 38.9996 | 12063.4584 | 14161.1586
2049 |  | 13585.49 | 401.01 |  | 33.8782 | 33.2226 | 39.7796 | 13322.5949 | 15952.0298
2050 |  | 17006.57 | 380.17 |  | 44.7341 | 33.2226 | 40.5752 | 12630.2359 | 15425.4827
NPV (2027$) - Nominal |  | 78001.4547 | 2347.8432 | 3031.4174 |  |  |  | 78001.4547 | 78001.4547
Table 3 - On Peak Non-Winter Avoided Carbon Costs | [9 empty] | Notes
Year |  | Annual Avoided Carbon Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Carbon ($/MWh) | Levelized AVC - Carbon ($/MWh) | Equiv. Escal. Series - AVC -Carbon ($/MWh) | Annual Avoided Carbon Costs ($000) - Levelized | Annual Avoided Carbon Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | -1976.22 | 32.27 |  | -61.2402 | 17.5353 | 13.7887 | 565.8645 | 444.9619 | - These avoided costs are related to EE impacts (avoided Carbon costs by implementing EE) - Non-winter period: March-November, weekdays 6am-10pm
2028 |  | -1344.13 | 86.09 |  | -15.6131 | 17.5353 | 14.0645 | 1509.6149 | 1210.812
2029 |  | -4043.38 | 165.85 |  | -24.3797 | 17.5353 | 14.3458 | 2908.2312 | 2379.2477
2030 |  | 595.33 | 180.89 |  | 3.2911 | 17.5353 | 14.6327 | 3171.9623 | 2646.9085
2031 |  | 495.63 | 202.76 |  | 2.4444 | 17.5353 | 14.9254 | 3555.4596 | 3026.264
2032 |  | 2493.62 | 241.44 |  | 10.3281 | 17.5353 | 15.2239 | 4233.7254 | 3675.6481
2033 |  | 1734.79 | 299.95 |  | 5.7836 | 17.5353 | 15.5283 | 5259.7164 | 4657.7239
2034 |  | 3985.18 | 414.6 |  | 9.6121 | 17.5353 | 15.8389 | 7270.1397 | 6566.8084
2035 |  | 4251.96 | 346.78 |  | 12.2613 | 17.5353 | 16.1557 | 6080.895 | 5602.4664
2036 |  | 12108.2 | 381.21 |  | 31.7625 | 17.5353 | 16.4788 | 6684.6357 | 6281.8806
2037 |  | 5528.47 | 357.57 |  | 15.4612 | 17.5353 | 16.8084 | 6270.101 | 6010.1684
2038 |  | 7134.63 | 380.04 |  | 18.7734 | 17.5353 | 17.1445 | 6664.1194 | 6515.6095
2039 |  | 10306.07 | 392.72 |  | 26.2428 | 17.5353 | 17.4874 | 6886.4671 | 6867.6622
2040 |  | 10503.22 | 488.09 |  | 21.519 | 17.5353 | 17.8372 | 8558.8097 | 8706.1469
2041 |  | 12033.33 | 463.54 |  | 25.9596 | 17.5353 | 18.1939 | 8128.3178 | 8433.6091
2042 |  | 8632.54 | 519.73 |  | 16.6097 | 17.5353 | 18.5578 | 9113.6269 | 9645.0439
2043 |  | 13414.2 | 536.61 |  | 24.998 | 17.5353 | 18.929 | 9409.623 | 10157.4655
2044 |  | 8217.43 | 513.63 |  | 15.9987 | 17.5353 | 19.3075 | 9006.6615 | 9916.9278
2045 |  | 16912.79 | 618.18 |  | 27.359 | 17.5353 | 19.6937 | 10839.9782 | 12174.2409
2046 |  | 12270.23 | 550.51 |  | 22.2888 | 17.5353 | 20.0876 | 9653.3638 | 11058.4007
2047 |  | 23280 | 573.88 |  | 40.566 | 17.5353 | 20.4893 | 10063.164 | 11758.4039
2048 |  | 16888.09 | 555.01 |  | 30.4284 | 17.5353 | 20.8991 | 9732.2727 | 11599.206
2049 |  | 21460.18 | 561.33 |  | 38.231 | 17.5353 | 21.3171 | 9843.0958 | 11965.9141
2050 |  | 24765.89 | 459.68 |  | 53.8764 | 17.5353 | 21.7434 | 8060.6315 | 9995.014
NPV (2027$) - Nominal |  | 70918.5492 | 4044.3281 | 5143.2306 |  |  |  | 70918.5492 | 70918.5492
Table 3 - Off Peak Non-Winter Avoided Carbon Costs | [9 empty] | Notes
Year |  | Annual Avoided Carbon Costs ($000) | ∆ Energy (GWh) |  | Actual Annual AVC Carbon ($/MWh) | Levelized AVC - Carbon ($/MWh) | Equiv. Escal. Series - AVC -Carbon ($/MWh) | Annual Avoided Carbon Costs ($000) - Levelized | Annual Avoided Carbon Costs ($000) - Equiv. Escal. Series
|  |  | Nominal WACC | Real WACC
2027 |  | -3201.85 | 32.98 |  | -97.0846 | 13.7386 | 10.6007 | 453.1002 | 349.6119 | - These avoided costs are related to EE impacts (avoided Carbon costs by implementing EE) - Non-winter period: March-November, weekdays 10pm-6am and full weekends
2028 |  | -1293.64 | 88.74 |  | -14.5779 | 13.7386 | 10.8127 | 1219.1665 | 959.5225
2029 |  | -5289.97 | 209.03 |  | -25.3072 | 13.7386 | 11.029 | 2871.787 | 2305.3906
2030 |  | -31.44 | 207.22 |  | -0.15172 | 13.7386 | 11.2496 | 2846.9201 | 2331.1367
2031 |  | 1274.56 | 229.77 |  | 5.5471 | 13.7386 | 11.4746 | 3156.7263 | 2636.5109
2032 |  | 2857.87 | 280.79 |  | 10.178 | 13.7386 | 11.7041 | 3857.6715 | 3286.3821
2033 |  | 2205.96 | 388.49 |  | 5.6783 | 13.7386 | 11.9381 | 5337.3225 | 4637.8472
2034 |  | 4138.42 | 524.59 |  | 7.8889 | 13.7386 | 12.1769 | 7207.1508 | 6387.8803
2035 |  | 4499.63 | 447.85 |  | 10.0472 | 13.7386 | 12.4204 | 6152.8479 | 5562.4934
2036 |  | 12038.19 | 523.92 |  | 22.9772 | 13.7386 | 12.6688 | 7197.9459 | 6637.4625
2037 |  | 4185.56 | 513.36 |  | 8.1533 | 13.7386 | 12.9222 | 7052.8659 | 6633.7531
2038 |  | 6291.51 | 536.66 |  | 11.7235 | 13.7386 | 13.1807 | 7372.9762 | 7073.5377
2039 |  | 13323.96 | 597.61 |  | 22.2954 | 13.7386 | 13.4443 | 8210.346 | 8034.4375
2040 |  | 12002.15 | 711.66 |  | 16.865 | 13.7386 | 13.7132 | 9777.2374 | 9759.113
2041 |  | 14681.64 | 721.4 |  | 20.3516 | 13.7386 | 13.9874 | 9911.0517 | 10090.5329
2042 |  | 13724.22 | 824.69 |  | 16.6417 | 13.7386 | 14.2672 | 11330.1153 | 11766.0005
2043 |  | 13400.91 | 842.68 |  | 15.9027 | 13.7386 | 14.5525 | 11577.2734 | 12263.1204
2044 |  | 15114.78 | 832.8 |  | 18.1494 | 13.7386 | 14.8436 | 11441.5357 | 12361.7283
2045 |  | 19276.85 | 968.45 |  | 19.9048 | 13.7386 | 15.1404 | 13305.1816 | 14662.7643
2046 |  | 14946.31 | 902.85 |  | 16.5546 | 13.7386 | 15.4433 | 12403.9271 | 13942.9421
2047 |  | 26557.72 | 960.23 |  | 27.6577 | 13.7386 | 15.7521 | 13192.25 | 15125.6576
2048 |  | 23740.18 | 1042.61 |  | 22.77 | 13.7386 | 16.0672 | 14324.0388 | 16751.7835
2049 |  | 25019.99 | 1107.66 |  | 22.5881 | 13.7386 | 16.3885 | 15217.737 | 18152.8914
2050 |  | 26457.97 | 978.76 |  | 27.0321 | 13.7386 | 16.7163 | 13446.8269 | 16361.2214
NPV (2027$) - Nominal |  | 81214.8917 | 5911.4234 | 7661.2584 |  |  |  | 81214.8917 | 81214.8917
Levelized- AVC Carbon =
Levelized- AVC Carbon = 95,044/2,221=$43∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Carbon =
Equiv. Escalating Series - AVC Carbon = " " 95,044/2,853=$33∕𝑀𝑊ℎ
Levelized- AVC Energy =
Levelized- AVC Energy = 78,001/2,348=$33∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 78,001/3,031=$26∕𝑀𝑊ℎ
Levelized- AVC Energy =
Levelized- AVC Energy = 70,919/4,044=$18∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 70,919/5,143=$14∕𝑀𝑊ℎ
Levelized- AVC Energy =
Levelized- AVC Energy = 81,215/5,911=$14∕𝑀𝑊ℎ
Equiv. Escalating Series - AVC Energy =
Equiv. Escalating Series - AVC Energy = 81,215/7,661=$11∕𝑀𝑊ℎ

## AVC T&D
Input Assumptions
Inflation | 2%
Table 1 - System Wide Avoided T&D Costs |  |  |  | Table 2 - Constrained System Avoided T&D Costs
Year | Transmission $/kW-yr | Distribution $/kW-yr | Total $/kW-yr | Avoided T&D Costs | Transmission $/kW-yr | Distribution $/kW-yr | Total $/kW-yr
2023 | 28.3241 | 30.4417 | 58.7658 | 2023 | 82.9942 | 89.1989 | 172.1931
2024 | 28.8906 | 31.0505 | 59.9411 | 2024 | 84.654 | 90.9829 | 175.637
2025 | 29.4684 | 31.6715 | 61.14 | 2025 | 86.3471 | 92.8026 | 179.1497
2026 | 30.0578 | 32.305 | 62.3628 | 2026 | 88.0741 | 94.6586 | 182.7327
2027 | 30.659 | 32.9511 | 63.61 | 2027 | 89.8356 | 96.5518 | 186.3874
2028 | 31.2721 | 33.6101 | 64.8822 | 2028 | 91.6323 | 98.4828 | 190.1151
2029 | 31.8976 | 34.2823 | 66.1799 | 2029 | 93.4649 | 100.4525 | 193.9174
2030 | 32.5355 | 34.9679 | 67.5035 | 2030 | 95.3342 | 102.4615 | 197.7958
2031 | 33.1862 | 35.6673 | 68.8535 | 2031 | 97.2409 | 104.5108 | 201.7517
2032 | 33.85 | 36.3806 | 70.2306 | 2032 | 99.1857 | 106.601 | 205.7867
2033 | 34.527 | 37.1083 | 71.6352 | 2033 | 101.1694 | 108.733 | 209.9024
2034 | 35.2175 | 37.8504 | 73.0679 | 2034 | 103.1928 | 110.9077 | 214.1005
2035 | 35.9219 | 38.6074 | 74.5293 | 2035 | 105.2567 | 113.1258 | 218.3825
2036 | 36.6403 | 39.3796 | 76.0199 | 2036 | 107.3618 | 115.3883 | 222.7501
2037 | 37.3731 | 40.1672 | 77.5403 | 2037 | 109.509 | 117.6961 | 227.2052
2038 | 38.1206 | 40.9705 | 79.0911 | 2038 | 111.6992 | 120.05 | 231.7493
2039 | 38.883 | 41.7899 | 80.6729 | 2039 | 113.9332 | 122.451 | 236.3842
2040 | 39.6606 | 42.6257 | 82.2863 | 2040 | 116.2119 | 124.9001 | 241.1119
2041 | 40.4538 | 43.4782 | 83.9321 | 2041 | 118.5361 | 127.3981 | 245.9342
2042 | 41.2629 | 44.3478 | 85.6107 | 2042 | 120.9068 | 129.946 | 250.8528
2043 | 42.0882 | 45.2348 | 87.3229 | 2043 | 123.325 | 132.5449 | 255.8699
2044 | 42.9299 | 46.1394 | 89.0694 | 2044 | 125.7915 | 135.1958 | 260.9873
2045 | 43.7885 | 47.0622 | 90.8508 | 2045 | 128.3073 | 137.8998 | 266.207
2046 | 44.6643 | 48.0035 | 92.6678 | 2046 | 130.8734 | 140.6577 | 271.5312
2047 | 45.5576 | 48.9636 | 94.5211 | 2047 | 133.4909 | 143.4709 | 276.9618
2048 | 46.4687 | 49.9428 | 96.4116 | 2048 | 136.1607 | 146.3403 | 282.501
2049 | 47.3981 | 50.9417 | 98.3398 | 2049 | 138.8839 | 149.2671 | 288.1511
2050 | 48.3461 | 51.9605 | 100.3066 | 2050 | 141.6616 | 152.2525 | 293.9141