## Per Unit Incentive
Incentive Threshold Test
Affordable Multifamily Housing |  | Per Unit Incentive ($) | Per Unit Incentive ($) | [6 empty] | Project Cost if RET Incremental Cost if ROB/NEW | 2031 Incentive / 2031 Cost
Measure Name | Replacement Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Change between 2026 and 2031 ($) | Change between 2026 and 2031 (%) | 2031 | 2031 | Suggested Lower Limit | Suggested Maximum Upper Limit
Heat Pump Water Heater with heat pump baseline | RET | #N/A | 1500 | 1530 | 1560.6 | 1591.812 | 1623.6482 | N/A | N/A | 4086.7005 | 39.73% | 30% | 100%
Heat Pump Water Heater with electric resistance baseline | RET | #N/A | 1500 | 1530 | 1560.6 | 1591.812 | 1623.6482 | N/A | N/A | 4086.7005 | 39.73% | 30% | 100%
AMFH Comprehensive - electrically heated | RET | 20000 | 40000 | 40000 | 40000 | 40000 | 40000 | 20000 | 100% | 74715.8239 | 53.54% | 30% | 100%
Air-Source Heat Pump - ducted and non-ducted | RET | 15000 | 21500 | 21930 | 22368.6 | 22815.972 | 23272.2914 | 8272.2914 | 55.15% | 29091.9954 | 80% | 30% | 100%
Lighting project | RET | 6485 | 6500 | 6630 | 0 | 0 | 0 | -6485 | -100% | 8649.2558 | 76.65% | 30% | 100%
Affordable Single-family Homes |  | Per Unit Incentive ($) 2026: Per Unit Incentive ($); Per Unit Incentive ($) 2027: Per Unit Incentive ($) |  |  | Project Cost if RET Incremental Cost if ROB/NEW | 2031 Incentive / 2031 Cost
Measure Name | Replacement Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Change between 2026 and 2031 ($) | Change between 2026 and 2031 (%) | 2031 | 2031 | Suggested Lower Limit | Suggested Maximum Upper Limit
HW Heat Pump - E1 Installed | RET | New Measure/Recharacterized measure | 6749.184 | 7019.1514 | 7299.9174 | 7591.9141 | 7895.5907 | N/A | N/A | 7895.5907 | 100% | 30% | 100%
HW Building Envelope - E1 Installed | RET | New Measure/Recharacterized measure | 7874.048 | 8189.0099 | 8516.5703 | 8857.2331 | 9211.5225 | N/A | N/A | 9211.5225 | 100% | 30% | 100%
HW - Heat Pump Cleanings | RET | New Measure | 600 | 624 | 648.96 | 674.9184 | 701.9151 | N/A | N/A | 701.9151 | 100% | 30% | 100%
MHEEP - Heat Pump Cleanings | RET | New Measure | 600 | 624 | 648.96 | 674.9184 | 701.9151 | N/A | N/A | 701.9151 | 100% | 30% | 100%
Business Energy Rebates |  | Per Unit Incentive ($) 2026: Per Unit Incentive ($); Per Unit Incentive ($) 2027: Per Unit Incentive ($) |  |  | Project Costs | 2031 Incentive / 2031 Cost
Measure Name | Replacement Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Change between 2026 and 2031 ($) | Change between 2026 and 2031 (%) | 2031 | 2031 | Suggested Lower Limit | Suggested Maximum Upper Limit
IR - Steam Cooker - Electric | RET | 630 | 1500 | 1500 | 1500 | 1500 | 1500 | 870 | 138.1% | 15061.2259 | 9.959% | 15% | 100%
IR - Smart thermostats for mini-split heat pumps | RET | 70 | 30 | 30 | 30 | 30 | 30 | -40 | -57.14% | 210.9653 | 14.22% | 15% | 100%
IR - Smart thermostats for in-floor heat | RET | 70 | 35 | 35 | 35 | 35 | 35 | -35 | -50% | 210.9653 | 16.59% | 15% | 100%
IR - Smart thermostats for electric baseboards | RET | 70 | 35 | 35 | 35 | 35 | 35 | -35 | -50% | 210.9653 | 16.59% | 15% | 100%
IR - Smart thermostats for central air source heat pumps | RET | 70 | 35 | 35 | 35 | 35 | 35 | -35 | -50% | 210.9653 | 16.59% | 15% | 100%
IR - Oven - Electric - Convection | RET | 280 | 650 | 650 | 650 | 650 | 650 | 370 | 132.1% | 14365.5969 | 4.525% | 15% | 100%
IR - Oven - Electric - Combination | RET | 700 | 1500 | 1500 | 1500 | 1500 | 1500 | 800 | 114.3% | 27644.3208 | 5.426% | 15% | 100%
IR - Occupancy Sensor - Wall-Switch Mounted | RET | 14 | 15 | 15 | 15 | 15 | 15 | 1 | 7.143% | 148.8052 | 10.08% | 15% | 100%
IR - Occupancy Sensor - Fixture Mounted | RET | 14 | 15 | 15 | 15 | 15 | 15 | 1 | 7.143% | 117.3598 | 12.78% | 15% | 100%
IR - Occupancy Sensor - Exterior | RET | 7 | 10 | 10 | 10 | 10 | 10 | 3 | 42.86% | 141.3111 | 7.077% | 15% | 100%
IR - Occupancy Sensor - Ceiling or Wall Remote Mounted | RET | 28 | 30 | 30 | 30 | 30 | 30 | 2 | 7.143% | 216.2986 | 13.87% | 15% | 100%
IR - Low Temperature Dishwasher - Under-Counter | ROB/NEW | 140 | 400 | 400 | 400 | 400 | 400 | 260 | 185.7% | 11977.0609 | 3.34% | 15% | 100%
IR - Low Temperature Dishwasher - Single-Tank Door Type | ROB/NEW | 700 | 1500 | 1500 | 1500 | 1500 | 1500 | 800 | 114.3% | 10672.5286 | 14.05% | 15% | 100%
IR - Low Temperature Dishwasher - Single-Tank Conveyor | ROB/NEW | 560 | 1250 | 1250 | 1250 | 1250 | 1250 | 690 | 123.2% | 20981.7713 | 5.958% | 15% | 100%
IR - Low Temperature Dishwasher - Multi-Tank Conveyor | ROB/NEW | 770 | 1750 | 1750 | 1750 | 1750 | 1750 | 980 | 127.3% | 30656.2635 | 5.708% | 15% | 100%
AR - Custom Measures - Lighting | RET | 5050.6378 | 7215.1968 | 7215.1968 | 7215.1968 | 7215.1968 | 7215.1968 | 2164.559 | 42.86% | 16369.1105 | 44.08% | 15% | 100%
IR - Kitchen Exhaust Demand Controlled Ventilation (DCV) | RET | 262.5 | 637.5 | 637.5 | 637.5 | 637.5 | 637.5 | 375 | 142.9% | 2790.0569 | 22.85% | 15% | 100%
IR - Ice Maker - Self-Contained | ROB/NEW | 35 | 150 | 150 | 150 | 150 | 150 | 115 | 328.6% | 7907.9023 | 1.897% | 15% | 100%
IR - Ice Maker - Remote Condensing Unit - 400-1000 lb/day | ROB/NEW | 98 | 200 | 200 | 200 | 200 | 200 | 102 | 104.1% | 13472.5153 | 1.485% | 15% | 100%
IR - Ice Maker - Remote Condensing Unit - 1000-2000 lb/day | ROB/NEW | 168 | 300 | 300 | 300 | 300 | 300 | 132 | 78.57% | 17173.9504 | 1.747% | 15% | 100%
IR - Ice Maker - Remote Condensing Unit - >2000 lb/day | ROB/NEW | 315 | 600 | 600 | 600 | 600 | 600 | 285 | 90.48% | 19331.2334 | 3.104% | 15% | 100%
IR - Ice Maker - Ice Making Head - 750-1000 lb/day | ROB/NEW | 140 | 250 | 250 | 250 | 250 | 250 | 110 | 78.57% | 13161.4946 | 1.899% | 15% | 100%
IR - Ice Maker - Ice Making Head - 500-750 lb/day | ROB/NEW | 101.5 | 200 | 200 | 200 | 200 | 200 | 98.5 | 97.04% | 10800.0029 | 1.852% | 15% | 100%
IR - Ice Maker - Ice Making Head - 200-500 lb/day | ROB/NEW | 56 | 150 | 150 | 150 | 150 | 150 | 94 | 167.9% | 8438.5112 | 1.778% | 15% | 100%
IR - Ice Maker - Ice Making Head - >1000 lb/day | ROB/NEW | 175 | 300 | 300 | 300 | 300 | 300 | 125 | 71.43% | 14828.157 | 2.023% | 15% | 100%
IR - Hot Food Holding Cabinet - Full Size - Interior Volume >=20 ft^3 | ROB/NEW | 420 | 900 | 900 | 900 | 900 | 900 | 480 | 114.3% | 9173.4645 | 9.811% | 15% | 100%
IR - Hot Food Holding Cabinet - 1/2 and 3/4 Size - Interior Volume <20 ft^3 | ROB/NEW | 167.916 | 399.8 | 399.8 | 399.8 | 399.8 | 399.8 | 231.884 | 138.1% | 4801.821 | 8.326% | 15% | 100%
IR - High Temperature Dishwasher - Under-Counter | ROB/NEW | 175 | 400 | 400 | 400 | 400 | 400 | 225 | 128.6% | 11849.1417 | 3.376% | 15% | 100%
IR - High Temperature Dishwasher - Single-Tank Door Type | ROB/NEW | 560 | 1100 | 1100 | 1100 | 1100 | 1100 | 540 | 96.43% | 22072.5419 | 4.984% | 15% | 100%
IR - High Temperature Dishwasher - Single-Tank Conveyor | ROB/NEW | 490 | 1100 | 1100 | 1100 | 1100 | 1100 | 610 | 124.5% | 20981.7713 | 5.243% | 15% | 100%
IR - High Temperature Dishwasher - Pot, Pan and Utensil | ROB/NEW | 140 | 450 | 450 | 450 | 450 | 450 | 310 | 221.4% | 17588.1096 | 2.559% | 15% | 100%
IR - High Temperature Dishwasher - Multi-Tank Conveyor | ROB/NEW | 1050 | 2000 | 2000 | 2000 | 2000 | 2000 | 950 | 90.48% | 30656.2635 | 6.524% | 15% | 100%
IR - High Efficiency Circulator Pump - 500-2500 W | ROB/NEW | 280 | 600 | 600 | 600 | 600 | 600 | 320 | 114.3% | 5110.8012 | 11.74% | 15% | 100%
IR - High Efficiency Circulator Pump - 150-499 W | ROB/NEW | 77 | 150 | 150 | 150 | 150 | 150 | 73 | 94.81% | 2971.1012 | 5.049% | 15% | 100%
IR - High Efficiency Circulator Pump - 0-149 W | ROB/NEW | 42 | 100 | 100 | 100 | 100 | 100 | 58 | 138.1% | 360.6134 | 27.73% | 15% | 100%
IR - Griddle - Electric | RET | 315 | 1500 | 1500 | 1500 | 1500 | 1500 | 1185 | 376.2% | 16411.9382 | 9.14% | 15% | 100%
IR - Fryer - Electric | RET | 350 | 850 | 850 | 850 | 850 | 850 | 500 | 142.9% | 16485.3066 | 5.156% | 15% | 100%
IR - Commercial Washing Machine - CEE Tier 3 | ROB/NEW | 175 | 450 | 450 | 450 | 450 | 450 | 275 | 157.1% | 1940.988 | 23.18% | 15% | 100%
IR - Commercial Washing Machine - CEE Tier 2 | ROB/NEW | 140 | 350 | 350 | 350 | 350 | 350 | 210 | 150% | 1925.688 | 18.18% | 15% | 100%
IR - Commercial Washing Machine - CEE Tier 1 | ROB/NEW | 105 | 300 | 300 | 300 | 300 | 300 | 195 | 185.7% | 1873.4263 | 16.01% | 15% | 100%
IR - Commercial Clothes Dryer - Heat Pump | RET | 210 | 650 | 650 | 650 | 650 | 650 | 440 | 209.5% | 3110.1276 | 20.9% | 15% | 100%
AR - Zero-energy Doors for Reach-in Coolers | RET | 84 | 120 | 120 | 120 | 120 | 120 | 36 | 42.86% | 1901.6497 | 6.31% | 15% | 100%
AR - Water Source Heat Pump - Open Loop - EER>=20.0, COP>=4.0 | ROB/NEW | 1099 | 2355 | 2355 | 3270.8333 | 3270.8333 | 3925 | 2826 | 257.1% | 50587.9395 | 7.759% | 15% | 100%
AR - Water Source Heat Pump - Open Loop - EER>=16.2, COP>=3.6 | ROB/NEW | 915.8333 | 2355 | 2355 | 3270.8333 | 3270.8333 | 3925 | 3009.1667 | 328.6% | 45546.7691 | 8.618% | 15% | 100%
AR - Water Source Heat Pump - Closed Loop/Direct Geoexchange - EER>=16.0, COP>=3.6 | ROB/NEW | 1099 | 2355 | 2355 | 3270.8333 | 3270.8333 | 3925 | 2826 | 257.1% | 56768.4436 | 6.914% | 15% | 100%
AR - Water Source Heat Pump - Closed Loop/Direct Geoexchange - EER>=13.4, COP>=3.1 | ROB/NEW | 915.8333 | 2355 | 2355 | 3270.8333 | 3270.8333 | 3925 | 3009.1667 | 328.6% | 51842.0814 | 7.571% | 15% | 100%
AR - VFD for Milk Vacuum Pump | RET | 586.25 | 837.5 | 837.5 | 837.5 | 837.5 | 837.5 | 251.25 | 42.86% | 10610.5392 | 7.893% | 15% | 100%
AR - VFD for Milk Transfer Pump | RET | 350 | 500 | 500 | 500 | 500 | 500 | 150 | 42.86% | 4855.6089 | 10.3% | 15% | 100%
AR - Variable Frequency Drive >5-10 hp | RET | 840 | 1200 | 1200 | 1200 | 1200 | 1200 | 360 | 42.86% | 8006.2639 | 14.99% | 15% | 100%
AR - Variable Frequency Drive >= 10 hp | RET | 791.875 | 1131.25 | 1131.25 | 1131.25 | 1131.25 | 1131.25 | 339.375 | 42.86% | 14589.5856 | 7.754% | 15% | 100%
AR - Variable Frequency Drive - 1-5 hp | RET | 525 | 750 | 750 | 750 | 750 | 750 | 225 | 42.86% | 3984.3962 | 18.82% | 15% | 100%
AR - Uninterruptible Power Supply (UPS) | ROB/NEW | 28 | 40 | 40 | 40 | 40 | 40 | 12 | 42.86% | 87.3968 | 45.77% | 15% | 100%
AR - Strip Curtains for Display Cases | RET | 58.8 | 42 | 42 | 42 | 42 | 42 | -16.8 | -28.57% | 95.7475 | 43.87% | 15% | 100%
AR - Steam Cooker - Electric | RET | 630 | 1500 | 1500 | 1500 | 1500 | 1500 | 870 | 138.1% | 15061.2259 | 9.959% | 15% | 100%
AR - Solar Space Heating System | ROB/NEW | 2077.208 | 2967.44 | 2967.44 | 2967.44 | 2967.44 | 2967.44 | 890.232 | 42.86% | 9136.5958 | 32.48% | 15% | 100%
AR - Solar Domestic Hot Water (DHW) System | ROB/NEW | 2077.208 | 2967.44 | 2967.44 | 2967.44 | 2967.44 | 2967.44 | 890.232 | 42.86% | 9004.9227 | 32.95% | 15% | 100%
AR - Smart thermostats for mini-split heat pumps | RET | 70 | 30 | 30 | 30 | 30 | 30 | -40 | -57.14% | 210.9653 | 14.22% | 15% | 100%
AR - Smart thermostats for in-floor heat | RET | 70 | 30 | 30 | 30 | 30 | 30 | -40 | -57.14% | 210.9653 | 14.22% | 15% | 100%
AR - Smart thermostats for electric baseboards | RET | 70 | 30 | 30 | 30 | 30 | 30 | -40 | -57.14% | 210.9653 | 14.22% | 15% | 100%
AR - Smart thermostats for central air source heat pumps | RET | 70 | 30 | 30 | 30 | 30 | 30 | -40 | -57.14% | 210.9653 | 14.22% | 15% | 100%
AR - Small Single Package Heat Pump System - Commercial | RET | 1369.0833 | 1955.8333 | 1955.8333 | 2738.1667 | 2738.1667 | 3520.5 | 2151.4167 | 157.1% | 16417.105 | 21.44% | 15% | 100%
AR - Small Multi-Zone Heat Pump - MURB (with baseline cooling) | RET | 523.1852 | 1681.6667 | 1681.6667 | 2335.6481 | 2335.6481 | 2802.7778 | 2279.5926 | 435.7% | 13884.7837 | 20.19% | 15% | 100%
AR - Small Multi-Zone Heat Pump - MURB (no baseline cooling) | RET | 432.3667 | 1389.75 | 1389.75 | 1930.2083 | 1930.2083 | 2316.25 | 1883.8833 | 435.7% | 13884.7837 | 16.68% | 15% | 100%
AR - Small Multi-Zone Heat Pump - Commercial (with baseline cooling) | RET | 721.4261 | 2318.8696 | 2318.8696 | 3220.6522 | 3220.6522 | 3864.7826 | 3143.3565 | 435.7% | 13884.7837 | 27.83% | 15% | 100%
AR - Small Multi-Zone Heat Pump - Commercial (no baseline cooling) | RET | 770.6667 | 2477.1429 | 2477.1429 | 3440.4762 | 3440.4762 | 4128.5714 | 3357.9048 | 435.7% | 13884.7837 | 29.73% | 15% | 100%
AR - Small Ductless Mini-Split Heat Pump - MURB (with baseline cooling) | RET | 318.9804 | 569.6078 | 569.6078 | 797.451 | 797.451 | 1025.2941 | 706.3137 | 221.4% | 5160.7068 | 19.87% | 15% | 100%
AR - Small Ductless Mini-Split Heat Pump - MURB (no baseline cooling) | RET | 311.4245 | 556.1152 | 556.1152 | 778.5613 | 778.5613 | 1001.0074 | 689.5828 | 221.4% | 5160.7068 | 19.4% | 15% | 100%
AR - Small Ductless Mini-Split Heat Pump - Commercial - HSPF>=12, SEER>=22 (with baseline cooling) | RET | 538.2917 | 640.8234 | 640.8234 | 897.1528 | 897.1528 | 1153.4821 | 615.1905 | 114.3% | 6080.2862 | 18.97% | 15% | 100%
AR - Small Ductless Mini-Split Heat Pump - Commercial - HSPF>=12, SEER>=22 (no baseline cooling) | RET | 541.7622 | 644.955 | 644.955 | 902.9369 | 902.9369 | 1160.9189 | 619.1568 | 114.3% | 6080.2862 | 19.09% | 15% | 100%
AR - Small Ductless Mini-Split Heat Pump - Commercial - HSPF>=11, SEER>=17 (with baseline cooling) | RET | 530.9736 | 758.5337 | 758.5337 | 1061.9471 | 1061.9471 | 1365.3606 | 834.387 | 157.1% | 5505.5491 | 24.8% | 15% | 100%
AR - Small Ductless Mini-Split Heat Pump - Commercial - HSPF>=11, SEER>=17 (no baseline cooling) | RET | 495.4924 | 707.8463 | 707.8463 | 990.9848 | 990.9848 | 1274.1233 | 778.6309 | 157.1% | 5505.5491 | 23.14% | 15% | 100%
AR - Small Centrally Ducted Split System Heat Pump - MURB | RET | 1166.6667 | 3750 | 3750 | 5208.3333 | 5208.3333 | 6250 | 5083.3333 | 435.7% | 15177.8919 | 41.18% | 15% | 100%
AR - Small Centrally Ducted Split System Heat Pump - Commercial (with baseline cooling) | RET | 1575 | 3375 | 3375 | 4687.5 | 4687.5 | 5625 | 4050 | 257.1% | 16298.6433 | 34.51% | 15% | 100%
AR - Small Centrally Ducted Split System Heat Pump - Commercial (no baseline cooling) | RET | 1299.1176 | 2783.8235 | 2783.8235 | 3866.4216 | 3866.4216 | 4639.7059 | 3340.5882 | 257.1% | 16298.6433 | 28.47% | 15% | 100%
AR - RTU with DCV only - 5 hp fan | RET | 1750 | 1550 | 1550 | 1550 | 1550 | 1550 | -200 | -11.43% | 3413.2872 | 45.41% | 15% | 100%
AR - RTU with DCV only - 4 hp fan | RET | 1400 | 2000 | 2000 | 2000 | 2000 | 2000 | 600 | 42.86% | 2817.5487 | 70.98% | 15% | 100%
AR - RTU with DCV only - 3 hp fan | RET | 1050 | 1500 | 1500 | 1500 | 1500 | 1500 | 450 | 42.86% | 2221.7923 | 67.51% | 15% | 100%
AR - RTU with DCV only - >= 7.5 hp fan | RET | 2625 | 2300 | 2300 | 2300 | 2300 | 2300 | -325 | -12.38% | 5003.8125 | 45.96% | 15% | 100%
AR - RTU with DCV and VFD - 5 hp fan | ROB/NEW | 2275 | 2850 | 2850 | 2850 | 2850 | 2850 | 575 | 25.27% | 7271.0258 | 39.2% | 15% | 100%
AR - RTU with DCV and VFD - 4 hp fan | ROB/NEW | 1837.5 | 2300 | 2300 | 2300 | 2300 | 2300 | 462.5 | 25.17% | 5965.3448 | 38.56% | 15% | 100%
AR - RTU with DCV and VFD - 3 hp fan | ROB/NEW | 1400 | 1700 | 1700 | 1700 | 1700 | 1700 | 300 | 21.43% | 4659.7597 | 36.48% | 15% | 100%
AR - RTU with DCV and VFD - >= 7.5 hp fan | ROB/NEW | 3325 | 4300 | 4300 | 4300 | 4300 | 4300 | 975 | 29.32% | 10742.1731 | 40.03% | 15% | 100%
AR - Roadway lighting >=15,000 lm | RET | 24.5 | 35 | 35 | 35 | 35 | 35 | 10.5 | 42.86% | 830.387 | 4.215% | 15% | 100%
AR - Roadway lighting <15,000 lm | RET | 10.5 | 15 | 15 | 15 | 15 | 15 | 4.5 | 42.86% | 830.387 | 1.806% | 15% | 100%
AR - Refrigerator - Solid Door | RET | 55.013 | 130.9833 | 130.9833 | 130.9833 | 196.475 | 196.475 | 141.462 | 257.1% | 8618.1529 | 2.28% | 15% | 100%
AR - Refrigerator - Glass Door >=15 ft^3 | RET | 73.92 | 176 | 176 | 176 | 264 | 264 | 190.08 | 257.1% | 10362.2774 | 2.548% | 15% | 100%
AR - Refrigerator - Glass Door <15 ft^3 | RET | 55.4136 | 67.8533 | 67.8533 | 67.8533 | 79.1622 | 79.1622 | 23.7487 | 42.86% | 6860.8475 | 1.154% | 15% | 100%
AR - Refrigerated Vending Machine Controls | RET | 35 | 50 | 50 | 50 | 50 | 50 | 15 | 42.86% | 280.4812 | 17.83% | 15% | 100%
AR - Pool Pump | ROB/NEW | 245 | 350 | 350 | 350 | 350 | 350 | 105 | 42.86% | 3832.9908 | 9.131% | 15% | 100%
AR - Packaged Terminal Heat Pump | ROB/NEW | 350 | 500 | 500 | 700 | 700 | 900 | 550 | 157.1% | 3048.0332 | 29.53% | 15% | 100%
AR - Oven - Electric - Convection | RET | 280 | 650 | 650 | 650 | 650 | 650 | 370 | 132.1% | 14365.5969 | 4.525% | 15% | 100%
AR - Oven - Electric - Combination | RET | 700 | 1500 | 1500 | 1500 | 1500 | 1500 | 800 | 114.3% | 27644.3208 | 5.426% | 15% | 100%
AR - Outside Air Economizer | RET | 1400 | 2000 | 2000 | 2000 | 2000 | 2000 | 600 | 42.86% | 10852.505 | 18.43% | 15% | 100%
AR - Open to Closed Cooler Conversion | RET | 17.5 | 25 | 25 | 25 | 25 | 25 | 7.5 | 42.86% | 787.7804 | 3.173% | 15% | 100%
AR - Occupancy Sensor - Wall-Switch Mounted | RET | 14 | 15 | 15 | 15 | 15 | 15 | 1 | 7.143% | 148.8052 | 10.08% | 15% | 100%
AR - Occupancy Sensor - Fixture Mounted | RET | 14 | 15 | 15 | 15 | 15 | 15 | 1 | 7.143% | 117.3598 | 12.78% | 15% | 100%
AR - Occupancy Sensor - Exterior | RET | 7 | 10 | 10 | 10 | 10 | 10 | 3 | 42.86% | 141.3111 | 7.077% | 15% | 100%
AR - Occupancy Sensor - Ceiling or Wall Remote Mounted | RET | 28 | 30 | 30 | 30 | 30 | 30 | 2 | 7.143% | 216.2986 | 13.87% | 15% | 100%
AR - No Loss Drain | ROB/NEW | 84 | 120 | 120 | 120 | 120 | 120 | 36 | 42.86% | 711.1821 | 16.87% | 15% | 100%
AR - Natural Ventilation - Year-round | RET | 618 | 882.8571 | 882.8571 | 882.8571 | 882.8571 | 882.8571 | 264.8571 | 42.86% | 69000.5989 | 1.279% | 15% | 100%
AR - Natural Ventilation - Winter Only | RET | 134.4 | 192 | 192 | 192 | 192 | 192 | 57.6 | 42.86% | 69000.5989 | 0.2783% | 15% | 100%
AR - Milk Pre-cooler - 50+ Plates | RET | 980 | 1400 | 1400 | 1400 | 1400 | 1400 | 420 | 42.86% | 13497.4329 | 10.37% | 15% | 100%
AR - Milk Pre-cooler - 10-49 Plates | RET | 525 | 750 | 750 | 750 | 750 | 750 | 225 | 42.86% | 6653.3044 | 11.27% | 15% | 100%
AR - Low-Energy or Zero-Energy Livestock Waterer | RET | 70 | 100 | 100 | 100 | 100 | 100 | 30 | 42.86% | 2004.3319 | 4.989% | 15% | 100%
AR - Low Temperature Dishwasher - Under-Counter | ROB/NEW | 140 | 400 | 400 | 400 | 400 | 400 | 260 | 185.7% | 11977.0609 | 3.34% | 15% | 100%
AR - Low Temperature Dishwasher - Single-Tank Door Type | ROB/NEW | 700 | 1500 | 1500 | 1500 | 1500 | 1500 | 800 | 114.3% | 10672.5286 | 14.05% | 15% | 100%
AR - Low Temperature Dishwasher - Single-Tank Conveyor | ROB/NEW | 560 | 1250 | 1250 | 1250 | 1250 | 1250 | 690 | 123.2% | 20981.7713 | 5.958% | 15% | 100%
AR - Low Temperature Dishwasher - Multi-Tank Conveyor | ROB/NEW | 770 | 1750 | 1750 | 1750 | 1750 | 1750 | 980 | 127.3% | 30656.2635 | 5.708% | 15% | 100%
AR - Large ASHP - 65 to 135 kBTU/h - High Heat COP>=3.6, Low Heat COP>=2.45, EER>=11.9 (with baseline cooling) | ROB/NEW | 3572.9167 | 5104.1667 | 5104.1667 | 5104.1667 | 5104.1667 | 5104.1667 | 1531.25 | 42.86% | 20387.7466 | 25.04% | 15% | 100%
AR - Large ASHP - 65 to 135 kBTU/h - High Heat COP>=3.6, Low Heat COP>=2.45, EER>=11.9 (no baseline cooling) | ROB/NEW | 3572.9167 | 5104.1667 | 5104.1667 | 5104.1667 | 5104.1667 | 5104.1667 | 1531.25 | 42.86% | 20387.7466 | 25.04% | 15% | 100%
AR - Large ASHP - 65 to 135 kBTU/h - High Heat COP>=3.4, Low Heat COP>=2.25, EER>=11 (with baseline cooling) | ROB/NEW | 3133.8816 | 4476.9737 | 4476.9737 | 4476.9737 | 4476.9737 | 4476.9737 | 1343.0921 | 42.86% | 22073.5381 | 20.28% | 15% | 100%
AR - Large ASHP - 65 to 135 kBTU/h - High Heat COP>=3.4, Low Heat COP>=2.25, EER>=11 (no baseline cooling) | ROB/NEW | 3589.25 | 5127.5 | 5127.5 | 5127.5 | 5127.5 | 5127.5 | 1538.25 | 42.86% | 22073.5317 | 23.23% | 15% | 100%
AR - Large ASHP - 135 to 240 kBTU/h - High Heat COP>=3.5, Low Heat COP>=2.25, EER>=11.4 (with baseline cooling) | ROB/NEW | 5104.1667 | 7291.6667 | 7291.6667 | 7291.6667 | 7291.6667 | 7291.6667 | 2187.5 | 42.86% | 28468.3526 | 25.61% | 15% | 100%
AR - Large ASHP - 135 to 240 kBTU/h - High Heat COP>=3.5, Low Heat COP>=2.25, EER>=11.4 (no baseline cooling) | ROB/NEW | 5104.1667 | 7291.6667 | 7291.6667 | 7291.6667 | 7291.6667 | 7291.6667 | 2187.5 | 42.86% | 28468.3526 | 25.61% | 15% | 100%
AR - Large ASHP - 135 to 240 kBTU/h - High Heat COP>=3.2, Low Heat COP>=2.05, EER>=10.4 (with baseline cooling) | ROB/NEW | 4555.8333 | 6508.3333 | 6508.3333 | 6508.3333 | 6508.3333 | 6508.3333 | 1952.5 | 42.86% | 34892.6621 | 18.65% | 15% | 100%
AR - Large ASHP - 135 to 240 kBTU/h - High Heat COP>=3.2, Low Heat COP>=2.05, EER>=10.4 (no baseline cooling) | ROB/NEW | 6247.5 | 8925 | 8925 | 8925 | 8925 | 8925 | 2677.5 | 42.86% | 34892.6621 | 25.58% | 15% | 100%
AR - Kitchen Exhaust Demand Controlled Ventilation (DCV) | RET | 262.5 | 637.5 | 637.5 | 637.5 | 637.5 | 637.5 | 375 | 142.9% | 2790.0569 | 22.85% | 15% | 100%
AR - Intelligent Freezer Defrost Controls | RET | 105 | 150 | 150 | 150 | 150 | 150 | 45 | 42.86% | 1208.8472 | 12.41% | 15% | 100%
AR - Integrated Dual Enthalpy Economizer Controls | RET | 175 | 250 | 250 | 250 | 250 | 250 | 75 | 42.86% | 2173.3109 | 11.5% | 15% | 100%
AR - Indoor - Horticultural Lighting | RET | 238 | 90 | 90 | 90 | 90 | 90 | -148 | -62.18% | 198.7669 | 45.28% | 15% | 100%
AR - Indoor - Four-Pin Base Replacement Lamp for CFL | RET | 3.5 | 5 | 5 | 5 | 5 | 5 | 1.5 | 42.86% | 35.4077 | 14.12% | 15% | 100%
AR - Ice Maker - Self-Contained | ROB/NEW | 35 | 150 | 150 | 150 | 150 | 150 | 115 | 328.6% | 7907.9023 | 1.897% | 15% | 100%
AR - Ice Maker - Remote Condensing Unit - 400-1000 lb/day | ROB/NEW | 98 | 200 | 200 | 200 | 200 | 200 | 102 | 104.1% | 13472.5153 | 1.485% | 15% | 100%
AR - Ice Maker - Remote Condensing Unit - 1000-2000 lb/day | ROB/NEW | 168 | 300 | 300 | 300 | 300 | 300 | 132 | 78.57% | 17173.9504 | 1.747% | 15% | 100%
AR - Ice Maker - Remote Condensing Unit - >2000 lb/day | ROB/NEW | 315 | 600 | 600 | 600 | 600 | 600 | 285 | 90.48% | 19331.2334 | 3.104% | 15% | 100%
AR - Ice Maker - Ice Making Head - 750-1000 lb/day | ROB/NEW | 140 | 250 | 250 | 250 | 250 | 250 | 110 | 78.57% | 13161.4946 | 1.899% | 15% | 100%
AR - Ice Maker - Ice Making Head - 500-750 lb/day | ROB/NEW | 101.5 | 200 | 200 | 200 | 200 | 200 | 98.5 | 97.04% | 10800.0029 | 1.852% | 15% | 100%
AR - Ice Maker - Ice Making Head - 200-500 lb/day | ROB/NEW | 56 | 150 | 150 | 150 | 150 | 150 | 94 | 167.9% | 8438.5112 | 1.778% | 15% | 100%
AR - Ice Maker - Ice Making Head - >1000 lb/day | ROB/NEW | 175 | 300 | 300 | 300 | 300 | 300 | 125 | 71.43% | 14828.157 | 2.023% | 15% | 100%
AR - HVAC Hotel Occupancy Sensor - Without building integrated intelligent control | RET | 35 | 50 | 50 | 50 | 50 | 50 | 15 | 42.86% | 210.9653 | 23.7% | 15% | 100%
AR - HVAC Hotel Occupancy Sensor - With building integrated intelligent control | RET | 52.5 | 75 | 75 | 75 | 75 | 75 | 22.5 | 42.86% | 522.1983 | 14.36% | 15% | 100%
AR - HVAC Air-to-Water Heat Pump | ROB/NEW | 1414.5833 | 3637.5 | 3637.5 | 5052.0833 | 5052.0833 | 6062.5 | 4647.9167 | 328.6% | 27414.9546 | 22.11% | 15% | 100%
AR - Hot Food Holding Cabinet - Full Size - Interior Volume >=20 ft^3 | ROB/NEW | 420 | 900 | 900 | 900 | 900 | 900 | 480 | 114.3% | 9173.4645 | 9.811% | 15% | 100%
AR - Hot Food Holding Cabinet - 1/2 and 3/4 Size - Interior Volume <20 ft^3 | ROB/NEW | 167.916 | 399.8 | 399.8 | 399.8 | 399.8 | 399.8 | 231.884 | 138.1% | 4801.821 | 8.326% | 15% | 100%
AR - High Volume Low Speed Fan - 24+ ft | RET | 1400 | 2000 | 2000 | 2000 | 2000 | 2000 | 600 | 42.86% | 16717.3452 | 11.96% | 15% | 100%
AR - High Volume Low Speed Fan - 16-22 ft | RET | 700 | 1000 | 1000 | 1000 | 1000 | 1000 | 300 | 42.86% | 13743.8189 | 7.276% | 15% | 100%
AR - High Temperature Dishwasher - Under-Counter | ROB/NEW | 175 | 400 | 400 | 400 | 400 | 400 | 225 | 128.6% | 11849.1417 | 3.376% | 15% | 100%
AR - High Temperature Dishwasher - Single-Tank Door Type | ROB/NEW | 560 | 1100 | 1100 | 1100 | 1100 | 1100 | 540 | 96.43% | 22072.5419 | 4.984% | 15% | 100%
AR - High Temperature Dishwasher - Single-Tank Conveyor | ROB/NEW | 490 | 1100 | 1100 | 1100 | 1100 | 1100 | 610 | 124.5% | 20981.7713 | 5.243% | 15% | 100%
AR - High Temperature Dishwasher - Pot, Pan and Utensil | ROB/NEW | 140 | 450 | 450 | 450 | 450 | 450 | 310 | 221.4% | 17588.1096 | 2.559% | 15% | 100%
AR - High Temperature Dishwasher - Multi-Tank Conveyor | ROB/NEW | 1050 | 2000 | 2000 | 2000 | 2000 | 2000 | 950 | 90.48% | 30656.2635 | 6.524% | 15% | 100%
AR - High Efficiency Ventilation Fan - 48+ in | RET | 66.5 | 95 | 95 | 95 | 95 | 95 | 28.5 | 42.86% | 1985.4024 | 4.785% | 15% | 100%
AR - High Efficiency Ventilation Fan - 36-47 in | RET | 52.5 | 75 | 75 | 75 | 75 | 75 | 22.5 | 42.86% | 1580.8299 | 4.744% | 15% | 100%
AR - High Efficiency Ventilation Fan - 24-35 in | RET | 45.5 | 65 | 65 | 65 | 65 | 65 | 19.5 | 42.86% | 1410.3849 | 4.609% | 15% | 100%
AR - High Efficiency Ventilation Fan - 14-23 in | RET | 38.5 | 55 | 55 | 55 | 55 | 55 | 16.5 | 42.86% | 1239.94 | 4.436% | 15% | 100%
AR - High Efficiency Circulator Pump - 500-2500 W | ROB/NEW | 280 | 600 | 600 | 600 | 600 | 600 | 320 | 114.3% | 5110.8012 | 11.74% | 15% | 100%
AR - High Efficiency Circulator Pump - 150-499 W | ROB/NEW | 77 | 150 | 150 | 150 | 150 | 150 | 73 | 94.81% | 2971.1012 | 5.049% | 15% | 100%
AR - High Efficiency Circulator Pump - 0-149 W | ROB/NEW | 42 | 100 | 100 | 100 | 100 | 100 | 58 | 138.1% | 360.6134 | 27.73% | 15% | 100%
AR - High Efficiency Circulation Fan - 36-47 in | RET | 38.5 | 55 | 55 | 55 | 55 | 55 | 16.5 | 42.86% | 1580.8299 | 3.479% | 15% | 100%
AR - High Efficiency Circulation Fan - 18-35 in | RET | 24.5 | 35 | 35 | 35 | 35 | 35 | 10.5 | 42.86% | 1301.7497 | 2.689% | 15% | 100%
AR - Heat Reclaimer Unit | RET | 875 | 1250 | 1250 | 1250 | 1250 | 1250 | 375 | 42.86% | 6987.021 | 17.89% | 15% | 100%
AR - Heat Pump Water Heater >=80 gal | ROB/NEW | 560 | 900 | 900 | 900 | 900 | 900 | 340 | 60.71% | 5932.8495 | 15.17% | 15% | 100%
AR - Heat Pump Water Heater - 60-79 gal | ROB/NEW | 490 | 800 | 800 | 800 | 800 | 800 | 310 | 63.27% | 5027.4924 | 15.91% | 15% | 100%
AR - Ground Source Heat Pump - Open Loop - EER>=20.0, COP>=4.0 | ROB/NEW | 2551.5 | 5467.5 | 5467.5 | 7593.75 | 7593.75 | 9112.5 | 6561 | 257.1% | 52938.7288 | 17.21% | 15% | 100%
AR - Ground Source Heat Pump - Open Loop - EER>=16.2, COP>=3.6 | ROB/NEW | 2126.25 | 5467.5 | 5467.5 | 7593.75 | 7593.75 | 9112.5 | 6986.25 | 328.6% | 50639.7804 | 17.99% | 15% | 100%
AR - Griddle - Electric | RET | 315 | 900 | 900 | 900 | 900 | 900 | 585 | 185.7% | 16411.9382 | 5.484% | 15% | 100%
AR - Fryer - Electric | RET | 350 | 850 | 850 | 850 | 850 | 850 | 500 | 142.9% | 16485.3066 | 5.156% | 15% | 100%
AR - Freezer - Glass Door - >=15 ft^3 | RET | 367.92 | 613.2 | 613.2 | 613.2 | 613.2 | 613.2 | 245.28 | 66.67% | 13322.0099 | 4.603% | 15% | 100%
AR - Freezer - Glass Door - <15 ft^3 | RET | 140 | 300 | 300 | 300 | 300 | 300 | 160 | 114.3% | 6197.2816 | 4.841% | 15% | 100%
AR - Evaporator Fan Motor Controls | RET | 350 | 150 | 150 | 150 | 150 | 150 | -200 | -57.14% | 339.0214 | 44.24% | 15% | 100%
AR - Engine Block Heater Timer | RET | 28 | 40 | 40 | 40 | 40 | 40 | 12 | 42.86% | 232.2897 | 17.22% | 15% | 100%
AR - Electric Thermal Storage (ETS) System - Small Commercial (50-150 kWh of 8-hr storage) | RET | 700 | 1000 | 1000 | 1000 | 1000 | 1000 | 300 | 42.86% | 21572.3024 | 4.636% | 15% | 100%
AR - Electric Thermal Storage (ETS) System - Medium Commercial (150-300 kWh of 8-hr storage) | RET | 1400 | 2000 | 2000 | 2000 | 2000 | 2000 | 600 | 42.86% | 43144.6049 | 4.636% | 15% | 100%
AR - Electric Thermal Storage (ETS) System - Less than 50 kWh | RET | 350 | 500 | 500 | 500 | 500 | 500 | 150 | 42.86% | 4314.4605 | 11.59% | 15% | 100%
AR - Electric Thermal Storage (ETS) System - Large Commercial (>300 kWh of 8-hr storage) | RET | 2800 | 4000 | 4000 | 4000 | 4000 | 4000 | 1200 | 42.86% | 64716.9073 | 6.181% | 15% | 100%
AR - ECM (Brushless) DC Motors for Refrig Evap Fan - Walk-in Cooler | ROB/NEW | 126 | 180 | 180 | 180 | 180 | 180 | 54 | 42.86% | 688.8392 | 26.13% | 15% | 100%
AR - ECM (Brushless) DC Motors for Refrig Evap Fan - Standalone Retail Cooler | ROB/NEW | 42 | 50 | 50 | 50 | 50 | 50 | 8 | 19.05% | 163.8592 | 30.51% | 15% | 100%
AR - Dual Ventilation - Year-round | ROB/NEW | 224 | 320 | 320 | 320 | 320 | 320 | 96 | 42.86% | 75924.5344 | 0.4215% | 15% | 100%
AR - Dual Ventilation - Winter Only | ROB/NEW | 224 | 192 | 192 | 192 | 192 | 192 | -32 | -14.29% | 75924.5344 | 0.2529% | 15% | 100%
AR - Door Heater Controls | RET | 134.4 | 80 | 80 | 80 | 80 | 80 | -54.4 | -40.48% | 135.9184 | 58.86% | 15% | 100%
AR - Discus or Scroll Refrigeration Compressor | ROB/NEW | 140 | 200 | 200 | 200 | 200 | 200 | 60 | 42.86% | 4326.0848 | 4.623% | 15% | 100%
AR - Daylighting Controls - Wall-Switch or Fixture Mounted | RET | 10.5 | 25 | 25 | 25 | 25 | 25 | 14.5 | 138.1% | 137.1848 | 18.22% | 15% | 100%
AR - Daylighting Controls - Ceiling or Wall Remote Mounted | RET | 24.5 | 60 | 60 | 60 | 60 | 60 | 35.5 | 144.9% | 137.1848 | 43.74% | 15% | 100%
AR - Cycling Refrigerated Air Dryers - 51-100 cfm | ROB/NEW | 70 | 100 | 100 | 100 | 100 | 100 | 30 | 42.86% | 6532.1451 | 1.531% | 15% | 100%
AR - Cycling Refrigerated Air Dryers - 26-50 cfm | ROB/NEW | 35 | 50 | 50 | 50 | 50 | 50 | 15 | 42.86% | 4632.3816 | 1.079% | 15% | 100%
AR - Cycling Refrigerated Air Dryers - 251-300 cfm | ROB/NEW | 245 | 350 | 350 | 350 | 350 | 350 | 105 | 42.86% | 17206.4414 | 2.034% | 15% | 100%
AR - Cycling Refrigerated Air Dryers - 201-250 cfm | ROB/NEW | 175 | 250 | 250 | 250 | 250 | 250 | 75 | 42.86% | 11486.1083 | 2.177% | 15% | 100%
AR - Cycling Refrigerated Air Dryers - 151-200 cfm | ROB/NEW | 140 | 200 | 200 | 200 | 200 | 200 | 60 | 42.86% | 11944.8118 | 1.674% | 15% | 100%
AR - Cycling Refrigerated Air Dryers - 101-150 cfm | ROB/NEW | 105 | 150 | 150 | 150 | 150 | 150 | 45 | 42.86% | 8400.3527 | 1.786% | 15% | 100%
AR - Cycling Refrigerated Air Dryers - 0-25 cfm | ROB/NEW | 17.5 | 25 | 25 | 25 | 25 | 25 | 7.5 | 42.86% | 3347.6474 | 0.7468% | 15% | 100%
AR - Custom Measures - Refrigeration | RET | 558.0737 | 797.2482 | 797.2482 | 797.2482 | 797.2482 | 797.2482 | 239.1745 | 42.86% | 5727.6015 | 13.92% | 15% | 100%
AR - Custom Measures - Pool | RET | 245.5194 | 350.742 | 350.742 | 350.742 | 350.742 | 350.742 | 105.2226 | 42.86% | 755.9417 | 46.4% | 15% | 100%
AR - Custom Measures - Other | RET | 3050.068 | 4357.24 | 4357.24 | 4357.24 | 4357.24 | 4357.24 | 1307.172 | 42.86% | 12274.6177 | 35.5% | 15% | 100%
AR - Custom Measures - Motors | RET | 2657.5298 | 3796.4712 | 3796.4712 | 3796.4712 | 3796.4712 | 3796.4712 | 1138.9414 | 42.86% | 20455.9957 | 18.56% | 15% | 100%
AR - Custom Measures - IT and Datacenter | RET | 112 | 160 | 160 | 160 | 160 | 160 | 48 | 42.86% | 431.0528 | 37.12% | 15% | 100%
AR - Custom Measures - HVAC | RET | 3564.7392 | 5092.4846 | 5092.4846 | 5092.4846 | 5092.4846 | 5092.4846 | 1527.7454 | 42.86% | 15679.4993 | 32.48% | 15% | 100%
AR - Custom Measures - DHW | RET | 476.5113 | 680.7305 | 680.7305 | 680.7305 | 680.7305 | 680.7305 | 204.2192 | 42.86% | 5868.6162 | 11.6% | 15% | 100%
AR - Custom Measures - Compressed Air | RET | 135.1134 | 193.0192 | 193.0192 | 193.0192 | 193.0192 | 193.0192 | 57.9058 | 42.86% | 520.0092 | 37.12% | 15% | 100%
AR - Custom Measures - Commercial Kitchen | RET | 1192.9664 | 1704.2377 | 1704.2377 | 1704.2377 | 1704.2377 | 1704.2377 | 511.2713 | 42.86% | 6678.3317 | 25.52% | 15% | 100%
AR - Custom Measures - Agriculture | RET | 1629.8228 | 2328.3183 | 2328.3183 | 2328.3183 | 2328.3183 | 2328.3183 | 698.4955 | 42.86% | 9123.8927 | 25.52% | 15% | 100%
AR - Cooler Night Covers for Display Cases | RET | 58.8 | 84 | 84 | 84 | 84 | 84 | 25.2 | 42.86% | 637.6796 | 13.17% | 15% | 100%
AR - Commercial Washing Machine - CEE Tier 3 | ROB/NEW | 175 | 450 | 450 | 450 | 450 | 450 | 275 | 157.1% | 1940.988 | 23.18% | 15% | 100%
AR - Commercial Washing Machine - CEE Tier 2 | ROB/NEW | 140 | 350 | 350 | 350 | 350 | 350 | 210 | 150% | 1925.688 | 18.18% | 15% | 100%
AR - Commercial Washing Machine - CEE Tier 1 | ROB/NEW | 105 | 300 | 300 | 300 | 300 | 300 | 195 | 185.7% | 1873.4263 | 16.01% | 15% | 100%
AR - Commercial Clothes Dryer - Heat Pump | RET | 210 | 650 | 650 | 650 | 650 | 650 | 440 | 209.5% | 3110.1276 | 20.9% | 15% | 100%
AR - Booster Pump | ROB/NEW | 3907 | 4510 | 4510 | 4510 | 4510 | 4510 | 603 | 15.43% | 1901.8679 | 237.1% | 15% | 100%
AR - Air-Entraining Air Nozzle | ROB/NEW | 70 | 100 | 100 | 100 | 100 | 100 | 30 | 42.86% | 430.0238 | 23.25% | 15% | 100%
AR - Agriculture Heat Pad - Single | ROB/NEW | 42 | 60 | 60 | 60 | 60 | 60 | 18 | 42.86% | 255.4801 | 23.49% | 15% | 100%
AR - Agriculture Heat Pad - Double | ROB/NEW | 84 | 120 | 120 | 120 | 120 | 120 | 36 | 42.86% | 461.5124 | 26% | 15% | 100%
AR - Indoor - High-bay Luminaire - 10,000-19,999 lm (DLC Premium) | RET | 77 | 70 | 70 | 70 | 70 | 0 | N/A | -100% | 299.5365 | 23.37% | 15% | 100%
AR - Indoor - High-bay Luminaire - 10,000-19,999 lm | RET | 52.5 | 80 | 80 | 80 | 80 | 0 | N/A | -100% | 277.4334 | 28.84% | 15% | 100%
AR - Indoor - High-bay Luminaire - 20,000-29,999 lm (DLC Premium) | RET | 112 | 125 | 125 | 125 | 125 | 0 | N/A | -100% | 399.6212 | 31.28% | 15% | 100%
AR - Indoor - High-bay Luminaire - 20,000-29,999 lm | RET | 77 | 125 | 125 | 125 | 125 | 0 | N/A | -100% | 333.4063 | 37.49% | 15% | 100%
AR - Indoor - High-bay Luminaire - 30,000-39,999 lm (DLC Premium) | RET | 189 | 290 | 290 | 290 | 290 | 0 | N/A | -100% | 761.2895 | 38.09% | 15% | 100%
AR - Indoor - High-bay Luminaire - 30,000-39,999 lm | RET | 129.5 | 195 | 195 | 195 | 195 | 0 | N/A | -100% | 547.0158 | 35.65% | 15% | 100%
AR - Indoor - High-bay Luminaire - 40,000-54,999 lm (DLC Premium) | RET | 259 | 400 | 400 | 400 | 400 | 0 | N/A | -100% | 981.365 | 40.76% | 15% | 100%
AR - Indoor - High-bay Luminaire - 40,000-54,999 lm | RET | 199.5 | 165 | 165 | 165 | 165 | 0 | N/A | -100% | 596.4636 | 27.66% | 15% | 100%
AR - Indoor - High-bay Luminaire >= 55,000 lm (DLC Premium) | RET | 332.5 | 500 | 500 | 500 | 500 | 0 | N/A | -100% | 1267.3378 | 39.45% | 15% | 100%
AR - Indoor - High-bay Luminaire >= 55,000 lm | RET | 273 | 410 | 410 | 410 | 410 | 0 | N/A | -100% | 692.0626 | 59.24% | 15% | 100%
AR - Indoor - Linear Ambient Luminaire - 2,500-4,999 lm | RET | 28 | 50 | 50 | 50 | 50 | 0 | N/A | -100% | 142.9729 | 34.97% | 15% | 100%
AR - Indoor - Linear Ambient Luminaire - 5,000-9,999 lm | RET | 42 | 35 | 35 | 35 | 35 | 0 | N/A | -100% | 155.7123 | 22.48% | 15% | 100%
AR - Indoor - Linear Ambient Luminaire <= 2,499 lm | RET | 17.5 | 30 | 30 | 30 | 30 | 0 | N/A | -100% | 165.9797 | 18.07% | 15% | 100%
AR - Indoor - Linear Ambient Luminaire >=10,000 lm | RET | 52.5 | 45 | 45 | 45 | 45 | 0 | N/A | -100% | 228.2474 | 19.72% | 15% | 100%
AR - Indoor - Linear Replacement Lamp - 2 ft | RET | 2.1 | 3.5 | 3.5 | 3.5 | 3.5 | 0 | N/A | -100% | 18.6377 | 18.78% | 15% | 100%
AR - Indoor - Linear Replacement Lamp - 3 ft | RET | 2.45 | 4 | 4 | 4 | 4 | 0 | N/A | -100% | 21.3322 | 18.75% | 15% | 100%
AR - Indoor - Linear Replacement Lamp - 4 ft | RET | 4.55 | 4.5 | 4.5 | 4.5 | 4.5 | 0 | N/A | -100% | 14.7039 | 30.6% | 15% | 100%
AR - Indoor - Linear Replacement Lamp - 8 ft | RET | 4.55 | 7 | 7 | 7 | 7 | 0 | N/A | -100% | 41.1256 | 17.02% | 15% | 100%
AR - Indoor - Linear Replacement Lamp - U-bend | RET | 3.85 | 5 | 5 | 5 | 5 | 0 | N/A | -100% | 21.9374 | 22.79% | 15% | 100%
AR - Indoor - Low-bay Luminaire - 5,000-9,999 lm | RET | 28 | 50 | 50 | 50 | 50 | 0 | N/A | -100% | 159.8856 | 31.27% | 15% | 100%
AR - Indoor - Refrigerated Case Luminaire | RET | 4.2 | 6 | 6 | 6 | 6 | 0 | N/A | -100% | 66.6978 | 8.996% | 15% | 100%
AR - Indoor - Stairwell and Passageway Luminaire | RET | 42 | 65 | 65 | 65 | 65 | 0 | N/A | -100% | 397.6477 | 16.35% | 15% | 100%
AR - Indoor - Track or Mono-point Direction Luminaire/Accent Light Line Voltage | RET | 16.1538 | 28.8462 | 28.8462 | 28.8462 | 28.8462 | 0 | N/A | -100% | 109.5805 | 26.32% | 15% | 100%
AR - Indoor - Troffer - 1x1 | RET | 10.5 | 20 | 20 | 20 | 20 | 0 | N/A | -100% | 127.8524 | 15.64% | 15% | 100%
AR - Indoor - Troffer - 1x2 | RET | 10.5 | 20 | 20 | 20 | 20 | 0 | N/A | -100% | 127.8524 | 15.64% | 15% | 100%
AR - Indoor - Troffer - 2x2 | RET | 31.5 | 30 | 30 | 30 | 30 | 0 | N/A | -100% | 143.1262 | 20.96% | 15% | 100%
AR - Indoor - Troffer - 2x4 | RET | 38.5 | 60 | 60 | 60 | 60 | 0 | N/A | -100% | 155.0454 | 38.7% | 15% | 100%
AR - Indoor - Wall-Wash Luminaire - 575-1,199 lm | RET | 10.5 | 20 | 20 | 20 | 20 | 0 | N/A | -100% | 110.0351 | 18.18% | 15% | 100%
AR - Indoor - Wall-Wash Luminaire >= 1,200 lm | RET | 17.5 | 30 | 30 | 30 | 30 | 0 | N/A | -100% | 189.3999 | 15.84% | 15% | 100%
AR - Outdoor - Case Lighting for Sign Retrofit Applications | RET | 2.1 | 2 | 2 | 2 | 2 | 0 | N/A | -100% | 9.9981 | 20% | 15% | 100%
AR - Outdoor - Flood and Spot Luminaires - 15,000-29,999 lm | RET | 161 | 190 | 190 | 190 | 190 | 0 | N/A | -100% | 530.5051 | 35.81% | 15% | 100%
AR - Outdoor - Flood and Spot Luminaires - 250-999 lm | RET | 24.5 | 40 | 40 | 40 | 40 | 0 | N/A | -100% | 154.2899 | 25.93% | 15% | 100%
AR - Outdoor - Flood and Spot Luminaires - 30,000-49,999 lm | RET | 227.5 | 350 | 350 | 350 | 350 | 0 | N/A | -100% | 770.4206 | 45.43% | 15% | 100%
AR - Outdoor - Flood and Spot Luminaires - 5,000-14,999 lm | RET | 63 | 100 | 100 | 100 | 100 | 0 | N/A | -100% | 252.0382 | 39.68% | 15% | 100%
AR - Outdoor - Flood and Spot Luminaires >= 50,000 lm | RET | 322 | 475 | 475 | 475 | 475 | 0 | N/A | -100% | 1513.3251 | 31.39% | 15% | 100%
AR - Outdoor - Fuel Pump Canopy Luminaire - 2,000-6,999 lm | RET | 63 | 65 | 65 | 65 | 65 | 0 | N/A | -100% | 287.0541 | 22.64% | 15% | 100%
AR - Outdoor - Fuel Pump Canopy Luminaire >= 7,000 lm | RET | 112 | 130 | 130 | 130 | 130 | 0 | N/A | -100% | 385.6405 | 33.71% | 15% | 100%
AR - Outdoor - LED Replacement lamps for HID lamps - 250-4,999 lm | RET | 17.5 | 35 | 35 | 35 | 35 | 0 | N/A | -100% | 99.747 | 35.09% | 15% | 100%
AR - Outdoor - LED Replacement lamps for HID lamps - 5,000-9,999 lm | RET | 31.5 | 55 | 55 | 55 | 55 | 0 | N/A | -100% | 124.7361 | 44.09% | 15% | 100%
AR - Outdoor - LED Replacement lamps for HID lamps >= 10,000 lm | RET | 49 | 80 | 80 | 80 | 80 | 0 | N/A | -100% | 228.1438 | 35.07% | 15% | 100%
AR - Outdoor - Parking Garage Luminaire - 2,000-6,499 lm | RET | 42 | 75 | 75 | 75 | 75 | 0 | N/A | -100% | 283.6862 | 26.44% | 15% | 100%
AR - Outdoor - Parking Garage Luminaire >= 6,500 lm | RET | 59.5 | 95 | 95 | 95 | 95 | 0 | N/A | -100% | 327.8219 | 28.98% | 15% | 100%
AR - Outdoor - Pole / Arm - Mounted Area Luminaire - 1,000-4,999 lm | RET | 42 | 75 | 75 | 75 | 75 | 0 | N/A | -100% | 354.2984 | 21.17% | 15% | 100%
AR - Outdoor - Pole / Arm - Mounted Area Luminaire - 10,000-24,999 lm | RET | 112 | 170 | 170 | 170 | 170 | 0 | N/A | -100% | 515.9334 | 32.95% | 15% | 100%
AR - Outdoor - Pole / Arm - Mounted Area Luminaire - 25,000-39,999 lm | RET | 192.5 | 180 | 180 | 180 | 180 | 0 | N/A | -100% | 571.5335 | 31.49% | 15% | 100%
AR - Outdoor - Pole / Arm - Mounted Area Luminaire - 40,000-54,999 lm | RET | 262.5 | 270 | 270 | 270 | 270 | 0 | N/A | -100% | 709.3784 | 38.06% | 15% | 100%
AR - Outdoor - Pole / Arm - Mounted Area Luminaire - 5,000-9,999 lm | RET | 77 | 125 | 125 | 125 | 125 | 0 | N/A | -100% | 476.5659 | 26.23% | 15% | 100%
AR - Outdoor - Pole / Arm - Mounted Area Luminaire >= 55,000 lm | RET | 332.5 | 380 | 380 | 380 | 380 | 0 | N/A | -100% | 964.1709 | 39.41% | 15% | 100%
AR - Outdoor - Pole / Arm - Mounted Decorative Luminaire - 1,000-1,999 lm | RET | 45.5 | 50 | 50 | 50 | 50 | 0 | N/A | -100% | 110.0812 | 45.42% | 15% | 100%
AR - Outdoor - Pole / Arm - Mounted Decorative Luminaire - 2,000-5,499 lm | RET | 56 | 85 | 85 | 85 | 85 | 0 | N/A | -100% | 539.1781 | 15.76% | 15% | 100%
AR - Outdoor - Pole / Arm - Mounted Decorative Luminaire >= 5,500 lm | RET | 77 | 120 | 120 | 120 | 120 | 0 | N/A | -100% | 719.5877 | 16.68% | 15% | 100%
AR - Outdoor - Wall-Mounted Area Luminaire (Full-Cutoff) - 15,000-24,999 lm | RET | 84 | 130 | 130 | 130 | 130 | 0 | N/A | -100% | 480.3036 | 27.07% | 15% | 100%
AR - Outdoor - Wall-Mounted Area Luminaire (Full-Cutoff) - 2,000-4,999 lm | RET | 24.5 | 40 | 40 | 40 | 40 | 0 | N/A | -100% | 208.3711 | 19.2% | 15% | 100%
AR - Outdoor - Wall-Mounted Area Luminaire (Full-Cutoff) - 300-1,999 lm | RET | 14 | 25 | 25 | 25 | 25 | 0 | N/A | -100% | 257.8589 | 9.695% | 15% | 100%
AR - Outdoor - Wall-Mounted Area Luminaire (Full-Cutoff) - 5,000-14,999 lm | RET | 52.5 | 90 | 90 | 90 | 90 | 0 | N/A | -100% | 319.0954 | 28.2% | 15% | 100%
AR - Outdoor - Wall-Mounted Area Luminaire (Full-Cutoff) >= 25,000 lm | RET | 147 | 240 | 240 | 240 | 240 | 0 | N/A | -100% | 993.6003 | 24.15% | 15% | 100%
AR - Outdoor - Wall-Mounted Area Luminaire (Non-Cutoff and Semi-Cutoff) - 15,000-24,999 lm | RET | 84 | 75 | 75 | 75 | 75 | 0 | N/A | -100% | 337.9236 | 22.19% | 15% | 100%
AR - Outdoor - Wall-Mounted Area Luminaire (Non-Cutoff and Semi-Cutoff) - 2,000-4,999 lm | RET | 24.5 | 40 | 40 | 40 | 40 | 0 | N/A | -100% | 237.4631 | 16.84% | 15% | 100%
AR - Outdoor - Wall-Mounted Area Luminaire (Non-Cutoff and Semi-Cutoff) - 300-1,999 lm | RET | 14 | 25 | 25 | 25 | 25 | 0 | N/A | -100% | 198.6481 | 12.59% | 15% | 100%
AR - Outdoor - Wall-Mounted Area Luminaire (Non-Cutoff and Semi-Cutoff) - 5,000-14,999 lm | RET | 49 | 40 | 40 | 40 | 40 | 0 | N/A | -100% | 262.7467 | 15.22% | 15% | 100%
AR - Outdoor - Wall-Mounted Area Luminaire (Non-Cutoff and Semi-Cutoff) >= 25,000 lm | RET | 154 | 240 | 240 | 240 | 240 | 0 | N/A | -100% | 993.6003 | 24.15% | 15% | 100%
Custom |  | Per Unit Incentive ($) 2026: Per Unit Incentive ($); Per Unit Incentive ($) 2027: Per Unit Incentive ($) |  |  | Project Cost if RET Incremental Cost if ROB/NEW | 2031 Incentive / 2031 Cost
Measure Name | Replacement Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Change between 2026 and 2031 ($) | Change between 2026 and 2031 (%) | 2031 | 2031 | Suggested Lower Limit | Suggested Maximum Upper Limit
Custom - Pay for Performance | RET | 150000 | 150000 | 150000 | 170000 | 170000 | 170000 | 20000 | 13.33% | 287368.5533 | 59.16% | N/A | 70%
Custom - New Construction | RET | 150000 | 150000 | 150000 | 170000 | 170000 | 170000 | 20000 | 13.33% | 431052.83 | 39.44% | N/A | 70%
Custom - Industrial Retrofit | RET | 130000 | 170000 | 170000 | 170000 | 170000 | 170000 | 40000 | 30.77% | 431052.83 | 39.44% | N/A | 70%
Custom - Commercial Retrofit | RET | 150000 | 150000 | 150000 | 170000 | 170000 | 170000 | 20000 | 13.33% | 431052.83 | 39.44% | N/A | 70%
Custom - Building Optimization | RET | 120000 | 120000 | 120000 | 130000 | 130000 | 130000 | 10000 | 8.333% | 158052.7043 | 82.25% | N/A | 70%
Equity Deserving - Retrofits | RET | New measure | 180000 | 180000 | 200000 | 200000 | 200000 | N/A | N/A | 431052.83 | 46.4% | N/A | 70%
Efficient Product Installation |  | Per Unit Incentive ($) 2026: Per Unit Incentive ($); Per Unit Incentive ($) 2027: Per Unit Incentive ($) |  |  | Project Cost if RET Incremental Cost if ROB/NEW | 2031 Incentive / 2031 Cost
Measure Name | Replacement Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Change between 2026 and 2031 ($) | Change between 2026 and 2031 (%) | 2031 | 2031 | Suggested Lower Limit | Suggested Maximum Upper Limit
Window Film Kits | RET | 10.1124 | 8.5462 | 8.8881 | 9.2436 | 9.6134 | 9.9979 | -0.11452 | -1.132% | 9.9979 | 100% | 75% | 100%
Thermostatic Shower Valve - 2.5 GPM | RET | 72.8824 | 47.368 | 49.2627 | 51.2333 | 53.2826 | 55.4139 | -17.4686 | -23.97% | 55.4139 | 100% | 75% | 100%
Switch and Plug Insulators | RET | 6.4316 | 7.7205 | 8.0293 | 8.3505 | 8.6845 | 9.0319 | 2.6002 | 40.43% | 9.0319 | 100% | 75% | 100%
Solar Security Fixture | RET | 175.9634 | 184.8281 | 192.2212 | 199.91 | 207.9064 | 216.2227 | 40.2593 | 22.88% | 216.2227 | 100% | 75% | 100%
Smart thermostats for mini-split heat pumps | RET | 211.9351 | 217.659 | 226.3654 | 235.42 | 244.8368 | 254.6303 | 42.6951 | 20.15% | 254.6303 | 100% | 75% | 100%
Smart thermostats for in-floor heat | RET | 282.4441 | 326.7167 | 339.7854 | 353.3768 | 367.5119 | 382.2124 | 99.7683 | 35.32% | 382.2124 | 100% | 75% | 100%
Smart thermostats for electric baseboards | RET | 144.9975 | 158.1801 | 164.5073 | 171.0876 | 177.9311 | 185.0484 | 40.0509 | 27.62% | 185.0484 | 100% | 75% | 100%
Smart thermostats for electric baseboards - MURB | RET | 144.9975 | 158.2197 | 164.5485 | 171.1304 | 177.9756 | 185.0946 | 40.0972 | 27.65% | 185.0946 | 100% | 75% | 100%
Pipe Insulation | RET | 18.3436 | 2.8914 | 3.007 | 3.1273 | 3.2524 | 3.3825 | -14.961 | -81.56% | 3.3825 | 100% | 75% | 100%
Outdoor Motion Sensor | RET | 82.4754 | 92.4121 | 96.1085 | 99.9529 | 103.951 | 108.109 | 25.6336 | 31.08% | 108.109 | 100% | 75% | 100%
Low Flow Showerhead - 1 GPM improvement | RET | 68.0389 | 60.0891 | 62.4927 | 64.9924 | 67.5921 | 70.2958 | 2.2569 | 3.317% | 70.2958 | 100% | 75% | 100%
Low Flow Showerhead - 0.75 GPM improvement | RET | 64.8388 | 78.8842 | 82.0395 | 85.3211 | 88.734 | 92.2833 | 27.4445 | 42.33% | 92.2833 | 100% | 75% | 100%
Low Flow Showerhead - 0.5 GPM improvement | RET | 61.3506 | 79.9956 | 83.1954 | 86.5232 | 89.9841 | 93.5835 | 32.2329 | 52.54% | 93.5835 | 100% | 75% | 100%
Kitchen Aerator | RET | 26.5596 | 27.9405 | 29.0581 | 30.2205 | 31.4293 | 32.6864 | 6.1268 | 23.07% | 32.6864 | 100% | 75% | 100%
Indoor Motion Sensor | RET | 61.9285 | 59.3591 | 61.7334 | 64.2028 | 66.7709 | 69.4417 | 7.5132 | 12.13% | 69.4417 | 100% | 75% | 100%
Humidity Sensor | RET | 107.4701 | 120.3156 | 125.1283 | 130.1334 | 135.3387 | 140.7523 | 33.2822 | 30.97% | 140.7523 | 100% | 75% | 100%
Hot Water Tank Wrap | RET | 129.1438 | 37.3107 | 38.8032 | 40.3553 | 41.9695 | 43.6483 | -85.4955 | -66.2% | 43.6483 | 100% | 75% | 100%
Bathroom Aerator | RET | 20.7383 | 28.5225 | 29.6634 | 30.8499 | 32.0839 | 33.3672 | 12.629 | 60.9% | 33.3672 | 100% | 75% | 100%
Advanced Learning Thermostat - Electric | RET | 476.4065 | 433.462 | 450.8005 | 468.8325 | 487.5858 | 507.0892 | 30.6828 | 6.44% | 507.0892 | 100% | 75% | 100%
Home Energy Assessment |  | Per Unit Incentive ($) 2026: Per Unit Incentive ($); Per Unit Incentive ($) 2027: Per Unit Incentive ($) |  |  | Project Cost if RET Incremental Cost if ROB/NEW | 2031 Incentive / 2031 Cost
Measure Name | Replacement Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Change between 2026 and 2031 ($) | Change between 2026 and 2031 (%) | 2031 | 2031 | Suggested Lower Limit | Suggested Maximum Upper Limit
Wood Stove | RET | 500 | 1000 | 1000 | 1000 | 1000 | 1000 | 500 | 100% | 6257.8845 | 15.98% | 30% | 100%
Pellet Stove | RET | 500 | 1000 | 1000 | 1000 | 1000 | 1000 | 500 | 100% | 7505.6603 | 13.32% | 30% | 100%
Heat Pump Water Heater with heat pump baseline | RET | 400 | 800 | 800 | 800 | 800 | 800 | 400 | 100% | 4086.7005 | 19.58% | 30% | 100%
Heat Pump Water Heater with electric resistance baseline | RET | 400 | 800 | 800 | 800 | 800 | 800 | 400 | 100% | 4086.7005 | 19.58% | 30% | 100%
HEA Heat Pump - Customer Installed | RET | New measure/Recharacterized measure | 600 | 600 | 900 | 900 | 1200 | N/A | N/A | 6322.1082 | 18.98% | 30% | 100%
HEA Building Envelope - Customer Installed | RET | New measure/Recharacterized measure | 900 | 900 | 1200 | 1200 | 1500 | N/A | N/A | 2350.4599 | 63.82% | 30% | 100%
Instant Savings |  | Per Unit Incentive ($) 2026: Per Unit Incentive ($); Per Unit Incentive ($) 2027: Per Unit Incentive ($) |  |  | Project Cost if RET Incremental Cost if ROB/NEW | 2031 Incentive / 2031 Cost
Measure Name | Replacement Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Change between 2026 and 2031 ($) | Change between 2026 and 2031 (%) | 2031 | 2031 | Suggested Lower Limit | Suggested Maximum Upper Limit
Solar lighting fixtures | ROB/NEW | 17 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 0.2 | 1.176% | 159.0225 | 10.82% | 30% | 100%
Smart thermostats for mini-split heat pumps | RET | 51 | 25.8 | 25.8 | 25.8 | 25.8 | 25.8 | -25.2 | -49.41% | 210.9653 | 12.23% | 30% | 100%
Smart thermostats for in-floor heat | RET | 51 | 25.8 | 25.8 | 25.8 | 25.8 | 25.8 | -25.2 | -49.41% | 363.0166 | 7.107% | 30% | 100%
Smart thermostats for electric baseboards | RET | 51 | 25.8 | 25.8 | 25.8 | 25.8 | 25.8 | -25.2 | -49.41% | 241.5718 | 10.68% | 30% | 100%
Programmable thermostats for electric heat | ROB/NEW | 21.25 | 12.9 | 12.9 | 12.9 | 12.9 | 12.9 | -8.35 | -39.29% | 43.3534 | 29.76% | 30% | 100%
Outdoor Heavy Duty Timers | ROB/NEW | 8.5 | 8.6 | 8.6 | 8.6 | 8.6 | 8.6 | 0.1 | 1.176% | 20.9972 | 40.96% | 30% | 100%
Outdoor clotheslines | ROB/NEW | 12.75 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 4.45 | 34.9% | 80.3058 | 21.42% | 30% | 100%
Outdoor clothes dryers | ROB/NEW | 21.25 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | -4.05 | -19.06% | 165.6377 | 10.38% | 30% | 100%
Heat Pump Water Heater | ROB/NEW | 680 | 688 | 688 | 688 | 688 | 688 | 8 | 1.176% | 1937.1491 | 35.52% | 30% | 100%
Energy Star certified ventilating fans | ROB/NEW | 21.25 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | -4.05 | -19.06% | 23.2769 | 73.89% | 30% | 100%
Energy Star certified variable speed pool pumps | ROB/NEW | 425 | 430 | 430 | 430 | 430 | 430 | 5 | 1.176% | 1819.0198 | 23.64% | 30% | 100%
Energy Star certified Room Air Purifiers (RAP) | ROB/NEW | 63.75 | 34.4 | 34.4 | 34.4 | 34.4 | 34.4 | -29.35 | -46.04% | 128.6 | 26.75% | 30% | 100%
Energy Star certified room air conditioners | ROB/NEW | 25.5 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | -8.3 | -32.55% | 117.2464 | 14.67% | 30% | 100%
Energy Star certified heat pump clothes dryers | ROB/NEW | 127.5 | 129 | 129 | 129 | 129 | 129 | 1.5 | 1.176% | 1099.3463 | 11.73% | 30% | 100%
Energy Star certified combination washer/dryer units | ROB/NEW | 127.5 | 129 | 129 | 129 | 215 | 215 | 87.5 | 68.63% | 535.0395 | 40.18% | 30% | 100%
Energy Star certified clothes washers (Tier 3) | ROB/NEW | 63.75 | 64.5 | 64.5 | 64.5 | 64.5 | 64.5 | 0.75 | 1.176% | 674.5601 | 9.562% | 30% | 100%
Mi'kmaw Home Energy Efficiency Project (MHEEP) |  | Per Unit Incentive ($) 2026: Per Unit Incentive ($); Per Unit Incentive ($) 2027: Per Unit Incentive ($) |  |  | Project Cost if RET Incremental Cost if ROB/NEW | 2031 Incentive / 2031 Cost
Measure Name | Replacement Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Change between 2026 and 2031 ($) | Change between 2026 and 2031 (%) | 2031 | 2031 | Suggested Lower Limit | Suggested Maximum Upper Limit
MHEEP Heat Pump - E1 Installed | RET | New measure/Recharacterized measure | 3374.592 | 3509.5757 | 3649.9587 | 3795.9571 | 3947.7953 | N/A | N/A | 3947.7953 | 100% | 30% | 100%
MHEEP Building Envelope - E1 Installed | RET | New measure/Recharacterized measure | 933.6371 | 970.9826 | 1009.8219 | 1050.2148 | 1092.2234 | N/A | N/A | 1092.2234 | 100% | 30% | 100%
Mi'kmaw New Home Construction |  | Per Unit Incentive ($) 2026: Per Unit Incentive ($); Per Unit Incentive ($) 2027: Per Unit Incentive ($) |  |  | Project Cost if RET Incremental Cost if ROB/NEW | 2031 Incentive / 2031 Cost
Measure Name | Replacement Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Change between 2026 and 2031 ($) | Change between 2026 and 2031 (%) | 2031 | 2031 | Suggested Lower Limit | Suggested Maximum Upper Limit
Tier 1 | ROB/NEW | New Measure | 25000 | 20000 | 20000 | 20000 | 20000 | N/A | N/A | 28170.6258 | 71% | 30% | 100%
Tier 2 | ROB/NEW | New Measure | 12500 | 9000 | 9000 | 9000 | 9000 | N/A | N/A | 14085.3129 | 63.9% | 30% | 100%
Strategic Energy Management (SEM) |  | Per Unit Incentive ($) 2026: Per Unit Incentive ($); Per Unit Incentive ($) 2027: Per Unit Incentive ($) |  |  | Project Cost if RET Incremental Cost if ROB/NEW | 2031 Incentive / 2031 Cost
Measure Name | Replacement Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Change between 2026 and 2031 ($) | Change between 2026 and 2031 (%) | 2031 | 2031 | Suggested Lower Limit | Suggested Maximum Upper Limit
Custom - Strategic Energy Management | RET | 160000 | 60000 | 60000 | 60000 | 60000 | 60000 | -100000 | -62.5% | 154006.8231 | 38.96% | N/A | 70%
Small Business Energy Solutions |  | Per Unit Incentive ($) 2026: Per Unit Incentive ($); Per Unit Incentive ($) 2027: Per Unit Incentive ($) |  |  | Project Cost if RET Incremental Cost if ROB/NEW | 2031 Incentive / 2031 Cost
Measure Name | Replacement Type | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | Change between 2026 and 2031 ($) | Change between 2026 and 2031 (%) | 2031 | 2031 | Suggested Lower Limit | Suggested Maximum Upper Limit
SBES - Refrigeration | RET | 2172.7576 | 3798.1765 | 3798.1765 | 3798.1765 | 3798.1765 | 3798.1765 | 1625.419 | 74.81% | 18200.7747 | 20.87% | 30% | 100%
SBES - Motors | RET | 9909.3204 | 9341.3773 | 9529.139 | 9720.6747 | 9916.0603 | 10115.3731 | 206.0527 | 2.079% | 12644.2163 | 80% | 30% | 100%
SBES - Lighting - Outdoor | RET | 11561.3336 | 15572.6225 | 15572.6225 | 15572.6225 | 15572.6225 | 15572.6225 | 4011.2888 | 34.7% | 21690.5784 | 71.79% | 30% | 100%
SBES - Lighting - Indoor | RET | 9978.8367 | 12459 | 12459 | 12459 | 12459 | 12459 | 2480.1633 | 24.85% | 23848.1415 | 52.24% | 30% | 100%
SBES - Lighting - Controls | RET | 1857.825 | 2477.1 | 2477.1 | 2477.1 | 2477.1 | 2477.1 | 619.275 | 33.33% | 9123.3768 | 27.15% | 30% | 100%
SBES - HVAC | RET | 10287.153 | 12986.5123 | 12986.5123 | 12986.5123 | 12986.5123 | 12986.5123 | 2699.3593 | 26.24% | 28805.8238 | 45.08% | 30% | 100%
SBES - DHW | RET | 5153.3698 | 6144.572 | 6144.572 | 6144.572 | 6144.572 | 6144.572 | 991.2022 | 19.23% | 12663.7574 | 48.52% | 30% | 100%
SBES - Commercial Kitchen | RET | 2107.4898 | 2833.6678 | 2833.6678 | 2833.6678 | 2833.6678 | 2833.6678 | 726.178 | 34.46% | 4368.002 | 64.87% | 30% | 100%
SBES - Agriculture | RET | 10733.3425 | 17324.2769 | 17324.2769 | 17324.2769 | 17324.2769 | 17324.2769 | 6590.9343 | 61.41% | 24324.0238 | 71.22% | 30% | 100%
SBES - Smart thermostats for mini-split heat pumps | RET | New Measure | 223.713 | 232.6615 | 241.9679 | 251.6466 | 261.7125 | N/A | N/A | 261.7125 | 100% | 30% | 100%
SBES - Packaged Terminal Heat Pump | RET | New Measure | 2751.7748 | 2861.8458 | 2976.3197 | 3095.3724 | 3219.1873 | N/A | N/A | 3219.1873 | 100% | 30% | 100%
SBES - Ductless Mini-Split Heat Pump | RET | New Measure | 6749.184 | 7019.1514 | 7299.9174 | 7591.9141 | 7895.5907 | N/A | N/A | 7895.5907 | 100% | 30% | 100%