## Distribution 2021-2025
fp_number | fp_description | Feeder/Circuit | Region | Reliability Category | special_or_parent_routine | 2021-2025 Spend
45735-D547 | Cent Unplanned Deteriorated Replace | Provincial | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 760682.9
20837-D055-623 | Sackville Depot - Identified Deter | Provincial | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 7478.29
47794-D745 | Heckman Island Underwater Cable Rep | 78W-321 | West | Equipment Replacement and Upgrades |  | 1388019.85
49919-D778 | 2017 PCB Pole Top Trans. Replacemnt | Provincial | Provincial | Equipment Replacement and Upgrades |  | 841757.15
48436-D710 | 25W-301 Upper Clyde Rd Relocation | 25W-301 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 29718.31
51493-D861 | 2018 PCB Pole Top Transformer Replc | Provincial | Provincial | Equipment Replacement and Upgrades |  | 214656.58
52184 | 37N-412-Glooscap Trail Rebuild PH2 | 37N-412 | Northeast | Equipment Replacement and Upgrades |  | 197953.01
52229 | D-16V-314H-New Edinburgh Phase Ext | 16V-314H | West | Equipment Replacement and Upgrades |  | 484228.44
48233-D683 | Dist. Inspection Programs | Provincial | Provincial | Equipment Replacement and Upgrades |  | 491091.05
C0005318 | D-15S-301 Target Replacement | 15S-301 | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 809.53
C0013299 | D-102W-312 Tour Des Buttes Way Rebu | 102W-312 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 33790.46
C0004138 | 50W-412GA Port Medway Line Extens | 50W-412GA | West | Equipment Replacement and Upgrades |  | 615271.46
C0011208 | D-2019 Padmount Replacement Program | Provincial | Provincial | Equipment Replacement and Upgrades |  | 62777.94
C0023883 | Spring Garden Redevelopment | 1H | Metro | Equipment Replacement and Upgrades |  | -24059.29
C0025728 | Bayers Road Development | 2H-421 | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 23077.52
C0015548 | Northeast Unplanned Deteriorated Re | Provincial | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 277524.65
C0028102 | 2020 Padmount Switch Replacement | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 198231.09
C0015763 | Northeast High Priority FI | Provincial | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 2469539.77
C0020834 | 2020-21 Inaccessible PCB Transf Rep | Provincial | Provincial | Equipment Replacement and Upgrades |  | 2167328.46
C0031304 | 37N-413G-South Athol Rebuild | 37N-413 | Northeast | Equipment Replacement and Upgrades |  | 249349.96
C0031113 | 61N-204 Townsend Avenue Conversion | 61N-204 | Northeast | Equipment Replacement and Upgrades |  | 594684.07
C0041954 | 2022 New Branchline Reclosers | Provincial | Provincial | Equipment Replacement and Upgrades |  | 144556.86
C0031296 | 67C-411GBA Little Mabou Rebuild | 67C-411GBA | Cape Breton | Equipment Replacement and Upgrades |  | 499161.12
C0030627 | 88H-402 Protection Upgrades | 88H-402 | Metro | Equipment Replacement and Upgrades |  | 96000.56
C0058984 | 50N-410 Hwy 104 Twinning - Site 8A | 50N-410 | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 150927.25
C0052073 | 100C-422 Pirate Harbour Rebuild | 100C-422 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 43683.93
C0061384 | 512W-311-Lake Torment Loading Issue | 512W-311 | West | Equipment Replacement and Upgrades |  | 702759.4
C0018301 | 58C-405H - Replace R472-094 | 58C-405H | Cape Breton | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 1226.2
48069-D727 | Vault Upgrade Program | Provincial | Provincial | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 499.43
49034-D737 | 530W-201 John's Cove Causeway Reins | 530W-201 | West | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 3132.47
C0029202 | 4C-432 Beech Hill Rebuild | 4C-432 | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 173085.63
C0026242 | Padmount Square Primary Bushing | Provincial | Provincial | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 13.45
C0044571 | 2022 Manhole Cover Replacement | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 223745.17
C0031305 | 37N-413-HWY 2 Rebuild - Newville | 37N-413 | Northeast | Equipment Replacement and Upgrades |  | 18062.74
C0036526 | 35C-211 Centennial Road Conversion | 35C-211 (2C-402) | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 512540.01
C0036666 | 584N-301 Irwin Lake Rd Upgrades | 584N-301 | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 29204.52
C0032522 | 137H/131 Recon and Protection Upgrd | 137H | Metro | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 32537.91
C0031117 | 2H-411-Prospect Rd Phase Extension | 2H-411 | Metro | Equipment Replacement and Upgrades |  | 351807.1
C0030743 | 509V East Ferry Landslide Remediati | 509V | West | Equipment Replacement and Upgrades |  | 186094.08
C0031293 | 11S-411-Coxheath Re-Ins and Recon | 11S-411 | Cape Breton | Equipment Replacement and Upgrades |  | 929545.44
C0052798 | 10C-211 Fleur-de-Lis Trail Conversi | 10C-211 (22C-404) | Cape Breton | Equipment Replacement and Upgrades |  | 69566.16
C0064725 | 2024 Manhole Cover Replacement | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 202232.97
C0070646 | 57C-426H-Stillwater Phase Extension | 57C-426H | Northeast | Equipment Replacement and Upgrades |  | 1020720.98
C0071928 | 652V-212 Kentville Conversion | 652V-212 (50V-401) | West | Equipment Replacement and Upgrades |  | 685463.91
C0073869 | 19W-311 Argyle Road Shift and Bridg | 19W-311 | West | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 22192.6
C0074654 | 16W-301G-Highway One Rebuild | 16W-301G | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 23046.3
C0072328 | 57S-401 Targeted Device Replacement | 57S-401 | Cape Breton | Equipment Replacement and Upgrades |  | 679842.34
C0074130 | Robie Street Underground | 104H | Metro | Equipment Replacement and Upgrades |  | 115930.09
C0082571 | 48H-301 Target Equipment Replacemen | 48H-301 | Metro | Equipment Replacement and Upgrades |  | 31820.06
40983-D365 | 70W-322 89W-301 Tie Line | 70W-322 | West | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 462.01
C0042966 | Problem Feeder Reliability Upgrades | Provincial | Provincial | Equipment Replacement and Upgrades |  | 4219.88
C0018059 | 58C-403 Rebuild Hwy 19 South West | 58C-403 | Cape Breton | Equipment Replacement and Upgrades |  | 29698.35
45731-D545 | East Planned Deteriorated Replace | Provincial | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 89949.41
20634-D055-735 | Planned D055 For Western Region - 2 | Provincial | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 1984983.56
49841-D781 | 23H-Rockingham Voltage Conversion | 23H | Metro | Equipment Replacement and Upgrades |  | -4148.12
52205 | 30N-412 Hwy 242 Fundy Shore Rebuild | 30N-412 | Northeast | Equipment Replacement and Upgrades |  | 499638.4
14984-D006-722 | NORTHEAST - REGULATORY REPLACEMENTS | Provincial | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 1791481
49056-D746 | 65V-302HAA Old Liverpool Rd Rebuild | 65V-302HAA | West | Equipment Replacement and Upgrades |  | 6895.03
C0008740 | Canso Distribution Sys Replacements | 19C-204 | Northeast | Equipment Replacement and Upgrades |  | 288190.82
C0015198 | 50V Kentville Aluminum Light Pole R | 50V | West | Equipment Replacement and Upgrades |  | 53281.84
C0027611 | 67C-411 - Highway 252 BTR | 67C-411 | Cape Breton | Equipment Replacement and Upgrades |  | 880601.59
C0043230 | 65V-301 Nictaux West Reconductor | 65V-301 | West | Equipment Replacement and Upgrades |  | 474973.8
C0039811 | 2C-402 - Route 19 Insulator Replace | 2C-402 | Cape Breton | Equipment Replacement and Upgrades |  | 394617.71
C0035726 | 92H-331 Micou Island Rebuild | 92H-331 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 2773.65
C0046370 | 69V-211 Queen St Reconfiguration | 69V-211 | West | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 87582.5
C0032684 | 85S-401-Cape North Build to Aliant | 85S-401 | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 43559.66
C0038727 | 22C-402 - Feeder Exit Replacement | 22C-402 | Cape Breton | Equipment Replacement and Upgrades |  | 95749.22
C0036686 | 79V-402 Windsor Exit 6 Pole Relocat | 79V-402 | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 22907.36
C0040826 | 539W-311 Hemlock Dr Build to Roadsi | 539W-311 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 151605.67
C0042186 | 100C-421 - Harvre Boucher Rebuild | 100C-421 | Cape Breton | Equipment Replacement and Upgrades |  | 398629.83
C0036886 | 65V-303 Lawrencetown Line Ext | 65V-303 | West | Equipment Replacement and Upgrades |  | 714124.89
C0036628 | 7N-302G Howard Bridge Rebuild | 7N-302G | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 60269.67
C0059165 | 79V-403 College Road Pole Relocatio | 79V-403 | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 4634.02
C0056020 | 4N-313 Kavanaugh Mills Bridge Repla | 4N-313 | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 29179.95
C0061903 | 96H-411- Tangier Bridge Relocation | 96H-411 | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 157552.13
C0018058 | 36V-302G Ross Creek Rd Repole | 36V-302G | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | -28.91
C0018319 | Cabot Trail Rehabilitation Pleasant | 85S-401GBA | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 54979.77
23511-D018-800 | Primary Equipment Spares - Distribu | Provincial | Provincial | Equipment Replacement and Upgrades | D018-PRIMARY EQUIPMENT SPARES (DIST | 293126.84
C0020825 | 64N-Lourdes Street conversion Phase | 64N | Northeast | Equipment Replacement and Upgrades |  | 19409.65
C0020831 | 2020 Vault Upgrade | Provincial | Provincial | Equipment Replacement and Upgrades |  | 151196.19
C0031402 | 559W-331-Molega Lake Rd Conversion | 559W-331 | West | Equipment Replacement and Upgrades |  | 634688.09
C0036606 | 30N-411 Maccan River Line Removal | 30N-411 | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 121445.08
C0036046 | 48H-301 Sinclair St Pole Replace | 48H-301 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 259234.63
C0031170 | 87W-312G-Blandford-Little Tancook S | 87W-312G | West | Equipment Replacement and Upgrades |  | 312501.37
C0032944 | 85S-401- Abandoned RoW Removals | 85S-401 | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 7979.76
C0059524 | 15N-401 15N-402 McClures Mills Rd | 15N-401 | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 171588.52
C0053514 | 100C-421 Aulds Cove Relocation | 100C-421 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 129557.44
C0060759 | 55V-314H-Aylesford Road Phase Exten | 55V-314H | West | Equipment Replacement and Upgrades |  | 533067.95
C0061266 | 19C-204 - Durells Island Conversion | 19C-204 | Northeast | Equipment Replacement and Upgrades |  | 370620.3
C0061385 | 5N-301-Debert Stepdown Replacement | 5N-301 | Northeast | Equipment Replacement and Upgrades |  | 460688.21
C0051735 | 11S-411GA Eskasoni Protection Upgra | 11S-411GA | Cape Breton | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 54241.69
C0067048 | 58C-405HA Upper Middle River Bridge | 58C-405HA | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 68253.53
C0067303 | 4C-430H Salt Springs Rd Failure Rep | 4C-430H | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 52897.79
C0073889 | 87H-312 Musquodoboit Harbour Bridge | 87H-312 | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | -8166.47
C0070827 | 99V-314G-Lake George Line Extension | 99V-314G | West | Equipment Replacement and Upgrades |  | 42361.19
C0082589 | 99H-312 Farrell Street Feeder Upgra | 99H-312 | Metro | Equipment Replacement and Upgrades |  | 472230.61
C0082567 | 104H-421 Target Equipment Replaceme | 104H-421 | Metro | Equipment Replacement and Upgrades |  | 178285.66
C0018302 | 84S-302 - Sydney Airport Transfer S | 84S-302 | Cape Breton | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 553.5
C0061923 | 81N-412G Bass River Bridge Replacem | 81N-412G | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 8578.73
C0082625 | 40H-302 Target Equipment Replacemen | 40H-302 | West | Equipment Replacement and Upgrades |  | 53838.74
23158-D005-800 | D005 Unplanned Replace Deteriorated | Provincial | Provincial | Equipment Replacement and Upgrades | D005 REPLACE DETERIORATED PLANT ROU | 109750458
41350-D782 | 16W-301 Hebron Rebuild Phase 2 | 16W-301 | West | Equipment Replacement and Upgrades |  | 1156024.24
23136-D007-800 | D007 Contractual Replacemens (Joint | Provincial | Provincial | Equipment Replacement and Upgrades | D007 CONTRACTUAL REPLACEMENTS ROUTI | 24825875.1
18065-D006-752 | Sydney Region - Regulatory Replacem | Provincial | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 536468.74
52204 | 87W-312G-Tancook Island Replacement | 87W-312 | West | Equipment Replacement and Upgrades |  | 5046.67
48152-D692 | 20H-Spryfield Voltage Conversion Ph | 20H | Metro | Equipment Replacement and Upgrades |  | 306883.94
C0011182 | D-15N-202 Dominion St & Arthur St R | 15N-202 | Northeast | Equipment Replacement and Upgrades |  | 369761.89
C0011200 | D-6S-224 Birch Hill Drive Convers | 6S-224 | Cape Breton | Equipment Replacement and Upgrades |  | -1100.62
C0011209 | D-85S-401 Cabot Trail Rebuild | 85S-401 | Cape Breton | Equipment Replacement and Upgrades |  | 8597.05
C0025451 | 13N-211 Outram & HaveLock Rebuild | 13N-211 | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 206773.9
C0015738 | D-126H-312 HWY 207 Lead Insulator | 126H-312 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 10129.25
C0028344 | 92W-302 Valley Crescent Rebuild | 92W-302 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 69961.73
C0015761 | Cape Breton High Priority FI | Provincial | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 5448741.85
C0020834 | 2020-21 Inaccessible PCB Transf Rep | Provincial | Provincial | Equipment Replacement and Upgrades |  | 642137.71
C0042687 | 15N-202 Arthur St Conversion | 15N-202 | Northeast | Equipment Replacement and Upgrades |  | 1194477.29
C0033946 | 48W-204 Liverpool 4kV Conversion | 48W-204 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 655700.42
C0043110 | 11S-305 Kenwood Dr Roundabout | 11S-305 | Cape Breton | Equipment Replacement and Upgrades |  | 713107.18
C0029722 | Herring Cove Rd Rebuild/Relocate | 2H | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | -102.54
C0031722 | 11S-412 Kings Road Roundabout | 11S-412 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 99403.09
C0043950 | 509V-301 Freeport Rebuild | 509V-301 | West | Equipment Replacement and Upgrades |  | 459179.47
C0052894 | 2023 Vault Upgrade | Provincial | Provincial | Equipment Replacement and Upgrades |  | 570692.72
C0056402 | 4S-332 - Charlotte St. Re-design Ph | 4S-332 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 271514.04
C0018299 | 67C-411G - Holly's Hill re-Insulate | 67C-411GBA | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 920.7
45731-D545 | East Planned Deteriorated Replace | Provincial | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 2869.52
C0006178 | D-84W-302 Subsea Cable Removal and | 84W-302 | West | Equipment Replacement and Upgrades |  | 32719.22
C0015358 | D - 54C-213 Conversion and Stepdown | 54C-213 | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 33012.75
C0015547 | Northeast Planned Deteriorated Repl | Provincial | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 1333966.86
C0020830 | 85S-401-Cape Smokey BTR | 85S-401 | Cape Breton | Equipment Replacement and Upgrades |  | 750786.51
C0023803 | Landfills Conductors & Insulators | Provincial | Provincial | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 27704.35
C0031302 | 20V-311-Bluff Rd Rebuild | 20V-311 | Metro | Equipment Replacement and Upgrades |  | 647304.77
C0048910 | 705H-211 Mann St Crossing Rebuild | 705H-211 (101H) | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 112073.7
C0031112 | 6S-225 - Townsend Street Conversion | 6S-225 | Cape Breton | Equipment Replacement and Upgrades |  | 534413.81
C0041953 | 2022 Recloser Remote Connectivity | Provincial | Provincial | Equipment Replacement and Upgrades |  | 530096.67
C0041957 | 2022 Substation Animal Guards | Provincial | Provincial | Equipment Replacement and Upgrades |  | 155315.57
C0060750 | 2024 Vault Replacement | Provincial | Provincial | Equipment Replacement and Upgrades |  | 190863.66
C0057901 | 101H-423 Bedford Exit 4 Rebuild | 101H-423 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 25714.98
C0064726 | 2024 Padmount Switch Replacement | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 110360.26
C0070929 | 104S-313 Big Hill Highway Crossing | 104S-313 | Cape Breton | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 85875.84
C0074143 | 2025 Manhole Cover Replacement | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 29949.14
C0082586 | 87H-312 Musquodoboit Harbour Bridge | 87H-312 | Metro | Equipment Replacement and Upgrades |  | 402078.33
C0082610 | 57S-402 Target Equipment Replacemen | 57S-402 | Cape Breton | Equipment Replacement and Upgrades |  | 426441.99
C0082617 | 16W-301 Target Equipment Replacemen | 16W-301 | West | Equipment Replacement and Upgrades |  | 90915.63
C0076413 | 126H-312GA Route 207 Lawrencet | 126H-312GA | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 605.91
C0019379 | 50N-410-4C-430 Highway 104 Twin | 50N-410 | Northeast | Equipment Replacement and Upgrades |  | 586703.96
45799-D559 | Street Light & Service Removals | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 9212913.71
45737-D549 | West Unplanned Deteriorated Replace | Provincial | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 574399.87
51513-D874 | 695H-311-Alan St-Stepdown Removal | 695H-311 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 4356.97
52271 | D-2018 Padmount Replacement | Provincial | Provincial | Equipment Replacement and Upgrades |  | -85.86
49868-D829 | 2017 Hydraulic Recloser Replacement | Provincial | Provincial | Equipment Replacement and Upgrades |  | -15.52
C0002658 | Intellirupter Revitalization | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 253745.21
C0011197 | 64N Lourdes Street Conversion Ph 1 | 64N | Northeast | Equipment Replacement and Upgrades |  | 41808.3
C0029162 | 67C-411 Brook Village Protection | 67C-411 | Cape Breton | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 16316.13
C0029423 | 5N-301 Lower Debert BTR | 5N-301 | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 27175.77
C0018600 | 648H-311 Logan Rd Rebuild | 648H-311 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 11733.41
C0016183 | D-2020 Downline PCB Replacements | Provincial | Provincial | Equipment Replacement and Upgrades |  | 226137.34
C0025446 | 83V-301 Martin Cross Rd Reconductor | 83V-301 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 186954.01
C0026043 | 9H-221 Conversion - Jubilee Road | 9H-221 | Metro | Equipment Replacement and Upgrades |  | 829352.66
C0022163 | 2020 Manhole Cover Replacement | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 5492.11
C0015764 | West High Priority FI | Provincial | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 3794049.36
C0026602 | 2020 Distribution Inspection Progam | Provincial | Provincial | Equipment Replacement and Upgrades |  | -1755463.29
C0041167 | 79V-402 Falmouth Exit 7 Pole Reloca | 79V-402 | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 65735.6
C0042606 | 67C-411GBA West Mabou Harbour Rebui | 67C-411GBA | Cape Breton | Equipment Replacement and Upgrades |  | 269093.6
C0042608 | 2C-402 - Troy Build to Roadside | 2C-402 | Cape Breton | Equipment Replacement and Upgrades |  | 20023.47
C0033624 | 67C-411 Skye Glenn Rebuild | 67C-411 | Cape Breton | Equipment Replacement and Upgrades |  | 829301.45
C0047570 | 11S-412 - Sydney River Cross Recond | 11S-412 | Cape Breton | Equipment Replacement and Upgrades |  | 133711.34
C0036008 | 516W-211 Ramey Rd Reconductor | 516W-211 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 353751.64
C0030444 | D- 568C-311 Nelson Bridge Replace | 568C-311 (58C-405) | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 70004.42
C0033444 | 63V-312 Stronach Mountain Ph Ext | 63V-312 | West | Equipment Replacement and Upgrades |  | 780383.46
C0031299 | 88H-402 Trafalgar Line Ext | 88H-402 | Northeast | Equipment Replacement and Upgrades |  | 403427.32
C0036668 | 637N-311 Old Barns Conversion | 637N-311 | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 200346.65
C0056241 | 82V-402 Wellington Roundabout Pole | 82V-402 | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 96880.56
C0053014 | 89W-303 Station Rd Line Extension | 89W-303 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 176791.04
C0064843 | 113H-433G West Lawrencetown Stepdow | 113H-433G | Metro | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 214111.42
C0060749 | 2024 Padmount Replacement | Provincial | Provincial | Equipment Replacement and Upgrades |  | 2145915.38
50714-D805 | 102W-311G Surette Cross Rd Rebuild | 102W-311G | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 145245.83
C0027082 | D-4S-324-Prince Street Rebuild | 4S-324 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 5467.07
C0027645 | D-4S-324-Tittle Bridge Reconfigure | 4S-324 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 1997.7
C0043390 | 664N-211 Claremont Ave Conversion | 664N-211 | Northeast | Equipment Replacement and Upgrades |  | 336168.78
C0033507 | Underground Switch Replacements | Provincial | Provincial | Equipment Replacement and Upgrades |  | 74646.99
C0047410 | 663V-211 - School St 25kV Conversio | 663V-211 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 251863.6
C0031145 | 2021 Padmount Replacement Program | Provincial | Provincial | Equipment Replacement and Upgrades |  | 1165437.05
C0042287 | 82V-403 Elmsdale River Crossing Reb | 82V-403 | Metro | Equipment Replacement and Upgrades |  | 34753.6
C0036670 | 33N-201 Canaan Rd Conversion | 33N-201 | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 45670.53
C0060751 | 2024 Manhole Automatic Pumps | Provincial | Provincial | Equipment Replacement and Upgrades |  | 157106.79
C0067024 | 527S-311 Big Bras D'or Conversion | 527S-311 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 33680.42
C0074848 | 50W-411- Milton Station Service | 50W-411 | West | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 2639.61
C0075448 | 103H Lakeside Triple CCT Pole Repla | 103H | Metro | Equipment Replacement and Upgrades |  | 29294.69
C0071988 | 2025 Recloser Capital Spares | Provincial | Provincial | Equipment Replacement and Upgrades |  | 167496.57
29038-D051-800 | System Performance Improvement Rout | Provincial | Provincial | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 846704.62
23135-D006-800 | D006 Regulatory Replacements - Prov | Provincial | Provincial | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 1861101.67
20837-D055-623 | Sackville Depot - Identified Deter | Provincial | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 3428744.15
52186 | D-4S Feeder Exit Cable Replacement | 4S | Cape Breton | Equipment Replacement and Upgrades |  | 173199.56
48437-D711 | 36W-301 East Sable Road Line Extens | 36W-301 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 42133.23
51414-D847 | 543C-211 Mauger Road Rebuild | 543C-211 (22C-404) | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 1223.28
51744 | D-30N-411 Maccan River Crossing Reb | 30N-411 | Northeast | Equipment Replacement and Upgrades |  | -644.02
20986-D055-722 | Northeast - Planned Routine Upgrade | Provincial | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 1766618.77
49311-D758 | 93V-312 Lower Saulnierville Conduct | 93V-312 | West | Equipment Replacement and Upgrades |  | 50462.65
C0004078 | D-83V-301 - Gaspereau River Crossin | 83V-301 | West | Equipment Replacement and Upgrades |  | 145319.27
C0011188 | D-23H-303 Willet St Underg.Repl | 23H-303 | Metro | Equipment Replacement and Upgrades |  | 242331.35
C0029103 | 58C-403 – Highway 219 Protection Up | 58C-403 | Cape Breton | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 14252.26
C0015762 | Metro High Priority FI | Provincial | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 4196058.4
C0042927 | 103C-314 - Grand Etang Water Crossi | 103C-314 | Cape Breton | Equipment Replacement and Upgrades |  | 29728.14
C0042586 | 59C-402 St. Peters Rebuild | 59C-402 | Cape Breton | Equipment Replacement and Upgrades |  | 22435.98
C0043130 | 2022 Padmount Replacement Program | Provincial | Provincial | Equipment Replacement and Upgrades |  | 1918922.27
C0043330 | 88W-314-Vancouver St Rebuild | 88W-314 | West | Equipment Replacement and Upgrades |  | 830925.37
C0048911 | 127H-411H Waverly Rd Pole Relocatio | 127H-411H | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 463919.62
C0033926 | 102W-312G Cayloon Lane Repole | 102W-312G | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 47630.18
C0031150 | 36W-301-Add Third Phase - Allendale | 36W-301 | West | Equipment Replacement and Upgrades |  | 542803.13
C0041955 | 2022 Hydraulic Recloser Replacement | Provincial | Provincial | Equipment Replacement and Upgrades |  | 382534.02
C0042847 | 61N-204 High Street Conversion | 61N-204 | Northeast | Equipment Replacement and Upgrades |  | 3109.96
C0036649 | 665V-311 Locks Rd Conversion | 665V-311 (82V-422) | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 109968.56
C0051873 | 12V-302H - Mills Brook Reconductor | 12V-302H | West | Equipment Replacement and Upgrades |  | 274893.61
C0053517 | 9H-221 University Ave and Morris St | 9H-221 | Metro | Equipment Replacement and Upgrades |  | 37804
C0053076 | 14C-211 Boudreauville Rd Conversion | 14C-211 | Cape Breton | Equipment Replacement and Upgrades |  | 3667.91
C0061786 | 30N-412 HWY 242 Fundy Shore Removal | 30N-412 | Northeast | Equipment Replacement and Upgrades |  | 144389.84
C0067546 | 4C-430 James River Bridge Replace | 4C-430 | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 106474.53
51532-D868 | 13V-303 Lake Lemerchant Rebuild | 13V-303 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 6776.58
C0011206 | D-102W-311 Jedediah Rd Rebuild | 102W-311 | West | Equipment Replacement and Upgrades |  | 289414.1
C0028590 | Windmill Rd and HWY 111 UG Crossing | 99H-312, 108H-413 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 2412.64
C0029242 | 1N-421 Tidal Bore Rd Line Extension | 1N-421 | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 208568.04
C0015359 | 104S-313 Line Extension Replacement | 104S-313 | Cape Breton | Equipment Replacement and Upgrades |  | 209.82
C0025447 | 113H-441G Colby Drive Rebuild | 113H-441G | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 4909.63
C0015800 | 18V-413 ICP | 18V-413 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | -44.11
C0031403 | 101W Port Mersey Feeder Exits | 101W | West | Equipment Replacement and Upgrades |  | 245717.56
C0043270 | Black River Rd Build to Roadside | 6N | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 177391.95
C0043510 | 2C-402 - Little Judique Reinsulate | 2C-402 | Cape Breton | Equipment Replacement and Upgrades |  | 310659.23
C0035848 | 2021 Distribution Inspection Progam | Provincial | Provincial | Equipment Replacement and Upgrades |  | 183927.51
C0043651 | 4C-441G- Rear Monastery Rd Reconduc | 4C-441G | Northeast | Equipment Replacement and Upgrades |  | 1215.35
C0031482 | 85S-401 Ingonish Centre BTR | 85S-401 | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | -13.68
C0061103 | 642V-311-South Rawdon Rd Conversion | 642V-311 (79V-401) | Metro | Equipment Replacement and Upgrades |  | 207155.11
C0050848 | 2023 Manhole Equipment Replacement | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 43420.26
C0054818 | 1N-421 - Fundy Discovery Site | 1N-421 | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 101406.93
C0060523 | 11S-301 Campbell Road Water Crossin | 11S-301 | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 51581.87
C0060752 | 2024 Feeder Exit Replacements | Provincial | Provincial | Equipment Replacement and Upgrades |  | 88343.19
C0056041 | 4N-311 Wallace River Bridge Rebuild | 4N-311 | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 223334.65
C0067524 | 4S-332 - Charlotte St Re-design Ph3 | 4S-332 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 88591.27
C0068773 | 509V-301 Brier Island Sub Cable Rep | 509V-301 | West | Equipment Replacement and Upgrades |  | 112638.96
C0064724 | 513N-301 Caribou Overloaded Stepdow | 513N-301 | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 35455.9
C0066343 | 85S-401GA Halfway Brook Road Realig | 85S-401GA | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 152900.29
C0068952 | 2025 PCB Poletop Sampling and Repla | Provincial | Provincial | Equipment Replacement and Upgrades |  | 2313739.51
C0071248 | 2024 PCB Poletop Sampling and Repla | Provincial | Provincial | Equipment Replacement and Upgrades |  | 1152673.02
C0082570 | 20H-301 Target Equipment Replacemen | 20H-301 | Metro | Equipment Replacement and Upgrades |  | 65609.26
C0069289 | 6W-201 - Offload to 50W | 6W-201 | West | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 5009.91
C0074630 | Glace Bay Reliability Work | 81S | Cape Breton | Equipment Replacement and Upgrades |  | 2423.65
C0070268 | 2025 Voltage Regulator Replacements | Provincial | Provincial | Equipment Replacement and Upgrades |  | 3412.48
C0082630 | 62H-304 Target Equipment Replacemen | 62H-304 | Metro | Equipment Replacement and Upgrades |  | 53708.2
C0051754 | 4S-332 - Charlotte St. Re-design Ph | 4S-332 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 121060.14
C0019439 | 1N-402 Marshland Dr. 3-Phase Extens | 1N-402 | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | -3453.87
C0019579 | 7N-301 ICP | 7N-301 | Northeast | Equipment Replacement and Upgrades |  | 35110.61
23137-D055-800 | D055 - Planned Replacement Of Distr | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 10043.39
47152-D665 | 22C-404 Arichat to Legion Rebuild | 22C-404 | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | -33.21
45730-D544 | Central Planned Deteriorated | Provincial | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 2923714.11
23361-D008-800 | D008 Provincial Storm | Provincial | Provincial | Equipment Replacement and Upgrades | D008-STORM COSTS ROUTINE | 127812948
16131-D006-623 | Sack. Depot - Regulatory Replacemen | Provincial | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 3000925.12
14960-D006-735 | Regulatory Replacements - Coldbrook | Provincial | West | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 889814.35
47787-D863 | 2H Armdale New Feeders | 2H | Metro | Equipment Replacement and Upgrades |  | 481.85
49891-D790 | 509V Recloser and Voltage Regulator | 509V | West | Equipment Replacement and Upgrades |  | 194412.93
C0005283 | D-57W-401 D417-010 Upgrade | 57W-401 | West | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 81260.67
C0006319 | D-2019 PCB Pole Top Transformer Rep | Provincial | Provincial | Equipment Replacement and Upgrades |  | 1447197.12
C0010698 | D-85S-401 Cabot Trail Widening | 85S-401 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 42.29
C0010059 | 2019 Distribution Inspection Prog | Provincial | Provincial | Equipment Replacement and Upgrades |  | 8873.14
C0011180 | D-23W Feeder Exit Cable Replacement | 23W | West | Equipment Replacement and Upgrades |  | 4656.92
C0011309 | D-54H-304 Underground Device Replac | 54H-304 | Metro | Equipment Replacement and Upgrades |  | 245830.01
C0015545 | D-1H, 2H and 104H Inline Switches R | 1H, 2H and 104H | Metro | Equipment Replacement and Upgrades |  | 2577.38
C0015680 | 22N-402 North Tyndal Lane Rebuild | 22N-402 | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 14.43
C0015679 | D-20H-301G Old Sambro Rd Pole Repla | 20H-301G | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 5384.2
C0027743 | 58C-405 Rebuild Margaree | 58C-405 | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 37831.71
C0027744 | 3S-308-3S-405 - Reconfig and Remove | 3S-308, 3S-405 | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 27148.09
C0015779 | Deteriorated Make Ready | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 6822182.11
C0020839 | 101H-411-Sackville rear lot Rebuild | 101H-411 | Metro | Equipment Replacement and Upgrades |  | 775220.08
C0044090 | 2022 Vault Upgrade | Provincial | Provincial | Equipment Replacement and Upgrades |  | 400062.83
C0042426 | 11S-411 Coxheath Rebuild Phase 2 | 11S-411 | Cape Breton | Equipment Replacement and Upgrades |  | 999580.6
C0048251 | 58C-405 - Gold Brook Water Crossing | 58C-405 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 26642.88
C0040047 | 9H-221 Cornwall St Rebuild | 9H-221 | Metro | Equipment Replacement and Upgrades |  | 450616.86
C0031144 | 2021 Vault Replacement | Provincial | Provincial | Equipment Replacement and Upgrades |  | 169717.06
C0031166 | 2021 Downline PCB Replacements | Provincial | Provincial | Equipment Replacement and Upgrades |  | 504985.7
C0031297 | 709H-221 Bedford 4kV Conversion | 709H-221 | Metro | Equipment Replacement and Upgrades |  | 290106.16
C0042886 | 9H-224 Robie St Conversion | 9H-224 | Metro | Equipment Replacement and Upgrades |  | 896426.31
C0036646 | 87W-311,87W-312 Hubbards Highway | 87W-311, 87W-312 | West | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 307540.12
C0059518 | 88H-402J Rutherford Bridge Relocati | 88H-402J | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 80745.09
C0056342 | 16N-301 2878 Hwy 2 Shubenacadie Riv | 16N-301 | Northeast | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 203652.34
C0053035 | 16W-301H Pembroke Rd Rebuild | 16W-301H | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 232553.3
28648-D116 | Distribution Replacement Engineerin | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | -0.2
C0007499 | D-70V-311HB-Port Lorne Rebuild | 70V-311HB | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | -168.86
C0027223 | 67C-412 Whycocomagh Roundabout | 67C-412 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 1990.13
C0025457 | 20W-311 Willet Rd Repole | 20W-311 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 3207.13
C0049672 | 2022 Distribution Inspection Progra | Provincial | Provincial | Equipment Replacement and Upgrades |  | 274309.92
C0036087 | 656V-211 Rebuild Birch St | 656V-211 (77V-303) | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 195328.84
C0031121 | 104S-313 - Re-Conductor Big Hill | 104S-313 | Cape Breton | Equipment Replacement and Upgrades |  | 774701.02
C0031224 | 58C-405HA Middle River Reconfig | 58C-405HA | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 115966.53
C0031300 | 9H-223 North St Conversion | 9H-223 | Metro | Equipment Replacement and Upgrades |  | 299918.41
C0035466 | 96H-412 Liscomb Protection Upgrade | 96H-412 | Northeast | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 108471.31
C0050836 | 2023 Padmount Replacement Program | Provincial | Provincial | Equipment Replacement and Upgrades |  | 1557007.67
C0058983 | 50N-410 Hwy 104 Twin - Lamont Rd Cr | 50N-410 | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 98885.48
C0054095 | 2023 Manhole Cover Replacements | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 247838.09
C0055940 | Problem Feeder Recloser Remote Conn | Provincial | Provincial | Equipment Replacement and Upgrades |  | 7176.29
C0071630 | 1N-405G Edmond Lynds Bridge Replace | 1N-405G | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 21499.5
C0064723 | 26N-211 Joggins Stepdown Retirement | 26N-211 | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 343787.15
C0071954 | 87W-312 - Dauphiness Mill Lake Rebu | 87W-312 | West | Equipment Replacement and Upgrades |  | 16707.41
C0070347 | 2025 Hydraulic Recloser Replacement | Provincial | Provincial | Equipment Replacement and Upgrades |  | 360438.53
C0070426 | 2025 Downline Recloser Additions | Provincial | Provincial | Equipment Replacement and Upgrades |  | 291451.76
C0018561 | 85S-401- Cape Smokey TIR | 85S-401 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 286086.87
45734-D546 | West Planned Deteriorated Replace | Provincial | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 3185988.54
45731-D545 | East Planned Deteriorated Replace | Provincial | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 2603555.04
29038-D051-800 | System Performance Improvement Rout | Provincial | Provincial | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 39180.4
20983-D055-752 | Sydney Region ( D055 ) - Planned Di | Provincial | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 2525149.26
52185 | D-50N-410 Rebuild Phase 2 | 50N-410 | Northeast | Equipment Replacement and Upgrades |  | -1584.75
C0003718 | 36W-301G Sable River Br Crossing | 36W-301G | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 104860.83
C0004165 | D-70W-311G-Crousetown Rd Phase Exte | 70W-311G | West | Equipment Replacement and Upgrades |  | 230265.88
C0011189 | D-2H-411-Cowie Hill UG system repl | 2H-411 | Metro | Equipment Replacement and Upgrades |  | 23586.42
C0023782 | 73W-412 Bridgewater Hwy 103 Exit | 73W-412 | West | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 76929.66
C0016058 | D-36V-303 North Aldershot Rd Recond | 36V-303 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 5973.96
C0021182 | 93V-313G Meteghan Rebuild | 93V-313 | West | Equipment Replacement and Upgrades |  | 870289.3
C0041287 | 73W-412 Bridgewater Hwy Exit Phase2 | 73W-412 | West | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 158308.31
C0047390 | 85S-401 - Protection Upgrade | 85S-401 | Cape Breton | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 21877.05
C0036546 | 100C-421 Harvre Boucher Protection | 100C-421 | Cape Breton | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 5686
C0033424 | 78W-301GA Eastern Points Repole | 78W-301GA | West | Equipment Replacement and Upgrades |  | 19691.91
C0031120 | 76V-301-Maitland Bridge Build to Ro | 76V-301 | West | Equipment Replacement and Upgrades |  | 451677.09
C0031164 | 515W-211-New Germany Conversion | 515W-211 | West | Equipment Replacement and Upgrades |  | 830964.77
C0042846 | 15C-211 - Deepdale Conversion | 15C-211 (58C-402) | Cape Breton | Equipment Replacement and Upgrades |  | 508697.54
C0043490 | 2022 Downline Asset PCB Replacement | Provincial | Provincial | Equipment Replacement and Upgrades |  | 105566.03
C0036106 | 76V-301 Old Harmony Rd Converison | 76V-301 | West | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 471699.82
C0071528 | FLISR Project | Provincial | Provincial | Equipment Replacement and Upgrades |  | 100399.97
C0006938 | D-50W-412GA Mill Village Build | 50W-412GA | West | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 15.41
C0029402 | 104H-433G Highway 102 Pole Relo | 104H-433G | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 262861.51
C0030563 | 57S-401 Mira Gut Reconfiguration | 57S-401 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 227618.96
C0036107 | 82V-403 Highway 277 Pole Replace | 82V-403 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 42322.57
C0036669 | 665H-311 Malay Falls Rd Rebuild | 665H-311 (95H-251) | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 4738.88
C0031110 | 89W-303-Oakland Rd Water Crossing | 89W-303 | West | Equipment Replacement and Upgrades |  | 233390.7
C0031119 | 96H-412-Dufferin Mines Rd Rebuild | 96H-412 | Northeast | Equipment Replacement and Upgrades |  | 8518.82
C0041947 | 2022 Cutout Replacements | Provincial | Provincial | Equipment Replacement and Upgrades |  | 152854.02
C0035527 | Kings Road Roundabout Phase 2 | 11S-303 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 31272.33
C0033524 | 2C-402 Captain Gillis Bridge Replac | 2C-402 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 122906.63
C0036687 | 2021 Manhole Cover Replacement | Provincial | Provincial | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 168084.34
C0053116 | 28N-201 Little Forks Road Upgrade | 28N-201 | Northeast | Equipment Replacement and Upgrades |  | 312935.87
C0052854 | 70W-321H Dauphinee Rd BTR | 70W-321H | West | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 177726.66
C0053855 | 1H-415-Reinsulate Marginal Rd | 1H-415 | Metro | Equipment Replacement and Upgrades |  | 347176.74
C0057925 | 82V-403 Hydes Bridge Pole Relocatio | 82V-403 | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 99675.96
C0052818 | 10C-212 Arichat Conversion | 10C-212 | Cape Breton | Equipment Replacement and Upgrades |  | 78855.98
C0071849 | 2C-401 Port Hastings Roundab Phase1 | 2C-401 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 7940.12
C0072976 | 18V-413G Little Meander Bridge Pole | 18V-413G | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 28928.89
C0070366 | 2025 TripSaver Additions | Provincial | Provincial | Equipment Replacement and Upgrades |  | 88184.83
C0074849 | 12V-302G Karsdale Reconductor | 12V-302 | West | Equipment Replacement and Upgrades |  | 87795.44
C0071989 | 2025 Voltage Regulator Cap Spares | Provincial | Provincial | Equipment Replacement and Upgrades |  | 44.07
C0041226 | 81S-301 Gardiner Road Intersection | 81S-301 | Cape Breton | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 11427.2
C0042969 | 59C-401 - Greenville Street Rebuild | 59C-401 | Cape Breton | Equipment Replacement and Upgrades |  | 360.93
C0082620 | 56N-414 Target Equipment Replacemen | 56N-414 | Northeast | Equipment Replacement and Upgrades |  | 67753.91
45736-D548 | East Unplanned Deteriorated Replace | Provincial | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 58403.56
44749-D527 | 509V-301 Tower and Crossing Replace | 509V-301 (77V-401) | West | Equipment Replacement and Upgrades |  | -3109.08
52201 | D-55V-314GA-Welsford Reconductor | 55V-314GA | West | Equipment Replacement and Upgrades |  | 15202.72
51499 | 2018 Downline Recloser Replacements | Provincial | Provincial | Equipment Replacement and Upgrades |  | 18166.1
52200 | D-65V-301 Brickton Reconductor | 65V-301 | West | Equipment Replacement and Upgrades |  | 193530.11
52275 | D-99H-312-Wallis Heights Replacemen | 99H-312 | Metro | Equipment Replacement and Upgrades |  | -46387.07
50612-D797 | 22W-312G Targeted Device Replacemen | 22W-312G | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 9242.64
C0011187 | D- 5N-301-Masstown- Rebuild Phase 2 | 5N-301 | Northeast | Equipment Replacement and Upgrades |  | 648611.17
C0029322 | 1N-405H Salmon River Crossing Rebui | 1N-405H | Northeast | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 23593.27
C0029342 | 67C-411/58C-403 Mabou and Dunvegan | 67C-411, 58C-403 | Cape Breton | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 9602.13
C0020835 | 2020 Padmount Replcement Program | Provincial | Provincial | Equipment Replacement and Upgrades |  | 151813.88
C0040870 | 539W-311 Sherbrooke Ln Rebuild | 539W-311 | West | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 133984.87
C0036707 | 82V-402H - Oakfield Park Rd Relocat | 82V-402H | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 120062.25
C0031882 | 22C-403-404 Feeder Exit Replacement | 22C-403, 22C-404 | Cape Breton | Equipment Replacement and Upgrades |  | 50504.37
C0036088 | 82V-403 Carroll’s Corner Bridge | 82V-403 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 294686.93
C0036726 | 4C-441-Monastery Water Crossing | 4C-441 | Northeast | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 13747.36
C0043951 | Washmill Lake Drive Line Extension | Provincial | Provincial | Equipment Replacement and Upgrades |  | 409683.81
C0031482 | 85S-401 Ingonish Centre BTR | 85S-401 | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 36335.84
C0053174 | 73W-411GCA Gilberts Lane BTR | 73W-411GCA | West | Equipment Replacement and Upgrades |  | 527565.43
C0073048 | 62H-301 Lancaster Woodland Roundabo | 62H-301 | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 60232.02
29038-D051-800 | System Performance Improvement Rout | Provincial | Provincial | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 5466.76
52265 | 55V-322-English Mt Rd Reconfig | 55V-322 | West | Equipment Replacement and Upgrades |  | 5264.61
C0001798 | D-Halifax 4kV Conversion Phase 5 | 9H, 10H | Metro | Equipment Replacement and Upgrades |  | 2430.93
C0011319 | D-21W-311-Lower Harbour Rebuild | 21W-311 | West | Equipment Replacement and Upgrades |  | 6829.27
C0021622 | 103H-434 Protection Upgrades | 103H-434 | Metro | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 1826.06
C0022662 | 22C-404GA Lennox Passage Rebuild | 22C-404GA | Cape Breton | Equipment Replacement and Upgrades |  | 2806046.96
C0025862 | 3S-403 Alder Point Road Protection | 3S-403 | Cape Breton | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 17006.7
C0048893 | 101H-422 Rocky Lake Dr Crossing Reb | 101H-422 | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 58235.88
C0036228 | 58H-431 Feeder Exit Cable Replaceme | 58H-431 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 220448.69
C0031107 | 55V-314G-Aylesford East Reconductor | 55V-314GA | West | Equipment Replacement and Upgrades |  | 297304.03
C0042709 | 67C-411GBA-Colindale BTR | 67C-411GBA | Cape Breton | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 177770.65
C0036009 | 20H-303 Essex Dr Framing Replace | 20H-303 | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 70522.27
C0036667 | 618V-311 Mill Rd Conversion | 618V-311 (131H-422) | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 84320.19
C0055415 | 101H-421-Hwy 107 Connector Pole Rel | 101H-421 | Metro | Equipment Replacement and Upgrades | D006 REGULATORY REPLACEMENTS | 284423.99
C0054995 | 2023 Inaccessible PCB Transf Rep | Provincial | Provincial | Equipment Replacement and Upgrades |  | 997832.56
C0056722 | 2023 Distribution Inspection Progra | Provincial | Provincial | Equipment Replacement and Upgrades |  | 3075737.14
C0054015 | Distribution Protection Upgrades Pa | Provincial | Provincial | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 16981.74
C0060756 | 113H-433G-Route 207 Phase Extension | 113H-433G | Metro | Equipment Replacement and Upgrades |  | 367996.44
C0053054 | 626N-T1 Little Dyke Rd Stepdown Upg | 626N-T1 | Northeast | Equipment Replacement and Upgrades |  | 94603.99
C0075168 | 16W-301G Short Beach Reconductor | 16W-301G | West | Equipment Replacement and Upgrades |  | 104943.05
C0068960 | 99H Farrell St Feeder Addition | 99H | Metro | Equipment Replacement and Upgrades |  | 35714.95
C0082305 | 65N-T1 River Hebert Stepdown Transf | 65N | Northeast | Equipment Replacement and Upgrades |  | 35465.5
C0082627 | 92H-331 Target Equipment Replacemen | 92H-331 | Metro | Equipment Replacement and Upgrades |  | 57230.12
C0030382 | 22N-401 New Recloser Installation | 22N-401 | Northeast | Equipment Replacement and Upgrades | D051 - System Perf. Improvement | 4275.25
C0025458 | 126H-312G-Murphy Rd Rebuild | 126H-312G | Metro | Equipment Replacement and Upgrades | D055-Identified Deteriorated Plant | 57646.26
C0082566 | 103C-314 Target Equipment Replaceme | 103C-314 | Cape Breton | Equipment Replacement and Upgrades |  | 66713.84