## 2026 EV Load Forecast
| kWh/year | kW/vehicle on peak (managed) | kW/vehicle on peak (unmanaged) |  |  |  | Vehicles already in system at end of 2025: | [8 empty] | Home | Workplace | Public L2 | Public DCFC
LDV | 4202 | 0.59601 | 0.74416 |  |  |  | BEV | PHEV | Energy (GWh) | Peak (MW), managed | Peak (MW), unmanaged |  |  | Peak by Charging type | Managed | 0.39 | 0.073 | 0.025 | 0.109
MDV | 8205.4008 | 1.6241 | 1.06 |  |  |  | 5760 | 3840 | 32.2714 | 5.7217 | 7.144 |  |  |  | Unmanaged | 0.5 | 0.048 | 0.03 | 0.166
Transit Bus | 113889.8032 | 7.3316 | 27.7
PHEV | 2101 | 0.59601 | 0.74416
New vehicles | [13 empty] | Energy |  |  |  | Peak (managed) |  |  | Peak (unmanaged)
Year | BEV tot | PHEV tot | MDV | HDV | Total New Vehicles | Total vehicles in system | Energy (GWh) | Total Load (GWh) | Peak (MW) | Avg kW per car | Total Peak (MW) | Peak, unmanaged (MW) | Total Peak, unmanaged (MW) | Res Charging (75% of LDV) | Commercial public LDV charging (25%) | Commercial MDV+HDV |  | Res Charging (75% of LDV) | Commercial public LDV charging | Commercial MDV+HDV | Res Charging (75% of LDV) | Commercial public LDV charging | Commercial MDV+HDV
2026 | 1800 | 1473 | 214.9 | 84.44 | 3572.34 | 13172.34 | 22.0386 | 54.3099 | 2.9188 | 0.81707 | 8.6405 | 5.0024 | 12.1464 | 7.9938 | 2.6646 | 11.3802 |  | 1.2765 | 0.67751 | 0.9681 | 1.6365 | 0.79861 | 2.5668
2027 | 4481 | 3260 | 336.23 | 166.8 | 8244.03 | 17844.03 | 47.4341 | 79.7055 | 6.3827 | 0.77422 | 12.1044 | 10.7373 | 17.8813 | 19.2588 | 6.4196 | 21.7557 |  | 3.019 | 1.6024 | 1.769 | 3.8705 | 1.8888 | 4.9768
2028 | 8542 | 5447 | 474.52 | 279.34 | 14742.86 | 24342.86 | 83.0452 | 115.3166 | 11.1562 | 0.75672 | 16.8779 | 18.6508 | 25.7948 | 35.5032 | 11.8344 | 35.7076 |  | 5.4557 | 2.8957 | 2.8187 | 6.9945 | 3.4133 | 8.2407
2029 | 14752 | 8108 | 629.44 | 396.44 | 23885.88 | 33485.88 | 129.3381 | 161.6095 | 17.5536 | 0.73489 | 23.2753 | 28.6602 | 35.8041 | 59.2671 | 19.7557 | 50.3153 |  | 8.9154 | 4.732 | 3.9288 | 11.43 | 5.5778 | 11.6486
2030 | 24345 | 11306 | 800.39 | 518.28 | 36969.67 | 46569.67 | 191.6459 | 223.9173 | 26.348 | 0.71269 | 32.0697 | 41.7349 | 48.8789 | 94.5387 | 31.5129 | 65.5943 |  | 13.9039 | 7.3798 | 5.0997 | 17.8255 | 8.6988 | 15.2048
2031 | 38611 | 15689 | 1006.14 | 639.95 | 55946.09 | 65546.09 | 276.3456 | 308.6169 | 38.6892 | 0.69154 | 44.4109 | 59.2012 | 66.3451 | 146.4045 | 48.8015 | 81.1396 |  | 21.177 | 11.2401 | 6.3259 | 27.15 | 13.2492 | 18.7931
2032 | 57757 | 21089 | 1244.83 | 763.78 | 80854.61 | 90454.61 | 384.204 | 416.4753 | 54.6144 | 0.67546 | 60.336 | 81.1505 | 88.2945 | 215.2522 | 71.7507 | 97.2011 |  | 30.7499 | 16.3211 | 7.6215 | 39.423 | 19.2384 | 22.4762
2033 | 82032 | 27349 | 1514.79 | 892.58 | 111788.37 | 121388.37 | 516.2439 | 548.5153 | 74.1962 | 0.66372 | 79.9179 | 107.7274 | 114.8714 | 301.619 | 100.5397 | 114.0852 |  | 42.6586 | 22.6419 | 9.0042 | 54.6905 | 26.689 | 26.3301
2034 | 111694 | 34307 | 1816.51 | 1027.75 | 148845.26 | 158445.26 | 673.3726 | 705.644 | 97.5031 | 0.65506 | 103.2248 | 139.0427 | 146.1867 | 406.0629 | 135.3543 | 131.9554 |  | 56.9404 | 30.2222 | 10.4853 | 73.0005 | 35.6242 | 30.3942
2035 | 147003 | 41797 | 2156.38 | 1167.26 | 192123.64 | 201723.64 | 856.1551 | 888.4264 | 124.5865 | 0.64847 | 130.3082 | 175.1168 | 182.2608 | 529.1416 | 176.3805 | 150.633 |  | 73.632 | 39.0816 | 12.0601 | 94.4 | 46.0672 | 34.6189
2036 | 183230 | 47849.25 | 2549.16 | 1305.5 | 234933.91 | 244533.91 | 1040.0638 | 1072.3351 | 151.4367 | 0.64459 | 157.1584 | 210.8251 | 217.9691 | 652.8478 | 217.6159 | 169.6 |  | 90.1209 | 47.8334 | 13.7115 | 115.5396 | 56.3833 | 38.8645

## Sales Comparison
| 2025 EV Forecast | 2026 EV Forecast | Dunsky EV Low | Dunsky EV High
2025 | 8332 | 9600 | 6300 | 13300
2026 | 10774.34 | 13172.34 | 8537.8975 | 19665.5856
2027 | 13783.03 | 17844.03 | 11570.7451 | 29077.8389
2028 | 17824.86 | 24342.86 | 15680.9263 | 42994.9421
2029 | 23359.88 | 33485.88 | 21251.1335 | 63572.9861
2030 | 31111.67 | 46569.67 | 28800 | 94000
2031 | 42173.09 | 65546.09 | 42476.9379 | 120321.3753
2032 | 58156.61 | 90454.61 | 62648.9672 | 154013.1208
2033 | 81464.37 | 121388.37 | 92400.5656 | 197139.0479
2034 | 115683.26 | 158445.26 | 136281.01 | 252340.8657
2035 | 166162.64 | 201723.64 | 201000 | 323000
2036 | 228512.26 | 244533.91 | 238015.9256 | 361219.9327